JoVE Science Education Series: Environmental Science

Title: Nutrients in Surface Water

OVERVIEW

Nitrogen and phosphorus are essential plant nutrients found in aquatic ecosystems and both are monitored as a part of water quality testing because in excess amounts they can cause significant water quality problems.

Nitrogen in water is measured as the common form nitrate (NO3-) that is dissolved in water and readily absorbed by photosynthesizers such as algae. The common form of phosphorus measured is phosphate (PO43-), which is strongly attracted to sediment particles as well as dissolved in water. In excess amounts, both nutrients can cause an increase in aquatic plant growth (algal bloom, Figure 1) that can disrupt the light, temperature, and oxygen levels in the water below and lead to eutrophication and hypoxia (low dissolved oxygen in water) forming a “dead zone” of no biological activity. Sources of nitrates and phosphorus include wastewater treatment plants, runoff from fertilized lawns and agricultural lands, faulty septic systems, animal manure runoff, and industrial waste discharge.1,2

PRINCIPLES

Nitrate and phosphate concentrations can be measured in water samples using known chemical reagents that cause the sample to change color when in the presence of a specific nutrient, with increasing color intensity indicating an increased concentration of the nutrient. To ensure release of any phosphate molecules that are bonded to sediments in the water, phosphorus samples are digested chemically and with heat to release phosphate bonds for a measure of total phosphate in the sample.

The reagent used for analyzing nitrate is a modification of the Cadmium Reduction Method, using gentisic acid in place of 1-naphthylamine. The necessary cadmium, sulfanilic acid, and gentisic acid have been combined into a single stable powder called NitraVer 5. The cadmium metal is used to reduce nitrates (NO3–) to nitrites (NO2–) (Equation 1).

NO3- + Cd +2 H+ → NO2- + Cd2+ + H2O  (Equation 1)

NO2- + sulfanilic acid + 2 H+ → HO3S + diazonium salt  (Equation 2)

diazonium salt + gentisic acid → amber colored species  (Equation 3)

Next, the nitrite ions react in an acidic medium with sulfanilic acid to form an intermediate diazonium salt, which forms an amber color when coupled with gentisic acid. (Equation 2 and 3)

Organic phosphates in the sample are converted to orthophosphates through hydrolysis achieved by mixing samples with potassium persulfate and heating in a COD reactor with acid and persulfate. The COD reactor is an instrument for incubating glassware (up to 25 vials at one time) containing hazardous ingredients at high temperatures.

Orthophosphates can then react with sodium molybdate in an acid medium to produce a mixed phosphate/molybdate complex (Equation 4).

12 MoO3 + H2PO4- → H2PMo12O40   (Equation 4)

Ascorbic acid is used to reduce the complex causing an intense molybdenum blue color. Potassium pyrosulfate, ascorbic acid, and sodium molybdate are contained in one stable powder reagent, PhosVer 3. (Equation 5)

reduction

H2PMo12O40         →          blue colored species  (Equation 5)

ascorbic acid

To quantify the color intensity produced by the reagent, a colorimeter is used to measure the specific wavelength of light that corresponds with each color caused by the nutrients and their reagents (nitrates amber; phosphates blue). The colorimeter then sends a beam of light through each sample to measure the amount of that light that is absorbed by the color (absorbance). The darker the color, the higher the absorbance. The colorimeter then converts the absorbance to a displayed nutrient concentration (mg/L) based on known concentration assays.

PROCEDURE

- Measure Nitrogen in a Sample

  - On the colorimeter, find the program for nitrate (with user manual or instrument menu) and enter the program number or set the colorimeter to measure at 420 nm.

  - Measure out 10 mL of the water sample into a graduated cylinder. Pour this into one of the sample tubes.

  - Repeat for a second sample tube.

  - Add the contents of one NitraVer 5 reagent powder pillow to one sample tube.

  - Cap both sample tubes.

  - Start a one-minute reaction period for the reagent.  Place the tube between the thumb and forefinger and shake the sample vigorously until the reaction time is over and timer beeps.

  - Set the tube down, and begin a five-minute reaction period.

  - After the second reaction period, wipe off the outside of the two sample tubes with a lint-free paper towel. If nitrates are present sample will begin to turn a shade of amber

  - Place the sample tube without reagent (blank) tube into the colorimeter.

  - Tightly cover the cell with the instrument cap to ensure ambient light is blocked.

  - Zero the colorimeter with the blank for a reading of 0.0 mg/L NO3-N.

  - Remove the blank cell and place the sample cell with reagent into the cell holder.  Tightly cover the sample cell with the instrument cap.

  - Read the sample, to determine the concentration in mg/L NO3-N.

- Measure Phosphorus in a Sample

  - Measure out 5.0 mL of the water sample using a graduated cylinder.

  - Pour measured water into a sample tube.

  - Add the contents of one potassium persulfate powder pillow for phosphonate to the sample tube.

  - Cap the tube tightly and shake to dissolve.

  - Label the top of the tube cap and place the tube in a COD reactor (in a chemical hood) and heat for 30 minutes at 150 °C.

  - Place it in a test tube rack and allow it to cool until room temperature.

  - Using a graduated cylinder, measure out 2 mL of 1.54 N sodium hydroxide.

  - Pour this into the sample tube.  Cap and mix.

  - Set the colorimeter to measure at 565 nm.

  - Clean the outside of the sample tube with a lint-free paper towel.

  - Place the test tube so that any label on the glass facing the front of the instrument.

  - Place the cover on the test tube and press ZERO button. The display should show 0.00 mg/L PO43-.

  - Remove the test tube and add the contents of one PhosVer 3 phosphate reagent powder pillow to the test tube.

  - Cap tightly and shake for 10 – 15 seconds.

  - Press and begin a 2-minute waiting period.

  - After the timer beeps, clean the outside of the test tube with a lint-free paper towel.

  - Place the test tube into the instrument ensuring that any tube labels are out of the instrument light path.

  - Place the cover over the test tube.

  - Press read.  The display will show the results in mg/L.

REPRESENTATIVE RESULTS

Samples were taken from various locations on the north branch of the Chicago River, and the nitrate and phosphate levels compared.  Clean river water typically contains 0 to 1 mg/L of nitrates and 0 to 4 mg/L of phosphates.  Concentrations between 3 to 5 mg/L of nitrates and 4 to 10 mg/L of phosphates is considered high, and above these ranges considered eutrophic.

As shown in Figure 2, the nitrate concentrations vary depending on the sampling site.  The downstream measurement (Figure 3) represents the discharge from a water treatment plant, which high in nitrates.  This could indicate nitrate inputs near the plant discharge area.  However, the concentration of nitrates in the downstream river water is still below 1 mg/L on average, indicating that the river water is not heavily contaminated.

Similarly, the samples were tested for phosphate concentration (Figure 4). The downstream measurement represents the discharge from the water treatment plant.  The concentration of phosphate is higher upstream of the treatment plant, indicating that the organics were removed through the water treatment process (Figure 5).  However, the concentration of phosphate is an order of magnitude below the highest level for clean river water, thus indicating that the river water is not heavily contaminated.

Figure 1. Satellite image of an algal bloom. Taken in 2011, the green scum shown in this image was the worst algae bloom Lake Erie has experienced in decades. Record torrential spring rains washed fertilizer into the lake, promoting the growth of microcystin producing cyanobacteria blooms. Vibrant green filaments extend out from the northern shore.

Figure 2. Graph comparing nitrates between different land use types (undeveloped, agricultural, and urban).

Figure 3. Average nitrate concentrations compared upstream and downstream from a water treatment plant. The downstream measurement represents the discharge from the treatment.

Figure 4. Graph of phosphorus for different locations along the Chicago River.

Figure 5. Average phosphate concentrations compared upstream and downstream from a water treatment plant. The downstream measurement represents the discharge from the treatment.

Figure 6. Graphic of marine dead zones worldwide.  Red circles show the location and size of many dead zones. Black dots show dead zones of unknown size. Darker blues in this image show higher concentrations of particulate organic matter, an indication of the overly fertile waters that can culminate in dead zones. The size and number of marine dead zones — areas where the deep water is so low in dissolved oxygen that sea creatures can’t survive — have grown explosively in the past half-century. It is no coincidence that dead zones occur downriver of places where human population density is high (darkest brown).

APPLICATIONS

High concentrations of nitrates and phosphorus can stimulate eutrophic conditions in water by causing algal bloom that negatively affects other water quality factors including dissolved oxygen, temperature, and other indicators. Excess nitrates can lead to hypoxic water (low levels of dissolved oxygen) no longer able to support aerobic life creating a “dead zone,” where non-mobile species mass die-offs and mobile species move away to other waters. Dead zones are occurring globally in coastal regions where large amounts of high-nutrient runoff and wastewater converge, and aquatic life is most highly concentrated (Figure 6). Two of the largest dead zones are in the Baltic Sea where on average 49,000 km2 of water contained less than 2 mg/L of dissolved oxygen, and the northern Gulf of Mexico with a dead zone measured at 17,353 km2.1,2

REFERENCES

- Rabalais, N.N., Turner, R.E., Wiseman, W.J. Jr.  Gulf of Mexico Hypoxia, A.K.A. “The Dead Zone” Annu. Rev. Ecol. Syst. 33, 235-263(2002).

- Diaz, R.J., Rosenberg, R. Spreading Dead Zones and Consequences for Marine Ecosystems. Science 321, 926 (2008).