10044 GMFoods redo 25-Oct-2015

6.2 (New) The presence or absence of a 200 bp band in lane 4 indicates whether the test food contains GMOs. However, the validity of this result depends on the results from the other reactions. The plant primers determine whether plant DNA was successfully extracted from the sample. The non-GMO food control is an indicator of false positive results, should they occur. If the non-GMO food control comes out as positive, it means the PCR was contaminated at some point. If the test food is also GMO-positive, this result can’t be trusted. The GMO-positive template control is an indicator of false negatives. If the GMO-positive template control does not amplify, there is a problem with the PCR reaction and a GMO-negative result from the test food can’t be trusted. 9:15