# Submission ID #: 10081

# Scriptwriter Name: Johnny Kung

# Videographer name: Doug Davis

# Filming Date: 7/30/15

# JoVE Science Education Series: Environmental 1

# Title: Detecting Microorganisms in Environmental Sample with Polymerase Chain Reaction

Corresponding Author: Bradley W. Schmitz, Dr. Luisa A. Ikner, Dr. Charles P. Gerba, and Dr. Ian L. Pepper

- Overview

  - Polymerase chain reaction, or PCR, is a fundamental molecular biology technique that is widely applied to detecting and identifying microorganisms present in soil, water, and other environmental samples.

    - Title Slide.

  - Classically, microorganisms are cultured in labs using specialized growth media. However, many microbes in the natural environment are “non-culturable” – either because they have very low metabolic activity or growth rate, or because they have very stringent growth requirements that may not be replicable in a culture dish. The differences in culturability among microbes also mean that, when microorganisms from an environmental sample are cultured, their relative abundance in culture might not reflect their actual levels in the environment.

    - See storyboard

  - The advent of PCR, which can specifically amplify even small amounts of DNA present in a mixed sample, makes it possible to quickly detect and identify specific microbes of interest, even ones that are non-culturable, within the complex assortment of organisms present in an environmental sample.

    - See storyboard

  - This video will introduce the principles of PCR. It will then discuss a general protocol for performing PCR on DNA isolated from an environmental sample in order to detect the presence of an organism of interest. Finally, several applications of PCR-based microbe identification will be explored.

    - Use shots from 2.2, 3.3.2 – Talent adding master mix into PCR tubes, and 5.2.1.

- Principles of Polymerase Chain Reaction

  - The basic premise of PCR is to use repeated cycles of sequential temperature changes to achieve exponential amplification of DNA. The DNA synthesis is carried out by DNA polymerase enzymes that are obtained from bacteria living in hot springs, such as Thermus aquaticus or “Taq”. These polymerases are heat stable, allowing them to withstand the high temperatures used during PCR.

    - See storyboard.

  - The target sequence, known as the amplicon, is amplified from the DNA template using two short stretches of nucleotides known as “primers”. Because of the high specificity of complementary nucleic acid binding, the primers allow for the targeted amplification of very specific sequences of interest. By designing primers that will only amplify a unique sequence (or a unique combination of sequences) from an organism of interest, PCR can be used to differentially detect for the presence of that organism’s DNA among all the genetic materials present in a complex environmental sample.

    - See storyboard.

  - To perform PCR, a machine known as a thermocycler is used to automatically cycle through the different temperatures required for the reaction. Each cycle is divided into three phases. The first, known as “denaturation”, is usually set above 92 degrees and lasts about 30 seconds. Denaturation is used to break DNA molecules into single strands, to permit the amplification reaction to proceed.

    - See storyboard.

  - The second phase, “annealing”, is set 2 to 3 degrees below the lower of the melting temperature of the two primers, usually between 50 to 65 degrees, and also lasts about 30 seconds. Melting temperature is the temperature at which 50% of a double-stranded DNA molecule have separated into single strands, and so the annealing step allows the primers to bind to their target sites in the DNA template.

    - See storyboard.

  - The third phase of a PCR cycle is “elongation” or “extension”, when the DNA polymerase binds to the primer-template duplex and catalyzes synthesis of the product. Set at 72 degrees for the most commonly used PCR polymerase, Taq, the duration of this phase depends on the length of the amplicon, usually 30 seconds per 500 basepairs. After each cycle, the amplified DNA is once again denatured and serves as a new template, leading to an exponential increase in the amount of PCR products.

    - See storyboard.

  - Once the reaction is complete, the PCR products can be resolved by size on a “gel” usually made of the polymer agarose, a process known as electrophoresis. An electric field is applied across the gel, and the negative charges in the backbone of DNA molecules cause them to migrate towards the positive end of the field. Generally speaking, linear DNA molecules that are larger will take longer to travel through the gel matrix.

    - See storyboard.

  - Now that you understand how PCR works, let’s take a look at how the reaction can be used to identify microorganisms in an environmental sample.

    - Use shots from 3.4.3 - Talent placing PCR tubes into thermocycler, and 4.5.1 – Talent pipetting samples into gel.

- Setting Up and Running PCR

  - To begin, calculate the volume of each reagent needed based on the number of samples to be processed, plus an additional 10% to account for pipetting errors. A positive control template – which contains the target region – should be included to ensure that the reaction is working; as well as a negative control where no DNA template is included, in order to rule out contamination in any of the reaction components. Keep the Taq polymerase enzyme on ice, and thaw the rest of the reagents and the DNA samples at room temperature at a designated laminar flow hood to prevent contamination.

    - MED-Over the Shoulder: Talent making calculations in lab notebook.

    - See storyboard.

    - WIDE: Talent walking up to fridge and removing reagents.

    - CU: Talent placing tube that says “Taq” into ice bucket.

    - MED: Talent placing rack with various reagent tubes into PCR hood.

  - Once all the reagents have thawed, constitute the reagent “master mix” by adding the calculated volume of each reagent into a low-binding microfuge tube, which minimizes discrepancies in reagent amounts due to adsorption of molecules to the tube surface. Gently vortex and centrifuge each reagent before adding. Once the master mix is prepared, vortex to mix and collect by centrifugation.

    - MED: Talent pipetting water into tube.

    - CU: Talent vortexes a reagent tube, then centrifuges reagent in tabletop centrifuge.

    - MED: Talent pipetting reagent into master mix tube.

    - CU: Talent vortexes then centrifuges master mix tube.

  - Label an 8-tube PCR strip to designate one tube for each sample, including the controls. Dispense the appropriate amount of PCR master mix into each tube of the strip. Then, add each DNA sample to the respective tube.

    - MED: Talent writing on PCR strip tube.

    - MED-OS: Talent pipetting master mix into PCR tubes.

    - CU: DNA sample being pipetted into PCR tubes with labels.

  - Place the strip cap securely on the strip tube, and centrifuge briefly in a mini-centrifuge with a strip adaptor. Then, place the tube into the thermocycler, and run the reaction according to the appropriate PCR program. A typical program consists of a denaturation step at 94 degrees for 3 min; 30 to 50 amplification cycles that includes 30 sec of denaturation at 94 degrees, 30 sec of annealing at the primer-specific temperature, and extension at 72 degrees for 30 sec for an amplicon of 500 basepairs or less; and a final extension step at 72 degrees for 7-10 min.

    - MED: Talent securing tube cap onto PCR tube.

    - CU: Talent centrifuging PCR tube in tabletop centrifuge with strip adaptor.

    - MED: Talent placing PCR tubes into thermocycler.

    - CU: Talent setting program on thermocycler.

    - See storyboard.

- Gel Electrophoresis

  - While the PCR is being run, prepare an agarose gel for the electrophoresis of the PCR products. Weigh out an appropriate amount of agarose powder for a gel of an appropriate concentration that can resolve the PCR products based on their expected sizes. Add the agarose into a 125-mL Erlenmeyer flask, then add the appropriate volume of gel-running buffer into the flask, based on the volume of the gel cast, and swirl to mix. Microwave the agarose solution at high power for 1 min. When complete, verify the agarose has fully dissolved by swirling the flask, and repeat microwaving in 30-sec increments if necessary.

    - WIDE: Talent at chemical workstation.

    - MED: Talent scoops agarose powder onto weighboat on a scale, then dumps into flask.

    - Table 2.

    - MED: Talent pours buffer into graduated cylinder, then pours it into flask and swirl.

    - WIDE: Talent putting flask into microwave and set to heat.

    - MED-OS: Talent swirling flask to check for agarose being completely dissolved.

    - MED: Talent placing flask back into microwave.

  - Tightly secure the cap onto the flask, and cool the agarose solution to 50 degrees by swirling the flask under running cold water. Once cooled, add 1 µL of ethidium bromide to the agarose. Because ethidium bromide is potentially carcinogenic, be sure to wear personal protective equipment such as goggles, a lab coat, and ethidium bromide resistant gloves.

    - MED: Talent securing cap onto flask, then swirls flask under running tap.

    - CU: Ethidium bromide being pipetted into agarose.

    - MED: Talent pipetting ethidium bromide, with protective gear visible.

  - Pour the agarose solution into an electrophoresis gel-casting tray, making sure that no air bubbles are trapped within the agarose. Place a comb with the required number of wells into the solution. Leave the gel at room temperature for 20 to 30 min to solidify. Once the gel is set, carefully remove the comb, making sure not to tear the gel in the process.

    - MED: Talent pouring gel into tray.

    - CU: Talent using pipette tip to get rid of bubbles from gel, then places comb into gel.

    - MED: Talent walking away from the gel.

    - MED: Talent back at the gel, removing the comb from the gel.

  - Place the solidified gel into the electrophoresis chamber. Add LB buffer into the chamber until the gel is just submerged. Onto a piece of parafilm, pipette a “spot” of DNA ladder of a suitable range for the expected size of the PCR products. Retrieve the PCR tubes with the completed reactions from the thermocycler. Collect condensates in the PCR tubes by brief centrifugation, and add 8 µL of each sample onto the parafilm. Add 2 µL of 10x [VO talent: read this as “ten x”] loading dye into each spot of PCR product, so that the final concentration of the dye is 2x [VO talent: read this as “two x”].

    - MED: Talent placing gel into electrophoresis chamber

      - then pours buffer into chamber, stopping when gel just submerged.

    - MED: Talent places parafilm over designated rack and keeps track of where each sample will be mixed with dye.

      - Talent pipettes ladder into first location on parafilm, creating a ‘dot’

    - MED: Talent opening thermocycler and removing tubes, then places tubes into tabletop centrifuge.

    - CU: Talent opening PCR tubes and pipetting sample into sample ‘dots’ on parafilm.

    - Add dye to each ‘dot’ on parafilm. Agitate briefly by bringing mixture into pipette back and forth gently.

  - Load the samples and ladder into the designated wells in the agarose gel, being careful not to poke through the gel. Once loading is complete, put on the lid to the electrophoresis chamber, and connect the electrodes to the power supply. Since DNA is negatively charged and migrates towards the positive electrode, be sure the wells are on the side closer to the negative electrode. Turn on the power supply, and set it to a voltage appropriate for the size of the electrophoresis chamber and the buffer system being used. Set the electrophoresis to “run”. Small bubbles moving up the sides of the chamber will be observed if the electrophoresis is proceeding properly.

    - CU: Talent inserting pipette tip with sample into wells and dispenses sample. Get shots of samples being pipetted into a few wells.

    - MED: Talent putting lid onto chamber, then connecting electrodes.

    - CU: Talent using fingers to trace leads running from appropriate electrode to power supply.

    - CU: Talent turning on power supply, setting voltage, and pressing “run” button.

    - ECU: Bubbles running up the side of the buffer.

  - Once the dye front has advanced far enough down the gel, turn off the power supply. Carefully transport the gel to a gel imager to visualize the electrophoresed products. With a protective shield, turn on the UV light and visualize the DNA bands on the gel. Analyze the position of the bands to see if it matches the expected pattern that indicates the presence of the species of interest in the environmental sample.

    - CU: Shot of dye front some way down the gel.

    - WIDE: Talent turns off power supply, removes gel from chamber and walks over to the imager.

    - MED: Talent placing gel into UV lightbox, putting on protective shield, and turning on lightbox.

    - CU: Fluorescent image of gel on the imager.

    - Figure 6.

    - Additional footage for 4.6.3-4: MED: Talent opening door of gel-doc, placing gel inside, closing gel-doc door, turning on UV, and using the computer to acquire image. Shot should include gel image appearing on computer screen.

- Applications

  - Now that you have seen how PCR is performed, let’s look at various ways it is applied to detect microorganisms of interest in the environment.

    - Title slide.

  - (Lower third: Application #1- Identifying Pathogenic Microbes in Environmental Sample) One use of PCR-based environmental microbial detection is to identify disease-causing organisms such as the “brain-eating amoeba” Naegleria fowleri, a single-cell organism found in fresh water bodies and unchlorinated pools that can attack the human nervous system, often fatally. The presence of this deadly microbe in either water samples or the cerebrospinal fluid of suspected patients can be tested by performing PCR using primers that target unique DNA sequences in the amoeba’s genome.

    - See storyboard.

  - (Lower third: Application #2- Detecting Foodborne Pathogens in Flies) Another application for PCR-based microbial identification is to test for the presence of pathogenic bacteria in flies caught in the vicinity of food establishments, as part of public health monitoring and disease outbreak investigations.

    - 52372@0:23 (animation of flies around restaurant dumpster)

  - Here, investigators looked for the presence of pathogenic bacteria such as Salmonella and Listeria (5.4.1), by first isolating bacteria from both the body surface and the digestive canal of flies (5.4.2), and then using species-specific culture conditions to enrich for these species of interest. (5.4.3) After extracting DNA from any bacteria that were cultured, commercially available species-specific detection PCR kits was used to test for their identity. (5.4.4)

    - 52372@2:53-3:02 (talent putting fly into tube)

    - 52372@4:35-42 (talent pulling gut out of fly)

    - 52372@5:25-30 (talent pipetting bacteria into tubes with specific enrichment media)

    - 52372@8:00-04, 15-20 (talent pipetting into PCR tubes, placing into thermocycler)

  - (Lower third: Application #3- Distinguishing Antibiotic-Resistant Bacterial Strains) Finally, different strains of antibiotic-resistant pathogenic bacteria such as Staphylococcus aureus, which present major public health concerns, can be identified and differentiated with PCR.

    - See storyboard.

  - In this example, researchers isolated and cultured S. aureus from clinical samples (5.6.1), then extracted DNA from the bacterial colonies and performed PCR. (5.6.2) The amplification reactions here were “multiplexed”, meaning that multiple primer sets targeting different unique regions of the bacterial genome were combined into the same reaction. (5.6.3) Individual primer sets were designed so that PCR products result from DNA of only some strains but not others, so that in combination, unique product band patterns were observed for each strain. (5.6.4)

    - 50779@1:36-41 (talent streaking plate)

    - 50779@3:09-13, 25-30 (talent pipetting into PCR tubes, then putting tubes into thermocycler)

    - 50779 Figure 3

    - 50779 Figure 4

- Summary

  - You’ve just watched JoVE’s video on PCR-based microorganism detection. We’ve looked at the principles behind polymerase chain reaction; a protocol for performing PCR on DNA extracted from environmental microorganisms; and finally, several specific applications of this technique to test for organisms of interest in different types of environmental or clinical samples. Thanks for watching!