# Submission ID #: 10083

# Scriptwriter Name: Dipesh Navani

# Videographer name: TBD

# Filming Date: TBD

# JoVE Science Education Series: Clinical Skills I

# Title: Blood Pressure Measurement

# Authors and Affiliations:

# Corresponding Author:

Notes to authors are in italics and highlighted.

- Overview

  - Blood pressure is a vital sign obtained routinely in hospital and outpatient settings (1.1.1), and it is one of the most common tests performed around the world (1.1.2).

    - Title Slide.

    - Pick 2-3 CU footage of BP measure from below and make small screen pop around the world map (DAM ID: 1400) as shown in the video 5019@0:12 with exactly the same sound effect

  - The term blood pressure describes the lateral pressure produced by blood upon vessel walls.

    - See storyboard

  - One of the most important applications of blood pressure measurement is the checking for increased blood pressure, a condition termed ‘hypertension’ (1.3.1). One in every three adults in the United States suffers from hypertension and it is one of the leading causes of cardiovascular diseases (1.3.2).

    - See storyboard

    - See storyboard

  - This video will illustrate the principles behind traditional blood pressure measurement technique and then it will review the critical steps to be followed during this procedure.

    - Reuse storyboard – 2.4.1

    - Reuse shot – 3.11.1, 3.11.2

- Principles Behind Blood Pressure Measurement

  - Before delving into the steps of the procedure, let’s discuss the principles behind blood pressure measurement

    - Section Title Slide

  - The equipment needed for traditional, indirect measurement of blood pressure is a stethoscope and a sphygmomanometer (2.2.1). The sphygmomanometer consists of a blood pressure cuff containing a distensible bladder (2.2.2), a rubber bulb with an adjustable valve which when closed…helps in cuff inflation (2.2.3)…(Editor: Add a pause to show the animation of inflation) and when open…releases the built pressure (2.2.4)…(Editor: Add a pause to show opening of valve and release of pressure). It also consists of tubing - connecting the cuff to the bulb (2.2.5), and to the manometer, which displays the cuff’s pressure in mmHg (2.2.6) (VO: mmHg should be read as “millimeters of mercury” throughout the script).

    - – 2.2.6. See storyboard

  - In order to record the blood pressure reading, the examiner wraps the cuffs around the brachial artery (3.4.1), places a stethoscope over this artery (3.10.2), inflates the cuff above the expected systolic pressure (3.10.3) and then deflates it while auscultating and observing the manometer simultaneously (3.11.2).

2.3.1. Reuse shot in this sequence aligning with narration – 3.4.1 > 3.10.2 > 3.10.3 > 3.11.2

  - Now let’s see what happens to the blood flow in the artery during this entire sequence. Initially, when the cuff is full inflated the artery is squeezed, the blood flow is halted; and thus there is no sound.

    - See storyboard

  - Upon deflation, when the pressure in the cuff falls below the pressure in the brachial artery, the turbulent blood flow in a partially squeezed artery produces the Korotkoff audible sounds…(Editor: Add a pause here and play the kortkoff sounds). The first sound signifies the maximum arterial pressure during systole.

    - See storyboard

  - When the pressure in the cuff is reduced further and falls below the minimal arterial pressure, the Korotkoff sounds become no longer audible. The reading at this point signifies the diastolic pressure. And the final blood pressure is recorded as a fraction of systolic pressure over diastolic.

    - See storyboard

- Steps to be Followed During BP Measurement

  - With this knowledge, now let’s go through the step-wise procedure of obtaining accurate blood pressure readings.

    - Section Title Slide

  - Make sure the patient has changed into a gown (3.2.1) and ensure that he or she is rested for at least 5 minutes prior to obtaining blood pressure (3.2.2).

    - WIDE: Physician offering patient the gown and leaving the room

    - MED: B-roll: Patient wearing the gown sitting on the exam table

  - To guarantee an accurate reading, ensure that the patient is sitting comfortably (3.3.1) with their feet uncrossed and resting on the floor (3.3.2).

    - WIDE: Doctor enters the room and asks the patient to sit comfortably

    - MED or CU/B-roll: Patient’s sitting with feet uncrossed and resting on the floor.

  - Confirm proper sizing of the blood pressure cuff (3.4.1). To do that, look at the index line on the cuff when wrapped around the arm, it should fall within the marked arm circumference range limits (3.4.2). This is critical, as a smaller cuff may falsely elevate the readings and potentially lead to misdiagnosis (3.4.3).

    - MED: Doctor wrapping the cuff around the patients arm

    - CU: Doctor reciting the narration and pointing to the ‘line on the cuff’ and then showing the range of the ‘marked arm circumference range limits’

Note to editor: Add lines and arrows on the shot to show that how the index line lied between the range limits.

    - CU: Patient’s arm with a smaller cuff

Editor: Add the 3.4.3 as an inset after freeze framing at the end of 3.4.2 for the last sentence.

  - The cuff should be placed about 2.5 cm above the antecubital fossa (3.5.1). Make sure the patient’s arm is free of clothing and resting at their side with the brachial artery at the level of the heart (3.5.2).

    - CU: Doctor showing the distance between the antecubital fossa and the edge of the cuff with the help of thumb and index finger.

    - MED: B-roll: Patient’s arm with the cuff and doctor pointing that the brachial artery is at the level of the heart.

  - Next, find the radial pulse with your index finger (3.6.1). Once the pulse is identified, close the valve on the pressure bulb by turning it clockwise (3.6.2).

    - CU: Doctor finding the radial pulse with index and middle fingers

    - CU: Doctor closing the valve on the pressure bulb by turning it clock wise.

  - Then, inflate the cuff by squeezing the pressure bulb rapidly. Inflate the cuff until the radial pulse cannot be felt anymore and note the mercury level on the manometer.

    - MED: Doctor squeezing the bulb rapidly, while measuring pulse

Note to author: Ensure that the reading is approximately similar to the finding in a ‘normal’ patient. Please keep this in mind for all the shots acquiring reading on the manometer. It should be representative of the findings during BP measurement of a normal patient.

  - Continue to inflate the cuff until the pressure increases for an additional 30 mmHg approximately (3.8.1). Try not to go beyond this mark as it might lead to unnecessary over inflation, which is uncomfortable for a patient (3.8.2).

    - CU: Manometer reading doing up to about 150. As soon as the reading reaches about 140 freeze the frame and add a red arrow over the highest mark the hand reached.

    - FREEZE FRAME

  - Then, open the valve slowly by rotating it counterclockwise and deflate the cuff at the rate of approximately 2 mmHg per second until the radial pulse returns (3.9.1). Note the manometer reading when the radial pulse reappears (3.9.2) and record it on the vital signs flow sheet as the ‘pulse-obliterating pressure’ (3.9.3).

    - CU: Doctor opening the valve slowing while measuring the radial pulse

Note to editor: Continue with 3.8.1 on main screen and add an inset of 3.9.1 shot and align the visual such that when the narration says “…until radial pulse returns” the reading on the manometer should be about 120.

    - Continue with 3.8.1 Add a red arrow over 112

    - CU: Doctor writing this reading as the pulse-obliterating pressure on the vital signs sheet.

  - After this, proceed to obtaining blood pressure with auscultation (3.10.1). Place the chest piece over the brachial artery in the medial aspect of antecubital fossa (3.10.2). Inflate the cuff again to a level above the pulse-obliterating pressure and confirm that no sound is present (3.10.3).

    - MED: Doctor putting the stethoscope on

    - CU: Doctor placing the chest-piece in the medial aspect of antecubital fossa

    - ECU/CU: Doctor inflating and reading on the manometer rising as the doctor is inflating to a point, which is above the pulse-obliterating pressure, measured in 3.9.2.

  - Now, slowly deflate the cuff at a rate of 2 mmHg per second (3.11.1). Listen carefully and note the value (3.11.2) on the manometer when the Korotkoff sound can be heard…(Editor: Play the audio file named ‘Kortkoff’ here and align it with video as if it appears when the manometer reaches around 118). The manometer reading at that moment corresponds to the systolic blood pressure …(Editor: Add an arrow and TEXT showing 118 as the systolic blood pressure AND continue playing the ‘kortkoff’ sound in the background as the reading is dropping on the manometer. For this whole section simulate: https://www.youtube.com/watch?v=VJrLHePNDQ4).

    - CU: Doctor opening the valve slowly to deflate

    - MED (Over doctor’s shoulder): Doctor listening while deflating the BP cuff with the stethoscope on.

    - ECU/CU: Reading on the manometer dropping as the doctor is deflating to around 120 mmHg where is stays for a couple of seconds.

  - Continue slowly deflating the cuff (3.12.1) while listening for the sounds to completely disappear. This signifies the diastolic blood pressure (3.12.2)…(Editor: Continue playing the ‘kortkoff’ sound in the background as the reading is dropping on the manometer and make it disappear as soon as it reaches around 80mm Hg AND add an arrow and TEXT showing 74 as the diastolic blood pressure. Simulate: https://www.youtube.com/watch?v=VJrLHePNDQ4).

    - CU: Doctor opening the valve slowly

    - ECU/CU: Reading on the manometer dropping as the doctor is deflating to around 74 mmHg where is stays for a couple of seconds.

  - Make sure to deflate the cuff entirely so as not to miss the diastolic pressure (3.13.1). Record the systolic and diastolic blood pressure measurements on the vital signs sheet (3.13.2).

    - CU: Doctor opening the valve fully

    - MED: Doctor making a note of the systolic and diastolic blood pressure measurements on the vital signs sheet.

  - Normally, the systolic blood pressure on inspiration tends to be lower than the one during expiration due to decreased intrathoracic pressure (3.14.1). However, an abnormally large fall - more than 10 mmHg - in systolic blood pressure on inspiration is defined as pulsus paradoxus (3.14.2), which is most commonly associated with cardiac tamponade or severe chronic obstructive pulmonary disease (3.14.3).

    - Add a Zoom-in effect on the patient chart from the previous shot and transition into the storyboard.

    - See storyboard

    - See storyboard

  - To check for pulsus paradoxus, first inflate the cuff (3.15.1) to approximately 30 mmHg higher than the previously determined systolic pressure. Then, deflate at the rate of about 2 mmHg per second. If pulsus paradoxus is present, the first Korotkoff sound is intermittent and occurs just during expiration. Note the reading, which corresponds to higher systolic blood pressure on expiration. Continue to deflate the cuff at 2 mmHg per second until the Korotkoff sounds are audible on both expiration and inspiration that is with every heartbeat; note this reading as well, which corresponds to lower systolic blood pressure on inspiration (3.15.2).

    - MED: Doctor inflating while listening

    - ECU/CU: Reading on the manometer rising to about 150 and then dropping as the doctor is deflating to around 80 mmHg. During this try to stabilize the reading a little bit around 120 and then 90, as we are planning to play sounds that would be actually heard during inspiration and expiration. See this video to understand what we’re trying to achieve: https://www.youtube.com/watch?v=jTsjCZ9QxW8

Note to editor: Editor: Using the visual and the audio files ‘pulsus paradoxus’ try to emulate https://www.youtube.com/watch?v=jTsjCZ9QxW8, FREEZE FRAME for the highlighted sections and as necessary, and add arrow indicating the readings as mentioned in the narration).

  - Calculate the difference between systolic blood pressure on expiration and inspiration to determine if pulsus paradoxus is present or absent.

    - CU: Doctor writing on the notepad –

Systolic Blood Pressure During Expiration = 120mmHg

Systolic Blood Pressure During Inspiration = 90mmHg

Difference = 30mmHg

Pulsus Paradoxus  Present

Note to author: Have a sheet with the underlined titles already written and for the shot just write the values and the final result.

  - Lastly, check for orthostatic hypotension (TEXT: Orthostatic Hypotension). Place the patient in a supine position (3.17.1) and wait for a minimum of 5 minutes (TEXT: 5 minutes) before obtaining the reading (3.17.2).

    - WIDE: Doctor asking the patient to lie down and patient doing so.

    - MED: B-roll: Patient with the BP cuff lying on the exam table

  - Obtain a blood pressure measurement in this position following the method described previously (3.18.1). Record the measurement on the vital signs sheet and make sure to note the position of the patient (3.18.2).

    - MED: Doctor recording the patients blood pressure in supine position

    - CU: Doctor noting the BP reading on the vital sheet along with the patient’s position – SUPINE. Make sure to record BOTH – reading and position.

  - Next, request the patient to stand (3.19.1) and repeat the blood pressure measurement after 3 minutes of standing (TEXT: 3 minutes) (3.19.2). Calculate the difference in pressures (3.19.3). If there is a decrease of 20 mmHg or greater in the systolic pressure, or 10 mmHg or greater in the diastolic pressure, then the patient suffers from orthostatic hypotension (3.19.4).

    - WIDE: Doctor asking the patient to stand up and patient stands up.

    - MED: Doctor taking BP in standing position

    - MED – over doctor’s shoulder: Calculating the difference between the reading. MAKE SURE that the chart already has two reading written on it – one for SUPINE and one for STANDING.

    - Editor: Zoom-into the chart and fade into the storyboard.

- Summary

  - You’ve just watched JoVE’s video on how to accurately measure blood pressure.

    - Title slide.

  - Despite being a simple and non-invasive measurement, obtaining an accurate blood pressure reading is a skill that requires practice. In addition, correct interpretation of the findings requires good understanding of the physiology and the principles behind this procedure.

    - Reuse shots – 3.9.1 > 3.10.1 > 3.10.2

  - As always, thanks for watching!