**PI Name:** Bradley W. Schmitz, Dr. Luisa A. Ikner, Dr. Charles P. Gerba, and Dr. Ian L. Pepper

**Environmental Science Education Title:** Amplifying RNA-Based Environmental Microorganisms via Reverse Transcriptase Polymerase Chain Reaction

**Overview:**

Reverse Transcriptase Polymerase Chain Reaction (RT-PCR) involves the same process as conventional PCR, cycling temperature gradients to amplify nucleic acids. However, conventional PCR amplifies deoxyribonucleic acids (DNA), whereas RT-PCR exponentially increases the amount of ribonucleic acids (RNA) through the formation of complementary DNA (cDNA). This transforms single-stranded nucleic acids into double-stranded structures, enabling RNA-based organisms to be analyzed utilizing methods and technologies designed for DNA.

Conventional, nested, and quantitative PCR (qPCR) methodologies rely on double-stranded nucleic acid templates, therefore, inhibiting their capabilities to amplify RNA present in the environment. However, RT-PCR provides a means for single-stranded RNA and mRNA structures to be converted by specialized enzymes, known as reverse transcriptase, that reverse transcribe RNA into cDNA (**Figure 1**). After the double-stranded configuration is amplified, the nucleic acid can be implemented as the starting template into further downstream assays.

Many viruses house RNA as their genomic material, requiring RT-PCR as the pretreatment before further molecular assays. Several RNA-based viral pathogens, such as *Norovirus*, and indicator organisms, such as Pepper Mild Mottle Virus (PMMoV), do not have culture-based detection methods for quantification. Therefore, assays for these viruses rely on RT-PCR as a precursor to PCR or qPCR for their detection and enumeration in the environment. Without RT-PCR, microbiologists would not be able to assay and research numerous RNA-based viruses that pose risks to human and environmental health.

RT-PCR can also be employed as a tool to measure microbial activity, as messenger RNA (mRNA) is the single-stranded template for protein translation. Whole community activity can be analyzed by using a fusion primer during RT-PCR, which generates cDNA from mRNA that can be used in further assays to determine the gene expressions within an environmental sample. This indicates which genes and microbes are synthesizing into proteins within the environment in order to perform functions necessary for metabolic pathways and survival.

Reverse transcription can be controlled to amplify desired nucleic acid products. Random primers are initiation sequences incorporated into RT-PCR to start amplification of most RNA present. These primers are able to attach to nucleic sequences that are broadly found throughout many types of microbes. This enables the reverse transcriptase enzyme to polymerize the genetic material for numerous microbes, so the sample can be analyzed for multiple organisms and/or their relative abundance in the environment.

However, specific primers initiate cDNA amplification for precise sequences found in only one or a few microbes. This allows singular analysis without interfering nucleic acids.

**Procedure:**

1. Sample Collection.
   1. Soil Sample.
      1. Collect soil samples from multiple depths of a soil profile using an auger or shovel.
      2. Sieve soil through 2 mm to remove gravel and rock.
   2. Water Sample.
      1. Collect 1 L of water in Nalgene bottle.
2. Nucleic Acid Extraction.
   1. Extract RNA from viruses, as capsids are broken, which allows nucleic acid to be accessed.
      1. Obtain a commercial extraction kit.
         1. Soil – MoBio Power Soil RNA Isolation Kit.
         2. Water – MoBio Power Water RNA Isolation Kit or Zymo ZR Viral DNA/RNA Extraction Kit.
   2. Extract mRNA from eukaryotes and prokaryotes via cell lysis.
      1. Grow colonies on a Petri dish containing proper substrate for desired microbe growth.
      2. Add colony to sterile tube containing 500 μL molecular grade water.
      3. Vortex to suspend pellet.
      4. Add locking cap to tube and boil for 10 min using a hot plate.
      5. Vortex for 1-2 min to shear DNA.
      6. Centrifuge for 5 min at max speed to pellet cell debris.
      7. Transfer the top 100 μL of supernatant to a clean tube.
      8. Dilute DNA to 1:10 and 1:100.
3. Reverse Transcriptase Polymerase Chain Reaction.
   1. Thaw reagents inside a “clean” hood at room temperature (stored at -20 oC).
      1. 25x dNTP, 10x Reverse Transcription Buffer, 10x Random Primer, Multiscribe Reverse Transcriptase (50 U/μL), and Rnase Inhibitor.
   2. Calculate the final cDNA volume needed to be obtained from each sample.
      1. C = cDNA volume needed per sample.
      2. 2 = duplicates for each organism being analyzed.
      3. n = number of organism species, plus one extra, to be analyzed.
      4. r = volume of cDNA per reaction utilized during future analysis.
      5. Add an additional 10% and round up to the nearest ten.

C = 2 n r

*Example*: 4 RNA-based viruses need to be amplified into cDNA for future qPCR analysis that utilizes 2.5 μL per reaction.

cDNA per sample = 2 duplicates x 5 virus types x 2.5 μL per reaction = 25 μL

25 μL + 2.5 μL (10%) = 27.5 μL ≈ 30 μL cDNA per sample

* 1. Calculate the master mix volume that needs to be created.
     1. Split the previously calculated volume cDNA in half to create 1:1 ratio of master mix to sample extract.
     2. e = number of sample extracts to be processed + one positive control.
     3. m = master mix volume needed for each sample.
     4. M = total master mix volume needed.
     5. Add an additional 10% and round up to the nearest ten.

cDNA per sample = 30 μL = 15 : 15 ratio

15 μL master mix : 15 μL sample extract

m = 15 μL

*Example*: There are 10 sample extracts to be processed for future qPCR analysis.

M = e m

Master Mix volume = 11 extracts x 15 μL master mix per sample = 165 μL

165 μL + 17 μL (10%) = 182 μL ≈ 185 μL Total Master Mix needed

* 1. Calculate the factor by which reagents are to be multiplied by to create the master mix volume needed.
     1. M = total master mix volume needed.
     2. v = total component volume of master mix for one reaction.
        1. One reaction requires 10 μL master mix.
     3. x = factor to multiple reagents by.

M = v x

185 μL = 10 x

x = 18.5 μL

* 1. Calculate the volume of each reagent needed to create the total master mix volume required for the cDNA amplification of all samples. Multiply the reagent volume needed in one reaction by the factor calculated from the previous step (**Table 1**).
  2. Prepare 1.5 ml LoBind Eppendorf tube. LoBind prevents binding to plastic.
  3. When reagents thaw, add calculated volumes to LoBind Eppendorf tube.
     1. Gently vortex and spin (mini-centrifuge) each before adding.
     2. Change pipette tip between adding each reagent to prevent contamination and to ensure precision when adding volumes.
     3. Put reagents back into storage (-20 oC) after adding into master mix.
  4. After all reagents have been added into the 1.5 ml Eppendorf tube, vortex and spin to create a heterogenous mixture.
  5. Prepare 8-tube strip, with tube “1” positioned on the left and tube “8” on the right.
     1. If preparing more than 8 samples/tubes, multiple strips are needed.
     2. Designate a tube for each sample, including negative controls with only H2O.
  6. Aliquot calculated amount of master mix required into each tube on the strip.
     1. Amount to be added was calculated in Step 3.4.3.

cDNA per sample = 30 μL

15 μL master mix : 15 μL sample extract

Aliquot 15 μL master mix into each tube.

* 1. Thaw extracts and add calculated amount into each sample’s designated tube.

cDNA per sample = 30 μL

15 μL master mix : 15 μL sample extract

Aliquote 15 μL extract into each tube.

* 1. Cap strip securely on 8-tube strip, and mini-centrifuge to ensure all liquid is collected at the bottom of each tube (**Figure 2**).
  2. Place 8-tube strip securely in thermal cycler. Press down to ensure tubes are secured.
  3. Run thermal cycler for High Capacity Reverse Transcripase (**Table 2**).
  4. When thermal cycler is finished, the tubes contain cDNA product.
  5. Analyze product via gel electrophoresis to ensure cDNA was created.
  6. Store cDNA at -20 oC, until it is later processed via PCR or qPCR.

**Applications:**

Reverse Transcriptase Polymerase Chain Reaction (RT-PCR) is necessary to create double-stranded complementary DNA (cDNA) from a single-stranded RNA template. This enables RNA-based microorganisms to be analyzed utilizing assays that require double-stranded templates. Once the double-stranded product is created, PCR assays can determine the presence or absence of RNA-based microorganisms within an environmental sample. This enables further downstream analysis to determine microbial ecology, health risks, and environmental risks.

RT-PCR can be utilized to amplify mRNA as a means to observe which genes are being expressed abundantly in an environment. This provides information on which protein and functions microbes rely on to survive in the environment. Gene expression can highlight microbial pathways that breakdown contaminants, such as hydrocarbons or chlorinated solvents, and these microbes can be implemented for bioremediation.

Risk assessment incorporates RT-PCR in order to analyze human and environmental health risks. Many viral pathogens’ morphology simply contains RNA nucleic acids within a protein capsid. Therefore, most assays are not able to analyze these viruses. However, RT-PCR provides a means for further downstream assays to be employed to determine risk exposure. Combining RT-PCR with qPCR allows RNA viruses to be enumerated within samples, so that human and environmental exposure can be calculated for the overall Quantitative Microbial Risk Assessment (QMRA).

**Legend:**

Figure 1: Step-by-step process of RNA transcribing to cDNA.

Figure 2: Capped 8-tube strip containing master mix and extract.

Table 1: RT - PCR Master Mix Ingredients.

Table 2: RT - PCR Reaction Temperature Profile.