Video Comments:

| Time-code |  | Comment | Suggestion |
| --- | --- | --- | --- |
| 1. | 5:21-5:23 | V.O. says “. . . increase the voltage gradually. . .” Video actually shows adjustment of current limit not voltage. | If not possible to reshoot showing adjustment of voltage control, then leave shot as is. |
| 2. | 6:00-6:02 | V.O. says “. . .increase the voltage gradually . . . “ Video actually shows adjustment of current limit not voltage. | If not possible to reshoot showing adjustment of voltage control, then leave shot as is. |
| 3. | 6:36 – 6:40 | Text “Reactance: Opposition to change in current” is not accurate definition. | Text should be: “Reactance: AC equivalent of resistance for capacitance or inductance” |
| 4. | 8:36 – 8:40 | Text: “Power factor: Ratio of real power used to do work and apparent power supplied to the circuit” is imprecise. | Text should be: “Power factor: Ratio of real power dissipated in a circuit to apparent power supplied to the circuit.” |

Audio Comments:

| Time code |  | Comment | Step in Script (ex 4.2) | Rewritten Text or Corrected Pronunciation |
| --- | --- | --- | --- | --- |
| 1. | 1:34 | “Magnetic flux, or the density of the magnetic field is then coupled to the secondary winding through the core, where it induces a voltage.” is incorrect. | 2.1.1. | “Magnetic flux, which is the amount of magnetic field passing through an area, is then coupled through the core to the secondary winding where it induces a voltage. “ |
| 2. | 9:59-10:03 | “The ratio of the primary voltage to secondary voltage should ideally equal the inverse of the turns ratio.” is incorrect. | 6.2.2. | “The ratio of the primary voltage to secondary voltage should ideally equal the turns ratio.” |
| 3. |  |  |  |  |
| 4. |  |  |  |  |
| 5. |  |  |  |  |
| 6. |  |  |  |  |
| 7. |  |  |  |  |
| 8. |  |  |  |  |
| 9. |  |  |  |  |
| 10. |  |  |  |  |
| 11. |  |  |  |  |
| 12. |  |  |  |  |
| 13. |  |  |  |  |
| 14. |  |  |  |  |
| 15. |  |  |  |  |
| 16. |  |  |  |  |
| 17. |  |  |  |  |
| 18. |  |  |  |  |
| 19. |  |  |  |  |
| 20. |  |  |  |  |

Text Protocol:

Please use this table to address changes that need to be made to the text.  List the step in the text protocol where there is an issue, your comments pertaining to that issue, and how we should resolve it.  For drastic changes to the protocol (major structural changes or more than 10 spelling or grammatical mistakes), we will require re-upload of the entire document.

| 1. | Step in Protocol | Comment | Suggestion |
| --- | --- | --- | --- |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| 5. |  |  |  |
| 6. |  |  |  |
| 7. |  |  |  |
| 8. |  |  |  |
| 9. |  |  |  |
| 10. |  |  |  |
| 11. |  |  |  |
| 12. |  |  |  |
| 13. |  |  |  |