# Submission ID #: 10205

# Scriptwriter Name: Randy Holmes-Farley

# Videographer name: Kevin McRoberts

# Filming Date: 2/10/16

# JoVE Science Education Series: Analytical Chemistry

# Title: Sample Preparation for Analytical Characterization

Author: B. Jill Venton

- Overview

  - Proper sample preparation is a critical first step in all types of chemical analyses.

    - Title slide.

  - Suitable sample preparation is essential to reduce the potential for error. Error can be mitigated in several ways: from the selection of proper glassware to attention to significant figures in calculations.

    - See storyboard.

  - For many analytical instruments, a uniform solution of the sample of interest must first be prepared. (1.3.1.) The process of dissolution, where a solute dissolves in a solvent, enables the formation of a homo-geneous solution that can then be withdrawn for use in one or more analyses. (1.3.2.)

    - See storyboard.

  - However, the dissolved sample often requires additional preparation steps before it is ready for analysis. These techniques, such as filtration, extraction, or chelation may also be performed prior to analysis.

    - See storyboard.

  - This video will demonstrate some key steps in proper sample preparation for subsequent chemical use.

    - Use shot: 3.7.1

- Principles of Sample Preparation

  - Errors can be classified as either systemic or random. Random errors are associated with unexpected change, such as environmental conditions.

    - See storyboard.

  - Systemic errors are associated with experimenter or instrument bias. These errors in sample preparation can be avoided by ensuring that both the procedure and the devices, such as balance or pipette, are used properly.

    - See storyboard.

  - When preparing a sample solution, the choice of solvent is important, and can be based on the requirements of the instrument being used. Some instruments require aqueous solvents while others require organic. (2.3.1.) It is also necessary for the sample to dissolve in the selected liquid. (2.3.2.) Solubility is a factor of intermolecular interactions of the analyte with the solvent, and can often be manipulated by changing the type of solvent, temperature, or pH. (2.3.3.)

    - See storyboard.

  - The sample must be carefully measured to make a test solution with an accurate concentration. (2.4.1.) A solid sample is weighed on an analytical balance for improved accuracy. A hygroscopic sample that contains moisture may need to be dried in an oven or desiccator before weighing. (2.4.2.)

    - See storyboard.

  - A liquid sample can be measured by weight or volume. When using volume measurements, be sure to use a volumetric flask, as errors can be introduced when using other measurement glassware, such as a volumetric cylinder with large graduations. (2.5.1.) For small volumes, a glass volumetric pipette can be used. These are typically calibrated to deliver one accurate volume with the last drop remaining in the pipette. (2.5.2.)

    - See storyboard.

  - In order to prepare the test solution, the accurately measured sample is dissolved using the volumetric flask. (2.6.1.) Initially, use less than the final volume of solvent to dissolve the sample. After mixing, add additional solvent carefully to bring the solution to its final volume. (2.6.2.)

    - See storyboard.

  - After dissolving most of the sample into the solvent, there may still be solids present that need to be removed prior to analysis. These unwanted solids can be removed by filtration in order to avoid damaging the instrument.

    - See storyboard.

  - Sample preparation can also include extracting or pre-concentrating a sample. Chelation, or binding of specific metals with EDTA may be required, for example, when one metal interferes with the analysis of another. (2.8.1.) Because EDTA can complex with many different metals, an interfering metal may be “masked” during the analysis of another metal. (2.8.2.)

    - See storyboard.

  - This is done by combining it with a chemical that prevents it from being detected, called a masking agent. (2.9.1.) De-masking of the interfering conpound can then be performed to release the masked metal ion and allow for its analysis. (2.9.1.)

    - See storyboard.

  - Now that the basics of sample preparation have been outlined, let’s take a look at a typical preparation in the laboratory.

    - Use shot: 3.8.3

- Sample Preparation in the Laboratory

  - To begin, select an appropriately-sized volumetric flask.

    - WIDE: Talent walks into the room, selects a flask from a shelf, and places it on the benchtop.

  - Soak the volumetric flask and stopper in 1% hydrochloric acid to remove any adsorbed cations. (TEXT: Wear appropriate personal protective equipment). Remove the flask and stopper after soaking overnight.

    - MED: Talent (wearing appropriate PPE) walks up to acid bath (bath is labeled: 1% HCl) and adds the flask to it

    - MED: Talent walks up to acid bath, removes the flask

  - Next, wash the volumetric flask and stopper with soap and water. Rinse the flask and stopper thoroughly with distilled water.

    - MED: Talent washes the flask with soap and water at a sink.

    - MED: Talent rinses the flask with distilled water at a sink.

  - Dry the flask and stopper in a drying oven until completely dry. (TEXT: 100 °C)

    - MED: Talent walks to a drying oven and places the flask and stopper inside.

    - MED-over the shoulder: Talent returns to the drying oven, removes the flask and stopper, and places them on the benchtop.

  - Once the flask is cool, weigh the required sample and add it to the flask. (TEXT: Solid samples) Record the mass of the sample used.

    - MED: Talent weighs a solid sample on a weighing paper and adds it to the flask.

    - MED/CU: Talent records the weight in a notebook.

  - Add about ¾ of the solvent volume to the flask, put the stopper in place, and gently swirl to dissolve the solids. (TEXT: Underfilling aids in mixing)

    - MED-over the shoulder: Talent adds liquid to the flask.

    - MED: Talent caps and swirls to dissolve the solid.

  - Add the remainder of the solvent until the meniscus touches the calibration mark on the flask. Stopper the flask and invert it several times to thoroughly mix. (TEXT: Invert several times)

    - MED: Talent adds liquid to the flask and checks the volume mark.

    - ECU: Liquid meniscus shown at volumetric measurement line on flask; plain background.

    - MED: Talent inverts flask several times.

  - To remove undissolved solids, load the sample into a syringe, place a syringe filter on the tip, and press the plunger to push out the sample through the filter. The collected sample is now fully prepared and ready for analysis. (TEXT: See text for two alternate filtration techniques.)

    - MED: Talent draws the sample into a syringe.

    - CU: Syringe filter is put on tip of syringe.

    - MED: Talent pushes fluid though syringe filter into sample vial.

  - If the sample to be analyzed is a liquid rather than a solid, it can be measured volumetrically using a pipette. (TEXT: Liquid samples) Starting with a clean volumetric flask and stopper, add an appropriate volume of the sample to the flask and record the volume.

    - CU: Bottle containing liquid sample.

    - MED: Talent pipettes a liquid sample into the volumetric flask.

    - MED: Talent records the weight in a notebook.

  - Add the solvent and finish preparing the sample as is done for solid samples.

    - MED: Talent adds liquid to the flask and swirls to dissolve the solid.

- Masking and Chelating

  - If the dissolved sample requires metal chelation and masking, such as in a complexometric calcium analysis in the presence of iron, adjust the sample to an appropriate pH by adding base. (TEXT: Iron can interfere with calcium analysis)

    - MED: Talent uses a pipette to add base to the sample in a flask, with pH meter visible.

  - Add the hydrogen cyanide masking agent to protect the iron from chelation. Allow it to react for at least ten minutes. (TEXT: ≥10 min)

    - MED: Talent uses a pipette to add the masking agent to the sample in a flask

    - MED/CU: Talent caps the sample and sets it on the bench top.

  - Add EDTA to chelate the calcium and swirl to mix. Use enough to form a 1:1 complex with the calcium. The sample is now ready for calcium determination.

    - MED (Over the shoulder): Talent uncaps the sample.

    - MED: Talent uses a pipette to add EDTA solution to the sample in a flask and swirls to mix

  - To use the same sample for iron analysis, demask the iron by adding formaldehyde and swirl to mix. (TEXT: 37% w/w formaldehyde) The sample is now ready for iron analysis.

    - MED: Talent uses a pipette to add formaldehyde solution to the sample in a flask and swirls to mix

- Applications

  - Sample preparation is an important step in almost every experiment and analytical method used by chemists.

    - Title slide.

  - Lower Third (Application #1: Heavy Metals in Algae) Industrial flue gas can be used as a source of carbon dioxide for culturing microalgae. In order to understand whether heavy metal contamination from the gas is a problem, the algae grown in this example were analyzed for heavy metal content.

    - 52936@ 00:23 – 00:31 Drawing of flue gas generator.

    - 52936@ 00:50 – 00:59 Scenes of Bioreactors and dried algae.

  - After the growth period, the algae were collected from the bioreactor fluid by centrifugation and freeze dried prior to beginning the sample preparation process.

    - 52936@ 05:38- 05:48 collection and centrifugation

    - 52936@ 06:01- 06:07 freeze drying

  - The dried algae were digested using heat, nitric acid and hydrogen peroxide in order to prepare a homogeneous solution suitable for chemical analysis. In this example, heavy metal content was studied using inductively coupled plasma-mass spectroscopy, or ICP-MS, rather than using chelation.

    - 52936@ 06:39- 06:46 dry algae being added to tube

    - 52936@ 07;16- 07:26 Nitric acid and hydrogen peroxide being added

    - 5634@ 07:14-07:29: Talent opens up ICP instrument, looks at torch.

  - ICP-MS analysis of the digested algae was able to detect twelve metals at the same time without interference, and demonstrated that metal contaminants in the flue gas used in the culturing ended up in the biomass of the algae.

    - 52936@ 09:02-09:18 data graph of metals in algae

  - Lower Third (Application #2: Lead in Soil) Proper sample preparation is also important when studying complex materials such as soil using atomic absorption spectroscopy. (TEXT: AAS: Atomic absorbance spectroscopy).

    - 10021@ 01:10-1:21: soil collection scene

  - In this experiment, a sample of dried soil was first weighed on an analytical balance. It was then added to a digestion tube with 1 to 1 water and concentrated nitric acid using a pipette.

    - 10021@ 03:50-4:10: weighing and pipetting of samples

  - After several digestion steps, the sample was filtered to remove any solids. The sample was collected in a volumetric flask and additional water was added. The sample could then be analyzed.

    - 10021@ -05:33-05:46: filtering and volumetric flask

    - 10021@ -05:52-05:57: atomic absorption spectroscopy machine

  - Lower Third (Application #3: Analysis of Plant Lipids) Lipid polyesters constitute the structural components of parts of cell walls. In order to study these chemicals using GC-MS (TEXT: Gas chromatography-mass spectrometry), plant tissue was first collected and weighed.

    - 53386@ 01:26-01:41 Plants being harvested and weighed

  - After various processing and drying steps, a 1 to 1 mixture of toluene and heptane was added to the dry sample. The samples were centrifuged to remove any solids and the supernatant was transferred to a vial.

    - 53386@ 07:31-07:53 Addition of solvent and transfer to vial

  - The vial was capped and put into the automatic loading tray of a GC-MS for analysis.

    - 53386@ 07:55-08:07 Vial is put into GC

- Summary

  - You’ve just watched JoVE’s introduction to Sample Preparation. You should now understand the basics of preparing solid and liquid samples for subsequent analysis. Thanks for watching!