|  |  |
| --- | --- |
| **Fecal Bacterial Indicator** | **Recommended Media**  **(Incubation Temperature, Time)a** |
| Total coliforms | LES Endo Agar (35 ± 5 °C, 24 h)  M-Endo Medium (35 ± 5 °C, 24 h) |
| Fecal coliforms | m-FC Medium (44.5 ± 0.2 °C, 24 h) |
| Fecal enterococci | m *Enterococcus* Agar (35 ± 0.5 °C, 48 h) |

a As recommended by the *Standard Methods for the Examination of Water and Wastewater* (American Public Health Asssociation and the American Water Works Association, 22nd Edition, 2012)