Figure 1. The glovebox, showing the main chamber, the gloves, the control panel, and the large/small antechambers.

Figure 2. The control panel allows you to control the pressure, circulation, purge, light, regeneration, and the large antechamber.

Figure 3. The catalyst container is connected to the main chamber by two valves, which allows the atmosphere to circulate through the catalyst bed.

Figure 4. The large and small antechambers each have their own pressure gauge and valve.