# SciEd: Immunology

# Lab: 10496 ELISA

# Scriptwriter Name: Disharee Nath

- Video Title: Concepts

  - Enzyme-linked immunosorbent assay or ELISA (pronounce ee-lie-za) is a highly sensitive quantitative assay (1.1.1) commonly used to measure the concentration of an analyte, like cytokines and antibodies, in a biological sample (1.1.2).

    - Title slide

    - See storyboard

  - The general principle of this assay involves three steps: starting with ‘Capture’, or immobilization of the target analyte on a microplate, (1.2.1) followed by ‘Detection’ of the analyte by target-specific detection proteins (1.2.2), and lastly, ‘Enzyme reaction’, where a conjugated enzyme converts its substrate to a colored product (1.2.3).

    - See storyboard

    - See storyboard

    - See storyboard

  - Based on different methods of ‘Capture’ and ‘Detection’, ELISA can be of four types: direct, indirect, sandwich and competitive (1.3.1).

    - See storyboard

  - For direct ELISA, the target antigen is first bound to the plate, and is then detected by a specific ‘detection antibody’ (1.4.1). This method is commonly used for screening antibodies for a specific antigen (1.4.2).

    - See storyboard

    - See storyboard

  - Indirect ELISA is used for detecting antibodies in a sample, in order to quantify immune responses (1.5.1). The plate is first coated with a specific ‘capture antigen’, which immobilizes the target antibody (1.5.2), and this antigen-antibody complex is then detected using a second antibody (1.5.3).

    - See storyboard

    - See storyboard

    - See storyboard

  - In case of sandwich ELISA, the target analyte is an antigen, which is captured on the plate using a ‘capture antibody’ (1.6.1), and then detected by a ‘detection antibody’, hence forming an antibody-antigen-antibody ‘sandwich’ (1.6.2). This method is useful for measuring the concentration of an antigen in a mixed sample (1.6.3).

    - See storyboard

    - See storyboard

    - See storyboard

  - Competitive ELISA is used when only one antibody is available for a target antigen of interest. The plate is first coated with the purified antigen (1.7.1). Meanwhile, the sample containing the antigen is pre-incubated with the antibody and then added to the plate (1.7.2), to allow any free antibody molecules to bind to the immobilized antigen. The higher the signal from the plate, the lower the antigen concentration in the sample (1.7.3).

    - See storyboard

    - See storyboard

    - See storyboard

  - In all the four types of ELISA, direct, indirect, sandwich and competitive (1.8.1), the ‘detection antibody’ is either directly conjugated to the enzyme, or can be indirectly linked to it through another antibody or protein (1.8.2).

    - See storyboard

    - See storyboard

  - The enzymes commonly used for the reaction are Horseradish peroxidase or alkaline phosphatase with their respective substrates (1.9.1), both producing a soluble colored product that can be measured and quantified using a plate reader (1.9.2).

    - See storyboard

    - See storyboard

  - In this video, you will observe how to perform indirect ELISA, sandwich ELISA and competitive ELISA, followed by examples of quantification of the target analyte from the indirect and sandwich ELISA methods (1.10.1).

    - Selected shots from the protocol shoot (TBD)