| Name of the reagent | Company | Catalogue number | Comments (optional) |
| --- | --- | --- | --- |
| Step II |  |  |  |
| CopyControl™ Fosmid Library Production Kit | EPICENTRE | CCFOS110 | sufficient to generate 9-10 fosmid libraries |
| SeaPlaque Agarose | Cambrex | 50100 |  |
| stirring hot plate | Corning | PC-420D |  |
| 1.0X TAE running buffer |  |  |  |
| CHEF Mapper XA pulsed field electrophoresis system including cooling module and variable speed pump | Bio-Rad |  |  |
| λ DNA-HindIII Digest | NEB | N3012S |  |
| MidRange I PFG Marker | NEB | N3551S |  |
| 10,000X SYBR Gold | Invitrogen | S11494 |  |
| microwavable plastic wrap | Saran premium wrap |  |  |
| Safe Imager transilluminator | Invitrogen | S37102 |  |
| GELase Agarose Gel-Digesting Preparation | EPICENTRE | G09100 |  |
| scalpel | Fisher Scientific | 08-927-5D |  |
| Amicon Ultra-4 Centrifugal Filter Unit with Ultracel-10 membrane | Millipore | UFC801024 |  |
| Microcon YM-30 Centrifugal Filter Unit | Millipore | 42410 |  |
| nuclease free water | Ambion | AM9932 |  |
| Quant-iT PicoGreen dsDNA Assay Kit *2000 assays*# | Invitrogen | P7589 |  |
| digital dry block heater | VWR | 12621-088 |  |
| water bath | VWR | 14231-854 |  |
| centrifuge | Beckman Coulter | Avanti J-E |  |
| centrifuge rotor | Beckman Coulter | JA 5.3 |  |
| table top centrifuge | Eppendorf | 5415D |  |
| microcentrifuge tubes, 1.7 mL, clear | Axygen | MCT-175-C |  |
| 15 mL centrifuge tubes | Fisher-Corning | 430052 |  |
| Step III |  |  |  |
| LB broth | Fisher Scientific | BP 1426-2 |  |
| MgSO4 | Sigma-Aldrich | M2643 |  |
| phage dilution buffer |  |  | 10 mM Tris-HCl [pH 8.3], 100 mM NaCl, 10 mM MgCl2 |
| cryogenic vials | Fisher-Corning | 430488 |  |

| Name of the reagent | Company | Catalogue number | Comments (optional) |
| --- | --- | --- | --- |
| Step IV |  |  |  |
| 96 well plate with lid | Fisher-Corning | CS003370(3370) |  |
| 384 well plate with lid | Fisher-Corning | 07201157(3680) |  |
| Petri dishes 100 O.D. x 15mm H | Fisher | 08-757-12 |  |
| Petri dishes 150 Dia. x 15mmH | Fisher | 08-757-14 |  |
| BD Falcon BioDish XL 245 X 245 mm | VWR | CABD351040 |  |
| glycerol | Sigma-Aldrich | G5516 |  |
| chloramphenicol | Sigma-Aldrich | C0378 |  |
| LB broth | Fisher Scientific | BP 1426-2 |  |
| Difco Agar | BD | 214530 |  |
| glass beads | Fisher Scientific | 10-310-1 |  |
| QFill3 | Genetix | X3050 |  |
| Bleach | Javex |  |  |
| Ethanol | Sigma-Aldrich | E7023 |  |
| 15 mL centrifuge tubes | Fisher-Corning | 430052 |  |
| QPix colony picker | Genetix | QPix2 |  |
| picking head (E. coli) | Genetix | X4006 |  |