TITLE  (maximum 90 characters) 

Tracking dynamics of muscle engraftment in small animals by in vivo fluorescent imaging 

Authors: 
Zhong Yang, Qing Zeng, Zhiyuan Ma, Yaming Wang, Xiaoyin Xu

Authors: institution(s)/affiliation(s) for each author:

Zhong Yang 

Department of Anesthesia

Brigham and Women’s Hospital

zyang@zeus.bwh.harvard.edu
Qing Zeng

Department of Radiology

Brigham and Women’s Hospital

qzeng@partners.org
Zhiyuan Ma

Department of Anesthesia

Brigham and Women’s Hospital

zhiyuan.ma@mail.mcgill.ca
Yaming Wang

Department of Anesthesia

Brigham and Women’s Hospital

yaming@zeus.bwh.harvard.edu
Xiaoyin Xu

Department of Radiology

Brigham and Women’s Hospital

xxu@bwh.harvard.edu 

Corresponding author: Xiaoyin Xu

Keywords: (minimum 4, maximum 10) 

Mouse, skeletal muscle, in vivo, fluorescence imaging, cell therapy, longitudinal monitoring, quantification

Short Abstract: should include a general description of the article (10 word minimum, 50 word maximum)
We describe an in vivo fluorescence imaging protocol to monitor muscle regeneration by GFP-labeled myoblasts after transplantation into skeletal muscles of both healthy and dystrophic mice. This protocol can be adapted to study muscle regeneration by transplantation of other types of cells and in other muscular conditions as well. 

Long Abstract: (150 word minimum, 400 word maximum)
Muscular dystrophies are a group of degenerative muscle diseases characterized by progressive loss of contractile muscle cells. Currently, there is no curative treatment available. Recent advances in stem cell biology have generated new hopes for the development of effective cell based therapies to treat these diseases. Transplantation of various types of stem cells labeled with fluorescent proteins into muscles of dystrophic animal models has been used broadly in the field. A non-invasive technique with the capability to track the transplanted cell fate longitudinally can further our ability to evaluate muscle engraftment by transplanted cells more accurately and efficiently.    

In the present study, we demonstrate that in vivo fluorescence imaging is a sensible and reliable method for tracking the behavior of transplanted GFP-labeled cells in mouse leg muscles. Despite the concern about excessive background due the use of an external light necessary for excitation of fluorescent protein, we have found that by using either nude mouse or eliminating hair with hair removal reagents much of this problem is eliminated. Using a CCD camera, the fluorescent signal can be detected in the tibialis anterior muscle (TA) after injection of 5 x 105 cells from either GFP transgenic mice or eGFP transduced myoblast culture. For more superficial muscles such as the extensor digitorum longus (EDL), injection of fewer cells produces a detectable signal. Signal intensity can be measured and quantified as the number of emitted photons per second in a region of interest (ROI). Since the acquired images show clear boundaries demarcating the engrafted area. The size of ROI can be measured as well. Measurement can be repeated many times at intervals of the investigator’s own choosing. If the legs are positioned consistently every time, the changes in total number of photons per second per muscle and the size of the ROI reflect the changes in the number of engrafted cells and the size of the engrafted area. Therefore the changes in the same muscle over time are quantifiable. In vivo fluorescent imaging technique has been used primarily to track the growth of tumorogenic cells, our study shows that it is a powerful tool that enables us to track the fate of transplanted stem cells.  

Text: should include a step-by-step description of the experimental procedure (protocol). Describe procedures in sufficient detail so that the work can be reproduced.   Please use complete sentences, and write with a style similar to the example below, so that the protocol sounds natural when read.   

Cell preparation 

1. Satellite cell isolation 
a. Under anesthetic, the limb muscles of GFP transgenic mice (C57BL/ Ka-βactin-EGFP) are removed. After 
b. cutting into small pieces, satellite cells are enzymatically dissociated by incubating the mince with 2% dispase collagenase solution for 1 hour at 37(C. 
c. Neutralize the enzyme digestion with growth media containing Ham F-10 and 20% FBS, dissociated the muscle by repeated triturating with a Pasteur pipette. The cells are filtered through a cell strainer ((70-100(m) and then plated on a non-coated dish for 1 hour at 37(C.

d. Gently remove the supernatant and plate them on a collagen coated dish. Repeat this step at 1 hour late to purify the myoblasts. (pre-plate)

e. Change the media and splay the cells in time. The final purified myoblasts are cultured in medium containing Ham F-10, 20% FBS, 100 U/ml penicillin, and 100 μg/ml streptomycin (growth medium) at 37°C with 5% CO2, 95% air. 

2. Culture and expand the primary myoblasts in growth medium with addition of basic FGF 10ng/ml.

3. For all the in vivo experiments, we inject 5x105 cells per TA muscle. 

4. When harvesting the myoblasts, we detach the cells by using 0.25% trypsin/EDTA and wash with PBS twice. The cell numbers are counted with a hemocytometer and the cells are resuspended in HBSS at a concentration of 5×104 cells/μl. The concentrated cells in HBSS are injected within 1 hour after collection and placed on ice before injection. 

In Vivo Imaging

1. Male mdx mice at the age of 4-6 weeks are purchased from Jackson lab and maintained at the animal housing facility of the Brigham and Women’s Hospital.

2. After about one week of accommodation to the environment, the mice are ready to be implanted with the cultured cells. Animal experiments are carried under the guidance and approval of the HMS standing committed on animals (IACUC).
3. Before cell transplantation, the mouse is anesthetized by an intraperitoneal (i.p.) injection of the mixture of Ketamine (100 mg/kg) and Xylazine (10 mg/kg). Then the hair around the tibialis anterior(TA) muscle area is removed by applying Nair® to the leg and waiting for 30 seconds to wipe it clean with distilled water.

4. While the mouse is still under anesthesia, 5x105 cells in 10(l HBSS are slowly injected into each TA muscle at 3 points by a Hamilton syringe with a 30 Gauge needle. 

5. After step 4, the mouse can be regularly imaged by an in vivo fluorescence imaging. The fluorescence imaging station NightOwl LB981 (Berthold Technologies, Inc.), equipped with a high sensitive charge-coupled camera, is used to obtain images from the hinder legs of the mice.

6. On the day of in vivo imaging, we first check the hair regrowth on the TA muscle. If necessary, we re-apply Nair to remove the hair as described above, after anesthetizing the mouse with the mixture of Ketamine and Xylazine.

7. While the mouse is under anesthesia, we place the mouse in a prone position on a piece of black non-fluorescent paper (black Artagain® paper from Strathmore). To fully expose the TA muscle for better imaging, we use a piece of transparent tape to tape the hind paws to the paper. 

8. We place the mouse in the imaging chamber and position the hind leg to be imaged to the center of field of view of the camera. We first switch out the emission filter to take a traditional gray-scale photographic picture of the leg with an exposure time of 5 seconds. We readjust the position of the mouse and focus of the camera if necessary. The imaging parameters including exposure time (1,250 ms), specimen height (0.9 cm) etc. are kept constant in the experimental process.

9. We then switch in the appropriate emission filter for the green fluorescent protein wavelength. We take fluorescence image with an exposure time of 1,250 ms and a binning number of 1. After imaging, the mouse is removed from the imaging chamber to a cage to wait recovery. 

10. For analysis, we draw a region of interest (ROI) over the fluorescent signals to measure its intensity in terms of photons per second. We also measure the size of the ROI in terms of number of pixels as another quantification value. The imaging experiments can be repeated every week or more frequently over a few months, if needed, to acquire longitudinal data. 

11. At the end of experiments, the mouse is euthanized and the TA muscle is harvested for histology analysis. 

Discussion: Short discussion on critical steps, possible modifications, applications, significance, etc…
We set up a reliable and stable imaging platform for tracking the fluorescence labeled transplanted cells in host skeletal muscle in this study.   GFP-labeled myoblasts from GFP transgenic mouse stands for a type of adult stem cells that will be candidates for cell therapy in the future. A constant manipulation including cell number, cell injection, clear background, imaging position and machine parameter is important for gaining high quality image and especially for quantitative analysis.

Fluorescence imaging has many applications in biomedical research as it is non-invasive, easy to use, and has a high throughput. In addition fluorescence imaging can provide a quantitative measurement based on the photon counts, though due to the scattering, attenuation and absorption, light cannot penetrate a large distance in tissue, which is a shortcoming of the technique. Efforts have been underway to use red or near-infrared reporter to increase the penetration depth of light.

Another advantage of fluorescence imaging is that it is translatable to clinics if the specific fluorescent reporter is approved for human use. Compared with MRI, CT, and PET, fluorescence imaging has high flexibility as it does not require expensive hardware and imaging agents. One example is fluorescence-based endoscope and micro-endoscope that has been used in clinics. By combining fluorescence imaging with other modalities, we expect to achieve the capability to acquire both anatomic and functional information about the underlying biological processes. Fluorescence imaging itself can be adapted to measure fluorescent proteins of different wavelengths such GFP and RFP.
Acknowledgments: 

Q. Zeng and Xu are supported by the Department of Radiology, Brigham and Women’s Hospital. Y. Wang is supported by grant K02 AR051181 from NIAMS/NIH and grants from Muscular Dystrophy Association and Harvard Stem Cell Institute.
Disclosures: 

The authors have nothing to disclose.

Table of specific reagents and equipment:

	Name of the reagent
	Company
	Catalogue number
	Comments (optional)

	NightOwl LB981
	Berthold Technologies
	
	

	
	
	
	

	
	
	
	


References: 

[1-16]
1.
Ballou, B., L.A. Ernst and A.S. Waggoner. Fluorescence imaging of tumors in vivo. Curr Med Chem. 12(7): 795-805 (2005).

2.
Chalfie, M., Y. Tu, G. Euskirchen, W.W. Ward and D.C. Prasher. Green fluorescent protein as a marker for gene expression. Science. 263(5148): 802-5 (1994).

3.
Godavarty, A., E.M. Sevick-Muraca and M.J. Eppstein. Three-dimensional fluorescence lifetime tomography. Med Phys. 32(4): 992-1000 (2005).

4.
Graves, E.E., R. Weissleder and V. Ntziachristos. Fluorescence molecular imaging of small animal tumor models. Curr Mol Med. 4(4): 419-30 (2004).

5.
Graves, E.E., D. Yessayan, G. Turner, R. Weissleder and V. Ntziachristos. Validation of in vivo fluorochrome concentrations measured using fluorescence molecular tomography. J Biomed Opt. 10(4): 44019 (2005).

6.
Gurfinkel, M., S. Ke, X. Wen, C. Li and E.M. Sevick-Muraca. Near-infrared fluorescence optical imaging and tomography. Dis Markers. 19(2-3): 107-21 (2003).

7.
Lee, J. and E.M. Sevick-Muraca. Three-dimensional fluorescence enhanced optical tomography using referenced frequency-domain photon migration measurements at emission and excitation wavelengths. J Opt Soc Am A Opt Image Sci Vis. 19(4): 759-71 (2002).

8.
Xu, X., Z. Yang, Q. Liu and Y. Wang. 2008. In vivo fluorescence imaging of muscle regeneration by transplanted eGFP-labeled myoblasts. in Annual Meeting of American Society of Gene Therapy. p. 268. Boston, MA: ASGT.

9.
Hoffman, R.M. In vivo cell biology of cancer cells visualized with fluorescent proteins. Curr Top Dev Biol. 70: 121-44 (2005).

10.
Coulton, G.R., J.E. Morgan, T.A. Partridge and J.C. Sloper. The mdx mouse skeletal muscle myopathy: I. A histological, morphometric and biochemical investigation. Neuropathol Appl Neurobiol. 14(1): 53-70 (1988).

11.
Morgan, J.E. and T.A. Partridge. Muscle satellite cells. Int J Biochem Cell Biol. 35(8): 1151-6 (2003).

12.
Mendell, J.R., J.T. Kissel, A.A. Amato, W. King, L. Signore, T.W. Prior, Z. Sahenk, S. Benson, P.E. McAndrew, R. Rice and et al. Myoblast transfer in the treatment of Duchenne's muscular dystrophy. N Engl J Med. 333(13): 832-8 (1995).

13.
Bogdanovich, S., K.J. Perkins, T.O. Krag and T.S. Khurana. Therapeutics for Duchenne muscular dystrophy: current approaches and future directions. J Mol Med. 82(2): 102-15 (2004).

14.
Morgan, J.E., G.R. Coulton and T.A. Partridge. Mdx muscle grafts retain the mdx phenotype in normal hosts. Muscle Nerve. 12(5): 401-9 (1989).

15.
Sherwood, R.I., J.L. Christensen, I.L. Weissman and A.J. Wagers. Determinants of skeletal muscle contributions from circulating cells, bone marrow cells, and hematopoietic stem cells. Stem Cells. 22(7): 1292-304 (2004).

16.
Cerletti, M., S. Jurga, C.A. Witczak, M.F. Hirshman, J.L. Shadrach, L.J. Goodyear and A.J. Wagers. Highly efficient, functional engraftment of skeletal muscle stem cells in dystrophic muscles. Cell. 134(1): 37-47 (2008).



Tables
Figure legends
Figures: should be uploaded electronically as separate files (TIFF, JPEG and other formats are acceptable)

























































