Title: Fluorescence in situ hybridization (FISH) protocol in human sperm

Authors: Zaida Sarrate and Ester Anton
Author affiliation: 
Zaida Sarrate
Unitat de Biologia Cel·lular (Facultat de Biociències)

Universitat Autònoma de Barcelona. 

08193-Cerdanyola del Vallès, SPAIN.

zaida.sarrate@uab.cat
Ester Anton 

Unitat de Biologia Cel·lular (Facultat de Biociències)

Universitat Autònoma de Barcelona. 

08193-Cerdanyola del Vallès, SPAIN.

ester.anton@uab.cat
Corresponding author: 
Ester Anton 
Keywords: 

Fluorescence in situ hybridization, human, infertility, numerical chromosome abnormalities, spermatozoa

Short abstract: This video-article describes, step by step, how to process a semen sample to achieve good-quality fluorescence in situ hybridization on human spermatozoa. Preparations obtained can be used for aneuploidy screening in the context of clinical diagnosis.
Long abstract: Aneuploidies are the most frequent chromosomal abnormalities in humans. Most of these abnormalities result from meiotic errors during the gametogenic process in the parents. In human males, these errors can lead to the production of spermatozoa with numerical chromosome abnormalities which represent an increased risk of transmitting these anomalies to the offspring. 
For this reason, the technique of fluorescence in situ hybridization (FISH) on sperm nuclei has become a protocol widely incorporated in the context of clinical diagnosis. This practice provides an estimate of the frequencies of numerical chromosome abnormalities in the gametes of the patients that seek for genetic reproductive advice. 
To date, the chromosomes most frequently included in sperm FISH analysis are chromosomes X, Y, 13, 18 and 21.
This video-article describes, step by step, how to process and fix a human semen sample, how to decondense and denature the sperm chromatin, how to proceed to obtain sperm FISH preparations, and how to visualize the results at the microscope. Special remarks of the most relevant steps are given to achieve the best results.
Protocol:

I. Sample processing and cell fixation

1. Leave the semen sample in sterile containers at room temperature for 20 minutes until liquefaction.
2. Transfer the sample to a centrifuge tube and spin it at 1000g for 5 minutes.

3. Gently remove and discard the supernatant using a Pasteur pipette.

4. Add hypotonic solution (KCl, 0.075M) pre-heated at 37ºC, drop by drop, while mixing on a vortex to obtain a final volume of 10 ml.
5. Place the tube in a water bath at 37ºC for 30 minutes.
6. Centrifuge at 1000g for 5 minutes. Carefully discard the supernatant by decantation, without disturbing the pellet.
7. After resuspending the pellet, add freshly prepared Carnoy’s fixative (3:1 methanol:acetic acid) drop by drop while mixing on a vortex to obtain a final volume of 8 ml. 
8. Repeat points 6 and 7 as many times as necessary to obtain a white pellet.

9. Add freshly prepared methanol:acetic acid (3:1) drop by drop to the pellet. Adjust the final volume to the cellular concentration required for obtaining good cell extensions. A test slide can be made by dropping the resuspended sample onto an ungreased slide and examining it under a phase contrast microscope. This will let to check the cellular dispersion obtained and would allow correcting it, if it is necessary, in further slides.
10. To make the extensions, drop the cell suspension into the center of ungreased slides (previously stored in methanol at -20ºC). To facilitate prospect relocalizations, delimit the area containing the sperm extension on the opposite side of the slide using a diamond pencil.
11. Store the slides at -20ºC until further use.
Note: The addition of methanol:acetic acid (3:1) drop by drop while mixing is a very important step to avoid the formation of sperm aggregates.

II. Decondensation

1. The slides stored at -20ºC must be defrosted to continue with the protocol (leave them at room temperature).
2. Place the slide in two consecutive coplin jars with 2x saline-sodium citrate solution (2xSSC) for 3 minutes each.

3. Transfer the slide through a series of ethanol washes for 2 minutes in each coplin jar. Start with 70% ethanol, follow by 90% and finish with 100%. Dry out the slide leaving it at room temperature.
4. Incubate the slide in dithiothreitol solution (DTT) at 37ºC in the incubator to decondense the chromatin. This product acts by breaking the disulfur bridges of the protamines that coil the DNA in the spermatozoa nucleus. This is a very important step because the DNA in the sperm nucleus is highly compacted. The incubation time of the slides in DTT must be adjusted according to the sample’s reactivity to this product. Usually, this time is around 8 minutes, although it can vary from 2 to 15 minutes.
5. Immediately, transfer the slide to two consecutive coplin jars with 2xSSC for 3 minutes in each coplin.

6. Continue by placing the slide through a series of ethanol washes for 2 minutes in each coplin jar (70%, 90% and 100% ethanol). Let the slide to dry out at room temperature.
Note: An excessive exposition to DTT would result in disperse FISH signals at the end of the procedure, whereas a too short exposition would result in a lack of some signals.
III. Hybridization

1. Denature the sperm DNA by incubating the slide in a coplin jar with formamide solution (70%) at 73ºC for 5 minutes.
2. Transfer the slide through ethanol solutions for 1 minute per coplin jar (start with 70% ethanol, 85% and finish with 100%). Leave the slide to dry out at room temperature.
3. Add directly 5 µl of the corresponding ready-to-use probe mixture to a 15x15 cover slip (AneuVysion Assay Multi-color Probe Panel: CEP 18/X/Y or LSI 13/21).
4. As it is shown in the video, carefully place the slide onto the cover slip to put together the target region and the probe mixture. Seal it with rubber cement.

5. Place the slide into a pre-warmed 37ºC hybridization chamber (HYBriteTM) and incubate it at 37ºC for 6-24 hours.

Note: Whereas the denaturation of the sperm sample is mandatory, the probes denaturation depends on the requirements of the manufacturer's supplier. The probe mixtures used in this protocol are ready to use and, in this case, probe denaturation is not required.
The volume of the probe mixture will vary according to the size of the hybridized area.
IV. Washes post-hybridization

1. Take out the slide from the hybridization chamber.

2. Remove the rubber cement and carefully pull out the cover slip stretching gently from the side.

3. To eliminate the unspecific hybridization signals place the slide for 2 minutes in a coplin jar with 0.4xSSC/0.3%NP-40 pre-warmed at 73ºC in a water bath.

4. Transfer the slide to a 2xSSC/0.1%NP-40 wash solution at room temperature for 1 minute. Let the slide to dry out at room temperature.
5. Add a counterstaining product to the target region (8 µl for an 18x18 cover slip). The most common product used is 4’,6-diamidino-2-phenylindole (DAPI, Vysis Inc.).
6. Cover the hybridized region with a cover slip (to preserve the hybridization the cover slip can be sealed with nail varnish).
7. The slides can be stored at -20ºC until their prospect analysis.

Note: A higher temperature or an excessive wash time can result in the elimination of some signals, whereas the opposite would not wash out unspecific probe hybridizations.
The volume of the counterstaining product added will vary according to the size of the hybridization area to cover. 

V. Visualization

The preparations can be evaluated under an epifluorescence microscope equipped with a triple-band filter for DAPI/Texas Red/FITC and single-band filters for Aqua, FITC and Texas Red. Standard assessment criteria must be followed for the correct evaluation of the sperm nuclei 1. 
The preparation hybridized with probes for chromosomes X, Y and 18 should display signals for these three chromosomes. Every normal spermatozoa must show one blue signal (corresponding to the chromosome 18), and a green signal (X-bearing spermatozoa) or a red signal (Y-bearing spermatozoa).
In the preparation hybridized with probes for chromosomes 13 and 21, a green signal for chromosome 13 and a red signal for chromosome 21 should be distinguished in every normal spermatozoa.
Discussion:

This protocol describes how to process human semen samples for obtaining sperm FISH preparations. Using this protocol it is possible to analyze chromosomal abnormalities in male gametes. Spermatozoa aneuploidy screening has applications either in the context of basic research and in the reproductive advice given to infertile males. Although in clinical diagnosis the most widely studied chromosomes are X, Y, 13, 18 and 21, other commercial probes for a wide range of chromosomes and loci are available and can also be used in these experiments. 

Acknowledgments: This work was supported by the Generalitat de Catalunya (2005-SGR00437). The authors thank to J. Blanco and F. Vidal for their supervising and encouragement, and J. Lucas for his technical assistance.
Disclosures: We have nothing to disclose

Materials: 
	Name
	Type
	Company
	Catalog Number
	Comments

	1,4-Dithiothreitol (DTT)
	Material
	Roche
	10197777001
	

	Acetic acid
	Material
	Merck
	100.063
	 

	AneuVysion® Multicolor DNA Probe Kit

- 20xSaline-Sodium Citrate

- 4,6-diamidino-2-phenylindole (DAPI II)

- CEP 18/X/Y DNA probe

- NP-40

- LSI 13/21 DNA probe
	Material
	Vysis Inc.
	32-161075

   30-805850

   30-804941

   30-171077

   30-804820

   30-171078
	 

	Centrifuge 5804R
	Tool
	Eppendorf
	 
	 

	Centrifuge tube
	Material
	Nunc
	347856 
	 

	Coplin jar (glass)
	Material
	Barloworld Scientific 
	Hellendahl (ZCT278) 
	 

	Coplin jar (plastic)
	Material
	Deltalab
	191087
	 

	Cover slips (15x15)
	Material
	Knittel gläser
	4600115
	 

	Cover slips (18x18)
	Material
	Knittel gläser
	4600118 
	 

	Distilled water
	Material
	
	
	

	Diamond pencil
	Material
	Hammacher
	335117010 
	

	Ethanol
	Material
	Merck
	100.983
	 

	Formamide
	Material
	Roche
	11814320001
	 

	Freezer
	Tool
	Zanussi
	
	

	Gloves
	Material 
	Sanyc
	101/3300 
	 

	HYBriteTM
	Tool
	Vysis Inc.
	 
	 

	Immersion Oil
	Material
	Olympus
	35505
	

	Incubator
	Tool
	Heraeus
	 
	 

	Methanol
	Material
	Merck
	106.009
	 

	Micropipette
	Material 
	Labsystems
	Finnpipette (4500000) 
	

	Micropipette replacement tip
	Material
	Daslab
	16-2001
	

	Nail varnish
	Material
	Quo-cosmetics
	 
	 

	Olympus BX60 epifluorescence microscope 
  
	Tool
	Olympus
	
	Equipped with a triple-band filter for DAPI/Texas Red/FITC and single-band filters for Aqua, FITC and Texas Red.

	Pasteur Pipette
	Material
	Rubilabor
	211.0230 
	 

	Phase contrast microscope
	Tool
	Nikon Diaphot
	 
	 

	Plastic pipette (3ml)
	Material
	Deltalab
	200007 
	 

	Potassium chloride (KCl)
	Material
	Fluka
	60128
	 

	Rubber cement
	Material
	Best-test
	 
	 

	Slides
	Material
	Knittel gläser
	4520022
	 

	Slide Saver Boxes
	Material
	Deltalab
	19276.1
	

	Sterile container
	Material 
	Deltalab
	409726 
	 

	Syringe
	Material
	PentaFerte
	002022300
	

	Thermometer
	Material
	Comark Instruments, Inc
	KM12
	

	Tweezers
	Material
	B/Braun
	Aesculap (BD224R) 
	 

	Vertical laminar flow hood
	Tool
	Burdinola
	OR-ST 1500
	

	Vortex mixer
	Tool
	Fisher Scientific 
	FB15012 
	 

	Water bath
	Tool
	Raypa®
	 
	 


References: 
1. Blanco, J., Egozcue, J. & Vidal, F. Incidence of chromosome 21 disomy in human spermatozoa as determined by fluorescent in-situ hybridization. Hum. Reprod. 11, 722–726 (1996).
PAGE  
2

