Dear Author,

This document is divided into a number of sections in which you can add your comments to the video, voiceover, online text, and .pdf.   Please be aware that our policy is to do a single complementary revision, so it is critical that all participants in this project offer their comments collectively.   In addition, please make sure that your comments are easily interpreted, transparent, and where appropriate, specifically reference a time-point in the video or step in the written section.   

Have fun!

Project Name:

Date:

Video Comments:

Please fill in any comments you wish to make in the “comment” column and insert the time-code that references the video at the time of the mistake in the “time-code” column.   Also, please make suggestions to correct the mistake.   For example it is not enough to say that 0.25 mM Fluo-4 is incorrect.  You must suggest the correct concentration.   If you need more space to write, please do so below the table.  DO NOT ADD CORRECTIONS TO THE VOICEOVER HERE.  PLEASE DO THIS IN THE NEXT SECTION.

	Time-code
	Comment
	Suggestion 

	1.
	3:55
	Blank Screen
	Delete the blank screen


	2.
	5:26/5:40
	Perfusion shown twice
	Delete the first perfusion from 5:26 to 5:39


	3.
	14:11-14:13
	Lowering the mineral reservoir shown twice
	Delete from 14:11 to 14:13

	4.
	14:13-14:23
	Bad response
	Replace the recording video from 14:13 to 14:23 with the attached avi file named “RESPONSE”.

	5.
	
	
	

	6.
	
	
	

	7.
	
	
	

	8.
	
	
	

	9.
	
	
	

	10.
	
	
	

	11.
	
	
	

	12.
	
	
	

	13.
	
	
	

	14.
	
	
	

	15.
	
	
	

	16.
	
	
	

	17.
	
	
	

	18.
	
	
	

	19.
	
	
	

	20.
	
	
	


Audio Comments:

This section is used to specify the changes that need to be made to the voiceover.   Please specify time code where each mistake in the voiceover occurs, your comment, the step in the script that needs to be changed, and the corrected text.  Please include the entire step from the script in last column with the corrected text in bold.  If there is a pronunciation change, please provide a phonetic pronunciation key.  

EX: 

Restinosis – (Reese-tin-oh-sis)
	Time code
	Comment
	Step in Script (ex 4.2)
	Rewritten Text or Corrected Pronunciation

	1.
	6:16
	Add a sentence here
	2.7.0
	Use a syringe with a blunt needle to fill the electrode holders with reference solution.

	2.
	6:31
	Start voiceover 2.7 here, and delete the last sentence
	2.7
	Using a Microfil syringe needle, fill and flush the recording electrode with reference solution ensuring that there are no bubbles in the electrode. 

	3.
	7:01
	Start voiceover 2.8 here
	2.8
	Insert the reference electrode in an electrode holder and connect to the reference pole of the amplifier headstage. Use a rubber ring to bind the thermal couple to the reference electrode, making sure to place the electrode and thermal couple tips close together to ensure that the temperature reading is taken as close to the cell as possible. 

	4.
	7:37
	Insert a sentence here
	2.8.3
	Then insert the recording electrode in an electrode holder and mount the holder to the headstage of the amplifier

	5.
	8:31
	Insert a sentence at the end of 2.11
	2.11
	Using the micro-manipulator, move the electrode to the center of the test-flash beam area. Position the reference electrode close to the tip of the recording electrode.

	6.
	8:55
	Revised 2.13
	2.13
	Run a seal test, which measures voltage to pre-set current amplitude to calculate resistance, to check the resistance of the recording electrode, normally about 900 k. The seal test enables detection of bubbles in the recording or reference electrodes or inappropriate tip size of the recording electrode.  The seal test is software-controlled by the acquisition program, Clampex. The resistance reading is shown on the computer screen. If the resistance is too low (less than 500 k), the tip of the electrode is probably too large and a new electrode will need to be installed. If the resistance is higher than 1 M, a bubble might be present in the electrode or its tip is too narrow and the electrode will need to be flushed or replaced.

	7.
	
	
	
	

	8.
	
	
	
	


Text Protocol:

Please use this table to address changes that need to be made to the text.  List the step in the text protocol where there is an issue, your comments pertaining to that issue, and how we should resolve it.  For drastic changes to the protocol (major structural changes or more than 10 spelling or grammatical mistakes), we will require re-upload of the entire document.     

	1.
	Step in Protocol
	Comment
	Suggestion

	2.
	
	
	

	3.
	
	
	

	4.
	
	
	

	5.
	
	
	

	6.
	
	
	

	7.
	
	
	

	8.
	
	
	

	9.
	
	
	

	10.
	
	
	

	11.
	
	
	

	12.
	
	
	

	13.
	
	
	


.PDF

Please use this table to address changes that need to be made to the pdf.  List the step in the text protocol where there is an issue, your comments pertaining to that issue, and how we should resolve it.  For drastic changes to the protocol, we will require re-upload of the entire document.     

	1.
	Step in Protocol
	Comment
	Suggestion

	2.
	
	
	

	3.
	
	
	

	4.
	
	
	

	5.
	
	
	

	6.
	
	
	

	7.
	
	
	

	8.
	
	
	

	9.
	
	
	

	10.
	
	
	

	11.
	
	
	

	12.
	
	
	

	13.
	
	
	


