Protocol: 
1. Preparation of EMG electrodes

1.1. Begin by preparing nine electrodes. Eight of them are used for recording signals from sites over the muscle, and one is a reference electrode. 

1.2. After connecting the recording and reference electrodes to the amplifier, fill the discs with electric-conductance paste. Every type is OK, but a low fluid type is better.

1.3. Before attaching the electrodes to the skin, have the subject down firmly, and determine the approximate location of the masseter muscle on the face. 

1.4. The superior tendon of the masseter muscle attaches to the zygomatic arch, and its inferior tendon to the angle of mandible.

1.5. Place the eight recording electrodes onto a long piece of adhesive tape in equal inter-electrode distance, and attach the array to the skin surface. The first recording electrode is placed on the zygomatic arch, and the last one on the angle of mandible.
1.6. Finally, attach the reference electrode to the tip of the nose. 
2. EMG recording
   2.1. To begin recording, first set the parameters of the multi-channel analogue amplifier (MEG6100). Set the gain to x 500, the low pass filter to 0.5 Hz, and the high pass filter to 10 kHz.
   2.2. Connect the eight outputs of the analogue amplifier to an Analogue-Digital converter (PCI-MIO-16E-4). The digital signal is processed with LabView software with a sampling rate of 20kHz.
   2.3. When everything is connected, record EMGs during quick chewing-gum clenching on the ipsilateral side. 
   2.4. The traces from the eight channels are presented on the LabView display immediately after the recording process has been completed. 
3. EPP extraction and observation of its features 
3.1. To extract the EPP component, first remove the action potential component from the raw EMGs using a high-cut digital filter (Butterworth filter). 
3.2. Begin applying the filter with a cut-off frequency of 10 Hz. A slow wave that deflects in the positive or negative direction should appear. This wave corresponds to the EPP, and the difference in polarity reflects the sink-source relation of the end plate current.
3.3. When recording from the masseter muscle, the most negative deflection of the wave is expected in the trace from the most inferior recording site, and the polarity should shift around 3 sites away from that site.
3.4. The magnitude of the EPP component can be measured as a peak point of the deflection or an area during the deflection. 
3.5. The polarity change of the EPP component can be determined by plotting the EPP wave from each channel against a reference channel that showed the most negative deflection.
3.6. Now by increasing the cut-off frequency, the slow wave will become oscillatory. The oscillation will increase with increasing cut-off frequency and will generally become obvious at a cut-off frequency of 30 Hz.
3.7. The phase of the wave will reverse across the trace in which the polarity of the 10Hz filtered EPP wave showed a reversal.
3.8. The phase shift of the oscillation can be checked with the same graphs that were applied to the 10Hz-filtered EPP wave.
3.9. From the interval between neighboring positive and/or negative peaks of the oscillation, we can get an approximation of the frequency of the oscillation

4. EMG recording results

[image: image1.jpg]a

Temporalis

/ muscle

! l”l‘]‘hl b

" “"““”!‘ 'A“H‘ y s

I i L0 1A

1H

‘l!

““ k“ H‘

m h l I m.u’ml .H,.

!W

N 50 msec ===
C
A “l “ (L ( ‘r,‘ ,H(
N ..WWWM‘,‘*’% .
WM}I’ m !M"lv“"\‘nﬂ’l e
| !0.5 mV

50 msec





                          = Figure 1 =

Figure 1a: Shown here is a schematic of the eight sites along the masseter muscle that were recorded from.

Figure 1b: We see a sample of the monopolar EMGs recorded simultaneously from the sites over the masseter muscle in response to quick gum clenching on the ipsilateral side. The EPP component was extracted using a high-cut digital filter with a cut-off frequency of 10Hz, which is superimposed on each raw EMG. In this trial, the most negative deflection was observed in traces-5 and -6 and the polarity changed across trace-3.

Figure 1c: When the cut-off frequency of the high-cut digital filter was set to 30Hz, the slow wave exhibited an oscillation. Its phase also shifted across trace 3, where the polarity of the 10Hz-filtered EPP wave changed. The interval between neighboring positive peaks of the oscillation was measured. In this subject, the average inter-peak interval was 31.7 ± 6.5 msec over 16 recordings.









( 2009, Journal of Visualized Experiments


