Submission ID #: 

Editor Name: 
Videographer name:

Film Date: 1/25
Authors and Affiliations: Scott D. Slotnick, Dept of Psychology, Boston College. email: sd.slotnick@bc.edu
Title: High Density Event-Related Potential Data Acquisition in Cognitive Neuroscience
Authors, please fill out the brief questionnaire below.   
A. Will you require assistance with video microscopy, such as filming a complex dissection or microinjection technique (Y/N, please specify steps by number)?  N
B.   Does your protocol include detailed, step-by-step, descriptions of software usage (Y/N, please specify steps by number)? N
C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps All 5 steps will provide significant benefit to viewers.
D.  What is the single most difficult aspect of this procedure? Part 3, Reducing Electrode Impedances. 
0.  Schematic Overview (read by voice talent at JoVE):

Authors, please select from “Procedural Narrative” or “Conceptual Narrative” and complete the statements below. Please do not add additional steps.  Then, attach your finished graphic overview.  See accompanying instructions for details and examples.  
Procedural Narrative:
(Intro) The overall goal of this procedure is to detail the techniques involved in high density ERP data acquisition.
(P1) This will be accomplished by first describing the general equipment setup.
(P2) The second step of the procedure is cap placement and electrode digitization.
(P3) The third step of the procedure is reducing electrode impedances.
(P4) The fourth step of the procedure is data recording.
(P5) The final step of the procedure is cleaning the cap.
[image: image1.jpg]G

129
(P4)

129





1. Introduction (said by the demonstrator to the camera)  

Authors, please select from “single” or “multiple author introductions” and complete the statements below.

Single author introduction:

1.1. “Hi I’m Scott Slotnick from the Memory and Perception Laboratory in the Department of Psychology at Boston College.”

1.2. Today we will show you a procedure for high density event-related potential data acquisition.
1.3. We use this procedure in our laboratory to study the spatial-temporal dynamics of brain activity during memory for visual items.  So let’s get started…
Protocol (read by voice talent at JoVE):
Authors:  In order to ensure that your protocol can be filmed in a single day, the protocol text must be limited to 30 steps – each step being defined as 3 lines of 12 pt text in our formatting style below.  This amounts to 3 pages of protocol text.  The scope of the scripted protocol text should include only those aspects of the procedure that require visualization in order to be well understood.     

2. Part 1. General Equipment Setup
2.1. Event-related potential , or ERP, data are typically measured in a shielded room. This minimizes interference with the neural signal that is picked up by the electrodes.
2.2. Each electrode connects to an amplifier which in turn connects to a data acquisition computer. We use a 128-channel NeuroScan system (Compumedics USA, Charlotte, NC). A separate computer is used for stimulus presentation. 
2.3. Because of possible interference with the neural signal, only essential powered components should be housed inside the shielded chamber, such as the stimulus display and the response keyboard.
2.4. During experiments, participants are seated in a comfortable chair with arm rests and a back height that provides shoulder support to minimize neck muscle artifact. Let’s begin by seeing how to place the electrode cap on a participant.
3. Part 2. Cap Placement and Electrode Digitization 
3.1. Electrodes are embedded in a spandex cap which significantly reduces application time.
3.2. To position the cap, place electrode Oz according to the 10-5 electrode system.   [image: image2.png]



3.3. While applying the cap, ensure that it has left-right symmetry, with midline electrodes placed over the midline of the head.
3.4. Also make sure that the most posterior-inferior electrodes are superior to the skull-neck boundary to avoid neck muscle artifact. 
3.5. Once the cap is in place, attach the side straps with a chinstrap or a custom made belt at waist level to improve lateral electrode contact with the head. 
3.6. Apply electrodes adjacent to the eyes to allow for subsequent removal of eye-movement or blink artifacts.
3.7. To address variability in electrode placement and head shape across subjects, electrode locations are measured for each participant with a Polhemus FASTRAK digitizer (Colchester, VT). 
3.8. The digitizer includes a transmitter, three receivers which mount on the cap, and a stylus for recording each electrode location.  With the cap in place and electrode digitization complete, let's move on to reducing the electrode impedances.
4. Part 3. Reducing Electrode Impedances
4.1. The participant should sit comfortably in the recording chair. Some participants find it more comfortable when a folded hand towel is lightly tucked between their shoulders and the chair back.
4.2. Then, plug the multi-electrode cap into the amplifiers. The impedance of each electrode must be reduced such that it is below approximately 5 kΩ. 
4.3. This is accomplished in our lab by measuring real-time impedances with the Neuroscan SCAN software while using a sterile syringe and blunt tip needle to inject conducting gel into each electrode opening. [image: image3.png]dow_telp

4l

50.0 kOhms
6.8
43.6
0.4
ara
33.9

5.0 kOhms

Inmeciate





4.4. There are a number of techniques that can speed up the impedance reduction process, which is the most time consuming aspect of multi-channel recording. 
4.5. Beginning with the ground or reference electrode, use your dominant hand to make a few circles with the syringe while it rests against the head, to move the intervening hair. 
4.6. Be sure not to press the syringe against the participant’s head. The gel application process should never cause the participant discomfort. 
4.7. Next, while lightly pressing the electrode down with the non-dominant hand, inject a small amount of gel at the scalp and then pull the syringe away while continuing to inject, creating a gel bridge between the scalp and the electrode. 
4.8. Gel that protrudes from the electrode opening should be wiped off with a tissue and discarded. 
4.9. If the first set of electrode impedances all remain high gel should be reapplied to the ground and reference electrodes.
4.10. As gel usually becomes more conductive over time, one strategy is to inject gel in electrodes within a scalp quadrant, such as the left posterior scalp, until all impedances begin to decrease
4.11. Then, inject gel in electrodes within the next quadrant until all impedances begin to decrease, and then cycle through the quadrants re-injecting gel into the highest impedance electrodes. 
4.12. In some cases, conducting gel will connect two adjacent electrodes such that impedances will be linked - this reduces spatial resolution but is usually of minor concern as there are a high number of electrodes.  
4.13. With the impedances reduced, lets see how to record data.
5. Part 4. Data Recording
5.1. Before beginning a recording session, encourage the participant to get into a comfortable relaxed position and to remain still. This will minimize muscle and movement artifacts.
5.2. Once the participant is comfortable, hand them a response keyboard, and remove or shut off all non-essential equipment near the participant, such as lights.
5.3. To allow for subsequent event-related analysis, the onset of each stimulus event must be signaled, or triggered, by the stimulus computer and stored along with the electrophysiological data. 
5.4. We send trigger pulses at each stimulus onset through the parallel port via E-Prime programs (Psychology Software Tools, Inc., Pittsburgh, PA), that include custom InLine port initialization and trigger scripts that are freely available. These triggers are received and stored by the SCAN software. 
[image: image4.png]MMLERP. -

File Edit View E-Run Tools Window Help

DH

S s T Pl 2

=

Toolbox [Structure

% RunProc
Triggerset
Enclnstrux
EncWait

0 et

2% EncProc

Retlnstrux
T Retit
I Retlist

&% RetProc

Retshape

Retix

[Eweriment (MMLERP A1)

EncTrigger
EncShape
EncFiation

RetTrigger

s

Eactnsteur onsecsignaiEanied A
Eacinaieas onsetsigmalfort

Ercinateas onsetsignaloace

< 1
o
Encshape. onsecsignalEnabled = A
Encsnape. OnsetSignaifort - <HODFE
Encsnape. onsecsignaidata - 64

EncFixation.OnsecSignalfnabled

= D
B rectigge [ERE)
ecsaape coserssgmaiEaniad = =

Retshape.OnsetSignalpore = sHDDES

Fin Retshape.Onsetsignalbata = 127
Unreferenced E-Objects
FK.OnsetSignalEnabled =
RK.Onsetsignalpore = sHDDES
“ il D RK.Onsetsignalbata = 0
[Properties <l D!
[For Help, press FL





5.5. When recording electropysiological data, use a standard high pass filter to remove very low frequency components, such as DC, that are irrelevant to the transient neural response. [image: image5.png]Setup
Sortng Audo Mapping Mise Everts EKG reducton Bink Recuction
Statup | Amplfers N2) | High LevelInputs | Charmel Atbutes | Trggers | Epochs | FspAverage | Freauency
Aoauision Amplfer Setings
/0 Bate 10001 [v] || Selected Chamnel e -
Number of Channels 1 < EET T

132 | [Reset Pastions]

Acquistion Type.

AC/DC

OAac @oc
Deblocking
Fost Tiig ms)
[ Enable
O Posiive:

Range  [+200m

b —— D S
Lowpass b9 comi
Honpers 0T [v] Y oo
Notch snec

Freqercy

or v





5.6. In environments with very little interference, a low pass filter with a very high frequency cutoff, such as 200 Hz, can be used. 
5.7. In environments with higher levels of ambient electromagnetic interference, a low-pass filter with a cut off around 80Hz and a 60Hz notch filter can be used so the response is dominated by the neural signal. Now let's see how to clean the cap after a session is finished.
6. Part 5. Cleaning the Cap
6.1. The multi-electrode cap must be thoroughly cleaned and disinfected immediately after recording is complete. Begin by soaking the cap in warm water for 5-10 minutes and then rinsing each electrode with a running water stream to thoroughly remove all of the conducting gel. 
6.2. Use the blunt end of a wooden stick cotton swab to clear the holes in the electrodes. 
6.3. Next soak the cap in a soapy warm water bath consisting of 4 quarts of water and 1-2 oz of Dial for 30 minutes to ensure all the gel has been removed. Then thoroughly rinse the cap with water.
6.4. To avoid cross-participant contamination, the cap must be soaked for 15-30 minutes in a water/disinfectant mixture such as 4 parts water to 1 part Envirocide, and then rinse it thoroughly again with water. 
6.5. When hanging up the cap to dry, it should be placed symmetrically and without tension as it may retain some degree of its drying position, which can reduce the ease of subsequent impedance reduction. Let's wrap up by taking a look at some representative results.
7. Representative ERP Results [image: image6.png]Time =180 ms

Time =154 ms




7.1. Representative results following ERP data acquisition and analysis. The scalp voltage topography to the left and right reflect rapid retinotopic reactivation of visual cortical regions during accurate memory for items previously presented in the right and left visual field, respectively. 
INSTRUCTIONS FOR AUTHORS:

Please write narration for any representative video image, or representative data files above.  We consider this section a critical aspect of the video, because here is where you provide validation for your experiments.  For example, if this is a cell culture preparation, this section is where the video will show your cells at various time points following culturing.  If this is an imaging prep, then this part is where you will show examples of your imaging experiments.  

Please limit the extent of narration to no more than 2-3 lines of text per image or movie file being described.   Figures with multiple panels submitted with the original protocol should be broken up so that each panel is a separate image.   Like the schematic, each image or movie file supplied in the results should be referenced by annotation in parenthesis, however for the results, the specific filename should be given in parenthesis.  

Below is an example of results text:

EXAMPLE REPRESENTATIVE RESULTS

5.  Representative Results

5.1   Representative results of both morpholino injection and mRNA injection are shown here. The    

        uninjected control at 48 hours post fertilization looks normal, as expected 

        -LAB MEDIA: 0123_PIname_Figure1.tif  (Replace 0123 with your jove video #)

5.2   However, embryos injected with the morpholino heg_e3i3_egfr1, which knocks down Heg isoforms

                     containing the first of two EGF-like repeats, exhibit brain edema.


        -LAB MEDIA: 0123_PIname_Figure2.tif


5.3   Injection of heart of glass mRNA also produced an obvious phenotype. At 24 hours post fertilization, 

        the heads of the uninjected controls look normal 

        -LAB MEDIA: 0123_PIname_Figure3.tif

5.4   Conversely, some of the embryos injected with the mRNA exhibit cyclopia     

                     -LAB MEDIA: 0123_PIname_Figure4.jpg

Please visit the following URL to see an example of how the results will look when complete:

http://www.jove.com/index/Details.stp?ID=1597
4. (last section) Conclusion (said by authors to camera)

You will say this part to the camera.

4.1. “I’ve just shown you how to acquire high density ERP data.'
4.2. “When doing this procedure it’s important to remember that participant comfort always comes first.'
4.3. “So that’s it.  Thanks for watching and good luck with your experiments”

Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

3.2 −  ElectrodeSystem_Slotnick_Figure1.tif  -  top view of 10-5 electrode system
4.3 −  Impedances_Slotnick_Figure2.tif  -  post-reduction impedance values
5.4 −  TriggerScripts_Slotnick_Figure3.tif  -  port initialization and trigger scripts
5.5 −  AmplifierSettings_Slotnick_Figure4.tif  -  amplifier filter/parameter settings
7 −  RepresentativeResults_Slotnick_Figure5.tif  -  posterior view of visual memory related activity
General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.










( 2009, Journal of Visualized Experiments


