SciEd: RnD

Project ID: 20009

Title: Southern Blot

Scriptwriter: Anna Justis

| Protocol Project ID#: 58467 http://www.jove.com/video/58467?access=x9frcvz2 |  |
| --- | --- |
| Asset | Timecode |
| Clip | 1:08 (VO: “For each gDNA…”) - 4:42 (VO: “...to visualize the results.”) |

- Southern Blot: a method to identify specific DNA sequences

  - Prepare your DNA sample by digesting it with a  restriction enzyme.  Separate the digested DNA by size with gel electrophoresis.

  - Separate the DNA strands in the gel with low-pH DNA denaturing solution, then stop this reaction with DNA neutralizing solution.

  - Next, transfer the DNA onto a nitrocellulose [prounounciation] or nylon membrane by electrophoresis.

  - Use ultraviolet irradiation to affix the DNA to the membrane by crosslinking.

  - Now incubate the membrane with Pre-Hybridization Solution.  This is a blocking solution containing non-specific single-stranded DNA.

  - Add your probe, an oligonucleotide that will hybridize with your sequence of interest.  The probe could be labeled with radioactivity, chemiluminescence, or an affinity tag.

  - Finally, wash and view your probed membrane with the appropriate imaging technique.

  - In this example, we will use Southern Blotting with radio-labeled probes to screen for homologous recombination events in genomic DNA.

- Protocol: Southern Blotting to Screen for Homologous Recombination Events