SciEd: RnD

Project ID: 20010

Title: Blue Native PAGE

Scriptwriter: Anna Justis

| Protocol Project ID#: 59269 |  |
| --- | --- |
| Asset | Timecode |
| Clip | 5:36 (VO: “To perform the...”) - 6:39 (VO: “...for 30 minutes.”) |

- Blue Native Polyacrylamide Gel Electrophoresis (BN-PAGE): a method to separate intact protein complexes by size

  - Blue Native PAGE relies on Coomassie Blue-G250 dye interacting with your protein sample.  The dye coats the proteins with a negative charge without disrupting most protein complexes.

  - Prepare your polyacrylamide gel in a protein electrophoresis apparatus.  Load your protein samples into the wells of a

  - Then, completely fill the center of the cassette with Blue Cathode Buffer and fill the tank with Anode Buffer.

  - Bingin running the gel at a low voltage, allowing the protein sample to enter the gel.

  - Continue running the gel at a higher voltage until the dye front moves through two-thirds of the length of the gel.

  - Now, replace the Blue Cathode Buffer with Colorless Cathode Buffer. This will reduce the amount of dye in the final gel, which could interfere with the next steps.

  - Continue the electrophoresis until the dye front runs off the gel.  The proteins and protein complexes in the sample are now separated by size.

  - In this example, we will separate mitochondrial samples to analyze oxidative phosphorylation complexes by immunoblotting.

- Protocol: BN-PAGE to Resolve Oxidative Phosphorylation Protein Complexes