Library of Experiments

Project ID: 20041

Project Name:  In-Gel Zymography

Scriptwriter Name: Meredith Ezak

| Protocol Project ID: 58938 http://www.jove.com/video/58938?access=phq335vm |  |
| --- | --- |
| Asset | Timecode |
| Clip 1 | 1:01 (VO: “To begin, prepare a 10%…”) – 1:50 (VO: “...the reaction is complete.”) |
| Clip 2 | 3:35 (VO: “Once the first…”) – 7:26 (VO: “...image the gels.”) |

- Title: “In-Gel Zymography: A Method to Detect Protease Enzyme Activity in Biological Samples”

  - Begin by preparing a multi-layer polyacrylamide [pronunciation: polyacrylamide] gel. For the first layer, pour a 10% resolving gel solution and let it polymerize [pronunciation: polymerize].

  - Follow this with another 10% solution containing the enzyme’s substrate. Let the acrylamide and substrate copolymerize to form the second layer.

  - Pour a 5% stacking gel solution and let it polymerize to complete the gel.

  - Next, prepare your sample for electrophoresis [pronunciation: electrophoresis].  Add non-reducing buffer, to maintain any disulfide [pronunciation:  disulfide] bonds in the enzymes, with SDS [pronunciation: S-D-S] to denature and impart the enzymes with a negative charge.

  - Load the sample and electrophorese [pronunciation: electrophorese]until the enzyme of interest is within the substrate-containing gel layer.

  - Then, wash the gel to remove the SDS. Enzymes will begin to renature and adopt their active conformation.

  - Finally, incubate the gel under conditions that promote optimal enzymatic activity, including pH and temperature. This will allow the renatured enzymes to degrade the substrate polymerized in the gel.

  - To detect enzymatic activity, measure these regions of substrate breakdown in the gel via staining or fluorescence, depending on the substrate used.

  - In this experiment, we will see zymography [pronunciation: zymography] using a fluorescent substrate to allow direct visualization of enzymatic activity.

- Title: “Protocol: In-Gel Zymography Using a Fluorescent Peptide Substrate”