Collection: Encyclopedia of Experiments

Project ID: 20044

Project Name:  Thermal Shift Assay (Protein Stability)

Scriptwriter Name: James Ramos

| Protocol Project ID: 58666 http://www.jove.com/video/58666?access=tms6nub2 |  |
| --- | --- |
| Asset | Timecode |
| Clip 1 | 0.31 (VO: “To prepare the protein sample…”) – 3:21 (VO: “...begin the TSA experiment.”) |

- Title: “Thermal Shift Assay (TSA): A Method to Measure the Thermal Stability of Protein”

  - Begin with a 96-well plate containing solutions of varying pH, salt concentration, or organic compounds.

  - Next, add fluorescent protein dye to the protein sample.

  - Then, add your protein-dye mixture to each of the wells in the 96-well plate.

  - Prevent evaporation by sealing the plate, to stop changes in sample concentration or protein aggregation.

  - Next, centrifuge the plate to ensure the protein and reaction components come in contact.

  - Now perform a thermal shift assay, or TSA, using an automated system.

  - Increase the sample temperature to denature, or unfold, the proteins.

  - This results in exposure of their hydrophobic surfaces, allowing the dye to bind them, causing the dye’s fluorescence to increase

  - As you continue to increase the temperature, the proteins aggregate causing the dye to unbind and decrease fluorescence.

  - Finally, plot the fluorescence intensity against temperature to determine the midpoint fluorescence value.

  - Use the corresponding temperature as an indicator for protein stability under each condition, also referred to as the melting temperature.

  - In the example protocol we will perform a TSA to test protein stability under various conditions.

- Title: “Protocol: Thermal Shift Assay to Measure Protein Stability in Various Buffer Conditions”