Genome-wide analysis of Aminoacylation (Charging) levels of tRNA Using Microarrays
Authors: John M. Zaborske, Tao Pan
Authors:

John Zaborske

Department of Biochemistry and Molecular Biology 

University of Chicago

jzaborsk@uchicago.edu
Tao Pan

Department of Biochemistry and Molecular Biology 

University of Chicago

taopan@uchicago.edu
Corresponding author: Tao Pan
Keywords: tRNA, aminoacylation, charging, microarray, S. cerevisiae
Short Abstract: We describe a method for microarray analysis to determine relative aminoacylation levels of all tRNAs from S. cerivisiae.
Long Abstract: tRNA aminoacylation, or charging, levels can rapidly change within a cell in response to the environment[1].  Changes in tRNA charging levels in both prokaryotic and eukaryotic cells lead to translational regulation which is a major cellular mechanism of stress response.  Familiar examples are the stringent response in E. coli and the Gcn2 stress response pathway in yeast ([2-6]).   Recent work in E. coli and S. cerivisiae have shown that tRNA charging patterns are highly dynamic and depends on the type of stress experienced by cells [1, 6, 7].    The highly dynamic, variable nature of tRNA charging makes it essential to determine changes in tRNA charging levels at the genomic scale, in order to fully elucidate cellular response to environmental variations.  In this review we present a method for simultaneously measuring the relative charging levels of all tRNAs in S. cerevisiae.  While the protocol presented here is for yeast, this protocol has been successfully applied for determining relative charging levels in a wide variety of organisms including E. coli and human cell cultures[7, 8].
Protocol Text: 

Part 1: Isolation of total charged tRNA

1)  Pellet cells in a tabletop centrifuge at 2000 RFC for 5 minutes.  The equivalent of 1 OD600  of cells should produce at least 1µg of total RNA and a minimum of 30 µg is recommended for the procedure.

2)  Resuspend cells in lysis buffer solution consisting of 0.3 M buffered Na+-acetate (pH 4.5) and 10 mM EDTA.  Vortex with an equal volume of Na+-acetate-saturated phenol/chloroform (pH 4.5) three times each for 30 s.  Be sure to always keep samples on ice between vortexing.  Buffered acetate can be prepared from NaOAC and HOAc while acetate saturated phenol/chloroform can be prepared by mixing 1 part 5 M buffered acetate (pH 4.5) with 9 parts phenol/chloroform.


Note: total RNA isolation is carried out under mildly acidic conditions and on ice to avoid deacylation of charged tRNA.
3) Centrifuge at 18,600 RFC for 15 minutes at 4˚C.  Remove the aqueous layer and perform another acetate-saturated phenol/chloroform extraction.

4)  After the second extraction precipitate the RNA by adding 2.7x volumes of ethanol and centrifuging at 18,600 RFC for 30 minutes at 4˚C. 
5) Resuspend RNA pellets in lysis buffer solution and then precipitate with ethanol a second time. 
6) Finally, resuspend the RNA in a solution containing 10 mM buffered acetate (pH 4.5) and 1 mM EDTA for subsequent treatment.  The sample can be stably stored at -80˚C for about two weeks. Longer storage is not recommended as some charged tRNA will start to deacylate. 

Part 2:  Perpetration of tRNA Standards

1)  Heat E.coli tRNA standards at 10.5 μM to 85˚C in 45 mM Tris-Cl pH 7.5 for 2 minutes. Take the tube out and leave at room temperature for 3 min.

2)  Add MgCl2 to a final concentration of 20 mM and incubate at 37˚C for 5 minutes.

3) Add the synthetase reaction mix so the final reaction contains 5 μM tRNA, 60 mM Tris-HCl (pH 7.5), 12.5 mM MgCl2, 10 mM KCl, 3 mM dithiothreitol, 1.5 mM ATP, 1 mM spermine, 1 mM of the respective amino acid, and 4.2 units/μl E. coli aminoacyl-tRNA synthetase mix. Incubate at 37˚C for 15 minutes.
4)  Add an equal volume of 0.5 M buffered acetate (pH 4.5) and extract with acetate-saturated phenol/CHCl3 at pH 4.5, 
5)  Precipitate the tRNA standards with 2.7x volumes of ethanol and centrifuging at 18,600 RFC for 30 minutes at 4˚C. 

6)  Resuspend the standards in 50 mM buffered acetate (pH 4.5) with 1 mM EDTA and store at −80°C for up to one month. 
Part 3:  Cy3/Cy5 labeling of tRNA 

1)  For the charged tRNA sample incubate total RNA at a concentration of 0.1 μg/μl with 0.066 μM each E. coli tRNA standards (i.e. 0.67 pmole each standard per μg total RNA)  and 100 mM buffered acetate (pH 4.5) in the presence of 50 mM NaIO4 for 30 minutes at room temperature.  For the control total tRNA sample use 50 mM NaCl in place of NaIO4.  Remember to dilute the RNA only with buffered solutions to preserve charging. 
2)  To quench the reaction add glucose to 100 mM and incubate at room temperature for 5 minutes.

3)  In order to remove any remaining NaIO4 from the sample perform a buffer exchange using a G25 spin column.  For best results equilibrate the column first by running 200 mM buffered acetate buffer (pH 4.5) through it prior to applying your sample.

4)  Precipitate the sample by adding buffered acetate (pH 4.5) to a final concentration of 133 mM and NaCl to a final concentration of 66 mM and 2.7x volumes of ethanol.  Occasionally a second precipitation may be needed for the oxidized samples.  This is necessary only if the pellet looks significantly different than the control pellet of the same sample.  For example a significantly bigger or more diffuse pellet.  If a second ethanol precipitation is required resuspend pellet in 50 mM acetate buffer pH 4.5 and 200 mM NaCl before the addition of ethanol.  
5)  For deacylation the tRNA samples are resuspended in 50 mM Tris-HCl (pH 9) and incubated at 37 °C for 30 min.  The reaction is neutralized by the addition of an equal volume of 50 mM buffered acetate (pH 4.5) and 100 mM NaCl. Precipitate with 2.7x volumes of ethanol. After precipitation, RNA is resuspended in water at ~1 µg/µl.  Both the control and oxidized samples should be run on agarose gels to check RNA quality.

6)  To attach fluorescent oligo tags onto the tRNA 0.1 μg/μl deacylated RNA is incubated in 1× ligase buffer, 15% DMSO, 4 μM Cy3- or Cy5-containing oligonucleotides, 0.5 units/μl T4 DNA ligase, and yeast exo-phosphatase (5,000 units/μl) at 16°C overnight (over 16 h).  The exo-phosphatase is necessary only for samples obtained from yeast and can be omitted if this protocol is used for E. coli or human samples. 

7)  After ligation samples are mixed with 4 volumes of 50 mM KOAc (pH 7), 200 mM KCl, and then extracted with an equal volume of phenol/chloroform. Following extraction of the aqueous phase, RNA preparations are precipitated with ethanol and resuspended in water to approximately 0.1 μg/μl.

8)  Ligation efficiency can be assessed by running 5-10% of the samples on 12% polyacrylamide gels containing 7M urea and visualized with a fluorescent gel scanner.  This PAGE analysis is also useful to determine the amount of oxidized and control samples needed for microarray hybridization. A good ligation result should show ~10% or more of the Cy3/Cy5 containing oligonucleotide being ligated to the tRNA. For samples with good labeling efficiency, 0.1-0.5 μg total RNA per sample is used for array hybridization. 

Part 4:  Hybridization and Analysis of the Microarray

1) Prior to hybridization microarray slides are boiled in distilled water for 1-2 minutes to remove unbound oligonucleotides.

2)  Cy3/Cy5 labeled samples are combined with 140 μl of hybridization buffer and salmon sperm DNA to a final concentration of 140 μg/ml and poly(A) to a final concentration of 70 μg/ml.

3) A hybridization program, (table 1), is run on an automatic array hybridizer.  For tRNA work, it is highly recommended that an automatic hybridization machine be used since manual hybridization produces high background.

4) After the program is complete manually wash the slides with Wash 3 solution at least twice by gently shaking in a 50 ml conical tube for 3-5 minutes.

5) Slides can be dried by centrifuging at a low speed, less than 200 RFC, for 5-10 minutes.  It is important to keep the slides out of the light since exposure to light will bleach the fluorophores.

6) After the slides are dried they should be scanned immediately for optimal results; if necessary they can be saved for several days in a dry dark place at room temperature.  Slides can be scanned 2-3 times without noticeable degradation in image quality. 
Representative Results: – When isolated properly the total RNA sample should produce a very clean spectrum with an OD260:OD280 ratio near 2.  There should be no detectable protein or phenol contamination.  When run on 1% agarose gels, a strong tRNA band should be observed with other possible nucleic acid bands varying between organisms.  After oxidation a clean tRNA band should be observed.  If a sample is noticeably weaker than other samples or smearing is observed, samples should not be used for microarrays.  Microarrays should have very low background which is an order of magnitude lower than the weakest tRNA probe.  High background is usually due to problems during the washing steps.  This can usually be fixed by preparing fresh wash solutions and thoroughly washing all equipment and tubing to remove residual and precipitated SDS.
Discussion: We present a method for simultaneously determining the relative charging levels of all tRNAs at the genomic scale.  The protocol presented here has been optimized for S. cerevisiae, and it has also been successfully used to measure tRNA charging profiles in E. coli and human cell cultures.  It can be modified to accommodate any organism with known genome sequences (allowing for annotation of all tRNA genes) as long as total charged tRNA can be obtained.  
Tables and Figures:

	Table 1: Hybridization protocol

	Step
	Details

	O-ring conditioning
	75˚C, 2 min

	Introduce sample
	60˚C

	Denature Sample
	90˚C, 5 min

	Hybridization
	60˚C, 16h

	Wash 1
	50˚C, flow 10s hold 20s

	Wash 2
	42˚C, flow 10s hold 20s

	Wash 3
	42˚C, flow 10s hold 20s


Table 1: Hybridization protocol for analysis of tRNA charging.  Wash 1: 2X SSC, 0.1% SDS, Wash 2: 0.1XSSC, 0.1% SDS and Wash 3: 0.1X SSC.
Acknowledgments:  The yeast work in the Pan lab was funded by a grant from Ajinomoto, Inc. Japan and National Institutes of Health Training Grant T32GM007183-33. We thank Dr. Ronald Wek at the Indiana University School of Medicine for long-term collaboration on the yeast projects. We also thank Dr. Kimberly Dittmar for developing the tRNA charging microarray method.
Disclosures: None.

Table of specific reagents and equipment:

	Name of the reagent
	Company
	Catalogue number
	Comments (optional)

	Microspin G-25 columns
	GE Healthcare
	25-5325-01
	

	E. coli tRNAPhe
	Sigma-Aldrich
	R3143
	

	E. coli tRNATyr
	Sigma-Aldrich
	R0258
	

	E. coli tRNALys
	Sigma-Aldrich
	R6018
	

	E. coli aminoacyl-tRNA synthetases
	Sigma-Aldrich
	A3646
	

	T4 DNA ligase
	USB
	70042X
	

	PerfectHyb Plus
	Sigma-Aldrich
	H-7033
	

	Hyb4 station
	Digilab
	
	

	GenePix 4000B scanner
	Axon instruments
	
	

	GenePix 6.0
	Axon instruments
	
	


References:  

1.
Zaborske, J.M., et al., Genome-wide analysis of tRNA charging and activation of the eIF2 kinase Gcn2p. J Biol Chem, 2009. 284(37): p. 25254-67.

2.
Wek, S.A., S. Zhu, and R.C. Wek, The histidyl-tRNA synthetase-related sequence in the eIF-2 alpha protein kinase GCN2 interacts with tRNA and is required for activation in response to starvation for different amino acids. 1995. p. 4497-4506.

3.
Hinnebusch, A.G., Translational Regulation of GCN4 and the General Amino Acid Control of Yeast. Annual Review of Microbiology, 2005. 59(1): p. 407-450.

4.
Braeken, K., et al., New horizons for (p)ppGpp in bacterial and plant physiology. Trends in Microbiology, 2006. 14(1): p. 45-54.

5.
Dong, J., et al., Uncharged tRNA Activates GCN2 by Displacing the Protein Kinase Moiety from a Bipartite tRNA-Binding Domain. Molecular Cell, 2000. 6(2): p. 269-279.

6.
Cashel M., et al., The Stringent Response, in Eschericia coli and Salmonella: celular and molecular biology, N. F.C., Editor. 1996, ASM Press: Washington D.C/. p. 1458-1496.

7.
Dittmar, K.A., et al., Selective charging of tRNA isoacceptors induced by amino-acid starvation. EMBO Rep, 2005. 6(2): p. 151-7.

8.
Zhou, Y., et al., High levels of tRNA abundance and alteration of tRNA charging by bortezomib in multiple myeloma. Biochem Biophys Res Commun, 2009. 385(2): p. 160-4.



