Collection: Encyclopedia of Experiments

Project ID: 20077

Project Name:  Digital PCR

Scriptwriter Name: James Ramos

| Protocol Project ID: 59630 http://www.jove.com/video/59630?access=g4x4weba |  |
| --- | --- |
| Asset | Timecode |
| Clip | 1:11 VO: "Prepare reactions for..." – 3:08 (VO: “...the manufacturer’s instructions.”) |

- Overview Title TEXT: “Digital Polymerase Chain Reaction (dPCR): A Method of Precise DNA Quantification”

  - First, add the target DNA to a well plate.

  - Then, add forward and reverse amplification primers, DNA polymerase [Pronunciation – Second Option], and deoxyribonucleotide [Pronunciation] triphosphates [Pronunciation] or dNTPs.

  - Next, split your sample into many reactions so each has one or zero copies of the target DNA.

  - Place the reaction in a thermocycler to perform PCR.

  - During PCR, the temperature is increased to denature, or separate, the DNA strands.

  - Then the temperature is decreased, allowing the primers to base pair with the single stranded DNA.

  - Next, the temperature is adjusted for ideal DNA polymerase action, which extends the new DNA strands, resulting in doubling of the target DNA.

  - Repeat this cycle for exponential DNA amplification.

  - Finally, test each reaction for the presence or absence of amplified DNA.

  - The concentration of target DNA present in the starting sample can be calculated based on this information.

  - In the example protocol we will see a variation of digital PCR, in which the reactions are separated in oil droplets.

- Protocol Title: “Digital PCR for Analysis of Pooled Bacterial DNA”

Sources:

- http://www.bio-rad.com/en-us/applications-technologies/droplet-digital-pcr-ddpcr-technology?ID=MDV31M4VY

- https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3260738/

- https://www.nature.com/articles/nmeth.2027