Tandem Affinity Purification (TAP): A Method to Purify Protein Complexes

Source: Luzarowski, M., et al. 2 in 1: One-step Affinity Purification for the Parallel Analysis of Protein-Protein and Protein-Metabolite Complexes. J. Vis. Exp (2018).

OVERVIEW

This video describes TAP, a two-step affinity purification technique, used to isolate a protein of interest, the bait protein, and its interacting partners. The sample protocol shows researchers performing the first affinity purification step to isolate the bait protein and its interactors in a one-step purification protocol compatible with downstream mass spectrometry.

PROTOCOL

1. TAP Protocol

NOTE: The following step is adapted from Maeda et al. 2014 and Van Leene et al. 2011.

- Homogenize harvested and frozen plant cell culture material using a mixer mill (2 min at 20 Hz) or mortar and pestle to obtain fine powder. Aliquot 3 g of the ground material (corresponding to around 90 mg of total protein) per sample. Avoid thawing of the sample during this step by using liquid nitrogen pre-chilled equipment.
NOTE: Store ground plant material in 50 mL tube at –80 °C to the beginning of an AP procedure.

- Triturate the sample in a liquid-nitrogen-precooled mortar with 3 mL of ice-cold lysis buffer (0.025 M Tris–HCl pH 7.5; 0.5 M NaCl; 1.5 mM MgCl2; 0.5 mM DTT; 1 mM NaF; 1 mM Na3VO4; 100x diluted commercial protease inhibitor cocktail; 1 mM PMSF) until the material thaws. Once the sample thaws, immediately proceed to the next step.
NOTE: Prepare the lysis buffer fresh. Introduce blank samples at this step. Detergents are not recommended as they can cause problems in MS detection.

- To remove cellular debris, divide the material into 2 mL microcentrifuge tubes and centrifuge at 20,817 x g for 10 min at 4 °C. Collect 3 mL of the clear lysate in a 15-mL conical centrifuge tube.

- During centrifugation step, equilibrate IgG-Sepharose beads. Aliquot 100 µL of the beads per sample and wash them with 1 mL of lysis buffer. Vortex to resuspend beads and flash-spin. Discard the lysis buffer and repeat the step twice. Resuspend beads in 400 µL of lysis buffer.

- Add beads to the collected plant lysate and incubate the mixture on a rotating wheel for 1 h at 4 °C.

- Transfer the mixture into a syringe combined via Luer-lock cap with a spin column with filter pore size 35 µm. Apply pressure to pass the lysate through. Beads with attached complexes will remain on the filter, while the lysate will go through.
NOTE: Optionally, use a vacuum manifold system. Make certain to apply gentle pressure so as not to harm the beads.

- Wash beads at first with 10 mL of washing buffer (0.025 M Tris–HCl pH 7.5; 0.5 M NaCl), and then with 1 mL of elution buffer (10 mM Tris–HCl pH 7.5; 150 mM NaCl; 0.5 mM EDTA; 1000x diluted E64 and 1 mM PMSF). Perform the washing using a syringe attached to the column or vacuum manifold system.
NOTE: When using a vacuum manifold system make certain to apply gentle pressure so as not to harm the beads.

- Incubate beads with the 400 µL of elution buffer containing 50 U of an improved version of the tobacco etch virus (AcTEV) protease. Use table shaker at 1,000 rpm for 30 min at 16 °C.
NOTE: Remember to use a plug to close the column at the bottom adding the elution buffer.

- Add an extra portion (50 U) of the enzyme into the column and incubate the mixture for the next 30 min under the same, described above, conditions.

- Collect the eluate in a 2 mL microcentrifuge tube either by centrifugation (1 min, 20,817 x g) or by vacuum manifold. To remove remaining complexes, introduce an additional elution step using 200 µL of elution buffer.
NOTE: Store the sample at –20 °C or –80 °C, or immediately proceed with the protein and metabolite extraction step. Thaw frozen samples on ice.

MATERIALS

[INSERT MATERIALS TABLE HERE]