Touch Imprint Cytology (TIC): A Method for Rapid Assessment of Fresh Tumor Biopsies

Source: Amemiya, et al. Simple and Rapid Method to Obtain High-quality Tumor DNA from Clinical-pathological Specimens Using Touch Imprint Cytology. J. Vis. Exp (2018).

OVERVIEW

Touch imprint cytology, TIC, is used for quick and inexpensive evaluation of biopsied tissues. In the example protocol, researchers demonstrate the procedure while collecting cells for downstream sequencing applications.

PROTOCOL

1. TIC Preparation for Quick Microscopic Assessment Using Normal Glass Slides

- Perform the TIC preparation as soon as possible after clinical pathological tissue materials are available. If TIC specimens cannot immediately be prepared, keep the tissue materials covered with saline moistened sterile-gauze and store in the refrigerator to prevent drying of tissues.

- Prepare 5 mm3 tissue material such as solid tumors (e.g., liver, lung, and breast tissues) clinically obtained by surgery or endoscopy.

  - Gently wipe the tissue with sterile-gauze coated with physiological saline and remove blood, if the tissue surface has a lot of blood.

  - For microscopic specimens such as biopsy material, keep the sample moistened with sterile-gauze soaked in physiological saline.

- Cut and trim the normal tissue with a trimming knife and expose the surface of the tumor lesion, if the tumor masses are not visible grossly.

- Touch the tumor surface of the resected specimens onto a normal glass slide several times with gloved hands. Visually confirm the touched area is over 80% of the normal glass slide.

- Lightly press the normal glass slide against a polyethylene naphthalate (PEN) membrane slide and rub gently 2 - 3 times with gloved hands. Visually confirm the cells are transferred from the normal glass slide to the PEN membrane slide.

- Air-dry both the glass and PEN membrane slides for 5 min at room temperature.

- Stain the normal glass slide for direct cytological examination. Dip the glass slides with fixative solution for 5 s, and then stain with Giemsa staining solution for 15 s.

- Assess and screen the tumor contents and cellularity on the normal glass slide entirely with a microscope for quick assessment. Evaluate tumor cells based on several criteria; nuclear enlargement, abnormal karyotype, abundant chromatin, unequal distribution of cells, ratio of nuclear component/cytoplasmic component, cell size, and cell polarity.

MATERIALS

[INSERT MATERIALS TABLE HERE]