Larval Contact Assay: A Method to Test Compounds for Mosquito Killing Activity

Source: Brito-Sierra, C. A. et al. Protocols for Testing the Toxicity of Novel Insecticidal Chemistries to Mosquitoes. J. Vis. Exp. 2019.

OVERVIEW

This video describes a protocol to test the killing capacity of potential mosquitocidal compounds against mosquito larvae.

PROTOCOL

NOTE: All strains and reagents required for the work described in the following protocols, and suppliers are listed in the Table of Materials.

- Culture of Mosquito Larvae and Adults
NOTE: Insecticide susceptible strains of mosquitoes are available from the Malaria Research and Reagent Reference Repository. Recommended strains are as follows: Aedes aegypti Liverpool (LVP) strain, Anopheles gambiae Kisumu (KISUMU1) strain and Culex quinquefasciatus Johannesburg (JHB) strain.

  - Culture mosquito larvae from eggs on a 12 h day/12 h night cycle at 28 °C and 75-85% relative humidity (RH) in 25 cm x 40 cm plastic trays (~ 400 larvae per tray) as described by Nuss. Feed the larvae ground gerbil (A. aegypti and An. gambiae) or flake fish food (C. quinquefasciatus). For larval assays, collect larvae at the third larval (L3) instar stage.

  - Rear adult mosquitoes from pupae that have been transferred to plastic cups and place inside 20 L plastic cages in an insectary under the conditions described above. Maintain mosquitoes on 20% sugar solution as described elsewhere29. Collect adults at 3-5 days post emergence.

- Larval Contact Assay (Single Point Dose or Dose Response Assay)
NOTE: The assay can be conducted with chemistries that are soluble in water or dimethyl sulfoxide (DMSO), provided that the final concentration of DMSO in test wells does not exceed 1%. Alternative solvents may be an option, but it is essential to first confirm that the final concentration does not cause more than 10% mortality at 72 h post exposure. The assay may be performed as a single point dose or dose response assay. If performing the latter, it is recommended to test a range of concentrations (minimum of five), spanning the expected LC50.

  - Label the wells of a clear 24-well tissue plate as shown in Figure 1.

  - Prepare a stock solution of the test chemistry in a 1.5 mL tube.

    - Weigh each chemistry using an analytical balance, and depending on solubility characteristics, re-suspend in sterile ddH2O, DMSO or other suitable organic solvent of choice (see Figure 2).
NOTE: Calculations should take into account the purity of the chemistry. For example, for a chemistry that is 99% pure, dissolve 10.1 mg in 1,000 µL of acetone to obtain a 1% solution. Seal with paraffin film and store at -20 °C.

  - Determine the final concentration of the test chemistry that will be evaluated and prepare serial dilutions from the stock solution accordingly, using the appropriate solvent.
NOTE: The concentration and volume of chemistry and solvent can be calculated using the formula C1*V1=C2*V2 where C1=concentration of sample 1, C2=concentration of sample 2, V1=volume of sample 1 and V2=volume of sample 2. See the example calculations shown in Figure 2 and Table 1.

    - Prepare a 10 mM stock solution and serial dilutions as required to obtain desired test concentrations (Table 1B).

  - Using a wide-bore plastic transfer pipette, transfer five L3 larvae to the well of a tissue culture test plate; L3 larvae can be recognized by length (~ 2.5 - 3.5 mm) and head capsule width of ~ 0.025 mm. Gently remove the water with a 1 mL pipette and replace with the desired volume of ddH2O (see below). Repeat to obtain n = 4 technical replicates per treatment (i.e., 20 larvae total per treatment).

  - Add the appropriate volume of test chemistry to each of the four replicate wells in the 24-well test plate and gently swirl the plate to ensure uniform mixing of chemistry. Place the plate in a test or growth chamber under constant conditions (e.g., 25 °C and ~ 75-85% RH is recommended, and a 12 h light/12 h dark cycle if possible).
NOTE: For reproducibility between experiments, ensure subsequent assays are performed under the same environmental conditions.

  - Record the number of dead/non-responsive larvae in each well at 30 min, 1, 1.5, 2, 3, 24, 48 and 72 h post-exposure (or alternative time points) on the score sheet (Table 2). Gently tap the side of the plate. If no movement is observed, gently touch the larva with a sterile toothpick. Score larvae that do not respond to tapping/touch as "dead".
NOTE: Other morphological and behavioral phenotypes may be observed and can be recorded.

  - Correct for control mortality using the modified Abbott's formula if desired, as follows:
Mortality (%) = (X-Y) *100/(100-Y),
where X = the percent mortality in the treated sample, and Y = the percent mortality in the control.

  - Graph results as a histogram or logarithmic curve using software of choice such as Graph-pad Prism 6 or similar and calculate Lethal Concentration (LC) values relative to the control.

  - Repeat the assay using a separate batch of mosquitoes to obtain n = 3 or more biological replicates.

REPRESENTATIVE RESULTS

[INSERT FIGURE 1 HERE]

Figure 1. Set-up of the larval dose response assay. Image showing the set-up of the larval dose response assay performed using Aedes aegypti L3 larvae in 24-well plate.

[INSERT FIGURE 2 HERE]

Figure 2. Schematic showing procedure for set up of the (A) single point dose or (B) dose response larval assay in 24-well plate. Following transfer of five L3 larvae to wells, excess water is gently removed via pipette and replaced with fresh, sterile ddH2O. Next, stock and serial dilutions of the test chemistry are prepared and added to a final volume of 1 mL/well.

[INSERT TABLE 1 HERE]

Table 1. Example calculations for Aedes aegypti L3 larval (A) single point dose assay and (B) dose response assay.

[INSERT TABLE 2 HERE]

Table 2. Example score sheet used to record data from the mosquito larval dose response assay. Control, water-only or water with 1% DMSO or other solvent only. Typical doses used to test small molecule antagonist chemistries such as amitriptyline are 25 µM, 50 µM, 100 µM, 200 µM and 400 µM.

MATERIALS

[INSERT MATERIALS TABLE HERE]