JoVE Article Template:

TITLE  (maximum 90 characters)

catherization of the abdominal aorta and measuring the decrease of cardial inotropy due 
to ischemic cardiomyopathy created by LAD ligature.


Authors: 
Patricia Piontek, Ali Ghodsizad, Viktor Bordel, Matthias Karck, Arjang Ruhparwar


Authors: 
Patricia Piontek

Department of Heart Surgery

University of Heidelberg

ppiontek@ix.urz.uni-heidelberg.de
Ali Ghodsizad

De Bakey Heart and Vascular Center

Texas Medical Center

a.ghodsi@gmx.org
Viktor Bordel

Department of Heart Surgery

University of Heidelberg

Viktor-bordel@web.de
Matthias Karck

Department of Heart Surgery

University of Heidelberg

Matthias.Karck@med.uni-heidelberg.de
Arjang Ruhparwar

Department of Surgery

University of Heidelberg

arjang.ruhparwar@med.uni-heidelberg.de

Corresponding author: Patricia Piontek


Keywords: 

Catherization, abdominal aorta, LAD-ligation, rat


Short Abstract:
We present how to induce ischemic cardiomyopathy in a rat model by LAD ligation and the 
cathetarization of the abdominal aorta.


Long Abstract: 
A worldwide spreading disease is heart failure. There are several cures for this condition. Our project develops another approach by using artificial contractile meshes in order to enhance the cardiac contractability.  In order to test the enhancing effect of the contractile meshes a  surgical procedure has to be done  simulating a coronary 
syndrome / anterior myocardial infarction. Therefore, we induce infarction by the use of LAD ligation technique. The lowered blood pressure is measured by a catheter inserted in the abdominal aorta.
The procedure commences by preparation of the main airways followed bytracheotomy and intubation. 
Before and after inducing cardiomyopahty the blood pressure is measured by the means of a catheter inserted in
the abdominal aorta. Subsequent to the measurement of the normal,healthy blood pressure a thoracotomy is conducted and a cardiomyopathy induced by ligature of the LAD. By remeasuring the blood pressure we
detect the resulting effects of cardiomyotpathy.


Text
Part 1: Anesthesia and preparation of the surgery

1.1) Twelve- week- old male rats were supplied by the Heidelberg
       University Animal Research Facility. They were anesthetized with
       ketamin and xylazin intramuscularly.

1.2) Neck, thorax and abdomen are shaved

1.3) The animal is placed onto an operating table with warming blanket

1.4) In order to prepare the trachea for an endotracheal intubation
       muscles and thyroid gland had to be put away.

1.5) With a small incision between the cartilages an opening for the
      intubation tube was created.

1.6) The tube was inserted in the trachea and fixed.

1.7) The rats were intubated endotracheally and ventilated with a rodent
       ventilator (Harvard Apparatus). Inhalational anesthesia was maintained
       with isoflurane.

Part 2: Incision and exposure of the thorax and abdomen

2.1) The abdomen was opened by a middle incision following the linea alba.

2.2) Intestines were taken out of the abdominal cavity to gain adequate
       exposure of the abdominal aorta and moistened.

2.3) At this step the abdominal aorta could be prepared and catheterized
       as follows:

      first two clips in distance of about two centimetres have been
      attached to the abdominal aorta.
      Between the two clips an incision was made that allowed to
      introduce the catheter into the lumen of the aorta.
      After insertion, the upper clip was removed and the catheter pushed
      softly forward so that the blood pressure could be measured.

1.4) For anticoagulation of the catheter Heparin was used.

1.5) To induce myocardial infarction a letaral thoracotomy was perfomed

1.6) a 7-0 ethicon ligature was placed around the left descending
       coronary artery just below the atrioventricular border.

1.7) A repeated measuring of the blood pressure allows to register the
      reduced inotropy.


Discussion: 
Our project focusses on enhancing the cardiac contractibility by using artificial contractile meshes.
We use the left anterior descending coronary artery(LAD) ligation technique, to create a heart failure model.
The aim is to achieve a lower cardiac output with subsequent decrease in blood pressure measured by the insertion of a catheter through the abdominal aorta.

This setting allows to test the contributive effect of different supportive contractile cardiac wrapping techniques. These include the application of tissue engineered contractile meshes, which we have been working on. So we have provided an optimal heart failure model in small animals which allows the assessment of promising systems for cardiac support.

By attaching or connecting unloading contractile devices including artificial meshes to the failing left ventricle, small changes in the detected blood pressure can be registered and examined. So we will be able to recognize minimal changes of the contractile ability of the heart. This model provides a bright platform for future heart 
failure experiments.



Acknowledgments: PD. Dr. Arjang Ruhparwar, Dr. Ali Ghodsizad


Disclosures:  I have nothing to disclose



Table of specific reagents and equipment:
Name of the reagent        Company                             Catalogue number        Comments (optional)
Ketamin                           PharmaciaPharmacia & Upjohn 
                                                   (Erlangen, Germany)
Xylazin                            Bayer AG 
                                             (Leverkusen, Deutschland)
Na-Heparin                          Hoffmann-La Roche AG 
                                             (Grenzach-Wyhlen,

                                             Germany)
Rodent ventilator                 Harvard Apparatus
Measuring device                 TSE BIOsystems GmbH


References: 
1. Fink, G.D., Bryan W.J., Mann M., Osborn J., Werber A. Continuous blood pressure measurement in rats with aortic baroreceptor deafferentation. Am J Physiol. 241:H268-H272 (1981)

2. Popovic V, Popovic P. Permanent cannulation of aorta and vena cava in rats and ground squirrels. J Appl Physiol

                  15:727-728 (1960)
3. Fu YH, Lin QX, Li XH, Fei HW, Shan ZX, Huang XZ, Liu XY, Yang M, Lin SG, Zhou SF, Zhang YY, Yu XY. 
A novel rat model of chronic heart failure following myocardial infarction. Methods Find Exp Clin Pharmacol.
31(6):367-73 (2009)

4. Ren F, Shi Y, Guo Y, Zhang E, Dian K. Modification in of the method for establishing myocardial infarction model in rats. Sheng Wu Yi Xue Gong Cheng Xue Za Zhi. 26(6):1291-4. (2009)
5. Agnoletti G., Cargnoni A.,  Agnoletti L.,  Di Marcello M.,  Balzarini P., Pasini E., Gitti G., Martina P., Ardesi R.,  Ferrari R. Experimental Ischemic Cardiomyopathy: Insights into Remodeling, Physiological Adaptation, and Humoral Response

