## Slide 1
Sample prep
QqQ method development
LC-MS/MS analysis
Data Analysis
Sample prep
QqQ method development
RF-MS/MS analysis
Data Analysis
1-5 min/sample
15-60 min/analyte
4-10 min/analyte
6-10 sec/sample
1-2 min/analyte
4-10 min/analyte
LC-MS/MS
RF300-MS/MS
> 60 min/analyte
~ 6 min/analyte

## Slide 2
Sample prep
QqQ method development
LC-MS/MS analysis
Data Analysis
6-10 sec/sample
1-2 min/analyte
4-10 min/analyte
RF300-MS/MS
~ 6 min/analyte
Sample prep
RF-TOF analysis
Data Analysis
6-10 sec/sample
1-2 min/analyte
<2 min/analyte
RF360-TOF
Hourglass shrinks and then disappears with a poof!!
As hourglass disappears, method dev piece fades to nothing and arrows move together to form this
Sample prep
RF-TOF analysis
Data Analysis
QqQ method development