# Submission ID #: 2154

# Editor Name: Nadja Rozovsky

# Videographer name: Matt Lenz

# Film Date: 4/27/2010

# Authors and Affiliations: Huseyin C Yalcin, Akshay Shekhar, Ajinkya A Rane, Jonathan T Butcher, Dept. of Biomedical Engineering, Cornell University

# Title: An Ex Ovo Chicken Embryo Culture System Suitable for Imaging and Microsurgery Applications

# A. Will you require assistance with video microscopy, such as filming a complex dissection or microinjection technique (Y/N, please specify steps by number. Also, please list make and model of your microscope)?  Yes, 4.10-13 and 5.2-4.  Carl Zeiss SteREO Discovery.V20 Microscope

B.   Does your protocol include detailed, step-by-step, descriptions of software usage (Y/N, please specify steps by number)? No

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps: 3.6-8 and 4.11-13

D.  What is the single most difficult aspect of this procedure?

Cracking Eggs without disruption of egg yolk or rupturing blood vessels

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

In the ex ovo chicken embryo culture system preparing shell-less chick embryo cultures enables investigation of embryogenesis (Intro).  The procedure starts with obtaining and incubating fertilized chicken eggs at 37.5°C for 72 hours (Top panel left – egg incubator).  Hammocks for holding the egg yolks with the growing embryos are prepared next (Top panel – left two cups (no hammock and plus hammock)).  Then egg yolks can be transferred onto hammocks and embryogenesis continues outside the shell (Top panel – 2 left egg illustrations plus two right egg+cup illustrations).  This technique can be applied for microinjection into vasculature, ultrasonography and microsurgery (Bottom part of PPT slide) and the results can show how the embryos develop under normal and perturbed conditions.

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Author name Akshay Shekhar: The main advantages of this technique over existing methods, like in ovo egg culture, are that it provides full optical access to the embryo and cultures can be easily transported without damage.

  - Author name Huseyin C Yalcin: This method can help answer key questions in the developmental biology field, such as how heart defects develop during embryogenesis.

# Protocol (read by voice talent at JoVE):

- Preparing the hammocks

  - Before beginning this procedure sterilize all the materials by wiping with 70% ethanol.

    - WIDE or MED: Talent at bench, sterilizing all the materials

  - To begin the procedure fill ¾ of a 9 oz plastic cup with warm sterile water. Repeat for as many cups as necessary.  A regular 9 oz cup has a top diameter of 8 cm, which is the size most suitable for the extended culture application presented here.

    - CU: Talent filling cups with water, level of water in cup after filling clearly visible

  - Next cut a 20 cm long piece of cling wrap. Cover the top of the 9 oz plastic cup filled with warm sterile water with the piece of cling wrap, and use a rubber band to hold the plastic wrap in place. Cling wrap is the most appropriate for this application since it prevents sticking of the yolk, which may result in splitting of the yolk during transportation.

    - MED: Talent cutting the cling wrap

    - CU: Talent covering the cup and fastening the rubber band

  - The plastic should be spread so that it touches the top of the water. Cut the excess plastic around the band and wipe the plastic with kimwipes wetted with 70% ethanol.  The hammocks are now ready to support the embryos.

    - CU: Talent spreading the plastic so that it touches the water

    - MED: Talent cutting excess plastic and wiping down

- Ex Ovo culturing of the chicken embryos

  - Fertilized chicken eggs can be stored at 13°C up to 5 days before incubation without activating development.  A red wine cooler can maintain this temperature.

    - MED: Talent removing the eggs from the wine cooler

  - In order to have the eggs ready for culturing activate the development of the embryo by incubating the eggs blunt side up in a 60% constant humidity incubator with continuous rocking at 37.5°C for 72 hours.

    - MED: Talent transferring the eggs to the 37.5ºC incubator, flipping them blunt side up and starts rocking

  - When the eggs are ready remove them from the incubator.  Sterilize the eggs by wiping with kimwipes wetted with 70% ethanol.

    - MED: Talent removing the eggs from the incubator

    - CU: Talent wiping the eggs

  - Lay the eggs horizontally on their sides on an egg carton for 1-2 minutes for proper positioning of the embryo.  Work with 6 eggs at most at a time since trying to crack more than 6 eggs at one time may result in keeping eggs at room temperature too long which can affect viability.

    - MED: Talent laying 6 eggs horizontally on an egg carton

  - At the end of 1-2 minutes the embryo has slid to the top of the egg.  To transfer each embryo to a hammock, work aseptically in a laminar flow hood.

    - MED: Talent moving the eggs to the laminar flow hood

  - First crack the underside of the egg gently using a sharp edge like the edge of a metal bucket or a glass beaker.  Remember that the embryo is on the upper side.

    - CU: Talent cracking the underside of an egg

  - Separate the two halves of the eggshell gently by pulling to the sides with two thumbs.

    - CU: Talent separating the two halves

  - Then place the embryo, yolk and albumen onto the hammock. The albumen provides a dampening environment around the yolk absorbing shocks caused by moving the system.  The albumen also provides nutrition to the embryo during the long culture period.

    - CU: Talent placing contents of egg on the hammock

  - If the transfer of the embryo is performed properly the embryo should already be positioned on top. If the embryo is at the bottom, use closed curved small scissors or another similar blunt instrument to rub the yolk so that it turns around itself and the embryo moves to the top.

    - CU: Talent pointing to the embryo on top

    - CU: Talent pointing to an example of embryo at bottom, rubbing egg yolk to turn it

  - If culturing embryos beyond embryonic day 7, scatter crushed eggshell pieces around the periphery of the embryo as a calcium source for bone development and maturation.

    - CU: Talent scattering cracked eggshells at periphery of embryo

  - After the transfer of the embryo is complete place a 10 mm diameter petri dish on top of the cup to seal the embryo.

    - MED or CU: Talent placing Petri dish on top

  - Place the hammock in the incubator set to 37.5°C. If a portable incubator is used, place 1-2 9 oz cups filled with water in the incubator as well, in order to keep the humidity at approximately 60%.  The embryos continue to develop and  can be used for microinjection.

    - MED: Talent placing hammocks in incubator.  NOTE: can shoot 4.6.1 from same angle as here.

    - MED: Talent adding cups with water to portable incubator with hammocks inside

- Microinjection into the vasculature

  - (Text over video: Preparing the injection apparatus) This embryo culture is suitable for microinjection applications where solutions need to be injected to vasculature.  First prepare the injection apparatus, starting with the needles.

    - MED: Talent at the microforge with the glass capillaries to be made into needles

  - Using a microforge, fashion pulled glass capillary tubes (Text over video: 0.75 mm ID) into beveled tip microneedles.  The size of the tip depends on the flow rate desired.

    - MED or CU: Talent pulling a glass capillary to make a needle

  - Next connect the syringe to silicone tubing (Text over video: 0.03 inch ID).

    - CU: Talent connecting the syringe to tubing

  - Load the tubing with the solution to be injected and connect the microneedle to the tubing.

    - CU: Talent loading the tubing

    - CU: Talent connecting the needle to the tubing

  - Finally place the needle onto the micromanipulator and syringe onto the syringe holder or the syringe pump.

    - CU or SCOPE: Talent placing needle onto the micromanipulator

    - MED or CU: Talent attaching the syringe to the syringe holder

  - Once the injection assembly is ready, retrieve the embryos.

    - MED: Talent taking embryos out of the incubator.

  - Horizontal penetration of the needle is required for proper entry of the needle into a blood vessel such as a vitelline vessel.  The embryo therefore needs to be on the same level as the edges of the cup holding it.  In order to raise the embryo take off the rubber band holding the plastic wrap that supports the embryo.

    - MED: Talent demonstrating horizontal penetration

    - CU: Talent taking off the rubber band

  - Lift one side of the plastic gently and add some water to the cup without moving the embryo too much.  Then place the rubber band on the plastic again.

    - CU: Talent lifting plastic and adding water.  Make sure yolk/embryo rising with water level is visible.

    - MED or CU: Talent putting the rubber band back on

  - Now that the embryo is raised, the solution can be injected into an embryonic vessel.  Note that when injecting a vitelline vessel, the size of the microneedle needs to be approximately 1/10th the size of the vessel diameter to maintain efficient perfusion without causing bleeding.

    - MED: Talent placing the embryo to be injected on the injection apparatus

    - SCOPE: Embryo as seen through the scope

  - First pump the solution into the microneedle so than no air is trapped inside.

    - SCOPE: Talent pumping solution into needle

  - Next align the tip of the microneedle with the selected vessel. For vitelline vessels, selecting a fork area gives maximum area for targeting the vessel.

    - SCOPE: Talent aligning the tip of a needle with a vessel, preferably a fork area

  - Once the injection area is defined, push the needle towards the vessel. The vessel first retracts.  Once the needle penetrates, start perfusion. The color of the flowing blood changes with perfusion.

    - SCOPE: Talent inserting microneedle, vessel retracting

    - SCOPE: Needle penetrates, perfusion starts, color of flowing blood changes

  - If color change is not seen, the needle may have pushed through the vessel. In that case, slowly retract the microneedle while simultaneously pumping solution until a color change is visible in the vessel.  When perfusion is complete, gently pull the microneedle out of the vessel.

    - SCOPE: Talent retracting microneedle

    - SCOPE: Color starts changing

    - SCOPE: Talent pulling the needle out

- Left Atrial Ligation

  - This embryo culture is also suitable for microsurgical applications like left atrial ligation, which is performed on the 4th day of incubation (Text over video: HH24).  First prepare the knots to be used, at ~0.5 mm diameter from 10-0 nylon surgical suture.

    - Use footage from 4.6.1 – Talent removing embryos from incubator

    - CU and SCOPE: Talent preparing knots

  - Using fine forceps, remove the chorionic and allantoic membranes from the embryo. Lift the embryo from the back and rotate it vertically so that the left side of the embryo is now on top and accessible. After that, remove the pericardium over the left atrium.

    - CU or SCOPE: Talent removing membranes

    - SCOPE: Talent lifting and rotating embryo

    - CU or SCOPE: Talent removing the pericardium

  - Align the knot over the left atria and tighten it by holding and pulling it from the sides with forceps. The knot should be tied so as to prohibit ~75% of the original blood flow to the left side. Cut the edges of the knot with microscissors and carefully remove and discard excess suture.

    - CU or SCOPE: Talent aligning the knot then tightening it

    - CU or SCOPE: Talent cutting edges of knot and removing excess suture

  - Finally, rotate the embryo back to its original orientation with the right side on top.

    - CU: Talent rotating the embryo

- Representative Results of the Ex Ovo Chicken Embryo Culture System

  - Shown here are embryos at different stages cultured ex ovo as just demonstrated (Figure 2).  Embryos from stage 20 onwards can be grown with this technique.

  - A water circulation heater can maintain the environmental conditions for extended times which may be required during imaging and microsurgical applications (Figure 3).

  - The chick embryos cultured ex ovo are suitable for microinjection. In this experiment a fluorescent dye was injected into the vasculature of an ex ovo cultured chick embryo (Figure 4).

  - The chick embryos cultured ex ovo are suitable for microsurgery. In this experiment, left atrial ligation procedure was performed on an ex ovo cultured chick embryo (Figure 5).

- Conclusion (said by authors on camera

  - Author name Akshay Shekhar: Once mastered, culturing ex-ovo chick embryos can be done in 5 minutes per embryo.

  - Author name Huseyin C Yalcin: After watching this video, you should have a good understanding of how to create ex-ovo chick embryo cultures suitable for imaging and microsurgery applications and where the transport of cultures are necessary.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.