Video Article

Title:

Physiological recordings of high and low output NMJs on the crayfish leg extensor muscle

By

Wen Hui Wu and Robin L. Cooper

Department of Biology, University of Kentucky, Lexington, KY. 40506 USA

Correspondence to: Robin L. Cooper at RLCOOP1@email.uky.edu

Keywords: synapse, crayfish, neuromuscular junction, invertebrate, motor neuron, muscle

Abstract

Short: This is a demonstration of how to expose and conduct electrophysiological recordings of synaptic responses on the extensor muscle in the walking leg of a crayfish. In addition, the nerve terminals are visualized to show the gross morphological differences of high- and low-output nerve terminals.

Long:   This is a detailed explanation of how to expose and conduct electrophysiological recordings of synaptic responses for high- (phasic) and low- (tonic) output motor neurons innervating the extensor muscle in the walking leg of a crayfish. Distinct differences are present in the physiology and morphology of the phasic and tonic nerve terminals. The tonic axon contains many more mitochondria and stain more intensely than the phasic axon. The tonic terminals have varicosities and the phasic terminal is filiform. The tonic terminals are low in synaptic efficacy but show dramatic facilitated responses. In contrast, the phasic terminals are high in quantal efficacy but show synaptic depression with high frequency stimulation. The quantal output is measure with the use of a focal macropatch electrode placed directly over visualized nerve terminals. Both phasic and tonic terminals innervate the same muscle fibers, which suggests inherent differences in the neurons rather than differential retrograde feedback from the muscle to account for the morphological and physiological differentiation.

1) Introduction

Motor neurons communicate with a muscle fiber at synapses which are collectively referred to as a neuromuscular junction (NMJ).  NMJs can easily be accessed in most crayfish muscle preparations. Many of the crayfish NMJs demonstrate non-spiking excitatory postsynaptic potentials (EPSP) similar to the graded electrical signals generated in postsynaptic dendrites within the mammalian CNS or subthreshold responses noted in vertebrate NMJs (Wiersma & Van Harreveld, 1938; Katz & Kuffler, 1946). The crayfish NMJs can serve as fundamental synaptic models to provide general insights on synaptic transmission and synaptic differentiation.

Generally, motor units regulate aspects of animal behavior via the type of synaptic communication at NMJs and properties of the muscles. Since the first observation of “fast” and “slow” muscle contractions in crab and crayfish closer muscle (Lucas, 1907, 1917), similar muscular contractile differentiation was described in other muscle types in crayfish such as abdominal flexors (Kennedy & Takeda,1965a, b) and limb extensors (Van Harreveld & Wiersma, 1936). “Fast” contractions initiates a quick responses. For example the crayfish tail flip.  “Slow” contractions maintain the slow movements as well help for maintenance of posture (Bradacs et al., 1997). Corresponding to the “fast” and “slow” muscle contractions, the “phasic/high output” and “tonic/low output” are broadly utilized to describe the motor neurons. The difference in rate and timing of muscle contraction is in part related to presynaptic differences in synaptic structure and synaptic strength (King et al., 1996). Myofibrillar protein isoform expression is also important in contractile differences but in preparations in which a given fiber is innervated by both types of motor neurons, as for the leg extensor muscle, the focus is on synaptic differences of the terminals since the terminals share the same target cell (Mykles et al., 2002). An earlier study examined the two excitatory motor axons of the leg extensor and discribed the phasic and tonic phenotypes (Bradacs et al., 1997). In this present report we demonstrate how to perform the dissection and obtain recordings for others to futher investigate properties of synaptic differentiaon of these nerve terminals in this  preparation.

Various  series of sections, viewed with transmission electron microscopy, obtained from the tonic and phasic terminals on crayfish leg extensor muscle revealed that tonic terminals contains more RRP vesicles than phasic terminal, the mitochondria are more prevalent in tonic neurons and the synapses on phasic terminals are more complex than those on the low output synapses since they contain multiple active zones with varied spacing (Miller et al, 2002; Johnstone et al., 2008; King et al., 1996; Bradacs et al., 1997). The low output tonic terminals were also more susceptible to enhancing synaptic transmission with the neuromodulator serotonin (5-HT) than the phasic terminals (Cooper et al., 2003).

The fact that the tonic and phasic NMJ are present on the same muscle fiber offers an advantage to assess presynaptic differences on a given muscle fiber to address questions of muscle fatigue, synaptic depression and synaptic cross talk.  There are various studies that remain to be addressed in this preparations such as if there are differences in the postsynaptic receptor density and glutamate receptor subtypes in postsynaptic targets for the tonic and phasic terminals. The understanding in fundamental anatomical and physiological differences of these two motor units will aid in building the knowledge base on this preparation. The hope is that the fundemental principals learned in this synaptic preparation will be applicable to other synapses in various preparations as well as enhance future investigation in this synaptic model of the crayfish.

2) Methods

2.1) All the experiments were carried out in the first or second walking legs of midsize crayfish (Procambarus clarkii). The animals are individually housed in plastic containers with oxygenized water. The temperature of the animal room is in the range of  13°C-16°C. The animals are fed with dry fish food and the water changed on weekly basis.

Figure 1: Schematic of a crayfish walking leg and the six distal segments.

2.2) The distal aspect of the walking leg in a crayfish is anatomically divided into six segments (Figure 1). The main extensor is located in meropodite and nerve bundle that will be isolated is close to the meropodite–ischiopodite joint. The selective tonic or phasic axon can be selectively stimulated as needed for physiological purposes after they are exposed.

2.3) Aspects of the initial dissection are described in Cooper and Cooper (2009) for exposing the excitor of opener motor neuron within the meropodite region but in that description  the care required was not provided for protecting the extensor muscle from damage as it was not needed in addressing the opener muscle preparation. The first or second walking leg is removed from the crayfish, measuring 6-10 cm in body length (Atchafalaya Biological Supply Co., Raceland, LA), by inducing the animal to automize the limb with forcefully pinching distal to the fracture plane in the ischiopodite segment. The leg is placed on the dissection plate with the lateral (outer side) facing the viewer. Turn the leg around until one can be sure the outside (lateral side) is facing up on the dissection plate. This is usually the arched side up (Figure 2). Placing the leg on a piece of tissue paper helps in order to turn the preparation easily while making these cuts.

ADD PHOTO

Figure 2:  The lateral side of the meropodite is facing up on the dissection plate. This is usually the arched side up.

2.4) With a scalpel blade breaker and holder a sharp razor blade is used to etch the cuticle until just cutting through in the pattern shown in Figure 3 for the meropodite segment. Care needs to be used not to cut too far distal on the dorsal to ventral cut by the meropodite - carpopodite joint. Place the preparation into saline. This dissection dish should have a Sylgard (Dow Corning) coating on the bottom (1cm thick).The Sylgard is used so that insect pins can be stuck into it for holding the preparation still. At this point stick a pin in the middle of the carpopodite segment  and in the dorsal aspect of the ischiopodite segment (Figure 3).

ADD PHOTO

Figure 3: The meropodite segment with arrows as a suggested direction for etching out the window of cuticle. Note the dissection pin.

2.5) The cuticle is gently lifted in the distal region and the muscle fibers are cut away from the cuticle by making strokes towards the base of the leg. The cuticle can be lifted off.

2.6) Cut the apodeme (tendon) at the meropodite - carpopodite joint (Figure 4). Pinch the tendon where it was cut with tweezers and pull the flexor muscle off by lifting it in a caudal direction. Now the main leg nerve and the extensor muscle are exposed.

ADD PHOTO

Figure 4: The apodeme of the flexor muscle is cut and removed with care as not to damage the main leg nerve. Note the pins and the apodeme and main leg nerve.

2.7) Cut the main leg nerve at the meropodite - carpopodite joint  and carefully pull the main leg nerve back over the extensor muscle. The medial surface of the muscle is used throughout this study. The separation of the nerve to the extensor muscle from the main leg nerve can be enhanced by gently pulling the distal stump of the main leg nerve to the side of the preparation. When peeling the main leg nerve back over the extensor muscle small branches of axon may need to be cut. These are branches from the inhibitory motor neuron to the extensor muscle. The larger bundle branching off the main leg nerve near the proximal end of the meropodite is the small nerve bundle of interest. This nerve bundle can be seen with methylene blue staining (Figure 5) or with 4-Di-2-ASP fluorescent stain (Figure 6).

ADD PHOTO

Figure 5: The extensor muscle stained with methylene blue. (A) Note the axon pattern arcoss the muscle. (B) With a higher magnification individual axons are able to be observed.

ADD PHOTO

Figure 6: (A)The axons of the motor nerve stained with 4-Di-2-ASP. (B) Individual terminals of phasic and tonic neurons. Note the varicosities on the tonic terminals and the thin nature of the phasic terminals.

2.8) Dissected preparations are bathed in standard crayfish saline, modified from Van Harreveld’s solution (1936), which is made with 205 NaCl; 5.3KCl; 13.5 CaCl2; 2H2O; 2.45 MgCl2; 6H2O; 5 HEPES  and  adjusted to pH 7.4 (in mM).

3) Physiological Profiles

3.1) To observe the excitatory postsynaptic potentials (EPSPs) of the tonic or phasic  neurons, one of the isolated axons in nerve bundle is stimulated by a suction electrode connected to a Grass stimulator while monitoring intracellular potentials in the muscle to (Johnstone et al., 2008). Stimulation at 20 Hz or 40 Hz is applied to the tonic axon in order to promote a facilitated response for the low output NMJs or single 1 Hz pulses to phasic axon to obtain large EPSPs of the high output NMJs as shown in Figure 7. The EPSPs are recorded to a computer via a PowerLab/4s interface.

ADD PHOTO

Figure 7: Postsynaptic potentials (EPSPs) of the tonic or phasic  neurons as obtained by intracellular recordings.

3.2) Investigation in the nature of synaptic facilitation and synaptic depression can be approached by various experimental paradigms with the low and high output NMJs.  Facilitation of the low output NMJs are frequency dependent as shown for the 20, 40 and 60 Hz pulses of 20 stimuli (Figure 8).

ADD PHOTO

Figure 8: EPSPs in response to a train of 20 stimulation pulses given at three different frequencies 20, 40 and 60 Hz in normal crayfish saline.

3.3) The rate of synaptic depression related to frequency of stimulation is also readily able to be addressed with the high out NMJs. One can observe that 40 Hz continuous stimulation depresses sooner than a preparation stimulated at 20Hz continuously.

ADD PHOTO

Figure 9: EPSP amplitude of the phasic responses during high frequency stilumation to induce depression.

4) Quantal Responses

4.1) A similar procedure is used in this preparation as described for the opener muscle of the crayfish (Cooper and Cooper, 2009). The quantal EPSPs directly over identifiable regions of the nerve terminal are recorded by placing the lumen of a macro-patch recording electrode on synaptic varicosities visualized with the vital dye 4-Di-2-Asp (5 μM, 5-min treatment, Cooper et al., 1995; Magrassi et al., 1987). The spontaneous as well as evoked quantal responses are able to be recorded along the nerve terminals. The evoked and spontaneous synaptic potentials are recorded with the macro-patch electrode (Dudel, 1981; Wojtowicz et al.,1991; Mallart, 1993). Kimax glass (outer diameter: 1.5 mm) was pulled and fire-polished to produce patch tips with inside diameters ranging from 10 to 20 μm. The lumen of the electrode is filled with the bathing medium. The amplifier is the same as that used for the intracellular recordings mentioned above. Electrode and seal resistance can be determined by passing test current pulses through the electrode. Seal resistances ranged from 0.3 to 1.0 MOhm and the electrode resistance ranged from 0.5 to 1.0 Mohm. Seal resistance can be monitored throughout the recording.

4.2) Direct counting of quantal events is possible with low stimulation frequencies. For each evoked response, the number of quantal events can be readily determined for the low output terminals by counting quantal events (Figure 10). Mean quantal content can be estimated based upon these direct counts in a number of ways (Del Castillo & Katz, 1954; Cooper et al., 1995). Since the evoked high output NMJs produce multi-quantal evoked events (Figure 11) the mean amplitude or area of the deflections can be used along with the average peak amplitude or area of the spontaneous events to estimate mean quantal content (Cooper et al., 1995).

ADD PHOTO

Figure 10: tonic Quanta

ADD PHOTO

Figure 11: phasic Quanta

5) References

1. Bradacs, H., Cooper, R.L., Msghina, M. & Atwood, H. L. Differential physiology and morphology of phasic and tonic motor axons in a crayfish limb extensor muscle. J. Exp. Biol. 200, 677–691 (1997).

2. Cooper, R.L., Stewart, B.A., Wojtowicz, J.M., Wang, S. & Atwood, H.L. Quantal measurement and analysis methods compared for crayfish and Drosophila neuromuscular junctions, and rat hippocampus. J. Neurosci Methods 61, 67–78 (1995).

3. Cooper, R.L., Donmezer, A., & Shearer, J. Intrinsic differences in sensitivity to 5-HT between high- and low-output terminals innervating the same target. Neuroscience Research 45,163-172 (2003).

4. Cooper, A.S., & Cooper, R.L. Historical view and demonstration of physiology at the NMJ at the crayfish opener muscle. Journal of Visualized Experiments (JoVE). JoVE. 33 (2009).

5. Del Castillo, J. & Katz, B. Quantal components of the end-plate potential. J. Physiol. 124, 560–573 (1954).

6. Dudel, J. The effect of reduced calcium on quantal unit at the crayfish neuromuscular junction. Pflu¨gers Arch. 391, 35–40 (1981).

7. Johnstone, A.F.M., Kellie, S. & Cooper, R.L. Presynaptic depression in phasic motor nerve terminals and influence of 5-HT on docked vesicles. The Open Neuroscience Journal 2, 16-23 (2008).

8. Katz, B. & Kuffler, S.W. Excitation of the nerve-muscle system in Crustacea. Proc. Roy.Soc. B, 133, 374-89 (1946).

9. Kennedy, D. & Takeda, K. Reflex control of abdominal flexor muscles in crayfish. I. The twitch system. J. Exp. Biol. 43, 211–227 (1965a).

10. Kennedy, D. & Takeda, K. Reflex control of abdominal flexor muscles in crayfish. II. The tonic system. J. Exp. Biol. 43, 229–246 (1965b).

11. King, M.J.R., Atwood, H.L. & Govind, C.K. Structural features of crayfish phasic and tonic neuromuscular junctions. J. Comp. Neurol. 372, 618–626 (1996).

12. Lucas, K. The analysis of complex excitable tissues by their response to electric currents of short duration. J. Physiol. 35, 310–331 (1907).

13. Lucas, K. On summation of propagated disturbances in the claw of Astacus and on the double neuromuscular system of the abductor. J. Physiol. 51, 1–35 (1917).

14. Magrassi, L., Purves, D. & Lichtman, J.W. Fluorescent probes that stain living nerve terminals. J. Neurosci 7, 1207-1214 (1987)

15. Mallart, A. Calcium dependent modulation of the facilitation of transmitter release at neuromuscular junctions of Drosophila, J. Physiol. (Paris), 87, 83-88 (1993).

16. Millar, A.G., Bradacs, H., Charlton, M.P. & Atwood, H. L. Inverse relationship between release probability and readily releasable vesicles in depressing and facilitating synapses. J. Neurosci. 22, 9661–9667 (2002).

17. Mykles, D.L., Medler, S.A., Koenders, A. & Cooper, R.L. Myofibrillar protein isoform expression is correlated with synaptic efficacy in slow fibres of the claw and leg opener muscles of crayfish and lobster. J. Exp. Bio. 205 (4), 513-522 (2002).

18. Van Harreveld, A. A physiological solution for freshwater crustaceans. Proc. Soc. Exp. Biol. Med. 34, 428-432 (1936).

19. Van Harreveld, A. & Wiersma, C.A.G. The Triple Innervation of the Crayfish Muscle. Proc. Natl. Acad. Sci. USA 22 (11), 667 (1936).

20. Wiersma, C.A.G. & Van Harreveld, A. The influence of the frequency of stimulation on the slow and fast contraction in crustacean muscle. Physiol. Zool.11, 75-81 (1938).

21. Wojtowicz, J.M., Smith, B.R., & Atwood, H.L. Activity-dependent recruitment of silent synapses. Ann. N.Y.  Acad.Sci. 627, 169–179 (1991).