High throughput behavioral assays in Drosophila

Robert R. H. Anholt, Gunjan H. Arya, Mary Anna Carbone, Kyle L. Craver, Kultaran S. Chohan, Charlene R. Couch,  L. Alex Hanes, Susan T. Harbison, Trudy F. C. Mackay, Tatiana V. Morozova, Yazmin L. Serrano, Shilpa Swarup, Akihiko Yamamoto

Authors: institution(s)/affiliation(s) for each author:

Robert R. H. Anholt

Departments of Biology and Genetics and W. M. Keck Center for Behavioral Biology

North Carolina State University

anholt@ncsu.edu

Gunjan H. Arya

Department of Biology and W. M. Keck Center for Behavioral Biology

North Carolina State University

Dr.gunjanarya@gmail.com

Mary Anna Carbone

Department of Genetics and W. M. Keck Center for Behavioral Biology

North Carolina State University

macarbon@ncsu.edu

Kyle L. Craver

Department of Biology and W. M. Keck Center for Behavioral Biology

North Carolina State University

klcraver@ncsu.edu

Kultaran S. Chohan

Department of Genetics and W. M. Keck Center for Behavioral Biology

North Carolina State University

kschohan@ncsu.edu

Charlene R. Couch

Department of Genetics and W. M. Keck Center for Behavioral Biology

North Carolina State University

crcouch@ncsu.edu

L. Alex Hanes

Department of Genetics and W. M. Keck Center for Behavioral Biology

North Carolina State University

lahanes@ncsu.edu

Susan T. Harbison

Department of Genetics and W. M. Keck Center for Behavioral Biology

North Carolina State University

susan_harbison@ncsu.edu

Trudy F. C. Mackay

Department of Genetics and W. M. Keck Center for Behavioral Biology

North Carolina State University

trudy_mackay@ncsu.edu

Tatiana V. Morozova

Department of Biology and W. M. Keck Center for Behavioral Biology

North Carolina State University

tvmorozo@ncsu.edu

Yazmin L. Serrano

Department of Biology and W. M. Keck Center for Behavioral Biology

North Carolina State University

nimzayo@gmail.com

Shilpa Swarup

Department of Genetics and W. M. Keck Center for Behavioral Biology

North Carolina State University

shilpaswarup@gmail.com

Akihiko Yamamoto

Department of Biology and W. M. Keck Center for Behavioral Biology

North Carolina State University

akihiko_yamamoto@ncsu.edu

Corresponding author: Robert R. H. Anholt

Keywords: 	behavioral genetics, Drosophila, locomotion, phototaxis, chemosensation, mating behavior, alcohol sensitivity, sleep, startle behavior, aggression

Short Abstract:   	Drosophila presents an excellent model for studies on behavioral genetics. Many individuals can be reared rapidly and economically. In addition, the genetic background and environment can be controlled precisely. Here, we describe a suite of simple behavioral assays that are amenable to high throughput experimentation in this versatile model organism.

Long Abstract:  Drosophila melanogaster presents an excellent model organism for studies on behavioral genetics. Its genome has been sequenced and well annotated and a wealth of fly lines, including mutants, deficiency lines and RNAi-expressing lines are available from stock centers at Indiana University (Bloomington, IN), Cambridge University (Cambridge, UK), Harvard University (Boston, MA) and the University of Vienna (Vienna, Austria).  Many individuals can be reared rapidly and economically. Most importantly, both the genetic background and environment can be controlled. Flies display a variety of behaviors, which can be measured quantitatively with simple, rapid and inexpensive assays. Here, we describe high-throughput assays for olfactory behavior, including a place preference-like twin tube assay; the “dipstick assay”, which measures avoidance behavior; and an olfactory trap assay. We also present the protocol for a typical gustatory preference assay and a simple observational assay to measure mating behavior. We provide a detailed description for measuring phototaxis based on Benzer’s classical countercurrent distribution apparatus, a rapid mechanosensory tap assay to assess startle responses, and a quantitative alcohol knock-down assay that allows quantification of sensitivity to ethanol. We also describe in detail the procedure for assessing activity and sleep using automatic recordings of movement through interruptions of a light beam. Finally, we present a video-based method for quantifying aggressive behaviors.  Because flies can be readily inbred, the same genotypes can be measured repeatedly under controlled environmental conditions over a period of time, thereby minimizing experimental variation and allowing accurate quantification. The ability to measure multiple behaviors on each genotype results in a thorough assessment of whole organismal pleiotropic effects on behavior that result either from naturally occurring variation or from induced mutations. Evolutionary conservation of fundamental cellular mechanisms predicts that basic principles of the underlying genetic architectures of complex behaviors in Drosophila will be preserved across phyla.

Introductory comments

This article describes the mechanics of several high throughput behavioral assays, but does not address statistical analyses, which generally use ANOVA models.1,2 It should be noted, however, that rigorous control of environmental conditions will improve the quality of the data. Flies are especially sensitive to circadian rhythms and assays should, therefore, be carried out at the same time of day, whenever appropriate. Many assays rely on locomotion and it is always important to ascertain that reduced responsiveness to a stimulus cannot be attributed to general movement impairment. As many behaviors display sexual dimorphism, it is recommended to assay the sexes separately. Multiple measurements (as many as 10-20) of individuals of the same genotype are necessary to obtain reliable average phenotypic values. When conducting large screens, it is recommended to randomize measurements of each genotype over multiple days to reduce error due to daily environmental variations.1,2 Behaviors are typically measured on young flies (between 3 and 7 days old), and every effort should be made to ensure all flies are within the same age range.  For all protocols described below, flies are reared on standard cornmeal-molasses-agar medium at 25oC, 60–75% relative humidity and a 12-hour light-dark cycle.

Measuring chemosensory behavior

1. Twin tube assay for response to odorants

1.1)	Using CO2 anesthesia, collect 50 flies  of the same sex per replicate (3 replicates) and place the flies in individual collection vials containing  3 ml of cornmeal-molasses-agar medium.

1.2)	Allow the flies to recover from the CO2 by leaving the collection vials for one day at 25oC, 60-75% relative humidity and a 12-hour light-dark cycle.

1.3)  	The next day, transfer the flies from individual collection vials to a 50ml graduated conical tube containing the cotton wool tip of a Q-tip swab (referred to as the “odor tube”).  Cover the odor tube with a piece of mesh and using a hollow tube which can slide into the odor tube, push the mesh all the way up to the 45ml mark of the odor tube. Leave the flies for about 2 hours.

1.4) 	Prepare an odorant solution of the desired concentration. For example, to make a 1% (v/v) concentration, add 10ul of odorant to 990ul of distilled water and vortex to mix.

1.5)   	To initiate the assay fit a hollow plastic tube (referred to as the “collection tube”) into a plexiglass holder, and cover one end of the tube with a cotton plug.  Using a syringe with a needle deposit 0.1ml of the odorant solution on the Q-tip in the odor tube. Quickly remove the mesh with the forceps and fit the odor tube into the collection tube positioned in the plexiglass holder.

1.6)  	Start a timer and wait for 2 minutes for the flies to respond to the odor, allowing them to make a choice to stay in either the odor tube or move to the collection tube.

1.7)  	After 2 minutes, separate the odor tube from the collection tube gently to avoid the flies from escaping.  Cover the tubes with cotton ball plugs and count the number of flies in both the odor tube and the collection tube (Figure 1).

1.8)  	Calculate the mean response index as follows:

Response index = flies in the collection tube/(flies in the odor tube + flies in the collection tube).

A response score of 0 indicates maximal preference for flies to remain in the tube that contains the odorant, while a score of 1 indicates maximal preference for flies to avoid the proximity of   the odorant.  Use a score sheet as shown in Table 1. It is recommended to perform this assay between 1:00-4:00 pm to control for circadian activity.

2. Dipstick assay for olfactory avoidance behavior

2.1) 	Using CO2 anesthesia, collect five flies of the same sex per replicate (10 replicates) and place them in 2.5 X 9.5 cm clear plastic culture vials without medium for 2 h before testing.

2.2) 	Prepare an odorant solution of the desired concentration in a 50 ml conical tube. For example, to make a 1% (v/v) concentration, add 10ul of odorant to 990ul of distilled water and vortex to mix.

2.3)	Dip a cotton wool swab (Q-tip) in the odorant solution while vortexing (mixing prevents phase separation for poorly soluble hydrophobic odorants), drain the excess liquid by briefly placing the cotton swab on a tissue paper and place it in the vial with the flies, such that it is wedged in place between the wall of the vial and the cotton wool plug with the tip protruding ~ 1cm into the vial.

2.4)	Place the vial on a template with a black line that demarcates the bottom 3 cm compartment of the vial and start a timer.  Since flies are positively geotactic, the vial is placed on its side to start the assay, always in the same orientation.

2.5) 	The flies are given 15s to recover from the disturbance during the insertion of the cotton swab, and then 10 counts of the number of flies in the bottom compartment of the tube are taken at 5s intervals, starting with the 15sec time point, for a total of 10 measurements (1 min; Figure 2).

2.6) 	Ten replicate assays of each genotype, each consisting of five males and five females, tested separately, are collected over a period of several days to account for environmental variation. Olfactory behavior is quantified as the “avoidance score” calculated as the number of flies in the bottom compartment of the vial, averaged over the 10 measurements, two sexes and ten replicates (Table 2). A score of 2.5 indicates indifference to the chemosensory stimulus; scores > 2.5 indicate repulsion and scores < 2.5 indicate attraction.3

Note: The dipstick assay is especially sensitive to environmental conditions. Airflow can interfere with the dipstick assay. Therefore, assays should not be conducted under a hood. Assay vials should be made of inert material that does not react with odorants.

3. Olfactory trap assay

3.1)  	The olfactory trap consists of a bottle in which two snap cap plastic tubes are placed.  Each tube contains a pipette tip inserted through the cap to form an opening through which the flies can enter the tubes.  Before inserting the pipette tip through the cap of the tube, cut approximately 2.5 mm of the narrow end of the pipette tip to provide an opening through which the flies can enter.4

3.2)  	The two tubes in the bottle provide a two choice paradigm (Figure 3).  Place some cotton wool in the bottom of each tube and add 1ml of H2O in one tube and 1ml of odorant at the desired concentration in the other tube to absorb in the cotton wool.

3.3)  	Deposit 140 flies into the bottle and cover the top with cheese cloth.  Run the assay for 24 hours. To account for the circadian rhythm of the flies, set up the assay around the same time each day.

3.4)  	After 24 hours, count the flies in both the tubes and in the bottle (i.e. the flies that did not make a choice).  Calculate a preference index by subtracting the number of flies in the control tube (containing water) from the number of flies in the tube containing the odorant.  Scores below zero indicate that the flies avoid the tube containing the odorant, a score of zero indicate the flies show no preference, and scores above zero show that the flies are attracted to the odorant.

4. Gustatory choice assay

4.1) Prepare a solution of a tastant containing a red food color dye and a control solution containing a blue colored dye, and vice versa, in media containing 1% agar, 0.5mg/ml red dye or 0.0625mg/ml blue dye. The media can be supplemented with 2 mM sucrose, if needed.

4.2) In each well of a 60-well microtiter plate add 10µl of the taste solutions, alternating rows between the blue and red dye (Figure 4).

4.3) Introduce ~100 flies in to the plate.  Run the assay for 2 hours in the dark and include replicates in which the dyes have been switched between the two solutions to be able to assess dye bias.   To account for the circadian rhythm of the flies, set up the assay around the same time each day.

4.4) Food preference is determined through visual inspection of the flies’ abdomens (Figure 5).   A preference index is calculated by counting the number of flies that consume the tastant solution plus half the number of flies that consume both solutions (these flies will have purple abdomens) divided by the total number of flies.  A score of 0.5 indicate that the flies show no taste preference, scores larger than 0.5 indicate that the flies prefer to consume solution with the tastant, whereas scores below 0.5 indicate that the flies avoid consuming the tastant solution.5

Measuring mating behavior

1.1) 	Separate newly emerged adult flies by sex and keep them separate on culture media for at least three days. For most strains, the optimum age of flies to test mating behavior is between 3 to 10 days.

1.2)	Place 5 virgin females and 10 males in regular fly vials (2.5 cm diameter x 9.5 cm high) separately and keep them in a temperature and humidity controlled room one day before the test.

1.3)	Place 5 females and 10 males together by tapping hem into a fresh vial with a thin (2-5 mm thick) layer of culture medium without yeast particles and cap the vial with  a foam cap with a slit that allows a mouth operated aspirator to be inserted to remove flies.  Start a stop watch.

1.4)	Observe the mating, measuring the time it takes to reach copulation and remove copulating couples with a mouth-operated aspirator taking care not to disrupt the remaining flies.

1.5)	Calculate the average time to achieve copulation, or time for 50% of females to copulate, and/or the ratio of females which copulate during a one-minute period. The best time to observe mating behavior is from 8 am to 11 am. If it takes longer than one minute to achieve 50% of flies to copulate, increase the observation time.

Measuring phototaxis

  - For each line, collect 50 flies of the same sex per replicate (3 replicates) under CO2 anesthesia and place the flies in individual collection vials containing 3 ml of cornmeal-molasses-agar medium.

  - Allow the flies to recover from the CO2 anesthesia by placing the collection vials horizontally at 25oC, 60–75% relative humidity and a 12-hour light-dark cycle.

1.3)	The phototaxis assay is performed in a dark room, using a countercurrent distribution apparatus (Figure 6) that was designed by Benzer6 and a 15 W fluorescent light as the light source.  Prior to performing the phototaxis assay, allow the flies to dark adapt for 30 minutes in a dark drawer.

1.4) For every vial to be tested, label empty start vials with the numbers 1-8.  For instance, testing 20 vials requires labeling 160 empty vials.

1.5) 	To account for the circadian rhythm of the flies, select the same 2-hour window each day to perform the assay.  For instance, one can dark adapt the flies from 8:30 am – 9 am and perform the assay between 9 am and 11 am.

1.6)  Fit the empty distal vials 1-7 on the countercurrent distribution apparatus (Figure 6) in distal positions 1-7. These vials can remain in the apparatus for the entire duration of the assay without ever needing to be removed.

1.7)  Fit the empty labeled start vials 2-8 on the countercurrent distribution apparatus in start positions 2-8.  Select the first vial to be assayed, while leaving all other fly vials in the dark drawer.

1.8)  To perform the assay gently tap the 50 flies from the first vial into start vial 1 and quickly insert this vial containing the flies into start position 1.

1.9)  Lift the countercurrent distribution apparatus so that it is in the vertical position and gently tap the apparatus on a padded surface (to minimize fly startle) so that all the flies are now at the bottom of start vial 1.

1.10)	Quickly lay the apparatus into the horizontal position so that the distal tubes are positioned 5 cm away from a 15 W fluorescent light (Figure 7).

1.11)  	Allow the flies 15 seconds to move towards the light source.

1.12)  	At the end of the 15 seconds, slide the distal tubes out of register (Figure 6B) which traps the flies that did not choose to move towards the light into start-vial number 1.

1.13)  	With the distal tubes out of register, pick up the apparatus so that it is now in the vertical position (Figure 6). Quickly and gently, tap the apparatus on the padded surface so that the flies which did choose to move towards the light are now at the bottom of start tube number 2.

1.14) 	Slide the distal tubes back to the start position (Figure 6A).  Quickly lay the apparatus into the horizontal position so that the distal tubes are positioned 5 cm away from a 15 W fluorescent light (Figure 7).

1.15)  	Allow the flies 15 seconds to move towards the light-source.

1.16)  	Repeat steps 1.12 to 1.15 six more times.  If the flies chose to move towards the light for all 7 choices, then the population of flies will be fractionated into all 8 start tubes.

1.17)  After the final choice, slide the distal tubes out of register, lift the apparatus so that it is in the vertical position.  Tap the apparatus so that all the flies are now in the bottom of the start-tubes.

1.18)  With the distal tubes out of register, remove the start tubes one at a time and insert a cotton or rayon ball to prevent the flies from escaping.  Be sure that when each of the start tubes is removed, there are no flies in the distal tubes.  Tap the apparatus as many times as necessary so that the flies are in the bottom of the start-tubes when they are removed.

1.20)  	Place the start tubes containing the fractionated flies into a rack.  Once all vials   have been, place the racks containing the vials at -20oC for at least 1 hour to freeze the flies. This will make the scoring of the flies more efficient and accurate.

1.21)  	Manually count the frozen flies that are in each tube and record the numbers on a spreadsheet (Figure 8).

1.22)  	A normalized phototaxis score is calculated as: ∑(i x Ni) / ∑Ni, where N is the number of flies in the ith tube.

Measuring startle behavior

1.1) 	Place single flies (20 of each sex) into plastic culture vials containing 5ml of standard cornmeal-molasses-agar medium and leave them overnight.

1.2)	The next day, subject a single fly to a mechanical disturbance by lightly tapping the vial once against the bench top and place the vial horizontally.

1.3)	Using a stopwatch record the amount of time the fly is active for 45 seconds following the mechanical disturbance.7,8

Quantitative assay for alcohol sensitivity and tolerance

Alcohol sensitivity can be assessed by measuring knock-down time in an “inebriometer”. The inebriometer is a 4 - foot long vertical glass column, which contains a series of slanted mesh partitions to which flies can attach (Figure 9).9

1.1)	The day before the experiment collect 60-70 flies of the same sex per replicate per vial using CO2. Note, that flies should not be exposed to CO2 on the day of experiment.

1.2) 	Turn on the air flow from an air cylinder to bubble through a flask containing ethanol connected to the inebriometer 30 minutes before the experiment to allow ethanol vapor to equilibrate within the column.

1.3) 	Introduce flies into the top of the inebriometer pre-equilibrated with ethanol vapor, using an aspirator. The flies will initially become agitated, then lose postural control and fall through the column.

1.4) 	Collect flies that elute from the inebriometer at one minute intervals and record the numbers (Table 3).

1.5) 	Calculate the mean elution time (MET).This is a measure of alcohol sensitivity. Flies will recover after ethanol knockdown and (depending on the genetic background) will have a longer MET when passed through the column a second time two hours later. This shift in MET indicates the development of tolerance.10

Measuring activity and sleep

1)  Fly Cultures

1.1) 	Set up fly cultures for the stocks to be tested eighteen days prior to making the sleep measurements.  Control the adult density of each culture; for example, place five males and five females in each culture vial.

1.2) 	Maintain fly cultures under controlled conditions of light and temperature.

2) Collect Virgin Flies

2.1) 	Collect virgin flies eleven days after the cultures have been set.  Collect virgins for five days, placing males and females of each stock in separate culture vials.

2.2) 	Sleep measurements are affected by the number of flies that the tested flies are exposed to.  To expose the flies to social conditions, place 30 flies of each stock in a single vial for each sex.   To expose flies to isolated conditions, put only one fly in each culture vial.  Ensure that flies are exposed to the desired social environment for at least four days.

3) Prepare Monitor Tubes

3.1)	Bundle the desired number of tubes (1 per fly tested) into groups of 25 and secure with a rubber band.

3.2) 	In general, the food may be either standard cornmeal-agar-molasses culture medium or sucrose food (1.5% agar and 5% sucrose); drugs may be added or the diet altered if desired.

3.3)	Mark a flat-bottomed plastic dish with a line 1 cm from the bottom.  Pour melted food up to this line.  Place the bundled tubes into the food; dunk the tubes up and down a few times to get the food to wick up into the tubes by capillary action.  Let the food cool at 4°C for one hour to harden.  Clean the food from the outside of the tubes using paper towels.

3.4) 	Wax the food end of the tube to help preserve it during the sleep assay.  Fill a 2-liter beaker with 1600 ml of water and place a metal stand in the bottom.  Fill a 500-ml beaker with Periplast Embedding Medium and place it on the metal stand.  Cover with aluminum foil and heat until the Periplast melts.  To wax the ends of the tubes, dip the food end of each tube once into the Periplast, and then once in a 200-ml beaker filled with room temperature water to harden the wax.  Repeat the dipping once more to ensure a good seal.  Place the waxed tubes in a plastic bag and store at 4 °C until needed.

4) Load Flies into Sleep Monitors

4.1) 	Create a guide sheet that specifies where each fly will be loaded into the monitors.

4.2) 	Ensure that the incubator is running at the desired light and temperature cycle.

4.3) 	One hour prior to loading the flies, remove the waxed food tubes from 4°C and allow them to come to room temperature.

4.4) 	Ensure that there are enough short pieces of yarn (approximately 1 cm long) to cap tubes.

4.5) 	To begin the assay, start the DAM system program.  Anesthetize flies (usually under CO2) and place each fly in a tube.  Cap the end of the tube with a piece of yarn using forceps.  Place each fly into the monitor in the desired position according to the guide sheet.  Place the monitor into the incubator and attach the cable.  When all monitors have been loaded and connected, check the DAM system program to ensure that the system is taking data.

5) Unload Flies from Sleep Monitors and Save Data

5.1) 	After the desired number of days for the sleep assay have elapsed, end DAM system program.  Save a copy of all monitor files from the experiment.

5.2) 	Inspect flies while in the monitors.  Note the monitor location of any dead flies and discard from the experimental data. Remove fly tubes from the monitors.

5.3) 	Fly tubes can be cleaned and re-used by boiling twice with Sparkleen.

Representative Results:

The DAM system program produces a text file for each monitor, which will list the number of activity counts per unit of recorded time.  For example, we record activity once per minute for seven days in a standard sleep assay.  From this text file, many sleep parameters can be calculated, including sleep duration, the number of sleep bouts, the average sleep bout length, and the number of activity counts per minute spent awake.  Sleep duration can be plotted over time as shown in Figure 10.

Discussion:

Like many behaviors, sleep is plastic when subjected to changing environmental conditions.  Unless the effect of changing environments is the subject of the investigation, environmental conditions should be kept constant for the entire experiment.  We strongly recommend using a dedicated incubator for sleep and activity measurements.  It is particularly important to control the light dark cycle of the flies, as changes in light directly impact the protein levels of the core circadian clock gene timeless.11  Our standard environmental conditions are 25°C, a twelve-hour light:dark cycle, and cornmeal-agar-molasses medium.  Furthermore, exposing a fly to other flies prior to the sleep assay can alter their sleep during the day.12  Thus, as virgins are collected, the number of flies per vial should be kept constant for at least four days prior to the sleep assay.  Our standard social exposure condition is 30 flies per single-sex culture vial; to assay socially isolated flies, use only one fly per culture vial.

It is possible for the food in the monitor tubes to dry out during an experiment.  To minimize this possibility, prepare the monitor tubes no more than one day before the sleep assay is to begin.  Avoid placing anesthetized flies into monitor tubes having water condensation as they will drown before they wake up from the anesthetic.

Some flies will die during the course of the sleep assay, so the design and statistical analysis of the desired experiment should account for unequal sample sizes.  Data from dead flies should not be used in sleep calculations.  While it is possible to determine whether a fly is dead from the DAM system data file, there is not always a clear distinction between a dead fly and a long sleeper in the record.  Therefore, we prefer to inspect the flies visually after the experiment to avoid discarding data on live long-sleepers.

Table of specific reagents and equipment:

| Reagent | Company | Catalogue number | Comments |
| --- | --- | --- | --- |
| DAM Monitor | Trikinetics | DAM2 | Other types of monitors are available at trikinetics.com |
| DAM Power Supply Unit | Trikinetics | PSIU9 |  |
| DAM System Program | Trikinetics | -- | Free download and user manual from trikinetics.com |
| Personal Computer | -- | -- | Any desktop PC can be used. |
| Monitor tubes | Trikinetics | PGT 5 X 65 | Glass; polycarbonate is also available |
| Periplast Embedding Medium | Sigma | P3558-1KG | -- |
| Yarn | -- | -- | Worsted weight |
| Forceps | -- | -- | -- |

Video dissection of aggressive behaviors in Drosophila

- Rearing Drosophila melanogaster for the assay

1.1)	Approximately 14 days before the assay will begin, start cultures of flies. Maintain constant adult densities for each line to be assayed. Collect adult flies as they eclose.

1.2) 	Maintain the flies collected for the assay in groups of 30-35 mixed sex flies until they are 3-7 days old.

- Preparing materials for the assay

  - Prepare small vials of regular food for the flies to be assayed. We have found that 5 ml (12 x 75 mm) polystyrene round bottom tubes filled with 1 ml of standard food medium work well. Plug with cotton and store at 4° C until needed for use.

  - Similarly, prepare starvation vials using 5 ml tubes filled with 2.5 ml of 1% agar. Once the agar has solidified, the vials can be plugged with cotton and stored at 4° C.

  - Using a razor blade and cork borer, cut cotton buzz plugs into small plugs that will fit the starvation vials.

  - Prepare yeast paste to offer the flies after the starvation period ends. Add 1 g of yeast to 1.6 ml distilled water and mix into a thick, smooth paste. Load into a 1 cc syringe or use a small spatula for ease of transfer. Yeast paste can be stored overnight at 4° C.

- Setting up flies and camera for the assay

  - At least 24 hours prior to the assay, warm the food vials to room temperature. Anesthetize and sort four male flies from a single line into each vial, being careful to select only uninjured flies. Maintain the flies at constant temperature and humidity for a minimum of 24 hours to allow complete recovery from the anesthesia.

  - On the morning of the assay, assemble the video apparatus in the incubator. We utilize a JVC Everio video camera, model MG-555U outfitted with a 5.37 mega pixel aspherical lens, two Qualide stepping rings (size 46-52 mm and 52-55 mm), three Quantaray 55 mm magnifying lenses (+1, +2, +4). A remote control device is used to trigger the camera.

  - Set up the camera in a Smith Victor ImageMaker Light Tent to reduce glare on the vial and to maintain consistent lighting during the assay period. Within the tent, mount the camera on a QSX 1001D Digital Tripod. The tent is lit from the exterior with two Smith-Victor 26 watt self-ballasted lamps.

  - Place a white Styrofoam block with two pairs of Q-tips spaced 2.0 cm apart beneath the camera to serve as an observation and acclimation platform for vials being assayed.

- Performing video recordings of aggressive behavior

  - Start the assay by transferring the first vial of flies to a starvation vial, capping the vial with a pre-cut plug, and starting the timer. Transfer the second vial of flies after two minutes, 50 seconds. Repeat for each vial. This process ensures that food is withheld from each vial of flies for 90 minutes before the recordings commence.

  - Immediately before the 90 minute starvation period ends, place a small droplet of yeast paste on the top center of each buzz plug.

  - After the 90 minute starvation period is complete for the first vial, invert the buzz plug, exposing the starved flies to the food droplet. Immediately place the vial in a horizontal position on the observation platform in the acclimation position and allow flies to acclimate for three minutes.

  - After two minutes and 50 seconds, move the vial into the observation position, reverse the plug on the second vial and place the second vial into the acclimation position. Commence video recording of the first vial when the timer reaches three minutes using the remote control to start the camera. Continue the process until all vials have been assayed.

- Quantifying aggressive behavior from video recordings

  - Video files can be reviewed in slow motion using Adobe Premiere Elements 2.0 (or other similar video software) to score the number of each type of aggressive interaction.13-15 We count each kick, chase, charge, boxing match and wing threat that occurrs within the assay time period.

  - Once scoring is complete, the data can be evaluated to determine the frequency of each type of interaction for each fly line.

Representative Results: When completed as described above, very basic video-recordings of flies allow for a detailed analysis of aggressive behavior, even for groups of flies. Good quality videos with proper magnification and sharp focus, as described above, permit a trained observer to quantify the number and type of all aggressive interactions among all individuals within the group. Recordings can be archived for later use and can be inspected by other observers or used or training.

Discussion: Various studies have demonstrated the presence of naturally occurring genetic variation in aggression in fruit flies, yet little is known about the genes and genetic networks involved in regulating aggressive behavior.  Real-time assays limit an observer to recording only the total number of aggressive interactions within a group of flies. This is due to the speed and large numbers of interactions possible within each group. However, by video-recording the fighting bouts and replaying the videos at slow speed, it is possible to quantify not only the number but also the specific type of each aggressive interaction, including kicks, wing threats, boxing, chases and charges.13-15 Thus video recording supports fine-grained analyses of aggressive behavior to support investigations of the genetic basis of aggression in Drosophila.

Critical steps in the production of high quality video recordings of aggressive behavior are much the same as for any video production. A large amount of information is available publicly to support the video capture of moving subjects with basic equipment. Skill with Drosophila husbandry, selection of appropriate subjects for the assay (those with whole, uninjured bodies and wings), and production of adequate numbers of flies should be simple for most laboratories. The assay observer will require some specialized training in recognizing aggressive interactions, but such training can be successfully accomplished within about a week by using real-time and video-recorded assays for practice. The assay could be modified to include more or fewer flies per group by using a differently sized vial or chamber for assays. The greatest significance of this assay is that very rapid, numerous and sometimes subtle encounters among flies within a group can be quantified for a highly detailed dissection of aggressive behavior.

Table of specific reagents and equipment:

| Equipment | Company | Catalog or model # | Comments (optional) |
| --- | --- | --- | --- |
| Video camera | JVC | GZ-MG555 | Hard disk camcorder |
| Fluorescent two light tent kit | Smith Victor | 402049 | Imagemaker kit |
| Vials | Fisher | 02-681-201 | 12mm x 75mm polystyrene |
| Yeast | Genesee Scientific | 62-103 | Active dry yeast |
| Buzz plugs | Genesee Scientific | 49-102 | Cut in half, then cut to correct diameter |

Acknowledgements

Work in the laboratories of the authors is supported by NIH grants GM059469, GM045146, GM076083, AA016560, EY015873, and 5RC1ES018255.

Disclosures: The authors have nothing to disclose.

References

- Anholt, R.R.H. Genetic modules and networks for behavior: Lessons from Drosophila. BioEssays 26, 1299-1306 (2004).

- Anholt, R.R.H. & Mackay, T.F.C. Quantitative genetic analyses of complex behaviours in Drosophila. Nat. Rev. Genet. 5, 838-849 (2004).

3. 	Anholt, R. R. H., R. F. Lyman, R. F. &  Mackay, T. F. C. Effects of single P-element insertions on olfactory behavior in Drosophila melanogaster. Genetics 143, 293–301 (1996).

4.   	Woodard, C., Huang, T., Sun, H., Helfand, S. L. & Carlson, J. Genetic analysis of olfactory behavior in Drosophila: a new screen yields the ota mutants. Genetics  123, 315-326 (1989).

5.  	Tanimura, T., Isono, K., Takamura, T. & Shimada, I.  Genetic dimorphism in the taste sensitivity to trehalose in Drosophila melanogaster. J Comp Physiol A, 147, 433-437(1982).

6.  	Benzer, S. Behavioral mutants of Drosophila isolated by countercurrent distribution.  Proc. Natl. Acad. Sci. USA. 58, 1112-1119 (1967).

7. 	Jordan, K.W., Morgan, T.J. & Mackay, T.F.C. Quantitative trait loci for locomotor behavior in Drosophila melanogaster. Genetics 174, 271-284 (2006).

8. 	Yamamoto, A. et al. Neurogenetic networks for startle-induced locomotion in Drosophila melanogaster. Proc. Natl. Acad. Sci. USA  105,12393-12398 (2008).

9. 	Weber, K. E. An apparatus for measurement of resistance to gas-phase reagents. Drosophila Inform. Serv. 67, 90-92 (1988).

10.	Morozova, T. V. et al. Alcohol sensitivity in Drosophila: translational potential of systems genetics. Genetics. 183, 733-745 (2009).

11.   Hunter-Ensor, M., Ousley, A. & Sehgal, A. Regulation of the Drosophila protein timeless suggests a mechanism for resetting the circadian clock by light. Cell 84, 677-685 (1996).

12.    Ganguly-Fitzgerald, I., Donlea, J. & Shaw, P. J. Waking experience affects sleep need in Drosophila. Science 313, 1775-1781 (2006).

13.	Baier, A., Wittek, B. & Brembs, B. Drosophila as a new model organism for the neurobiology of aggression? J. Exp. Biol. 205, 1233-1240 (2002).

14.	Chen, C., Lee, A. Y., Bowens, N. M., Huber, R. & Kravitz, E. A. Fighting fruit flies: A model system for the study of aggression. Proc. Natl. Acad. Sci. USA 99, 5664-5668 (2002).

15. 	Dankert, H., Wang, L., Hoopfer, E.D., Anderson, D.J., & Perona, P. Automated monitoring and analysis of social behavior in Drosophila. Nature Methods 6, 297-303 (2009).

Table 1. Example of a score sheet for use with the twin tube olfactory assay.

| date(time) |  | XX |  | Chemical (%, v/v) |  |  | Experimenter: XX |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| strain |  | odor tube | collection | total flies | Index |  | odor tube | collection | total flies | Index |
|  |  |  | tube |  |  |  |  | tube |  |  |
|  | Male | 15 | 35 | 50 | 0.3 | Female | 30 | 20 | 50 | 0.6 |
| # xx |  |  |  |  |  |  |  |  |  |  |

Table 2. Spreadsheet showing representative data from the olfactory avoidance dipstick assay.*

| Line Name | A |  | B |  | C |  | D |  | E |  | F |  | G |  | H |  | I |  | J |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sex | M | F | M | F | M | F | M | F | M | F | M | F | M | F | M | F | M | F | M | F |
| rep1 | 5 | 5 | 4.8 | 4.6 | 5 | 4.8 | 4 | 4.3 | 3.7 | 4.9 | 4.9 | 4.9 | 4.9 | 4.8 | 4.7 | 3.9 | 3.4 | 4.9 | 2 | 4.1 |
| rep2 | 4.2 | 4.8 | 4.9 | 4.7 | 3.3 | 4.1 | 3.9 | 1.3 | 4.1 | 3.3 | 4.7 | 4.4 | 3 | 4.5 | 4.2 | 4.7 | 3.6 | 3.5 | 5 | 3 |
| rep3 | 3.6 | 3.5 | 3.2 | 4.3 | 4.7 | 3.7 | 2.7 | 4 | 4 | 4.4 | 4.8 | 2.7 | 1.8 | 3.3 | 4.6 | 3.9 | 3.7 | 4 | 4 | 3.7 |
| rep4 | 2.9 | 1.9 | 3.5 | 4.1 | 3.5 | 2.4 | 4.2 | 4.7 | 1.7 | 4 | 3.8 | 4.7 | 4.6 | 3 | 4.6 | 3.4 | 3.8 | 3.7 | 5 | 3.8 |
| rep5 | 2.9 | 2.7 | 4.7 | 4.9 | 5 | 1.3 | 1.6 | 2.9 | 4.8 | 4.9 | 4.7 | 4.7 | 4 | 4 | 3.7 | 4 | 4.9 | 5 | 5 | 4.8 |
| rep6 | 3.3 | 1.8 | 3.6 | 4.4 | 2 | 3.2 | 1.6 | 3.1 | 4.1 | 4.6 | 4.8 | 4 | 4 | 3.5 | 4.6 | 4.6 | 3.8 | 4.1 | 5 | 4.9 |
| rep7 | 3.8 | 3.9 | 4.3 | 5 | 3.7 | 3.6 | 3.3 | 3.2 | 4.3 | 4.9 | 4.4 | 4.2 | 4.2 | 4.5 | 4.7 | 3.3 | 3.9 | 4.1 | 4 | 5 |
| rep8 | 3.1 | 3.8 | 3.9 | 3.9 | 3.5 | 3.6 | 4.9 | 2.5 | 3.5 | 3.1 | 3 | 5 | 4.2 | 3.6 | 3.8 | 5 | 4 | 2.1 | 4 | 4 |
| rep9 | 3.1 | 2.2 | 3.9 | 4 | 3.8 | 3.7 | 3.7 | 3.1 | 4 | 3.2 | 4.6 | 4.9 | 2.6 | 1.8 | 3.8 | 3 | 2.9 | 3.4 | 2.1 | 3.5 |
| rep10 | 3.3 | 2.7 | 4.1 | 4.9 | 4.4 | 3.2 | 4.9 | 3.9 | 4.2 | 5 | 5 | 4.9 | 3.7 | 4.8 | 4.9 | 4.9 | 3.5 | 4 | 2.8 | 5 |
| mean | 3.52 | 3.23 | 4.09 | 4.48 | 3.89 | 3.36 | 3.48 | 3.3 | 3.84 | 4.23 | 4.47 | 4.44 | 3.7 | 3.78 | 4.36 | 4.07 | 3.75 | 3.88 | 3.89 | 4.18 |

* Rep, replicate; M, males, F, females. These are representative scores for avoidance behavior of a Canton-S laboratory strain in response to 0.1% (v/v) benzaldehyde.

| Table3. Example of output data from the inebriometer. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Line | Sex | Fly numbera | Minutes |  |  |  |
| B | F | 1 | 1 |  |  |  |
| B | F | 2 | 1 |  |  |  |
| B | F | 3 | 1 |  |  |  |
| B | F | 4 | 1 |  |  |  |
| B | F | 5 | 2 |  |  |  |
| B | F | 6 | 2 |  |  |  |
| B | F | 7 | 2 |  |  |  |
| B | F | 8 | 2 |  |  |  |
| B | F | 9 | 3 |  |  |  |
| B | F | 10 | 4 |  |  |  |
| B | F | 11 | 5 |  |  |  |
| B | F | 12 | 6 |  |  |  |
| B | F | 13 | 7 |  |  |  |
| B | F | 14 | 7 |  |  |  |
| B | F | 15 | 7 |  |  |  |
| B | F | 16 | 8 |  |  |  |
| B | F | 17 | 8 |  |  |  |
| B | F | 18 | 9 |  |  |  |
| B | F | 19 | 10 |  |  |  |

Fly numbers 1,2,3, and 4 fall through the inebriometer after 1 minute, fly numbers 5,6,7, and 8 elute from the inebriometer at 2 minutes, etc. Fly number 19 stayed in the inebriometer for 10 minutes. The mean elution time for this line (designated the B line) is 4.53 minutes.

Figure Legends

Figure 1: Twin-tube assay for olfactory behavior. The figure shows a diagram of the   twin-tube assay showing flies and a cotton swab tip in the odor tube. Flies are given 2 minutes to make a choice to stay in the odor tube or migrate into the collection tube.

Figure 2:  Dip-stick assay for olfactory behavior. Five age- and sex-matched flies of the strain to be tested are collected in clear plastic vials and food-deprived for 2 hours.  A cotton swab dipped in the odorant solution at the desired concentration is placed ~ 1 cm below the cotton plug and the vial is placed on its side on a surface marked with two lines 3 cm apart, always in the same orientation. The flies are given 15 s to recover from the disturbance during the insertion of the odorant, and then 10 counts of the number of flies in the bottom compartment of the tube are taken at 5s intervals, starting with the 15s time point.

Figure 3:  Olfactory trap assay. Flies are aspirated into the bottle containing two tubes with a pipette tip inserted in each tube providing a narrow opening for a fly to enter the tube.  One tube contains water and the other contains the odorant.  Once a fly chooses to enter a tube, it is trapped inside.

Figure 4.  Gustatory choice assay. The flies are given a choice between a control solution and a solution that contains a tastant. The solutions are marked with different colored dyes.

Figure 5. Identification of food preference intake in flies. Different colored abdomens of the flies indicate which  solution the flies consumed in the gustatory choice assay.

Figure 6.  The countercurrent distribution apparatus.  A)  Start tubes are “in register” with the distal tubes.  When the assay begins, flies are placed into the first start tube and tapped to the bottom.  B)  The distal tubes are slid “out of register” which traps flies in their respective start tubes.

Figure 7.  The phototaxis assay. The phototaxis assay is performed in a dark room with the countercurrent distribution apparatus in the “start” position.  The apparatus is in the horizontal position so that the distal tubes are positioned 5 cm away from a 15 W fluorescent light.

Figure 8.  Sample spreadsheet file containing the number of flies in each of the start tubes at the end of the phototaxis assay. The normalized score is calculated as: ∑(i x Ni) / ∑Ni, where N is the number of flies in the ith tube. The mean normalized score is an average of the 3 replicate normalized scores per line per sex.

Figure 9. The inebriometer. The flask above the inebriometer contains ethanol. Air from an air cylinder bubbles through the flask, becomes saturated with ethanol and enters into the top of the glass tube, where flies are introduced. The tube contains slanted mesh partitions to which flies can adhere as they become inebriated.

Figure 10. Sleep patterns in Drosophila melanogaster females.  The
plot shows the average number of minutes spent asleep per five-minute
interval over the 2-day (48-hour) recording time in a wild-type strain. The
day periods are from 0-12 hours and 24-36 hours; the night periods are
from 12-24 hours and 36-48 hours.