High-resolution echocardiography in mice:  left ventricular function evaluation
Authors and Affiliations

Mariangela Peruzzi1, MD, mariangelaperuzzi@yahoo.it
Giacomo Frati1,2,4, MD, fraticello@inwind.it 

Ursula Tuderti1, MD, ursulatud81@lycos.com
Federica Papetti1, MD, federicapapetti@hotmail.com 
Giuseppe Cifelli2, BD, cifelli.giuseppe@virgilio.it
Giuseppe Lembo2, MD, giuseppe.lembo@uniroma1.it 
Andrea Marcantonio3, MD, andrea.marcantonio@email.it
1)  Department of Experimental Medicine, “Sapienza” University, Viale Regina Elena 324, 00161, Rome, Italy

2)  I.R.C.S.S, Neuromed, Via Atinense, 18, 86077 Pozzilli (IS), Italy
3)  Department of Radiological Sciences, “Sapienza” University, Viale Regina Elena 324, 00161, Rome, Italy 
4)  Heart and Great Vessels “A. Reale” Department, “Sapienza” University, ICOT, Polo Pontino, Via Franco Faggiana, 34, 04100 Latina, Italy
Corresponding author:

Giacomo Frati, MD 

Department of Experimental Medicine, “Sapienza” University, Viale Regina Elena 324, 00161, Rome, Italy Phone number: 00393391181158
e-mail: fraticello@inwind.it 

Short abstract (10-50 words): Transgenic/surgical small animal models of left ventricular dysfunction have been developed in the last years. Non-invasive imaging techniques are needed for serial quantification of left ventricular dimension and function in small size and fast beating  hearts. We show how to perform high-resolution echocardiography in mice. 
Long abstract (200-400 words)
Small animal models such as rats or mice represent the principal resource in cardiovascular research, mainly for their low cost and short reproductive cycle. Genetically and/or surgically altered animal models, created to mimic human cardiac disease such as myocardial infarction or heart failure, offer a great potential for the investigation and treatment of various cardiac disorders. Quantification of myocardial dysfunction represents a valuable tool for monitoring experimental results. Echocardiography represents a useful non-invasive technique in assessing cardiac chamber morphology and function (1-2) in experimental animal models. An ultra high-frequency transducer (30-40 MHz probe),  providing  high-resolution echocardiography for small and rapid beating hearts, such those of mice and rats, recently became available (3). Because of the simplicity and speed of acquisition, our method is applicable as an accurate and reproducible technique. We describe the basic protocol for performing high-resolution echocardiography in mice, with particular emphasis on the images view and measurements  assessment of left ventricular function. 
PROTOCOL
Echocardiographic System
 Echocardiographic study is performed by using a commercially available high-resolution echocardiographic system (“Visualsonics VeVo 770®, Toronto, Canada) equipped with a single-element mechanical transducer with a center frequency of  30 MHz. 
Animal Preparation
· Mouse is anesthetized by intraperitoneal injection of  tribromoethanol (7 µl/g of 2.5% solution) and placed in a supine decubitus on a heated platform, designed with micrometer precision rotation and translation capabilities
· ECG and respiratory gating are obtained by using electrodes adapted with fine needles and secured on the mouse limbs 
· Chest is shaved and further cleaned with alcohol or water to minimize ultrasound attenuation 
· A specific gel preheated, from which air bubbles have been expelled, is applied to the thorax surface to optimize visibility of the cardiac chambers. Particular attention is paid in avoiding excessive pressure of the probe on the chest, which may induce hypotension and bradycardia. 
Setting for Image Acquisition
The setting of image acquisition is maximally standardized. 
· Frame-rate in B-mode imaging is set at 100 Hz with the focal length of 12,5 to 12,7 mm 
· Pulse Doppler imaging is performed with the smallest sample volume (0,5 mm) at a paper speed of 200 mm/s 
· Heart rate and respiratory rate are constantly monitored by ECG leads
· Before starting the exam time is required (about 15 minutes) to restore a heart rate of about 500 bpm, initially depressed by the anesthetic agent (4)
Image Acquisition
Here as follows are explained in detail the steps of echocardiographic examination:
1-Parasternal long-axis view
· B-Mode (2D imaging)

The “notch” of the scanhead should be pointed towards the head of the animal and rotated approximately 30-45 degrees counter-clockwise. 
The left atrium, left ventricle, aortic valve, left ventricular outflow tract (LVOT), mitral valve, interventricular septum and posterior left ventricular wall are visualized.

· M-Mode
Same scanhead position. Cursor is positioned in the middle of the image. This view allows left ventricular diameters and wall thickness measurements and visual assessment of systolic function. 
2-Parasternal short-axis view
· B-Mode 

From the parasternal long axis view scanhead is rotated 90 degrees clockwise to the short axis: we move the scanhead notch from the position towards the head of the mouse to the left side of the mouse. A completely round view of the left ventricle should appear.  This image is optimized  by angling the probe. 
The basal, mid and apical level of left ventricle are visualized by tilting the probe towards the legs of the mouse. 
· M-Mode

Scanhead position is the same. Cursor is positioned in the middle of the image
When we get  the short axis view at the level of the valves, the aortic valve will appear in the middle. The tricuspid valve is on the right (left side of the screen) and the pulmonary valve will be on the left (right side of the screen). Scanning down to the apex, ad up to the base of the heart allows to analyze all aspects of the left ventricle.
3-Apical four chamber view
An apical four chamber view is obtained from the lower left side of the animal thorax: we are trying to look up from the apex, towards the base of the heart. We point  the scanhead in a transverse position with the notch towards the left side of the mouse, and angle the mouse (by moving the platform) slightly with the head down. If necessary, the scanhead may be  angled by 60-70 degrees. Then  we  move the scanhead  to the lateral wall of the thorax. From this position, some fine tuning may be required to obtain the apical view.
Right and left ventricles are visualized at the top and the atria at the bottom of the screen. Further assessment of left ventricular function is achieved by this view.  Pulsed wave Doppler of mitral inflow, tricuspid inflow and LVOT outflow can be performed. 
Quantitative Analysis of Left Ventricle  
Acquired images are reviewed off -line and measurements are taken. Left ventricular end-diastolic and end-systolic diameters, and left ventricular wall thickness  (anterior septum and posterior wall) are  measured from M-mode parasternal short-axis view at the midpapillary level (figure 1). LVOT diameter can be obtained  by placing markers from leading edge to leading edge , immediately below the level of the aortic valve leaflets in B-mode parasternal long axis view (figure 2). Left ventricular base-apex  length is obtained in B-mode parasternal long axix view (figure 3). Endocardial border trace of the left ventricle is performed in B-mode parasternal short axis view at basal, papillary and apex level (figure 4).
From these measurements we derive left ventricular ejection fraction (LVEF), left ventricular fractional shortening (LVFS), left ventricular (LV) mass and volume (table 1).
In addition, pulsed wave Doppler of mitral inflow (figure 5), for evaluating LV diastolic function,  and LVOT outflow (figure 6), for calculating LV stroke volume, is performed from a four chamber view (figure 7),  isovolumic contraction time (IVCT),  isovolumic relaxation time (IVRT) and ejection time (ET) are measured for myocardial performance index (MPI) calculation (table 1).
DISCUSSION 

Small animal models such as rats or mice represent the principal resource in cardiovascular research, mainly for their low cost and short reproductive cycle. Animal models of cardiac dysfunction are obtained by mean of various manipulations, transgenic and surgical. Quantification of myocardial dysfunction represents a valuable tool for monitoring experimental results. For this reason there is an increasing requirement of non-invasive imaging modalities for an accurate assessing of mice cardiac mechanics and wall motion abnormalities. Echocardiography, from clinical practice to experimental setting, is considered the more reliable non-invasive technique for assessing cardiac chamber morphology and function (1-2). 
Unfortunately, current available systems are still limited by relatively low-frequency probes and offer inadequate visualization of small size and fast beating hearts.
Recently,  high-resolution echocardiography with an ultra high-frequency transducer (30-40 MHz probes) became available (3), and this manuscript helps in providing the best visualization of the small size and fast beating hearts of the mice using this technique. Because of the simplicity and speed of acquisition (20 minutes for a  complete study), our method is applicable as an accurate and reproducible technique for assessing LV morphology  and function in different experimental scenarios. 
Nevertheless, some technical issues are to be considered: the probes  currently available have still a bigger size than the mice chest, and they imply low spatial resolution; futhermore, any change in technical setting, such as air bubbles in the gel and mild chest pressure, could reduce the scanning capacity. Therefore we consider the opportunity of a short period of training, alongside an experienced operator, before starting the experiments. 

A last consideration regards the well known limitation of two-dimensional echocardiography in depicting three-dimensional structures as cardiac chambers. In the near future we intend to improve this methodic by integrating three-dimensional echocardiographic modality (5).
In conclusion, the technique described in this manuscript represents a safe, rapid, reproducible and non-invasive method for qualitative and quantitative analysis of regional and global left ventricular function in experimental small animal settings. 
Acknowledgments
This work was supported by public funding sources: MIUR, PRIN 2007/2009 prot n. 2007E4SCMR. Scientific coordinator: Prof Giacomo Frati.
MATERIALS
· High-resolution echocardiographic system (Visualsonics VeVo 770®, Toronto, Canada) equipped with a single-element mechanical transducer with a center frequency of  30 MHz

· Tribromoethanol
· Heated platform, designed with micrometer precision rotation and translation capabilities, with electrodes for ECG trace and respiratory gating for mice.
· Shaving cream for mice hair removal

· Alcohol for mice chest cleaning 
· Specific preheated bubble-free gel for scanning
REFERENCES 
1- Keith A. Collins, Claudia E. Korcarz, and Roberto M. Lang  “Use of echocardiography for the phenotypic assessment of genetically altered mice “ . Physiol Genomics 13: 227-239, 2003
2-“ Xiao-Ming Gao, Anthony M. Dart,  Elizabeth Dewar, Garry Jennings, Xiao-Jun Du “Serial echocardiographic assessment of left ventricular dimension and function after myocardial infarction in mice” .Cardiovascular Research 45 (2000)  330-338
3- Kazue Okajima, MD, Yukio Abe, MD, Kohei Fujimoto, MD, Kana Fujikura, MD, Erin E. Girard, MS, Tomohiro Asai, MD, Susan H.Kwon, MD, Zhezhen Jin, PhD, Yasuhiro Nakamura, MD, Minoru Yoshiyama, MD, and Shunichi Homma, MD  -“Comparative study of  high-resolution microimaging with 30-MHz scanner for evaluating cardiac function in mice”  .J Am Soc Echocardiogr 2007; 20:1203-1210
4-Kiatchoosakun S, Kirkpatrick D, Hoit BD,”Effect of tribromoethanol anesthesia on echocardiographic assessment of left ventricular function in mice” Compar Med 51:26-29, 2001
5- Marielle Scherrer-Crosbie, MD, Wolfgang Steudel, MD, Patrick R. Hunziker, MD, Noah Liel-Cohen, MD, Roman Ullrich, MD, Warren M.Zapol, MD, Michael H. Picard, MD  “Three-Dimensional Echocardiographic Assessment of Left Ventricular Wall Motion abnormalities in mouse myocardial infarction”  J Am Soc Echocardiogr- Volume 12, Issue 10 (October 1999)
FIGURE LEGENDS
Figure 1. Parasternal short axis view M-Mode: linear measurements of left ventricular diameters are taken at the midpapillary level. 
IVSd, interventricular septum, diastole; LVIDd, left ventricular internal diameter, diastole; LVPWd, left ventricular posterior wall, diastole; LVIDs, left ventricular internal diameter, systole.

 Figure 2. Parasternal long axis view B-Mode: LVOT diameter
Figure 3. Parasternal long axis view B-Mode: left ventricular base-apex  length
Figure 4. Parasternal short axis view B-Mode:  endocardial border trace of the left ventricle  at papillary level in a) diastole and b) systole
Figure 5: Apical four chamber view. Pulsed Doppler of mitral flow: the sample volume is positioned and correctly angulated at the level of the mitral valve; the mitral flow velocity is about 80 cm/s.
Figure 6. Apical four chamber view. Pulsed Doppler of LVOT outflow : the sample volume is positioned and correctly angulated just below the aortic valve; the aortic flow velocity is about 1 m/s.
Figure 7. Apical four chamber view:  the sample volume for Doppler imaging is positioned between transmitral flow and LVOT flow for measuring IVCT,  IVRT, ET.
LVOT, left ventricular outflow tract; IVCT, isovolumic contraction time; IVRT, isovolumic relaxation time; ET, ejection time
Table 1

	Derived Parameter
	Formula
	Linear /Doppler Measurements Used
	Echocardiographic view

	FS%
	LVIDd - LVISd / LVIDd   x 100
	LVIDd, LVISd
	LAX view and/or SAX view 

 M-Mode papillary level

	LVEDV, LVESV
	LVEDV= (Ad1+Ad2)hd+A3hd/2+(/6hd3
LVESV= (As1+As2)hs+A3hs/2+(/6hs3

	Ad1-3, hd
As1-3, hs
	A: SAX view B-Mode at basal, mid and apical level; h: LAX view B-Mode

	LVEF%
	LVEDV-LVESV/LVEDV x 100
	See box LVEDV/LVESV
	See box 

LVEDV/LVESV

	LV mass
	(0.8 X {1.04[(LVIDd + PWTd + SWTd)3 - (LVIDd)3]} + 0.6 g)
	LVIDd, PWTd , SWTd, 
	LAX view and/or SAX M-Mode papillary level

	SV
	LVOT area x LVOT TVI
	LVOT diameter, LVOT VTI (PW Doppler)
	diameter: LAX B-mode 
TVI: apical four chamber 

	CO
	SV x HR
	See box SV
	See box SV

	MPI
	IVCT+IVRT/ET
	IVCT, IVRT, ET (PW Doppler)
	Apical four chamber 


FS: fractional shortening; LVIDd: left ventricular internal diameter, diastole; LVIDs: left ventricular internal diameter, systole; LVEDV: left ventricular end-diastolic volume; LVESV: left ventricular end-systolic volume; Ad: area, diastole; hd:  left ventricular base-apex length, diastole; As: area, syastole; hs:  left ventricular base-apex length, systole LVEF: left ventricular ejection fraction; LVEDV: left ventricular end-diastolic volume; LVESV: left ventricular end-systolic volume; LV mass: left ventricular mass; PWTd: posterior wall thickness, diastole; SWTd: septal wall thickness, diastole; SV: stroke volume; LVOT: left ventricular outflow tract; LVOT VTI: left ventricular outflow tract, time velocity integral; CO: cardiac output; HR: heart rate; MPI: myocardial performance index; IVCT: isovolumic contraction time; IVRT: isovolumic relaxation time; ET: ejection time.
Experiments on animals were performed in accordance with the guidelines and regulations set forth by “European Convention on Animal Care”.
