JoVE Article
TITLE: Patch clamp techniques for studying ion channels expressed in Xenopus oocytes
Authors: Junqiu Yang, Kelli Delaloye, Urvi S. Lee and Jianmin Cui

Authors: institution(s)/affiliation(s) for each author:

· Junqiu Yang

Department of Energy, Environment & Chemical Engineering

Washington University in St. Louis

Jy7@cec.wustl.edu
· Kelli Delaloye

Department of Biomedical Engineering

Washington University in St. Louis

kmcfarland@biomed.wustl.edu
· Urvi S. Lee

Department of Biomedical Engineering 

Washington University in St. Louis

ushah@wustl.edu
· Jianmin Cui
Department of Biomedical Engineering and Cardiac Bioelectricity and Arrhythmia Center
Washington University in St. Louis

jcui@biomed.wustl.edu
Corresponding author: Jianmin Cui

Keywords: patch clamp, ion channel, electrophysiology, biophysics, exogenous expression system, Xenopus oocyte 
Short Abstract: Ionic current of BK channels is recorded using patch clamp techniques. BK channels are expressed in Xenopus oocytes by injecting messenger RNA. The intracellular solution during patch clamp recordings is controlled by a perfusion system.
Long Abstract: The protocol presented here is designed to study the activation of the large conductance, voltage- and Ca2+-activated K+ (BK) channels. The protocol may also be used to study the structure-function relationship for other ion channels and neurotransmitter receptors1. BK channels are widely expressed in different tissues and have been implicated in many physiological functions, including regulation of smooth muscle contraction, frequency tuning of inner hair cells and regulation of neurotransmitter release
 ADDIN EN.CITE 
2-6
. BK channels are activated by membrane depolarization and by intracellular Ca2+ and Mg2+ 
 ADDIN EN.CITE 
6-9
. Therefore, the protocol is designed to control both the membrane voltage and the intracellular solution. In this protocol, messenger RNA of BK channels is injected into Xenopus laevis oocytes (stage V-VI) followed by 2-5 days of incubation at 18°C
 ADDIN EN.CITE 
10-13
. Membrane patches that contain single or multiple BK channels are excised with the inside-out configuration using patch clamp techniques
 ADDIN EN.CITE 
10-13
. The intracellular side of the patch is perfused with desired solutions during recording so that the channel activation under different conditions can be examined. To summarize, the mRNA of BK channels is injected into Xenopus laevis oocytes to express channel proteins on the oocyte membrane; patch clamp techniques are used to record currents flowing through the channels under controlled voltage and intracellular solutions.
Protocol Text: 
1) Injection of mRNA into oocytes
1.1 Inject 0.05 – 50 ng messenger RNA into Xenopus laevis oocytes (stage V-VI) using Nanoject II Auto-Nanoliter Injector (Drummond Scientific Company, model 3-000-204).
1.2 Rinse the injected oocytes twice then place them in a culture plate and incubate at 18°C for 2+ days.
2) Preparing the perfusion system 

	[image: image1.emf]
	Illustration of the Automate ValveLinkTM 16 perfusion system. The perfusion system uses pressurized nitrogen to push perfusion solutions out of the solution reservoirs, through the perfusion tubings, and to the perfusion pencil and tip. The flow of each stream of perfusion solution is controlled by one reservoir valve and one electronic valve. In this protocol, one of the reservoirs is not pressurized and functions as a waste collector as well as a pressure-release mechanism. (Picture adapted from vendor’s website http://www.autom8.com)


2.1) Connect the tubings to the perfusion pencil. Turn on the electronic valve controller and open the electronic valves.
2.2) Push deionized (DI) water through the tubings to assure that the tubings and the perfusion pencil are free of clog and air bubbles.
2.3) Connect the tubings to the solution reservoirs and open the valve of gas cylinder to apply pressurized nitrogen.
2.4) Open the reservoir valve to fill the tubing with reservoir solution. Flick the reservoir valve to remove bubbles in the solution if needed. Close the valve after done.
2.5) Fill the perfusion tip with water and screw it onto the perfusion pencil. Note not to trap any bubbles when connecting the tip.
2.6) Fix the perfusion pencil to the bath stage using modeling clay. Make sure the perfusion tip is in the bath space.
2.7) Add DI water in the bath. Make sure water submerges the tip.
2.8) Test if the each perfusion solution comes out of the perfusion tip correctly. Close the electronic valve for the tubing of waste collector and open the valve for perfusion solution (140 mM potassium hydroxide (KOH, Mr 56.1 g/mol), 20 mM 4-(2-hydroxyethyl)-1-piperazineethanesulfonic acid (HEPES, Mr 238.31 g/mol), 2 mM potassium chloride (KCl, Mr 74.56 g/mol), 1 mM Ethylene glycol-bis(2-aminoethylether)-N,N,N′,N′-tetraacetic acid (EGTA, Mr 380.35 g/mol), pH is adjusted to 7.1-7.2 by  methanesulfonic acid(MeSO3, Mr 96.1 g/mol), Ca2+ or Mg2+ is added to desired concentration when needed). Observe the perfusion jet coming out of the perfusion tip under microscope. Close the valve for perfusion solution and open the valve for waste collector. The perfusion jet should almost disappear. Repeat the same test for all the perfusion solutions.
2.9) Replace DI water in the bath with bath solution (140 mM potassium hydroxide (KOH, Mr 56.1 g/mol), 20 mM 4-(2-hydroxyethyl)-1-piperazineethanesulfonic acid (HEPES, Mr 238.31 g/mol), 2 mM potassium chloride (KCl, Mr 74.56 g/mol), pH is adjusted to 7.1-7.2 by  methanesulfonic acid(MeSO3, Mr 96.1 g/mol)).
3) Patch clamping
3.1) Treat the thin silver (Ag) electrode wire with bleach so it is coated with AgCl and becomes Ag/AgCl wire: 
a) Remove the electrode wire from the pipette holder. 
b) Submerge the tip half of the electrode wire with fresh bleach in a vial for at least 15 min. 
c) Rinse the electrode wire with DI water and blot dry. 
d) Install it back to the pipette holder.
3.2) Prepare for data acquisition. Switch on the amplifier (Axon Instruments, AXOPATCH 200B) and open HEKA Pulse (make sure the hardware key is plugged in the computer). Adjust the configuration settings, such as the Stimulus Scale, and load the protocol file.
3.3) Prepare oocytes. Strip the vitelline membrane of oocytes using two pairs of forceps after submerging the oocyte in stripping solution (200 mM N-Methyl-D-glucamine (NMG, Mr 195.22 g/mol), 200 mM Aspartate (no K+) (Mr 133.1 g/mol), 2 mM potassium chloride (KCl, Mr 74.56 g/mol), 10 mM Ethylene glycol-bis(2-aminoethylether)-N,N,N′,N′-tetraacetic acid (EGTA, Mr 380.35 g/mol), 1 mM magnesium chloride (MgCl2(6H2O, Mr 203.31 g/mol), 10 mM 4-(2-hydroxyethyl)-1-piperazineethanesulfonic acid (HEPES, Mr 238.31 g/mol), pH is adjusted to 7.4 by sodium hydroxide (NaOH, Mr 40.0 g/mol) for 5 - 10 min. Transfer the oocyte to the bath. A devitellinized oocyte is extremely vulnerable thereby should be prevented from contacting air or bubbles and be not moved unless it is necessary.
3.4) Prepare patch pipettes. Pull the glass pipettes (VWR International, Cat # 53432-921) using a Sutter P-97 Flaming/Brown Micropipette Puller. Observe the pipettes under microscope to determine tip shape and opening diameter. Coat the tip with wax. Fire-polish the tip before use.
3.5) Fill 1/3 of the pipette from tip with pipette solution (140 mM potassium hydroxide (KOH, Mr 56.1 g/mol), 20 mM 4-(2-hydroxyethyl)-1-piperazineethanesulfonic acid (HEPES, Mr 238.31 g/mol), 2 mM potassium chloride (KCl, Mr 74.56 g/mol), 2 mM magnesium chloride (MgCl2(6H2O, Mr 203.31 g/mol), pH is adjusted to 7.1-7.2 by methanesulfonic acid(MeSO3, Mr 96.1 g/mol)) by first placing the tip of the pipette inside the pipette solution and drawing the plunger.  This will wet the tip.  Next, fill more pipette solution from the end of the pipette.  
3.6) Place the pipette in the pipette holder.
3.7) Find the clear edge of oocyte under microscope. Move the pipette close to the oocyte using manipulator. Record the serial resistance of pipette.
3.8) Slowly push the pipette against the oocyte until the resistance approximately doubles.
3.9) Apply gentle suction to the membrane through a tube until reaching giga-ohm seal. Stabilize the patch by holding it under –30 mV for a couple of minutes.
3.10) To obtain an inside-out patch, excise the patch by pushing the pipette further into the oocyte and then pulling out.
3.11) Move the pipette near the perfusion tip, about 100 microns away from the opening of the perfusion tip.
3.12) Close the electronic valve for waste collecting and open the reservoir valve for perfusion solution and start recording.
Representative Results:  

During the preparation of oocytes for patch clamp, the 5-10 min treatment of stripping solution would detach the vitelline membrane from the plasma membrane, which makes possible stripping the vitelline membrane.

The ideal series resistance of the patch pipette is between 1–1.5 MΩ when filled with pipette solution and submerged in bath solution. 
Following is a representative recording of wild-type BK channels on an oocyte membrane patch. On the left top, the square waves indicate the voltage applied to the patch – the second step of voltage increases from 50 mV to 200 mV with increment of 50 mV. Below is the corresponding current traces when the perfusion solution has nominal 0 Ca2+ (free [Ca2+] is about 0.5 nM). The increase of current amplitude indicates that the open probability of BK channels increases with voltage. On the right side, the same patch is perfused with 1.0 μM Ca2+ when applied with the same voltage protocol. The current amplitude increases more under the same voltage, indicating that the open probability increases with [Ca2+].

	[image: image2.emf]4

3

2

1

0

-1

nA

25 20 15 10 5 0

ms

- 80 mV

- 80 mV

50 mV

200 mV

[Ca

2+

]

i

 = 0.0005 



M


	[image: image3.emf]4nA

3

2

1

0

-1

1 nA

24 20 16 12 8 4 0

ms

2 ms

[Ca

2+

]

i

 = 1.0 



M




Discussion:  

The oocyte expression system is ideal for electrophysiological characterization of voltage-dependent ion channels due to relatively low background of endogenous channels. Furthermore, since it is a transient expression system, it provides an efficient method of performing mutagenesis study of these channels. However, it should be noted that the oocyte expression system is different from that in mammalian cells, thus there may be differences in post-translational modification and association with different subunits. Furthermore, the lipid concentration may differ between the two cells which may affect the channel’s functional properties.   

The perfusion tubings, pencil and tip should be cleaned with DI water every time after experiment to avoid clog. Always use fresh bleach to treat the Ag electrode wire to make sure it is coated with AgCl, otherwise recording will be inaccurate. Adjust the configuration settings for data acquisition so that the test potential is exactly equal to the command potential. It would be helpful to keep the patch pipettes clean so use a lid to protect them from dirt and fire-polish them only before use.
Acknowledgments: This work was supported by National Institutes of Health grants R01-HL70393 and R01-NS060706 to J.C.  J.C. is an Associate Professor of Biomedical Engineering on the Spencer T. Olin Endowment.  

Disclosures: We have nothing to disclose.

Table of specific reagents and equipment:
	Name of Reagent
	Company
	Catalog number
	Comments

	Nanoject II Auto-Nanoliter Injector
	Drummond Scientific Company
	3-000-204
	

	P-97 Flaming/Brown Micropipette Puller
	Sutter Instruments
	P-97
	

	Perfusion System and Electronic Controller
	AutoMate Scientific, Inc.
	ValveLinkTM 16
	Inner diameter of perfusion tip: 100 microns

	Inverted Microscope
	Olympus
	CKX31
	

	Glass Pipettes
	VWR International
	53432-921
	

	Flaming/Brown Micropipette Puller
	Sutter Instrument Co.
	P-97
	

	Amplifier
	Axon Instruments
	AXOPATCH 200B
	

	Computer Interface
	INSTRUTECH Corporation
	ITC-18
	

	Headstage
	Axon Instruments
	CV 203BU
	


References:
1.
Methfessel, C. et al. Patch clamp measurements on Xenopus laevis oocytes: currents through endogenous channels and implanted acetylcholine receptor and sodium channels. Pflügers Arch. 407, 577-588 (1986).
2.
Toro, L., Wallner, M., Meera, P. & Tanaka, Y. Maxi-K(Ca), a Unique Member of the Voltage-Gated K Channel Superfamily. News Physiol. Sci. 13, 112-117 (1998).
3.
Fettiplace, R. & Fuchs, P.A. Mechanisms of hair cell tuning. Annu. Rev. Physiol. 61, 809-834 (1999).
4.
Du, W. et al. Calcium-sensitive potassium channelopathy in human epilepsy and paroxysmal movement disorder. Nat. Genet. 37, 733-738 (2005).

5.
Ledoux, J., Werner, M.E., Brayden, J.E. & Nelson, M.T. Calcium-activated potassium channels and the regulation of vascular tone. Physiology (Bethesda) 21, 69-78 (2006).

6.
Salkoff, L., Butler, A., Ferreira, G., Santi, C. & Wei, A. High-conductance potassium channels of the SLO family. Nat. Rev. Neurosci. 7, 921-931 (2006).

7.
Shi, J. & Cui, J. Intracellular Mg2+ enhances the function of BK-type Ca2+-activated K+ channels. J. Gen. Physiol. 118, 589-606 (2001).

8.
Magleby, K.L. Gating mechanism of BK (Slo1) channels: so near, yet so far. J. Gen. Physiol. 121, 81-96 (2003).

9.
Latorre, R. & Brauchi, S. Large conductance Ca2+-activated K+ (BK) channel: activation by Ca2+ and voltage. Biol. Res. 39, 385-401 (2006).

10.
Cox, D.H., Cui, J. & Aldrich, R.W. Allosteric gating of a large conductance Ca-activated K+ channel. J. Gen. Physiol. 110, 257-281 (1997).

11.
Cui, J. & Aldrich, R.W. Allosteric linkage between voltage and Ca2+-dependent activation of BK-type mslo1 K+ channels. Biochemistry 39, 15612-15619 (2000).

12.
Yang, H. et al. Activation of Slo1 BK channels by Mg2+ coordinated between the voltage sensor and RCK1 domains. Nat. Struct. Mol. Biol. 15, 1152-1159 (2008).

13.
Lee, U.S. & Cui, J. {beta} subunit-specific modulations of BK channel function by a mutation associated with epilepsy and dyskinesia. J. Physiol. 587, 1481-1498 (2009).





