/JoVE Article Template
TITLE: Mutagenesis and Functional Analysis of Ion Channels Heterologously Expressed in Mammalian Cells 

Authors: Bartosz Balana, Natalie Taylor, Paul Slesinger
Authors: institution(s)/affiliation(s) for each author:

· Department: Clayton Foundation Laboratories for Peptide Biology
· Institution: Salk Institute for Biological Studies

· e-mail: Slesinger@salk.edu
; balana@salk.edu
Corresponding authors: Paul Slesinger, Bartosz Balana


Keywords: (minimum 4, maximum 10) 

Ion channels, electrophysiology, patch-clamping, site-directed mutagenesis, biophysics, neuroscience
Short Abstract: should include a general description of the article (10 words minimum, 50 words maximum)
We will demonstrate how to study the effect of a single point mutation on the function an ion channel.
Long Abstract: (150 words minimum, 400 words maximum)

We will demonstrate how to study the functional effects of point mutations introduced into an ion channel. We study G protein-gated inwardly rectifying potassium (referred to as GIRK) channels, which are important for regulating the excitability of neurons. There are four different mammalian GIRKs channels (GIRK1-GIRK4) – we focus on GIRK2 which forms a homotetramer. Stimulation of different types of G protein-coupled receptors (GPCRs), such as the muscarinic receptor (M2R), leads to activation of GIRK channels. Alcohol also directly activates GIRK channels. Here, we will show how to mutate one amino acid by specifically changing one or more nucleotides in the cDNA for the GIRK channel. This mutated cDNA sequence will be amplified in bacteria, purified, and the presence of the point mutation will be confirmed by DNA sequencing (off-site). The cDNAs for the mutated and wild-type GIRK channels will be transfected into human embryonic kidney HEK293T cells, which are cultured in vitro. Lastly, whole-cell patch-clamp recordings will be used to study the macroscopic potassium currents through the ectopically expressed wild-type or mutated GIRK channels. In this experiment, we want to test the effect of a mutation in GIRK2 on M2R-dependent and alcohol-dependent activation.
Protocol Text: 

1. Site Directed mutagenesis

We use mammalian expression plasmid pcDNA3.1 encoding a cDNA for a GIRK2 subunit and introduce a point mutation using Stratagene’s protocol in the Quikchange XL II site-directed mutagenesis kit. Note: Primers sequence could be generated using manufacturer’s online primer design program available at http://www.stratagene.com/qcprimerdesign. We use standard Eppendorf 1.5 ml tubes in place of BD 14 ml tubes described in the protocol, however XL10-Gold ultracompetent E.coli pretreated with β-mercaptoethanol, heat shock time and NZY+ (or NZYM+) media are critical for the success of the mutagenesis reaction.  If possible, engineering a silent mutation that creates a new restriction site can be used to screen mutants below.

2. Miniprep,  DNA sequencing and Maxiprep
Qiagen miniprep protocol.  We follow the manufacturer instructions. A simple restriction digest can be used to confirm the successful introduction of the mutation, if a restriction site is incorporate in Step 1 above. Note: Automated DNA sequencing is done off-site, and is used to confirm the presence of the mutation in the cDNA, as well as assess whether there are any unwanted mutations. This step is very important. We sequence the whole GIRK coding sequence using forward T7 promotor and reverse BGH sequencing primers that flank multiple cloning site of the pcDNA3.1 plasmid. It is important to carefully inspect the sequencing electropherogram to assure sufficient quality of the sequencing data. High quality electropherogram has sharp, non-overlapping peaks with little background noise.

Qiagen maxiprep protocol. We follow the manufacturer instructions. Note: This step is included in our experiments to improve the purity of the cDNA, which appears to be important for efficient transfection. Because this technique is similar to the miniprep, we are not showing it in the video. 
3. Cell culture:


Splitting cells

HEK293T cells are used due to ease of culture, fast replication time and high transfection efficiency. HEK293T cells express SV40 large T antigen that ensures episomal replication of pcDNA3.1 plasmid. HEK293T cells are cultured in low-glucose DMEM media supplemented with L-glutamine and 10 % Fetal Bovine Serum (FBS). Confluent (90-95%) HEK293T cells are disrupted by 0.25% trypsin/EDTA, then enzyme activity is stopped by addition of fresh media containing FBS and ~ 1*105 cells/well is plated in a 12 well cell culture dish together with 1 ml of antibiotic-free culture media per well. (1* 105 cells is ~ 350 μl of cell suspension obtained from confluent T25 flask resuspended with 10 ml media). 

Transfection

After 8-24 hrs HEK cells will adhere to their substrate and are ready for transfection. Cells are transfected with 0.2 (g channel cDNA and 0.4 (g M2R receptor cDNA and 0.04 (g YFP cDNA, using Invitrogen’s Lipofectamine 2000. Note: we use a small amount of YFP cDNA to determine which cells are successfully transfected (green cells will likely contain GIRK channels and M2 receptors).  The concentration of cDNA to use will need to be adjusted for each clone.
Fluorescence visualization of transfected cells.
Place 12-well plate on stage of a Leica inverted fluorescence microscope, and examine cells for YFP expression. Compare to DIC image and make note of approximate number of green cells.  This provides an estimate of the transfection efficiency.
Poly-D-lysine coating 
Clean the coverslips by shaking them overnight with Radiacwash, followed by washing with deionized water and overnight shaking in 95% Ethanol. Store the clean cover slips in 70% Ethanol until use. Place cover slips in a petri dish with ethanol and flame off the ethanol. Cover each well with 250μl of poly-D-lysine (PDL) solution [0.2 mg/ml]. Let the glasses sit overnight immersed in PDL under sterile hood . Wrap the 24 well plate in parafilm to avoid evaporation. Next morning, aspirate PDL and wash 2x with sterile water. Leave open to dry under the hood while preparing solutions, then cover. The 24 well dishes with coated cover slips wrapped in the sterile aluminum foil can be stored at RT for weeks.
Plating transfected HEK293T cells on the cover slips

After another 24 hr in culture, split cells into 24-well dish (~4*103 cells/well) containing glass cover slips coated with poly-D-lysine. Note: transfected cells can be used upto 24-72 hrs post transfection. The cells are split to provide individual cover slips for patch clamp electrophysiology experiment.

4. Electrophysiology

Preparing Solutions


Extracellular/bath solution: 20 mM KCl, 140 mM NaCl, 0.5 mM CaCl2, 2 mM MgCl2 and 10 mM HEPES (pH 7.4 set with NaOH). 
Aliquot 20K bath solution and add appropriate modulators
· 20K + Ba: solution containing 1 mM BaCl2: a specific inhibitor of inward rectifying currents
· 20K + Carbachol: solution with 5 M Carbachol: a specific agonist for M2R, which couples to G-proteins that open GIRK channels
· 20K + Ethanol: bath solution containing 100 mM EtOH to activate GIRK channels directly 

Place solutions into syringes (solution containers) of the rapid exchange perfusion system.  Note: We use a Warner pinch valve system to control the bath solutions.  PE tubing is recommended.
Internal/electrode solution: 140 mM KCl, 20 mM NaCl, 5 mM EGTA, 5.4 mM MgCl2, 10 mM HEPES (pH 7.4) with 2.5 mM K2ATP and 0.3 M Li2GTP. We make electrode solution without ATP and GTP and separately prepare aliquots of ATP and GTP (stored at -80°C) to be added at the day of the experiment, then we keep syringe with electrode solution on ice.

We sterile filter (0.2 m) the internal/external solutions to inhibit microbial growth and reduce possibility of clogging the tubes and the electrode. 
Pulling electrodes

We use Narishige two-step vertical puller and borosilicate glass electrode from Warner Instrument (1.5 mm outer diameter, 0.86 mm inner diameter and 7.5 cm length) to obtain electrodes with 3-7 MΩ of resistance when filled with intracellular solution. 

Note: It is necessary to experimentally determine parameters for the electrode puller and type of electrode glass in your lab (for our vertical puller, we use a heat setting of 60.2 for the first pull and 43(0.3 for the second pul)

Whole-cell patch clamping

Place cover slip in a 35 mm dish with external solution, place dish on stage of an inverted fluorescence microscope, use DIC to focus and find cells, switch to YFP filter to locate YFP positive cells. Position tip of perfusion manifold near a green cell (20-30 μm from the cell of interest=2-3 cell length apart).

Fill electrodes with solution, attach it to the headstage of Axopatch 200B amplifier (Axon Instruments) with the following initial settings: Gain 1, Configuration: whole-cell (=1, mode V-clamp.  Apply positive pressure on electrode to prevent clogging of the pipette, and use the manipulator to place tip above the cell. Zero the pipette potential using “Pippette Offset” potentiometer on the amplifier after switching the amplifier mode selector to V-track mode and the meter knob to Vtrack. Switch back to V-clamp. Check resistance of electrode using seal test command of the Clampex 8.2 software (should be 3-7 MΩ). Approach cell using fine adjustment of the manipulator, release positive pressure, after touching the cell surface apply negative pressure, and monitor increase in resistance in the Seal Test oscilloscope window. Once resistance is in the GΩ range, the electrode has sealed onto membrane (Gigaseal has formed). Apply a pulse of negative pressure to break the cell membrane and get access into the cell. Once in the whole-cell configuration, you will register increased capacitive currents. Switch to Membrane Test in Clampex and write down the access resistance Ra, membrane resistance Rm, membrane capacitance Cm and verify by eye the exponential fit of the theoretical curve to the real capacitative current.  Membrane capacitance is proportional to cell size and will be later use to calculate current density. Switch back to Seal Test, set V-Out (membrane potential) to -40 mV and filter at 10 kHz. Compensate for membrane capacitance and series resistance on the amplifier with the following steps
a. Switch the WHOLE CELL CAP on. Adjust WHOLE CELL CAP and SERIES RESISTANCE back and forth, until you get a flat test pulse. May also need to adjust pipette capacitance FAST CAP knob. 

b. Turn on % PREDICTION to about 60-80%, again re-adjusting WHOLE CELL CAP and the SERIES RESISTANCE (you may have to adjust pipette capacitance compensation FAST CAP as well).
c. Turn on % COMP- to 100% without oscillating the cell, all the while trying to keep the pulse flat by re-adjusting WHOLE CELL CAP and SERIES RESISTANCE (you may have to adjust pipette capacitance compensation FAST CAP as well). Adjust the lag by reducing the time constant.

d. Write down values for Cm, Rs, %COMP, %PRED and Lag set on the amplifier in the notebook.  The Cm and Rs should be approximately the same as the Cm and Rm measured in the Membrane Test above.
Turn on external solution valve to control the bath solution. Set the amplifier 8-pole Bessel filter to 2kHz, open a voltage clamp protocol and begin recording currents. We record GIRK currents using a ramp protocol that steps to -100 mV for 50 ms then ramps from 100 mV to +40 mV over 200 ms and is delivered every 2 seconds. The ramp protocol allows for observation of the reversal potential and for inward rectification property of GIRK channels. At room temperature, the GIRK current should reverse near -50 mV (with 20 mM KCl in the bath), which is near the calculated equilibrium potential for K (EK = -53 mV), then remain fairly flat at potentials positive to EK. 

Experimental Protocol: after recording a stable baseline, switch to solution 20K + Carbachol and wait for peak of response, switch back to 20K bath solution, then apply to 20K + 100 mM ethanol and wait for peak response, then switch to 20K bath solution, and then finally to 20K + Ba2+ solution. During application of this drugs  you will see changes in the amplitude of GIRK currents (most pronounced at -100 mV). Note the trace number corresponding to the application of different extracellular solutions in the notebook. A single Clampfit file will contain all of the sweeps for the entire experiment.

Data analysis

We use Clampfit 9.2 software to analyze data GIRK currents at -100 mV. Open the file with the recording, set cursor at -100 mV. By default you will see all the traces overlaid on the screen. By pressing “Write cursors” icon you will create Excel-like spreadsheet with numerical data. By assigning X to the trace number column and Y to the cursor column and pressing “Create Graph” you can quickly draw a time course of the experiment. Calculate basal currents by subtracting currents in presence of Ba2+ from current recorder in external perfusion solution alone (20K minus 20K + Ba2+). Calculate induced currents by subtracting basal current in 20K from the activated current (20K + Carbachol minus 20K; 20K + Ethanol minus 20K). Calculate current density (pA/pF) by dividing the current by membrane capacitance (read directly from the amplifier). Calculate percent activation by dividing induced currents by basal currents and multiplying by 100. 
Representative Results: –   

You should be able to record current from cells tranfected with wild-type current. For GIRK channels, the current is recorded in the extracellular solution containing 20 mM K+ (and 145 mM K+ intracellular) and should exhibit strong inward rectification and a reversal potential of -53mV characteristic to potassium channels. The wild-type current will increase strongly upon carbachol application (3-5 fold increase over basal current) and respond similarly to the 100 mM ethanol. Note: the sign convention for electrophysiology is that inward current is negative and outward current is positive.  For L257W mutation in the alcohol binding pocket, you will see that GIRK responses both to carbachol and ethanol are attenuated. It suggest that L257 is implicated in opening of GIRK2 channels both by G proteins and alcohols. For further examples of the results of GIRK2 mutagenesis, see recent publication by Aryal P et al.


1 ADDIN EN.CITE 
Tables and Figures:  FILL IN
Figure 1.  Window of Clampfit 8.0 shows data file for a wild-type GIRK2 recording.  Upper left panel shows superimposed sweeps recorded in response to a ramp voltage protocol in the presence of different external bath solutions.  Cursor one is positioned at the -100 mV.  The cursor values are written to the spead sheet (Right panel).  Lower left panel shows the plot of sweep vs current.  Note the increase in current (downward movement) with ethanol (EtOH) and carbachol (Carb), and upward for the inhibitor Ba2+
Figure 2. Window of Clampfit 8.0 shows data file for a GIRK2-L257W recording.  Same as Figure 1.  Note the loss of Carb and reduced EtOH-induced currents with the mutant.

Please make sure that text in all tables or figures is made in Arial font. Figures should be submitted separately as layered .tiff or .psd files at 300 dpi.  All tables and figures should be given an appropriate title and should have a corresponding figure legend.  
Discussion:
Site-directed mutagenesis is a classical approach to study structure-function relationships of ion channels. It is based on the premise that by changing a critical residue of the ion channel one should be able to observe pronounced changes in the channel function. In contrast, many mutations in non-critical position can be introduced without major perturbations to the channel function. Typically, the residue in question is first mutated to alanine, a small non-polar amino acid, followed by mutation to tryptophan, the largest of amino acids. If the residue is important to the channel function, both mutations will change channel activity. If a less essential residue is mutated, the effects of mutation, especially to alanine are often unremarkable. Tryptophan mutations are more likely to cause changes due to steric hindrances associated with the tryptophan size. Often, when the structural information is lacking, systematic mutation of a channel fragment of interest to alanine and tryptophan (called alanine and tryptophan scan) can be used to locate critical residues. It is important to note that multiple clones with different point mutations can be prepared in parallel allowing for testing multiple residues within relatively short time. Recently, multiple crystal structures of the channels have become available. They can be used to propose potential key residues to be tested using the protocol decribed here. 

Measurements on wild-type channel should always accompany the measurement of a mutant channel to serve as a positive control to assure that transfection and electrophysiological experiments were done correctly.  Point mutations may lead to lack of a functional current, a current similar to the wild-type or altered regulation of the channel activity. Lack of measurable current may be due to improper folding and/or altered trafficking. In such case it may be useful to find out whether the channel traffics correctly to the surface using a biotinylation assay or immunofuorescence staining against extracellular tag (without cell permeabilization) to distinguish between non-functional channels and channels stuck inside the cell. Finally, it is advisable to investigate only basal function of the channel but also consequences of mutation on channel regulation.  Different mechanisms of modulation of the channel function could be studied depending of the ion channel of interest including regulation by G proteins, PIP2, ions, ATP concentration, phosphorylation (if tyrosine, serine or threonine are being mutated), ubiquitination or sumoylation (if lysine is being mutated)_and direct channel openers or blockers.

Acknowledgments: Our work was made possible by financial support from McKnight Endowment Fund for Neuroscience (Slesinger), the National Institute on Drug Abuse (R01 DA019022; Slesinger) and   NRSA pre-doctoral fellowship from the National Institute on Alcohol Abuse and Alcoholism (F31AA017042; Aryal).
Disclosures: We have nothing to disclose. 

Table of specific reagents and equipment:

	Name of the reagent
	Company
	Catalogue number
	Comments (optional)

	Chemicals
	Sigma
	Varies
	

	Mini Prep Kit
	Qiagen
	27104
	

	Radiacwash
	Biodex
	005-100
	

	Poly-D-lysine hydrobromide
	BD Biosciences
	CB40210
	Poly-L-lysine can also be used 

	Maxi Prep Kit
	Qiagen
	12263
	

	QuickChange XL II

Site Directed Mutagenesis Kit
	Stratagene
	200512-5
	

	Lipofectamine 2000 
	Invitrogen
	11668-027
	

	Cover slips (12 mm 
	Warner Instruments 
	CS-12R
	

	Capillary Glass Tubing Borosilicate-standard wall
	Warner Instruments
	G150-3
	

	Inverted fluorescence microscope
	Leica
	DMi3000 B
	

	Electrophysiology

Amplifier

Perfusion system

Digitizer

Manipulators

Electrode Puller

Isolation Table
	Molecular Devices

Warner Instruments

Molecular Devices
Sutter Instruments

Narishige

Technical Manufacturing Corporation
	Any inverted DIC (Hoffmann) microscope with fluorescence

Axon Axopatch 200B amplifier

VC-6 Perfusion

MM-6

Digidata 1320 digitizer

Manipulator: MP-85

PC10 vertical electrode puller
Air table
	Nikon/Leica/Zeiss


References: please use the same format you would use for a Nature article. 
1
P. Aryal, H. Dvir, S. Choe et al., Nature neuroscience 12 (8), 988 (2009).
