Table 1: Instrumentation and acquisition settings for sub-system data collection

| Subsystem | Equipment/ Software | Signal | Acquisition Settings |
| --- | --- | --- | --- |
| Respiratory | Phonatory Aerodynamic System (PAS), KayPENTAX, Lincoln Park, NJ, USA | Acoustic, pressure, and flow | Sampling rate=200 Hz, Low-pass filtered=30Hz |
| Phonatory | Compact flash recorder (E.g., PMD660), Professional quality microphone, SPL meter, Extech Instruments Software: MDVP, KAYPentax | Acoustic | Sampling rate=44.01 kHz, 16 bit linear PCM |
| Resonatory | Nasometer, Model 6400, KAYPentax | Acoustic | Sampling rate=11025 Hz |
| Articulatory: Face | Eagle Digital System, Motion Analysis Corp. | Kinematic and acoustic | Sampling rate=120Hz, Low-pass filtered =10Hz |
| Articulatory: Tongue | WAVE, Northern Digital Inc, Canada | Kinematic and acoustic | Sampling rate=100Hz, Low pass filtered=20Hz |

Table 2: Measurements obtained for each subsystem and task

| Level | Task | Measurements | References & Norms |
| --- | --- | --- | --- |
| Respiratory | VC | Maximum expiratory lung volume | 13 |
|  | /pa/ x 7 | Subglottal pressure | 2, 3 |
|  | Bamboo passage | % Pause time | 6, 14 |
| Phonatory | Maximum phonation /a/ | Maximum phonation duration, mean F0, jitter, SNR | 15, 16, 17, 3 |
| Resonatory | Mama made some lemon jam; Buy Bobby a puppy | Nasalance | 18, 19 |
| Articulatory: Face | Buy Bobby a puppy; Say _ again (bat, tide, keep, tool) | Movement speed | 20, 21 |
| Articulatory: Tongue | /ta/ x 5, Say doily again |  |  |
| System-level | SIT, Sentences | Speech intelligibility and speaking rate | 12 |