Whole-cell recording of Calcium Release-activated Calcium (CRAC) currents in human T lymphocytes
Pratima Thakur and Alla F. Fomina
Department of Physiology and Membrane Biology

University of California Davis
Davis, CA, 95616
pthakur@ucdavis.edu
affomina@ucdavis.edu

Corresponding author: Alla F. Fomina
Keywords: human T lymphocytes, CRAC channels, CRAC currents, patch-clamp 
Short Abstract: Here we give a step-by-step protocol for whole-cell patch clamp recording of Calcium Release-activated Calcium (CRAC) currents in peripheral blood mononuclear cells-derived human T lymphocytes.
Long Abstract: In T lymphocytes, depletion of Ca2+ from the intracellular Ca2+ store leads to activation of plasmalemmal Ca2+ channels, called Calcium Release-activated Calcium (CRAC) channels. CRAC channels play an important role in the regulation of T cell proliferation and gene expression. Abnormalities in CRAC channel function in T cells were linked to severe combined immunodeficiency and autoimmune diseases 1, 2. Studying CRAC channel function in human T cells may uncover new molecular mechanisms regulating normal immune responses and unravel the causes of human diseases. Electrophysiological recordings of membrane currents provide the most accurate assessment of properties and regulation of functional channels. Although electrophysiological assessment of CRAC channel currents in Jurkat T cells, a human leukemia T cell line, was first performed more than 20 years ago,3 recording of CRAC currents in normal human T cells remains a challenging task. The difficulties in recording CRAC channel currents in normal T cells are compounded by the fact that blood-derived T lymphocytes are much smaller in size than Jurkat T cells and, therefore, the endogenous whole-cell CRAC currents are very low in amplitude. Here we provide a step-by-step procedure that we routinely use to record the Ca2+ or Na+ currents via CRAC channels in resting human T cells isolated from the peripheral blood of healthy volunteers. The method described here was adopted from the procedures used for recording the CRAC currents in Jurkat T cells and activated human T cells.
 ADDIN EN.CITE 
4-8


Protocol 

Part 1:  Preparation of resting human T lymphocytes
1. Using RosetteSep® Human T Cell Enrichment Cocktail and RosetteSep® Density Medium perform the T cell purification from the human blood samples according to the manufacturer’s instructions. Resulting cell population should contain 95% of CD3+ resting T cells. For purification of human T lymphocytes we use peripheral blood samples collected from healthy volunteers in accordance with the protocol approved by UC Davis Internal Review Board.
2. After isolation, resuspend resting T cells at the density of 0.5 x 106 cells/ml in cell culture media containing RPMI-1640 medium with glutamine and HEPES, supplemented with 10% Fetal Calf Serum, 2% GlutaMAX™-I, 1% RPMI 1640 vitamin solution, 1% RPMI 1640 amino acids solution, 1% Sodium pyruvate, 0.03% (-mercaptoethanol.
3. Place cell suspension into cell culture flasks and maintain at 37o C in humidified incubator with 5% CO2 for up to 24 h prior to the experiment.
Part 2: Preparation of the recording chamber
1. To prepare recording chambers we need a) silicon O-rings, b) round 25 mm coverslips cleaned with 70 % ethanol and distilled H2O, c) mixed Sylgard®184, prepared according to the manufacturer’s instructions, and d) two 60 x 15 mm Petri dishes.

2. Place ~0.5 ml of mixed Sylgard®184 into a 60 x 15 mm Petri dish. 

3. Dip a bottom part of O-ring into the Sylgard®184 using forceps.

4. Remove excess Sylgard®184 from the rim of the O-ring by placing the O-ring on a clean surface, such as another Petri dish. 

5. Place the ring onto the coverslip and press it down.

6. Cure the Sylgard®184 by heating the chambers at 85o C for 40 - 60 min or until the Sylgard®184 is polymerized.

7. Store the recording chambers in a dust-free container.

Part 3: Preparation of patch pipettes

1. On the day of experiment, pull pipettes with tip diameter of ~2 µm using glass capillaries and pipette puller. We use borosilicate glass with filament (O.D.: 1.5mm and I.D.: 1.10mm). Store pipettes in a dust protected place.

2. Coat pipette tips with Sylgard®184 or HIPEC® R6101 Semiconductor Protective Coating, according to a standard procedure9.
3. Gently fire-polish the pipettes before the experiment. 

Part 4: Patch clamp setup preparation 

1. Configure and save the macros for gigaseal formation in the software controlling your patch-clamp amplifier. We use EPC-10 amplifier supported by Windows XP and Pulse software for the data acquisition. We set the “set-up”, “on-cell”, and “whole-cell” macros according to the EPC-10 manual and use them for all experiments.
2. Prepare bath and pipette solutions listed in Table 1 prior to the experiment and store them at 4o C for up to 1 week.

3. Determine liquid junction potentials (LJ) between the patch pipette solution and each bath solution 10. Save the LJ value in the in the appropriate place of your acquisition software. For example, in the Pulse program insert LJ value into “LJ” control in the “Amplifier” window.
4. Configure and save the stimulation protocols as shown in Figure 1 in the appropriate place of your acquisition software before the experiments. In the Pulse program, we are setting the acquisition protocol in the “Pulse Generation”. 
Part 5: Mounting cells on the microscope stage

1. Coat the recording chambers with poly-L-lysine for ~20 min and wash with H2O and then with Hanks balanced salt solution (HBSS) before plating the cells.

2. Plate 500 µl of cell suspension containing 0.2-0.5 x106  cells into the chamber and incubate for 20 min at 37o C.

3. Secure the recording chamber with attached cells in a chamber holder. We use a custom-made chamber holder, base part of which supports the bottom (coverslip) of the chamber, whereas top part presses against the O-ring of the chamber. 

4. Place the chamber holder on the stage of the inverted microscope.

5. Focus on the cells in a transmitted light. We use 40x oil immersion objective.

6. Place the Ag/AgCl reference electrode into the bath.

7. Align multibarrel, gravity-driven perfusion system. The tip of the inflow tube should be placed at 45o to the coverslip close to the field of view.

8. Position suction tube opposite to the tip of the inflow tube.

9. Perfuse the chamber with phosphate buffered saline (PBS) or HBSS to wash away the cell culture media and loosely attached cells. 

Part 6:  CRAC channel currents recording

1. Find a cell that is firmly attached to the coverslip. We typically select a round cell of an average size with smooth outer surface. 

2. Perfuse the recording chamber with Ca2+-free 3 mM Mg2+-containing bath solution #1 (Table 1) containing 0.5 - 1 µM thapsigargin for 8 -10 min to block the SERCA pump. We perform this step to deplete the store prior to the gigaseal formation. 

3. Using an Eppendorf microloader and P-20 displacement pipette fill the patch pipette with the pipette solution (Table 1) and insert the patch pipette into the pipette holder on the amplifier head stage. The Ca2+ chelator BAPTA is included into pipette solution to passively deplete the store and to reduce Ca2+-dependent CRAC channel inactivation.
4.  Apply a small positive pressure (~ 3 inches of H2O) inside the patch pipette before entering the bath. We use a custom made pressure-suction device connected to pressurized air and vacuum lines to create positive or negative pressure inside a patch pipette. 

5.  Lower the patch pipette into the bath under visual control via microscope. In the “oscilloscope” window you should see a current flowing through the pipette. Step-like change in the current amplitude should be evoked by a small amplitude voltage pulse (test pulse) applied by the preset macro. At this time you should be able to determine the value of pipette resistance. Resistance of our pipettes is typically 5 - 6 MΩ.
6. Correct the “offset” potential generated between the pipette and the reference electrode.
7. Under visual control via microscope bring the pipette tip closer to the cell until it touches the cell membrane.

8.  Apply negative pressure (20 - 40 inches of H2O) inside the patch pipette. 

9.  Monitor the gigaseal formation in the “oscilloscope” window. You will see that the amplitude of the current evoked by the test pulse decrease and the value of pipette resistance increase to >5 G(. Usually gigaseal contact forms within few seconds, but it also may take 1 - 2 min to achieve a stable gigaseal.
10. Compensate for the pipette capacitance (C-Fast). 

11.  Break-in the patch membrane by applying additional negative pressure using a syringe.
12. Set the holding potential to +30 mV. Positive holding potential helps to prevent calcium-dependent CRAC channel inactivation.
13.  Compensate membrane capacitance of the cell (C-slow); save or record the value of C-slow. 
14. Check the value of access resistance “Rs”. In our experiments the Rs is typically 5 -15 M(.
15. Start to apply the series of voltage ramps with frequency of 0.5 Hz (Fig. 1) in Ca2+-free 3 mM Mg2+-containing bath solution #1. In this solution CRAC current is negligibly small as compared with “leak” current due to the poor permeability of CRAC channels for Mg2+. Save and use current traces recorded in bath solution #1 in future analysis as “leak” currents. The absolute amplitude of the “leak” current at -100 mV should be less than or equal to 5 pA. If the cell is “leaky”, stop the experiment and start a new one using a new patch pipette and a new cell.

16. To record Ca2+ current via CRAC channels (ICa-CRAC), replace Ca2+-free 3 mM Mg2+-containing bath solution # 1 with 20 mM Ca2+-containing bath solution # 2 (Table 1) by switching the perfusion valves. This allows for Ca2+ to flow via CRAC channels and produce an inward current. In the “oscilloscope” window you will see development of inwardly rectifying ICa-CRAC (Fig. 2). Current amplitude at negative voltages will continue to increase for about 1 min due to the Ca2+-dependent potentiation of CRAC current.
17. Increase the frequency of stimulation with voltage ramps to 2 Hz, which is necessary for recording Na+ current via CRAC channels, which is transient in nature.
18.  Replace 20 mM Ca2+-containing bath solution # 2 with Na+-containing divalent cation -free solution # 3 (Table 1) by switching the perfusion valves. In the “oscilloscope” window you will see a transient development of larger amplitude inwardly rectifying Na+ current via CRAC channels (INa-CRAC; Fig. 2).
19.  One may apply 20 mM Ca2+-containing bath solution # 2 containing 1 - 5 µM La3+ at the end of the experiment to record the “leak” current. However, we did not find this approach useful because the “leak” current changes over time and it may become larger or smaller at the end of the experiment. We prefer to take the current recorded in the Ca2+-free 3 mM Mg2+-containing bath solution # 1 as a “leak” current.

20.  Save the recorded current traces for further analysis.
Part 7: Data Analysis 

1. Retrieve the saved current records into analysis software. We use Pulse program for analysis.
2. Measure the current amplitudes at the beginning and the end of voltage ramps. We typically measure the current amplitudes at -100 mV and at +100 mV using pairs of cursors in oscilloscope window of Pulse program. 

3. Export values of current amplitudes into graphic program for further analysis and graphical presentation. We use Origin Scientific Graphing and Analysis Software, version 7.

Representative Results
Representative CRAC channel currents recorded in a resting human T lymphocyte are presented in Figure 2.

Tables and Figures:

Table 1. Solutions for whole-cell CARC currents recordings

	Solution#
	Composition in mM

	Bath solution #1
	140 Sodium Methanesulfonate, 3 MgCl2, 10 NaHEPES, 2 NaCl; 10 glucose; pH 7.4 (with acetic acid)

	Bath Solution # 2
	110 Sodium Methanesulfonate, 1 MgCl2, 10 NaHEPES, 2 NaCl, 20 Ca(OH)2, 10 glucose; pH 7.4 (with acetic acid)

	Bath Solution # 3
	125 Sodium Methanesulfonate, 10 NaHEPES, 5 NaCl, 10 HDETA, 1 EDTA; 10 glucose; pH 7.4 (with NaOH)

	Pipette solution
	125 Aspartic Acid, 15 HEPES, 12 BAPTA, 5 MgCl2, 2 MgSO4, pH 7.2 (with CsOH).  20 µM inositol 1,4,5-trisphosphate (IP3) can be add prior to the experiment to accelerate store depletion by IP3 receptor stimulation.


All chemicals are purchased from Sigma-Aldrich, St. Louis, MO

Figure 1. Stimulation protocol. Voltage ramp from -120 to +100 mV of 50 ms in duration is applied every 0.5 - 2 s. Holding potential (Vh) between ramps is maintained at + 30 mV.

Figure 2. CRAC currents in a resting human T cell. (A), Time course of CRAC currents recorded in whole-cell voltage-clamp configuration at -100 mV (filled circles) and +100 mV (open circles). Prior to the gigaseal formation, cell was preincubated for ~10 min in Ca2+-free 3 mM Mg2+-containing bath solution # 1 containing 0.5 µM thapsigargin. After break-in, bath solutions were sequentially applied as follows: Ca2+-free 3 mM Mg2+-containing bath solution # 1 (0 Ca + 3 Mg), followed by 20 mM Ca2+-containing bath solution #2 (20 Ca), followed by divalent cation-free bath solution # 3 (DVF), followed by bath solution # 2 (20 Ca). Cell was stimulated with a series of voltage ramps as shown in Figure 1. The frequency of ramps was 2 Hz in bath solution # 3 (DVF) and 0.5 Hz in all other solutions. Note slow development of ICa-CRAC after application of 20 mM Ca2+-containing bath solution #2 and fast transient development of INa-CRAC in DVF bath solution # 3. (B), Representative current traces recorded during voltage ramps in Ca2+-free 3 mM Mg2+-containing bath solution # 1 (“leak”), 20 mM Ca2+-containing bath solution #2 (20 Ca), and bath solution # 3 (DVF). (C, D), Current-voltage relationships of ICa-CRAC (C) and INa-CRAC (D) obtained by subtracting “leak” current from the currents recorded during voltage-ramps in 20 mM Ca2+-containing bath solution #2 (20 Ca), and bath solution # 3 (DVF) shown in panel (B). 
Discussion:
Electrophysiological recording of CRAC currents in resting human T cells is a challenging task because the whole-cell endogenous CRAC current amplitude in these cells is small due to the small cell size (the resting human T cell diameter is in a range of 5 – 8 µm). Nevertheless, there is a need to investigate the physiology and the level of functional expression of CRAC channels in resting T cells to better understand the nature of normal and pathological immune cell responses. Here we present a step-by-step procedure that allows for reliable recording of CRAC currents in resting human T lymphocytes freshly isolated from peripheral blood mononuclear cells. Using this protocol one can master CRAC currents recording in resting human T cells as well as in other immune cells, such as activated human T cells, monocytes, and macrophages.
Acknowledgements
We are thankful to the Department of Physiology and Membrane Biology, University of California Davis for providing us with facilities and an excellent environment for the studies of ion channels.
Disclosures: None.
Table of specific reagents and equipments:

	Chemicals
	Company
	Catalogue number

	RosetteSep® Human T Cell Enrichment Cocktail
	StemCell Technologies, Vancouver, BC, Canada
	15061

	RosetteSep® Density Medium
	StemCell Technologies 
	15705

	RPMI-in 1640 medium w/glutamine/HEPES
	Fisher, Waltham, MA
	SH3025501

	Fetal Calf Serum
	Omega Scientific, Tarzana, CA
	FB-01

	GlutaMAX™-I (100X solution)
	Invitrogen, Carlsbad, CA
	35050

	RPMI 1640 vitamin solution (100X)
	Sigma-Aldrich
	7256

	1640 amino acids solution (50X)
	Sigma-Aldrich
	R7131

	Sodium pyruvate
	Sigma-Aldrich
	S8636

	(-Mercaptoethanol
	Sigma-Aldrich
	M7522

	Inositol trisphosphate
	Sigma-Aldrich
	19766

	BAPTA
	Sigma-Aldrich
	A4926

	Poly-L-Lysine Hydrobromide
	Sigma-Aldrich
	P2636

	Lanthanum Chloride
	Sigma-Aldrich
	262072

	Thapsigargin
	Calbiochem
	586005

	Sylgard® 184 Silicon Elastomer Kit
	Dow Corning, Midland, MI
	3097358-1004

	HIPEC® R6101 Semiconductor Protective Coating
	Dow Corning, Midland, MI
	

	63-500 Series High-Performance Vibration Isolation Lab Table
	Technical Manufacturing, Peabody, MA
	63-540

	EPC 10 patch clamp amplifier with headstage
	HEKA Instruments, Bellmore, NY
	

	Micromanipulator 
	Sutter Instrument, Novato, CA 
	MP-285

	Olympus 1X71 Inverted microscope with 40x oil immersion objective
	Olympus America, Center Valley, PA
	1X71

	Windows Computer
	Dell 
	

	Pulse software
	HEKA Instruments
	

	Origin Scientific Graphing and Analysis Software
	OriginLab, Northampton, MA
	

	Patch pipette puller
	Sutter Instrument
	P-97

	Borosilicate glass with filament (O.D.: 1.5mm and I.D.: 1.10mm
	Sutter Instrument
	BF150-110-7.5

	Narashige’s Microforge
	Tritech Research, Los Angeles, CA
	MF-830

	Silicon O-rings 
	McMASTER-CARR, Santa Fe Springs, CA
	111 S70

	Coverslips  25 mm 
	Fisher Scientific 
	12-545-102 25 mm 25CIR.-1


References:
1.
Parekh, A.B. Store-operated CRAC channels: function in health and disease. Nat Rev Drug Discov 9, 399-410 (2010).

2.
Feske, S. CRAC channelopathies. Pflugers Arch (2010).

3.
Lewis, R.S. & Cahalan, M.D. Mitogen-induced oscillations of cytosolic Ca2+ and transmembrane Ca2+ current in human leukemic T cells. Cell Regul 1, 99-112 (1989).

4.
Zweifach, A. & Lewis, R.S. Rapid inactivation of depletion-activated calcium current (ICRAC) due to local calcium feedback. J Gen Physiol 105, 209-26 (1995).

5.
Zweifach, A. & Lewis, R.S. Slow calcium-dependent inactivation of depletion-activated calcium current. Store-dependent and -independent mechanisms. J Biol Chem 270, 14445-51 (1995).

6.
Zweifach, A. & Lewis, R.S. Calcium-dependent potentiation of store-operated calcium channels in T lymphocytes. J Gen Physiol 107, 597-610 (1996).

7.
Prakriya, M. & Lewis, R.S. Separation and characterization of currents through store-operated CRAC channels and Mg2+-inhibited cation (MIC) channels. J Gen Physiol 119, 487-507 (2002).

8.
Fomina, A.F., Fanger, C.M., Kozak, J.A. & Cahalan, M.D. Single channel properties and regulated expression of Ca(2+) release-activated Ca(2+) (CRAC) channels in human T cells. J Cell Biol 150, 1435-44 (2000).

9.
Sakmann, B. & Neher, E. Single-Channel Recording (2nd edition), Plenum Press, New York and London.  (1995).

10.
Neher, E. Correction for liquid junction potentials in patch clamp experiments. Methods Enzymol 207, 123-31 (1992).



PAGE  
1

