Protocol Text:

1.) Multi-electrode grid construction

1.1) Measure the depth of the recording chamber, so the recording grid can be constructed to fit on the chamber without damaging exposed tissue inside.

1.2) Cut delrin grid to fit inside “smoke stack” grid adaptors and guide tubes using a high-speed drill with a cut-off disc attachment.  A sanding attachment can be used to remove sharp edges on cut guide tubes.  While preparing the guide tubes ensure no metal fragments enter the inside of the tube, which will create a blockage.  Use a stiff wire smaller than the inside diameter of the guide tube to remove any metal fragments in the tube; this wire is called a plunger.

1.3) Attach grid to adaptor by tightening screws on adaptor in to grid.

1.4) Insert microdrives into grid in an arrangement so advancement of one microdrive does not interfere with another and enabling the maximum number of microdrives to be inserted.  One end of the microdrive contains a screw and pin that fits tightly into the grid holes; the other end contains a metal block with slots the diameter of electrodes.  The block is threaded and attached to a screw shaft than can be turned inside the base end to allow advancement or retraction of electrodes in a step-wise manner.

1.5) Insert guide tubes aligned with the slots of microdrives.  Correct alignment can be accomplished using a thin wire inserted through the slot and in to guide tube.  Wire should be inserted without bending. Once guide tubes and microdrives are aligned, glue guide tubes to grid.

1.6) Once guide tubes are all secured, backload electrodes in to guide tubes.  That is, insert the connector end of electrode through guide tube and slot in microdrive from the side of grid which will face the implant.  When electrodes are through ensure electrode does not slip out of grid and attach connector using a crimping tool.

1.7) Perform 1.6 for each microdrive separately.  Once all electrodes are loaded for an individual microdrive, ensure microdrive is fully retracted, position electrodes so the tip is just inside the guide tube and glue electrodes to microdrive.  Heat-shrink tubing can be used on the electrode connector end to protect the electrode coating from scratches with advancement device.

1.8) Test each microdrive to ensure threads do not contain glue and can advance to desired depth without interference.

2.) Laminar electrode setup/ interface with computer-control microdrive

2.1) Each laminar electrode consists of a linear array of 16 equally spaced contacts (100 µm inter-contact spacing) positioned to sample from all cortical layers simultaneously (Plextrode® U-Probe, Plexon Inc; Fig. 4a).

2.2) Electrodes may be treated with carbon nanotube coating that gives impedances between 0.3–0.5 MΩ at each contact. The coating reduces the impedance by 25% without altering the area, resulting in an improvement in the signal-to-noise for both spikes (high-frequency bands) and local field potentials (lower-frequency bands).

2.3) Advance each U-Probe using the computer-controlled microdrive system (NAN Instruments; Fig. 4b). This system offers added stability and precision over the classical, previously described, screw-driven microdrive. Each group of electrodes is independently manipulated in the XY planes, within a user defined working range. Each group of electrodes is independently manipulated in the Z direction within a user defined working depth (up to 100 mm) and variable speed range from 0.001mm/sec to 0.5mm/sec and a high resolution of 1 micrometer.

2.4) Record neuronal signals using the Multichannel Acquisition Processor system (MAP, Plexon Inc) with simultaneous 40 kHz A/D conversion on each channel.

3.) Identification of cortical layers-ERP/CSD

3.1) For each recording session, verify the laminar position of the electrode contacts by computing the ERP profile for brief visual stimulation during a passive fixation task2-4. Briefly, expose subjects to a full-field black screen, then to a flashed white screen for 100 ms, and then return to a black screen. Repeat this for 100 trials.

3.2) Obtain the ERP traces for each contact for each trial individually by processing the recorded LFP with the laminar probe.

3.3) Compute the current source density (CSD), by using the 2nd spatial derivative of the LFP time-series across equally-spaced laminar contacts using the iCSD toolbox for Matlab (http://software.incf.org/software/csdplotter/home)5-7. This analysis enables the user to accurately identify the polarity inversion accompanied by the sink-source configuration at the base of layer 4 (the sink is inside layer 4).

3.4) Verify the presence of a primary sink in the granular layer in each of our recording sessions using the laminar CSD profile. First, locate the sink driven negative polarity in the CSD plot, and then compute the center-of-mass of the granular sink. A single coordinate (centroid) is obtained from this analysis consisting of the contact number and the time (in ms) when the sink was largest.

3.5) The contact with the sink centroid serves as the granular layer reference at 0 µm. Analyze all the contacts above and below the reference and group them (based on their sink/source waveform characteristics) into one of three possible layers: supragranular, granular, and infragranular.

4.) Verification of cortical layer-controls

4.1) Observe that micron advancement of the laminar electrode is highly correlated with a corresponding shift in the center-of-mass of the granular sink

4.2) Observe that shuffling electrode contacts as a function of cortical depth destroys the laminar-specific CSD profile.

4.3) Observe that vertical penetrations across cortical layers reveal a highly consistent columnar organization based on the orientation preference of the LFPs.

5.) Multi-contact electrophysiological recordings

5.1) Real-time neuronal signals recorded from multiple contacts along the electrode shaft (simultaneous 40 kHz A/D conversion on each channel) were analyzed using a Multichannel Acquisition Processor system (MAP, Plexon Inc).

5.2) Single unit recordings were amplified, filtered, and viewed on an oscilloscope and heard through a speaker.

5.3) The spike waveforms where sorted using Plexon’s Offline Sorter program that implemented waveform clustering based on parameters such as principal components, spike width, valley and peak.

5.4) When a unit was isolated, its receptive field was mapped using a reverse correlation stimulus, while the animal maintained fixation. Recording sites were selected on the basis of the quality of the signal (signal-to-noise ratio) and their receptive field position.

5.5) Using home-made scripts in Matlab and Plexon’s Offline Sorter we analyzed the unit’s waveform characteristic (e.g. width and peak), firing rate, and orientation selectivity.

5.6) Occasionally single units which abruptly changed their responses (e.g. increases or decreases in firing rate and/or changes in orientation selectivity) were removed and only those units with stable firing rate and orientation selectivity were kept for further analysis.

6.) RF mapping

6.1) Calculate the size of half a visual degree on the computer screen in centimeters and in pixels.  Measure the distance from the monkey’s eye to the computer monitor.  Use the formula:

x= tan0.5°*(distance eye to computer screen) 		        (1)

This will give you the value of half a visual degree in centimeters.  This number is doubled to find one visual degree.  Determine pixel size using the size and pixel resolution of the computer screen found under ‘Display Properties-Settings’ menu.  This unit is used to measure the receptive fields.

6.2) Present a reverse correlation stimulus on a CRT monitor where receptive fields are potentially located.  The stimulus is comprised of four oriented grating at 0, 45, 90, and 135 degrees.  Movies containing each stimulus are presented in patches in a random pattern smaller than one visual degree (the fraction used depends on the desired resolution).

6.3) Find the firing rates for each spatial location at 5 ms intervals between 40 – 120 ms for each neuron independently (conduction delays vary between areas, V1 is typically 40-60 ms and V4 70-90 ms).

6.4) Calculate all the maximum firing rate locations and the centroid for each time delay.  The centroid can be found using the following equation for the matrix of n firing rates:

c= f1m1+…+fnmnF.                                                      (2)

Where f is the firing rate at position m; and F is the sum of all firing rates at a given time delay.  Determine the distance between adjacent maximum firing rate locations.

6.5) Find the minimum distance between the centroid and surrounding maximum points between all time delays.  The receptive field is at the time delay with the minimum distance between the centroid and adjacent maximum firing rates.

6.6) Once a receptive field is found for each cell, present a reverse correlation stimulus larger than all the receptive field locations overlapping all receptive fields in the recorded population.  A real-time firing rate plot while the stimulus is being presented can be used while simultaneously recording to determine whether the correct receptive field location has been identified.

7.) Spike sorting

7.1) Set a voltage threshold during the recording session to preliminarily identify waveform shapes.  Every time the high frequency activity crosses that threshold the waveform shape is saved by channel.

7.2) Software provided by our recording system manufacturer, Plexon Offline Sorter, enables users to perform cluster analysis on individual neurons using waveform features.  Such features include, but are not limited to waveform peak height, valley depth, time between peak and valley, time of peak, time of valley.  Software programs are also able to automatically calculate the principal components defining particular waveform characteristics.

7.3) Identify the waveform properties that maximally separate individual neurons so that all waveforms are clustered together that belong to an individual neuron without overlap (Fig. 3).

8.) Firing Rate Analysis

8.1) Once neurons are sorted all data files are converted in to MAT-files using either Plexon provided ‘Offline Sorter’ software, prescripted Plexon algorithms in MATLAB, or with ‘Neuroexplorer’ software (Table for download websites).  Recording files contain matrices of spike channel, cluster, and times spike occurred (spike timestamps) for each recorded neuron individually.  Additionally, time-stamped number codes (strobe words, strobes) and photodiode pulses (photodiodes) are included in the recorded file.

8.2) Organize the neural data using strobe and photodiode timestamps and MATLAB in to trials and by content of each trial (e.g. by orientation if presenting gratings or by condition if varying reward)

8.3) Determine an appropriate window length (bin size) and the number of spikes occurring in that time window.  Window length is determined by the firing rate desired (e.g. the stimulus presentation length or further analysis).

9.) LFP analysis

Preliminary Processing

9.1) Local field potentials were filtered between 0.5 Hz and 100 Hz using a 4th order Butterworth filter.

9.2) Apply a digital notch at 60 Hz (4th order elliptic filter, 0.1 db peak-to-peak ripples, 40 db stopband attenuation to remove line artifacts. A cross-correlation between the monitor 60-Hz refresh pulses and spikes and LFPs should fail to find a signature of locking (i.e. should not show a significant peak).

9.3) Use forward and backwards filtering to obtain zero phase shifts.

9.4) Use the software correction FPAlign provided by Plexon to correct for the time delays induced in the LFP signals by the filters in headstages and pre-amplification boards.

9.5) Discard all LFPs that have more than 3 points outside the mean ± 4 standard deviations to avoid influence of irregular artifact noise from muscle activity or other sources.

Power

9.6) Use the same strobes and photodiodes mentioned in the firing rate analysis to organize the local field potentials in to trials.

9.7) Power is defined as the magnitude of a frequency in a recorded signal.  There are multiple ways to analyze power using spectral analysis techniques.

9.8) The power spectral density is normalized by dividing the average power spectrum during the fixation period before the presentation of the visual stimulus. This helps balance the power spectrum between low and high frequency within same amplitude range (raw LFP power is domain at low frequency), and also made it possible to compare various component among recordings at different electrodes and brain activity states.

9.9) We defined the average power of alpha, beta, and gamma bands as the mean power at frequencies between 8~13Hz, 15~30 Hz, 35~80 Hz.

9.10) We calculated the average power using rectangle approximation of the integral of the signal's multi-taper power spectral density. The frequency accuracy of the power spectral density is 1000/128 Hz (due to the 1 kHz sampling rate and the 128-ms Hanning tapered window; the frequency space was sampled every 3.9 Hz).

Representative Results:

One the most critical first steps using the multi-electrode array method is accurate identification and localization of the neurons’ receptive field. This procedure is vital for positioning the stimulus to generate the most robust response from the neurons. Given that, many neurons are being recorded from simultaneously across many millimeters of cortical space stimuli are often positioned according to the average receptive field location of all the neurons. Figure 3a-b is an example of two receptive plots taken from neurons in the visual cortex. What we are plotting is the degrees of visual angle away from the fixation point. Image the fixation point, which is a small white dot, displayed centrally on a gray screen is at the origin (0, 0). The color plots represent the firing rate of each neuron in response to a dynamic reverse correlation stimulus. We use this information to position are stimulus for a given experiment (e.g. a sine-wave grating).

One of the most important steps in the analysis using the laminar electrodes is to reliably identify cortical layers and verify this identification across many hours and sessions. Figure 5 provides an example of the type of information one needs in order to identify cortical layers and verify their results. To identify cortical layers, we measured the evoked response potentials (ERPs) of LFPs across laminar contacts in response to a full-field flashed stimulus. We then computed current-source density (CSD) analysis (Fig. 5a) of the LFP time-series to identify the polarity inversion accompanied by the sink-source configuration at the base of layer 4 (the sink is inside layer 4, subsequently referred to as granular layer). Figure 5a illustrates the stability of the CSD analysis in localizing cortical layers across cortical depth as a function of time – the position of supragranular (SG), granular (G) and infragranular (IG) layers remained stable even four hours after the recording session ended. Figure 5b are CSD traces that represent the average of those contacts assigned to a given layer – in this example, the granular layer undergoes a clear decrease in CSD amplitude at ~ 50 ms. This analysis served as a reference to assign electrode contacts above and below the granular layer to supragranular and infragranular layers, respectively (the contact with the largest sink center-of-mass served as the granular layer reference at 0 µm).

Tables and Figures:

Figure 1: Electrode array grid recording setup.  First, the ‘smoke stack’ recording adaptor is attached to the delrin grid.  Then, the microdrives are attached to the grid and aligned with guide tubes (images from http://www.cristinstrument.com/).

Figure 2: Spike sorting clusters and statistical analysis. Spike waveform properties such as peak height, valley depth, peak to valley time, time of peak or valley, etc. are analyzed using an offline sorting software program (Plexon Offline Sorter).  Spikes are sorted based on similar properties until waveforms from one neuron are clustered without overlap from another.

Figure 3: Examples of receptive fields. (a-b) First, half a visual degree is calculated and doubled.  Then, reverse correlation stimuli are presented in patches on a CRT monitor consisting of oriented gratings at 0, 45, 90 and 135 degrees.  Firing rates for each neuron are calculated independently at 5 ms intervals between 40 to 120 ms after stimuli are presented for each spatial location.  The maximum firing rates are calculated and then the centroid for each time delay.  Then, at each delay the distance between the centroid and adjacent firing rate locations is calculated.  The time delay with the minimum distance is chosen as the receptive field.

Figure 4. Multi-contact laminar electrodes and microdrive system. (a) Using multi-contact laminar electrodes, we recorded simultaneously spiking activity from isolated individual neurons and LFP units across cortical layers of V1. Each probe consists of 16 equally spaced (100 µm) electrode contacts spanning a total length of 1.6 mm. Each electrode contact is 25 µm in diameter and is composed of platinum iridium. (b) 	The NAN microdrive system provides added stability and precsison over the classical screw-driven microdrive. Each group of electrodes is independently manipulated in the XY planes, within a user defined working range.Each group of electrodes is independently manipulated in the Z direction within a user defined working depth (up to 100 mm) and  variable speed range from 0.001mm /sec to 0.5 mm/sec and a high resolution of 1 micrometer.

Figure 5. Layer Identification using current-source density analysis. Multi-contact laminar electrodes were used to record neuronal activity across cortical depth (left). Current-source density analysis (based on the 2nd spatial derivate of the LFP time-series) was used to identify the polarity inversion accompanied by the sink-source configuration at the base of the granular layer. We assessed how stable the identification of cortical layers is maintained over time (left to right). In these examples, the current sink (blue) represents the granular layer and spans ~ 400 µm. The CSD traces below each plot represent the average CSD of those contacts assigned to a given layer. This allowed us to determine the precise timing of the initial sink (in these examples ~ 50-60 ms. CSD trace envelopes represent standard deviation and black bars indicate the duration of the flashed stimulus (100 ms).

Figure 6. Behavioral and electrophysiological recording paradigm. Overall schematic of how multiple signal of information (i.e. eye position, reward stimulus type) are combined and analyzed to provide us with an accurate trial-by-trial account of the behavioral and neuronal activity.

Discussion:

Multi-unit recording in awake, behaving monkeys is quickly becoming the standard for analyzing how neural networks in visual cortex encode visual information.  Further, the implementation of laminar electrodes enables an unprecedented characterization of local cortical circuits.  Though multiple single contact electrode recordings offer useful information about neural population dynamics, multiple laminar electrodes enable greater resolution and more information about the specific location of neurons as different lamina receive input and generate output at different times from stimulus onset and have markedly different connectivity.   Design and implementation of chronically implantable arrays is currently underway and will most likely replace the methods described.  Additionally, arrays containing electrodes with multiple contacts on their shafts (essentially multiple U-probes) are being developed in parallel.  However, these new tools are still limited in yield and stability, so the described methods are preferred currently. A useful consideration when determining which technique is desirable should be what question is being asked and whether the result will need laminar examination.

Acknowledgments:

We thank Ye Wang for discussions, and Sorin Pojoga for behavioral training. Supported by the NIH EUREKA Program, the Pew Scholars Program, the James S. McDonnell Foundation (V.D.), and an NIH Vision Training Grant (B.J.H.).

Disclosures:

The authors declare no competing financial interests.

Table of hardware:

| Name of Equipment | Company | Catalogue number | Comments (optional) |
| --- | --- | --- | --- |
| Delrin Grid | Crist Instruments | 6-ygd-d1 |  |
| Stainless Steel Guide Tubes | Small Parts | B00137QHNS (1) or B00137QHO2 (5) | These are 60 in long and cut to size in the laboratory using a Dremel hand drill |
| Stainless steel ‘smoke stack’ adaptor for recording chamber | Crist Instruments | 6-yns-s1a |  |
| Crist Microdrives | Crist Instruments | 3-NRMD | Need to specify number of electrodes microdrive will hold and foot placement. |
| Electrodes | FHC | UEWMGCSEDNNE | FHC has many electrode types and many other companies sell electrodes. |
| Connector Pins, male | A-M Systems | 520200 | These are specific to our recording setup. Alternate pins may be required for different recording systems. |
| Crimping tool | Daniels Manufacturing Corporation, DMC | AF8 M22520/3-1 gage |  |
| Plexon U-Probe | Plexon, Inc | PLX-UP-16-25ED-100-SE-360-25T-500 | See U-Probe specifications available at www.plexon.com Also see Fig. 4a |
| Nan microdrive system | Nan Instruments | NAN-S4 | Hold up to four electrodes. Custom clamps are needed to use the U-probe. Fig. 4b |

Table of software:

| Name of Software | Company | Website | Comments (optional) |
| --- | --- | --- | --- |
| Offline Sorter, FPAlign, PlexUtil, MATLAB programs | Plexon | http://www.plexon.com/downloads.html#Software | Under ‘Installation Packages’ |
| NeuroExplorer | NeuroExplorer | http://www.neuroexplorer.com/ | Under ‘Resources’ |
| CSDplotter Version 0.1.1 | Klas H. Petterson | http://arken.umb.no/~klaspe/user_guide.pdf |  |
| Chronux Version 2.0 | Mitra Lab/NIMH | http://chronux.org/home/ | Work through the available examples and presentations |

Reference: (Nature format)

- Sakata, S. & Harris, K.D., Laminar structure of spontaneous and sensory-evoked population activity in auditory cortex. Neuron 64 (3), 404-418 (2009).

- Maier, A., Adams, G.K., Aura, C., & Leopold, D.A., Distinct superficial and deep laminar domains of activity in the visual cortex during rest and stimulation. Frontiers in Systems Neuroscience 4, 12 (2010).

- Schroeder, C.E., Mehta, A.D., & Givre, S.J., A spatiotemporal profile of visual system activation revealed by current source density analysis in the awake macaque. Cereb Cortex 8 (7), 575-592 (1998).

- Schroeder, C.E., Tenke, C.E., Givre, S.J., Arezzo, J.C., & Vaughan, H.G., Jr., Striate cortical contribution to the surface-recorded pattern-reversal VEP in the alert monkey. Vision Res 31 (7-8), 1143-1157 (1991).

- Mitzdorf, U., Current source-density method and application in cat cerebral cortex: investigation of evoked potentials and EEG phenomena. Physiol Rev 65 (1), 37-100 (1985).

- Nicholson, C. & Freeman, J.A., Theory of current source-density analysis and determination of conductivity tensor for anuran cerebellum. J Neurophysiol 38 (2), 356-368 (1975).

- Pettersen, K.H., Devor, A., Ulbert, I., Dale, A.M., & Einevoll, G.T., Current-source density estimation based on inversion of electrostatic forward solution: effects of finite extent of neuronal activity and conductivity discontinuities. J Neurosci Methods 154 (1-2), 116-133 (2006).

Figure 1

Figure 2

Figure 3

Figure 4

Figure 5

Figure 6