Real time longitudinal monitoring of osteolytic lesions using micro CT and bioluminescence imaging.

# Introduction

Longitudinal imaging is used in pre-clinical studies to follow the progress of a disease or measure the effect of a therapeutic.  In oncology, optical methods provide rigorous tools to monitor tumor growth and deliver precise quantitation of cell growth or gene expression at each time point in such a study.  Anatomical changes can be measured using a high resolution technique like microCT, but for longitudinal imaging a low X-ray dose must be used to avoid biological artifacts.  Optical and microCT images can be co-registered to provide a combination of functional and anatomical data ensuring that maximum information is extracted from the animal model

# Cell Preparation

## Caliper provides a range of luciferase expressing cancer cell lines for pre-clinical research in mouse models.

## MDA-MB-231-luc-D2H2LN is a human mammary tumor cell line expressing the luciferase gene which can be used as an optical indicator of tumorgenesis in vivo. This cell line is created from a spontaneous lymph node metastasis that originated from a D3H1 mammary fat pad tumor and is known to aggressively form metastases

## The cells are provided as a pathogen-free frozen culture which readily grows in standard media with no need for selection markers

## To verify Luciferase activity before injection into the animal a 90% confluent flask is harvested by trypsinization. Luciferase activity is measured by dispensing 50,000 cells in a microtiter plate and performing serial dilution.

# Intracardiac injection of cells in animals

## Before injection, animals are anesthetized using 3% isoflurane

## 1-3 million cells are injected in 50ul volume in to the left ventricle. Cell suspension contains 150ug/ml D-Luciferin to validate injection technique.

## To confirm a correct intracardiac injection mice are imaged in the IVIS system. Mice that show BLI signal throughout the body have been injected correctly. If signal is localized the cells were not injected correctly in the heart.

# BLI imaging to monitor metastases

## The imaging shuttle supports the mouse for data capture in both IVIS Spectrum and the QuantumFX microCT system.

## The shuttle helps maintain the animal in the same position for imaging and incorporates fiducial signals to aid in automatic co-registration.

## Imaging wizard in the Living Image software 4.1 can be used to automatically select the exposure time, f-stop and binning and ensure quantitative data collection.

## Multiple images can be acquired and compared in longitudinal studies covering seconds or months depending on the nature of the experiment.

## Day 6 post injection of cells, BLI imaging with IVIS Spectrum shows metastases to the bone in seven out of nine mice

# Longitudinal monitoring of osteolytic lesions using micro CT

## Mice that showed clear bone metastases visible using BLI were imaged in the Quantum FX micro CT system

## The Quantum FX micro CT system delivers high quality images at an X-ray dose low enough to enable true longitudinal  micro CT in preclinical studies.

## Bone degradation in both legs can be longitudinally monitored using this system in less than a minute

## Mice are anesthetized with 3% isoflurane and can be transferred directly from the IVIS Spectrum system

## Two 60mm images are stitched together to capture the whole animal view

## A 30mm FOV is ideal for imaging the knee joint in high resolution.

## A single scan with high enough resolution to measure and quantify bone metastases takes just 18 seconds and delivers a dose of only 11mGy

## Mice were imaged up to 8 times in 36 days with the micro CT system without affecting the tumor growth or health of the animal.

## The micro CT imaging showed that bone leisions were visible on Day 10 and progressed very rapidly, corresponding to the increase in BLI signal

# 3D co-registration and analysis of BLI and uCT

## Once images have been captured on both the IVIS spectrum and Quantum FX micro CT system data can be co-registered into a 3D reconstruction.

## MicroCT images are exported as DICOM files and loaded into the Living Image 4.1 3D Multi modality tool

## In the Living Image Software run the DLIT program to three dimensionally reconstruct the optical signal.

## The fiducial tool in the software is used to co-register the optical BLI signal to the micro CT image.

## Coregistered data sets can be analyzed quantitatively to monitor multiple parameters during disease progression – here we are tracking growth of the metastatic tumor together with development of the osteolytic  lesion in the bone.