BrdU Labeling and Subsequent Fluorescence Activated Cell Sorting for Culture-Independent Identification of DOC-Degrading Bacterioplankton

Steven J. Robbins1*, Jisha Jacob1*, Xinxin Lu1, Mary Ann Moran2 and Xiaozhen Mou1

# Authors:

# 1 Department of Biological Sciences, Kent State University, Kent, OH 44242

# 2 Department of Marine Sciences, University of Georgia, Athens, GA 30602

*Authors contributed equally

Corresponding author:  Xiaozhen Mou; Department of Biological Sciences, Kent State University, Kent OH 44242; xmou@kent.edu; Phone: 330-672-3625.

# Keywords:

BrdU incorporation, fluorescence-activated cell sorting (FACS), flow cytometry, microbial community, culture-independent

# Short Abstract:

Environmental bacterioplankton are incubated with a model dissolved organic carbon (DOC) compound and a DNA labeling reagent, bromodeoxyuridine (BrdU). Afterward, DOC-degrading cells are separated from the bulk community based on their elevated BrdU incorporation level using fluorescence activated cell sorting (FACS). These cells are then identified by subsequent molecular analyses.

# Long Abstract:

Microbes are major agents mediating the degradation of numerous dissolved organic carbon (DOC) substrates in aquatic environments. However, identification of the taxonomy of bacteria that transform specific pools of DOC in nature poses a technical challenge.

Here we describe an approach that couples bromodeoxyuridine (BrdU) incorporation, fluorescence activated cell sorting (FACS), and 16S rRNA gene-based molecular analysis that allows culture-independent identification of bacterioplankton capable of degrading specific DOC compound(s) in aquatic environments. Bacterioplankton microcosms are set up to receive DOC compounds of interest and BrdU. BrdU substitutes the positions of thymidine in newly synthesized bacterial DNA and BrdU-DNA can be readily immunodetected 1,2. Through the incubation, bacterioplankton that are able to use added DOC compounds are expected to be activated, therefore, have higher levels of BrdU incorporation (HI cells) than non-responsive cells that have lower activity and BrdU incorporation (LIs). After fluorescence immunodetection, HI cells are distinguished and physically separated from the LI cells by fluorescence activated cell sorting (FACS) 3. Sorted cells are subsequently extracted for DNA taxonomically identified by molecular analyses, such as PCR of 16S rRNA genes and clone library construction and sequencing.

# Protocol :

- Water sample processing

  - Collect water samples and filter through 1 μm-pore-size membrane filters to remove big particles and bacteriovores.

  - Rinse a 10-L acid washed Nalgene carboy with the filtrate for three times.

  - Collect 10 L water filtrate into the pre-rinsed carboy.

  - Measure the in situ temperature of the water sample.

  - Obtain negative controls.

    - Transfer 40 ml filtrate each into 3 sterile Eppendorf tubes (50 ml)

    - Add freshly prepared paraformaldehyde solution (final concentration of 1%) into each tube. Incubate for 2 hrs at room temperature to preserve cells.

    - Collect preserved cells onto 0.22-μm-pore-size, 25-mm-diameter, white membrane filters by filtration.

    - Wash the cells on the filter 3 times with 1 ml phosphate-buffered saline (PBS). Label the filters as negative controls and store them at -20C.

  - (Optional) Establish DOC-limited conditions.

    - Add a mixture of inorganic nitrogen and phosphorus (5 M NH4Cl, 5 M NaNO3, and 1M NaH2PO4 final concentration) into the carboy.

    - Covering the carboy with a black trash bag and incubate at in situ temperature for 48 hours with occasional agitations.

- Microcosm establishment and incubation

  - Rinse six 1-L pre-ashed glass flasks with water taken from the carboy.

  - Fill six 1-L pre-rinsed glass flasks each with 800 ml water sample from the carboy to establish microcosms.

  - Add BrdU (10 μM, final concentration) into each microcosm. Mix well.

  - Add DOC 5 ml model compound solutions, into three of the microcosms. Final concentration of added DOC compound(s) is recommended at 10% of total DOC in the original sample.

  - Add 5ml sterile diH2O into the rest three microcosms. They will serve as non-DOC addition controls.

  - Incubate the microcosms in an incubator shaker at in situ temperature in the dark with shaking at 100 rpm.

  - Collect 40 ml of water samples from each microcosm into 50 ml sterile Eppendorf tubes at time points of 0, 8, 16, and 24 hours after the start of the incubation,

  - Add freshly prepared paraformaldehyde solution (final concentration of 1%) into collected water samples. Incubate for 2 hrs at room temperature to preserve cells.

  - Filter preserved cells through 0.22-μm-pore-size, 25-mm-diameter, white membrane filters. Use a new filter for each individual preserved water sample.

  - Wash the cells on the filter with 1 ml phosphate-buffered saline (PBS) for 3 times.  Proceed immediately to step 3 or store the filters at -20C.

- In situ immunodetection for BrdU Incorporation

  - Thaw the filters (DOC amended samples, no-addition controls and negative controls) at room temperature and place one filter on top of a filtration tower and assemble the filtration unit.

  - Without applying the vacuum, add 1 ml of lysozyme solution [10 mg/ml lysozyme egg white in 100 mM Tris, 50 nM EDTA (pH = 8)] 4 to cover the cells on the filter.

  - Incubate at room temperature for 30 minutes to penetrate the cell membrane.

  - Apply vacuum, to remove lysozyme solution. Wash the filter by applying 5 ml of PBS on the filter, incubate for 1 min and vacuum.

  - Repeat above washing step for 3 times.

  - Add 1 ml of proteinase K Solution [2mg/ml proteinase K in 100 mM Tris, 50 nM EDTA (pH=8)] 4 to cover the cells on the filter to further penetrate the cell membrane.

  - Incubate at room temperature for 30 minutes.

  - Wash with 5 ml PBS for three times.

  - Add 1 ml exonuclease solution [exonuclease III (50 U/ml) in 5 mM MgCl2 and 50 mM Tris-HCl] 5 to cover the cells on the filter.

  - Incubate at 37 °C for 30 minutes to denature bacterial DNA.

  - When waiting for the incubation, assemble 17 × 28 mm frame-seal incubation chambers (Bio-Rad) according to manufactures instruction (summarized as below).

    - Wipe one side of a glass slide with 70% EtOH using kimwipes.

    - Rinse the glass slide with PBS.

    - Dry the slide using kimwipes and compressed air.

    - Set aside the slide on an alcohol-cleaned dry surface, with the cleaned side facing upwards.

    - Remove one protective plastic liner from a chamber frame to expose one adhesive side of the frame.

    - Position the frame adhesive side down over the desired area of the slide. Press the frame to ensure tight seal.

    - Remove the top protective liner from the frame.

  - Wash the exonuclease treated filter (30 min treatment) with PBS for three times.

  - Take the filter out from the filtration unit. Trim out the edges of the filter that have no cells.

  - Slice the filter into quarters using a sterile blade on an alcohol-cleaned dry surface.

  - Using forceps, place a quarter of the filter into the assembled frame-seal incubation chamber (four frame-seal chambers are needed per sample). The side of the filter section that has cells should face upwards. The moisture at the back of the filter will allow the filter stick to the slide. If not, apply a tiny drop (2 l) of di H2O in center of the chamber on the slide before placing the filter section.

Steps 3.16-3.26 use the ROCHE In Situ Cell Proliferation Kit, FLUOS following procedures modified from the manufacturer’s instructions. Except for PBS, all reagents are provided within the kit.

  - Apply 120 l incubation buffer (0.5% bovine serum albumen, 0.1% Tween20 in PBS, provided by the kit) to evenly cover the entire filter section in the incubation chamber.

  - Apply a polyester frame cover over the incubation chamber frame. Press down to tightly seal the incubation chamber. Avoid air bubbles above the filter.

  - Incubate the sealed chambers in an incubator for 10 min at room temperature in the dark.

  - Remove the polyester seal and open the incubation chambers. (Note: opening the chambers sometimes will pull up the frame seal on the slide. In that case, prepare a new chamber for the following steps.)

  - Pipet out the incubation buffer from one corner of the chamber, avoid touching the filter.

  - Wash the filter by gently adding in and then removing PBS from the incubation chamber.

  - Prepare anti-BrdU-FLUOS working solution following the steps recommended by the manufacture. The working solution cannot be stored, prepare only enough amount and use immediately. Undiluted anti-BrdU-FLUOS stock solution is stable at 4C in the dark for 12 months.

  - Dissolve lyophilizate in 1 ml di H2O

  - Dilute anti-BrdU-FLUOS stock solution 1:5 with incubation buffer

  - Pipet 120 μl anti-BrdU-FLUOS working solution to evenly cover the surface of the filter.

  - Reseal the chamber with a new polyester cover. Avoid air bubbles on top of the filter.

  - Incubate the chamber at 37 °C in an incubator in the dark for 3 hours.  After this step, the cells with BrdU incorporated DNA are fluorescently labeled with FITC.

  - Remove the polyester cover and open the incubation chamber. Pipet out the anti-BrdU-FLUOS working solution. Wash the filter 3 times with PBS.

  - Take the filter section out of the incubation chamber, place on a sterile surface.

  - Slice the filter section into small pieces using a sterile blade.

  - Transfer the filter pieces into a 2 ml microcentrifuge tube that contains 1 ml PBS.

  - Tightly close the tube and seal with parafilm.  Secure the tube horizontally on a vortexer.

  - Vortex the tube at the maximum speed for 5 minutes.  Transfer the tube to an incubator shaker and incubate at 37 °C and 200 rpm for 10 min.

  - Vortex before opening the tube, pipet the supernatant into a sterile 15 ml Eppendorf tube.

  - Add 1 ml of PBS to the filter pieces and repeat the vortex and incubation steps for 2 more times. Combine the supernatant into the same 15 ml Eppendorf tube for each sample.

  - Store the resuspended cells at 4 °C. Processed for sorting within 2 days.

- FACS Analysis

A procedure for a BD FACSAria flow cytometer and corresponding software is described here.

  - Optimize the setting of the flow cytometer following steps recommend by the manufacture.  This entails:

    - Adjust the amplification control to set the required breakoff parameters and set the sweet spot.

    - Optimize the laser delay and area scaling factors for the experiment sheath pressure.

    - Optimize settings of FSC and SSC voltages, FSC threshold, FSC fluorescence scaling, Fluorescence PMT voltages and etc.

  - Run negative control samples on the flow cytometer (FCM) based on fluorescence intensity FITC and side scatter (SSC).

  - Increase the FITC threshold, until no cells in the negative controls can be virtualized by the FITC-SSC acquire.

  - Run no-addition control samples, examine the distribution pattern of 10,000 cells based on FITC and SSC.

  - Define a gate to enclose all the cells and name it as low intensity cells (LIs).

  - Run DOC-amended samples and examine the distribution pattern of 10,000 cells using based on FITC and SSC. The LI group will be automatically appeared. Define another gate to enclose the cells that have higher fluorescence intensity (HIs) than LIs.

  - Acquire statistics to view the relative abundance of gated cells.

  - Sort HI cells into collection tubes containing 500 l PBS at “purify 1 drop” mode.

  - Terminated sorting when the number of sorted His reaches 500,000 counts.

- Filter PCR amplification of 16S rRNA genes

Filter PCR procedures are modified from Kirchman et al. 6

  - Filter sorted cells onto a white, 0.22 μm-pore-size, 25 mm-diameter polycarbonate membrane filter.

  - Place the filter on a sterile surface, trim off the edge of the filter that contains no bacterial cells using a sterile blade. Slice the filter into 8 equal sized pieces.

  - Place a single filter piece into a PCR reaction tube, with the cells facing inward of the tube.

  - Add 45 l PCR grade water into the PCR reaction tube. Let the filter section entirely submerged in the water.  Add 2 ROCHE illustra PuReTaq Read-To-Go PCR Beads into the PCR reaction tube, briefly vortex to help dissolve the beads.

  - Add 2 l each of forward and reverse 16S rRNA gene primers, such as 27F and 1492R 7, into each of the PCR reaction tubes.

  - (Optional) Add 1l bovine serum albumin solution (BSA, final concentration is 30μg/100 μl) to the PCR reaction mixture to help absorbing amplification inhibitors. If chose not to add BSA, add 1l of water instead.

  - Perform PCR amplification on a thermal cycler. A touch down PCR program is recommended, which has the annealing temperature sequentially decreasing from 62 to 52°C by 1°C per cycle, followed by 15 cycles at 52°C.  In each cycle, denaturing (at 95°C), annealing (at 62 to 52°C), and extension (at 72°C) steps were of 50s duration. An initial 3-min denaturation and final 10-min extension step is also included in the PCR program.

  - Confirm PCR amplification by electrophoresis on ethidium bromide-stained 1% agarose gels.

  - Excise the PCR amplicons from the gel and clean with the QIAGEN QIAquick gel extraction kit.

  - Perform two additional PCR amplifications for each sample, each time use a new filter section. After PCR gel purification, pool the amplicons of the same sample together. Purified 16S rDNA amplicons are now ready for a number of molecular analyses, such as terminal restriction fragment polymorphism (T-RLFP), clone library construction and sequencing analysis and etc.

# Representative Results:

Representative results are described using a study of putrescine-degrading bacteria as an example. Water samples were collected from a coastal site of Georgia and processed following the procedures described above. FACS analysis revealed that after 24 hour incubation, a group of bacteria with higher level of FITC fluorescence intensity, which was positively related to extent of BrdU incorporation, was developed in putrescine-amended microcosms (Figure 1). These cells were designated as high-BrdU-incorporation cells (HI) and were expected to contain mostly putrescine-degrading bacteria. No HI cells were found in the no-addition controls, which only contained cells with lower levels of BrdU incorporation (LIs).  LI cells were expected to mainly contain bacterioplankton that were not able to use added putrescine. HI cells were sorted into separated tubes and then collected onto membrane filters. Partial 16S rRNA gene amplicons were obtained after filter PCR.

# Discussion:

Our approach couples BrdU incorporation, FACS and 16S rDNA analysis to allow species-level identification of bacterioplankton that metabolize individual DOC components in aquatic environments. BrdU incorporation assay labels bacterial cells based on metabolic activities, which allows analysis only on active bacteria but not dormant cells. In our approach, BrdU incorporation is in situ immunodetected and bacteria that have different levels of BrdU incorporation are subsequently visualized, grouped and separated from each other using FACS. Other studies analyze BrdU incorporated cells via magnetic bead immunocapture of BrdU-labeled DNA and subsequent molecular analysis 2,8,9. The latter methods, however, are unable to distinguish cells of different activity levels. In that case, the analysis will include cells that remain low activity by using indigenous DOC in the water samples (Figure 1, LIs).

The coupled approach has been used to identify the taxonomic structures of bacteria that are able to degrade DOC compounds such as dimethylsulfoniopropionate (DMSP), vanillate, glycine betaine in coastal seawater 3. Its application can be widely extrapolated to study taxonomy of bacteria that use other dissolved substrates in aquatic environments. In addition to 16S rRNA gene based study, functional gene can also be similarly analyzed. Subsequent molecular analyses on sorted cells are challenging, because the number of sorted cells is typically lower than 1 million cells. This abundance is roughly comparable to cells in 1 ml of natural seawater. Therefore, DNA template amplification is typically required for further molecular analysis. Studies have demonstrated that community finger prints (T-RFLP peaks) generated from as low as 2,000 cells (~ 1 l seawater) largely resemble those generated from 2×109 cells (~1 L seawater) in coastal seawater10. In addition to the traditional single gene amplification using PCR, metagenomic analysis of sorted cells are possible through non-PCR based genomic amplification technique (i.e., multiple displacement amplification, MDA) 11.

Critical steps. To maintain close to natural conditions, addition of excessive amounts of external DOC compounds to microcosms and prolonged incubation should be avoided.  Preliminary experiments are highly recommended to determine the lowest amounts of model DOC compounds that are required to induce development of HI cells in a relatively short time (< 72 hours). Longer incubation times may raise the concern of development of bottle-effect in the microcosms. Pre-incubation with inorganic N and P is optional, but may help shorten the length of incubation time that is required for the development of HI cells in DOC amended microcosms.

The condition for cell fixation before BrdU fluorescence immunodetection is critical.  Insufficient fixation will cause loss of cells during cell wall permeabilization steps (lysozyme and proteinase K treatments). On the other hand, over-preserved cells tend to be too rigid to lyse and release DNA template for the filter-PCR amplification. Selection of fixative, fixative concentration and fixation time length, should be optimized based on studied bacterial community. Fixation procedures listed in the protocol have been optimized for a coastal marine bacterioplankton community that is largely dominated by Proteobacteria in the alpha- and gamma- subdivisions 10.

Steps of BrdU immunodetection are performed on membrane filters. Caution should be taken to avoid over drying the filters. Cells on over-dried filters may form strong attachment to the filter membranes and prevent being resuspended for later FACS analysis. Cell counts of bacteria before and after BrdU immunodetection should be always determined to access the recovery rate of bacterial cells.

When performing filter-PCR 6, PCR reagent should be enough to submerge the filter pieces entirely. PCR beads can be substituted by regular PCR reagents. A hot-start and touch-down PCR program in general will help to produce good gene amplification. Further PCR optimization can be performed by using a PCR optimization kit (such as the EPICENTRE FailSafe PCR System) or manipulating the concentrations of Mg2+, BSA and other ingredients.

Method limitation. Several considerations should be taken when interpreting the results. The approach initiates by incubation of natural bacterioplankton with specific compounds typically at non-tracer levels in glass bottles. Cells identified as functional assemblages may differ from those that processing the given compound(s) under in situ conditions.  BrdU incorporation has been found undetectable for some bacteria 1,2. These bacteria, therefore, are inaccessible by this method. Bacteria that are not directly involved in compound degradation but take up degradation products of added compound(s) may give false-positive signals that are indistinguishable from the true degraders. Nonetheless, this coupled approach allows collection of bacteria that can potentially degrade a specific substrate and culture-independent identification of these functional cells at detailed taxonomic levels.

# Disclosures: We have nothing to disclose

Acknowledgements: Funding of this project was provided by the National Science Foundation grants OCE1029607 (to X Mou) and MCB0702125 (to MA Moran) and the Gordon and Betty Moore Foundation (to MA Moran). 
Table of specific reagents and equipment:

| Name | Type | Company | Catalog number | Comments |
| --- | --- | --- | --- | --- |
| BrdU | Reagent | Sigma | B5002-5G |  |
| Lysozyme | Reagent | Sigma | L6876-5G |  |
| Proteinase K | Reagent | Sigma | P2308-25MG |  |
| In Situ Cell Proliferation Kit, FLUOS | Kit | Roche | 11810740001 | Consume more of Anti-BrdU-FLUOS and Incubation buffer per reaction than originally suggested |
| Frame-Seal Incubation Chambers | Material | Bio-Rad | SLF-1201 |  |
| Polycarbonate Membrane Filters (142-mm-diameter, 1.0 m-pore-size) | Material | Millipore | FALP14250 |  |
| Polycarbonate Membrane Filters (25-mm-diameter, 0.2 m-pore-size) | Material | Millipore | FGLP02500 |  |
| illustra PuReTaq Ready-To-Go™ PCR Beads | Kit | GE Healthcare | 27-9559-01 |  |
| QIAquick gel extraction kit | Kit | QIAGEN | 28704 |  |
| FailSafe PCR System | Kit | EPICENTRE | FS99060 |  |

# References:

1	Pernthaler, A., Pernthaler, J., Schattenhofer, M., and Amann, R., Appl. Environ. Microbiol. 68 (11), 5728 (2002).

2	Urbach, E., Vergin, K. L., and Giovannoni, S. J., Appl. Environ. Microbiol. 65 (3), 1207 (1999).

3	Mou, X. Z., Hodson, R. E., and Moran, M. A., Environ. Microbiol. 9 (8), 2025 (2007).

4	Hodson, R. E., Dustman, W. A., Garg, R. P., and Moran, M. A., Appl. Environ. Microbiol. 61 (11), 4074 (1995).

5	Dinjens, W. N. M. et al., Histochemistry 98, 199 (1992).

6	Kirchman, D. L., Yu, L. Y., Fuchs, B. M., and Amann, R., Aquat. Microb. Ecol. 26 (1), 13 (2001).

7	Delong, E. F., Wickham, G. S., and Pace, N. R., Science 243 (4896), 1360 (1989).

8	Artursson, V. and Jansson, J. K., Appl. Environ. Microbiol. 69 (10), 6208 (2003).

9	Mou, X. Z. et al., Nature 451 (7179), 708 (2008).

10	Mou, X. et al., Appl. Environ. Microbiol. 71 (3), 1405 (2005).

11	Dean, F. B. et al., Proc. Natl. Acad. Sci. 99 (8), 5261 (2002).

# Figure Legend

Figure 1. Flow cytometric analysis of no-addition control and model compound (putrescine as an example here)-amended samples collected after 24 h of incubation. Cell distribution analysis was based on (1) fluorescence intensity of FITC labeling (x-axis), which is positively related to level of BrdU incorporation, and (2) side scatter (SSC, y-axis),  which is positively related to the size of the cell.  Gate notation is based on level of BrdU incorporation, (HI, high-BrdU-incorporation; LI, low-BrdU-incorporation). The distribution of HI and LI cells are shown in corresponding gates.