OLIigo Mass Profiling (OLIMP) of extracellular polysaccharides
Authors: 
Markus Günl, Sascha Gille, Markus Pauly

Authors: institution(s)/affiliation(s) for each author:

Markus Günl

Energy Biosciences Institute

University of California, Berkeley

markus.gunl@berkeley.edu
Sascha Gille
Energy Biosciences Institute

University of California, Berkeley

sascha.gille@berkeley.edu
Markus Pauly

Energy Biosciences Institute and Department of Plant and Microbial Biology

University of California, Berkeley

mpauly69@berkeley.edu
Corresponding author:
Markus Pauly

Keywords: 

Extracellular matrix, cell walls, polysaccharides, glycosylhydrolase, MALDI-TOF mass spectrometry

Short Abstract: (50 words maximum)

A rapid way to gain insights into the structure of polysaccharides in an extracellular matrix is described. The method takes advantage of the specificity of glycosylhydrolases and the sensitivity of mass spectrometry allowing minute amounts of materials to be analyzed. This technique is adaptable to be used on tissue itself. 

Long Abstract: (150 words minimum, 400 words maximum)

The direct contact of cells to the environment is mediated in many organisms by an extracellular matrix. One common aspect of extracellular matrices is that they contain complex sugar moieties in form of glycoproteins, proteoglycans, and/or polysaccharides. Examples include the extracellular matrix of humans and animal cells consisting mainly of fibrillar proteins and proteoglycans or the polysaccharide based cell walls of plants and fungi, and the proteoglycan/glycolipid based cell walls of bacteria. All these glycostructures play vital roles in cell-to-cell and cell-to-environment communication and signalling. 

An extraordinary complex example of an extracellular matrix is present in the walls of higher plant cells. Their wall is made almost entirely of sugars, up to 75% dry weight, and consists of the most abundant biopolymers present on this planet. Therefore, research is conducted how to utilize these materials best as a carbon-neutral renewable resource to replace petrochemicals derived from fossil fuel. The main challenge for fuel conversion remains the recalcitrance of walls to enzymatic or chemical degradation due to the unique glycostructures present in this unique biocomposite.

Here, we present a method for the rapid and sensitive analysis of plant cell wall glycostructures. This method OLIgo Mass Profiling (OLIMP) is based the enzymatic release of oligosaccharides from wall materials facilitating specific glycosylhydrolases and subsequent analysis of the solubilized oligosaccharide mixtures using matrix-assisted laser desorption/ionization time–of-flight mass spectrometry (MALDI-TOF/MS)1 (Fig. 1). OLIMP requires walls of only 5000 cells for a complete analysis, can be performed on the tissue itself2, and is amenable to high-throughput analyses3. While the absolute amount of the solubilized oligosaccharides cannot be determined by OLIMP the relative abundance of the various oligosaccharide ions can be delineated from the mass spectra giving insights about the substitution-pattern of the native polysaccharide present in the wall. 

OLIMP can be used to analyze a wide variety of wall polymers, limited only by the availability of specific enzymes4. For example, for the analysis of polymers present in the plant cell wall enzymes are available to analyse the hemicelluloses xyloglucan using a xyloglucanase
 ADDIN EN.CITE 

5,6
, xylan using an endo-β-(1-4)-xylanase 
 ADDIN EN.CITE 

7,8
, or for pectic polysaccharides using a combination of a polygalacturonase and a methylesterase 
 ADDIN EN.CITE 

9
. Furthermore, using the same principles of OLIMP glycosylhydrolase and even glycosyltransferase activities can be monitored and determined 
 ADDIN EN.CITE 

10
.

Protocol Text: 

1.) Cell wall isolation
1.1) Harvest five 5-day old single etiolated Arabidopsis seedlings or the equivalent amount of your desired material and transfer them into a 1.5mL reaction tube. Make sure that the material is placed in the bottom of the tube.

1.2) Add two 3mm metal balls to the reaction tube on top of the sample and snap-freeze in liquid nitrogen.

1.3) Grind the frozen sample using a ball-mill (2:30min, 25Hz).

1.4) Add 1mL 70% aqueous ethanol to the sample. Remove the metal balls using a magnet. Vortex thoroughly.

1.5) Centrifuge sample at 14,000rpm for 10min to pellet the alcohol insoluble residue containing the cell wall material.

1.6) Carefully remove the supernatant by aspiration. Make sure not to disturb the pellet. 

1.7) Add 1mL of chloroform/methanol (1:1 v/v) solution. Vortex thoroughly to resuspend the pellet.

1.8) Centrifuge sample at 14,000rpm for 10min and carefully remove the supernatant by aspiration. Make sure not to disturb the pellet.

1.9) Dry the sample using a SpeedVac.

2.) Solubilisation of oligosaccharides

2.1.) For the solubilisation the particular polysaccharide in form of its oligosaccharides resuspend the dry pellet in 25µl of an appropriate buffer. For the xyloglucanase 50mM Ammonium formate, pH4.5, is used. Add 0.2U of xyloglucanase. Vortex the suspension and spin liquid down.

2.2.) Incubate the sample for 16h at 37°C in an incubator, shaking at 200rpm.

2.3.) Remove the solvent of the digest (water) using a SpeedVac.

3.) MALDI-TOF analysis of the released oligosaccharides

3.1) Resuspend the dried and digested sample in 10µl water. For lower amounts of material 5ul of water may be used.

3.2.) BioRex MSZ 501 cation exchange resin beads are used to remove salts and enzyme from the digest sample. Condition the beads by placing an aliquot in a 15mL falcon tube and repeatedly adding and decanting 10mL of water (ten times).

3.3) Add 5-10 BioRex beads to the digestion suspension and incubate for at least 10min.

3.4) Spot 2µl matrix (2,5-dihydroxybenzoic acid (DHB), 10mg/ml in water) onto a MALDI target plate. Evaporate the matrix solvent under vacuum leading to homogenious matrix chemical crystals.

3.5) Spot 2µl of the desalted sample solution on top of the matrix crystals on the target plate. 

If you want to spot a large number of samples only keep on spotting for a maximum of 3min. This time-frame ensures that the first spotted sample is not dry yet. Wait for an additional 2min to ensure that the last spotted sample a thorough mixing of re-dissolved matrix and sample oligosaccharide molecules. Then dry the target plate under a vacuum. 

The sample/matrix mix should crystallize in less than 1min to enable homogenious crystalization.

3.6) Place target plate into a MALDI-TOF mass spectrometer. The machine should be set to positive mode with an accelerating voltage of 20000V and a delay of 350 nm; the selected mass range should be 500-3000 Da (may change dependent on the expected oligomers). Start firing the laser and collect 100-200 spectra per sample, which are compiled to generate a representative average spectrum (Fig. 2A). Ions representing specific oligosaccharides can be identified by their mass over charge (m/z) ratio. The ion intensities (ion height) of all ions of interest should be added up to 100% resulting in the relative abundance of each oligosaccharides in the sample (Fig. 2B).

4.) In Situ OLIMP analysis 

4.1) Harvest an etiolated seedling and place it onto an empty MALDI target plate and let the seedling dry.

4.2) Add 0.5µl xyloglucanase (0.4U/µl, dissolved in 50mM Ammonium formate, pH4.5) on the dried seedling at the desired position. Make sure that the enzyme drop touches partly the target plate. 

4.3) Place the MALDI target plate in a closed container with saturating humidity to avoid that the enzyme drop dries out. Incubate the plate in the chamber for 16h at 37oC.

4.4) Dry the MALDI target plate with the plant tissue and the enzyme drop under vacuum.

4.5) Add 0.5µl matrix (DHB; 10mg/l) on top of each dried enzyme spot. Let it stand for 2min.

4.6) Dry the MALDI target plate under vacuum

4.7) Analyze samples with the MALDI-TOF.  Place target plate with the tissue and the enzyme/matrix spot(s) into a MALDI-TOF mass spectrometer. The machine should be set to positive mode with an accelerating voltage of 20000V and a delay of 350 nm; the selected mass range should be 500-3000 Da (may change dependent on the expected oligomers). 

4.8.) Start firing the laser onto the matrix/sample crystals NEXT to the tissue. Make sure you don’t hit the tissue itself, as in such a case the time-of flight of the molecules will be off. Collect around 20-50 spectra per spot, which are compiled to generate a representative average spectrum (Fig. 3). Ions representing specific oligosaccharides can be identified by their mass over charge (m/z) ratio. The ion intensities (ion height) can be reported and all ions of interest should be added up to 100% resulting in the relative abundance of each oligosaccharides in the sample. 

Representative Results: An example of an OLIMP analysis of the hemicelluloses xyloglucan present in etiolated Arabidopsis seedlings is shown in Figure 2. Due to the mass differences of the ions and the known well characterized enzyme (xyloglucanase) specificity the ions can be assigned to specific oligosaccharide structures (Figure 2A). Obviously, structural isomers cannot be distinguished. The basic assumption for the determination of the relative abundance of the various oligosaccharides (Figure 2B) is that their mass spec response factor is very similar for those oligosaccharides. As shown here, the OLIMP quantification is highly reproducible. However, please note that robustness of the method is highly dependent on the signa to noise ratios of the various oligosaccharide ions. For example contamination with salts or lower amounts of oligosaccharides can decrease that ratio. 

The OLIMP analysis on the tissue itself (in situ analysis) enables the study of very small and defined areas and involves very little sample preparation. In the example presented here (Figure 3) no qualitative (same ions) but quantitative differences (variation in the ion heights) were observed between the shoot and root-tissue of the Arabidopsis seedling. Permutations of the OLIMP-method could thus lead to tissue “imaging”.

Tables and Figures:  

Figure 1: Flow chart of the OLIMP procedure using  etiolated Arabidopsis seedlings as a plant source. First, the tissue is macerated and cell wall material is prepared (picture modified from Fujino et al.11).  Then oligosaccharides of a particular wall polysaccharide are released using a specific hydrolase. Finally, the relative abundances of the soluble oligosaccharides are determined using MALDI-TOF mass spectrometry.

Figure 2: Relative abundance of xyloglucan oligosaccharides in etiolated seedlings from Arabidopsis as determined by OLIMP. A) Representative xyloglucan oligosaccharide mass spectrum; each ion represents a specific oligosaccharide structure, structural isomers cannot be distinguished. B) Corresponding bar diagram for the determination of the relative oligosaccharide abundance.

Figure 3: In situ OLIMP analysis using etiolated seedlings of Arabidopsis as example. Each enzyme/digestion droplet (colored circles) can be analyzed independently and a corresponding mass spectra can be obtained and analyzed.

Figure 4: Comparison of xyloglucan oligosaccharide mass profiles from an Arabidopsis wildtype and a mutant (mur3)12
Figure 5: OLIMP spectrum of the hemicelluloses xylan obtained by digesting miscanthus leaf material with a xylanase (Megazyme). Nomenclature for putative structures modified from Gibeaut, et al.
 ADDIN EN.CITE 

8
 

Discussion: The OLIMP method presented here enables a very sensitive and rapid analysis of polymers present in the extracellular matrices. OLIMP combines the enzymatic release of oligomers with subsequent MALDI-TOF analysis. The generation of a MALDI-TOF spectrum takes less than one minute; hence OLIMP is suitable for a wide range of applications including high-throughput studies such as mutant screens. OLIMP is not restricted to plant polysaccharides but can potentially be applied to a wide range of polymers, only limited by the availability of specific hydrolytic enzymes. However, a limitation of OLIMP is that an absolute abundance of the polymer cannot be obtained. 

Another application of OLIMP is the identification of mutant plants with altered structures in their extracellular matrix. As shown in Figure 4 an Arabidopsis wildtype xyloglucan OLIMP spectrum is compared to that of a well characterized mutant (mur3)12. The mutant spectrum demonstrates that its xyloglucan is almost devoid of oligosaccharides with high degrees of sidechain substitutions. 

As mentioned before OLIMP can be used to study the structure of a variety of polysaccharides present in the extracellular matrix of a diversity of species. As an example, Figure 5 represents an OLIMP spectrum of the major hemicelluloses in grass species, xylan. Here, cell wall material derived from the temperate grass Miscanthus was digested using a xylanase. 
Acknowledgments:

The authors would like to thank Kirk Schorr (Novozymes) for the gift of the xyloglucanase. This work was funded by the Energy Biosciences Institute’s grant OO0G01.
Disclosures: We have nothing to disclose  

Table of specific reagents and equipment:

	Name of the reagent
	Company
	Catalogue number
	Comments (optional)

	2,5-dihydroxybenzoic acid
	Sigma-Aldrich
	37550


	10mg/mL in water

	BioRex MSZ 501(D) Resin
	BioRad
	142-7425
	

	Xyloglucanase5
	Novozymes
	
	

	Xylanase M6
	Megazyme
	E-XYRU6
	

	3mm metal balls
	Retsch
	22.455.0011
	

	Beat mill
	Retsch
	Mixer Mill MM400
	

	MALDI-TOF
	Shimadzu BioTech
	Axima Performance
	

	MALDI target plate
	Kratos Analytical
	DE4555TA
	

	SpeedVac
	Eppendorf
	Vacufuge 5301
	

	Vacuum manifold
	Millipore
	MSVMHTS00
	

	Vacuum pump
	Welch
	DryFast Ultra 2032
	


References:
1
Lerouxel, O. et al., Plant Physiology 130 (4), 1754 (2002).

2
Obel, N. et al., Molecular Plant 2 (5), 922 (2009).

3
Mouille, G. et al., Plant Physiology 141 (3), 1035 (2006).

4
Bauer, S. et al., PNAS 103 (30), 11417 (2006).

5
Pauly, M. et al., Glycobiology 9 (1), 93 (1999).

6
Aboughe-Angone, S. et al., Carbohydrate Research 343 (1), 67 (2008); Vanzin, G. F. et al., PNAS 99 (5), 3340 (2002); Cavalier, D. M. et al., Plant Cell 20 (6), 1519 (2008); Hilz, H. et al., Journal of Chromatography A 1133 (1-2), 275 (2006); Pauly, M. et al., Planta 214 (1), 67 (2001).

7
Brown, D. M. et al., Plant Journal 52 (6), 1154 (2007).

8
Gibeaut, D. M., Pauly, M., Bacic, A., and Fincher, G. B., Planta 221 (5), 729 (2005).

9
Egelund, J. et al., Plant Molecular Biology 64 (4), 439 (2007); Obel, N. et al., Molecular Plant (2009).

10
Cavalier, D. M. and Keegstra, K., Journal of Biological Chemistry 281 (45), 34197 (2006); Leonard, R. et al., Phytochemistry 69 (10), 1983 (2008); Lee, C. H. et al., Plant and Cell Physiology 48 (11), 1624 (2007); Iglesias, N. et al., Plant and Cell Physiology 47 (1), 55 (2006).

11
Fujino, T., Sone, Y., Mitsuishi, Y., and Itoh, T., Plant Cell Physiol. 41 (4), 486 (2000).

12
Madson, M. et al., Plant Cell 15 (7), 1662 (2003).


 ADDIN 
