Principles and Practices for Safe Manipulation of Pathogenic Mycobacteria in a BSL-3 Environment Part 3

Catherine Vilchèze, Brian Weinrick, Bing Chen, John Kim, Mei Chen, Michelle H. Larsen, William R. Jacobs, Jr.

Howard Hughes Medical Institute

Department of Microbiology & Immunology

Albert Einstein College of Medicine

jacobsw@hhmi.org

Corresponding author: William R. Jacobs, Jr.

Keywords:

Biological safety, Mycobacterium tuberculosis, microbiology, molecular biology

Short Abstract:

Proper techniques for performing microbiological and molecular biological experiments on Mycobacterium tuberculosis in a biosafety level 3 (BSL-3) laboratory are demonstrated. Minimization of infectious aerosol generation and redundant containment and decontamination are emphasized. The techniques may be generally applicable to work on other BSL-3 organisms.

Long Abstract:

Mycobacterium tuberculosis, one of the most successful bacterial pathogens, is transmitted by aerosol. Despite the prevalence of M. tuberculosis infection, estimated to include one third of humanity, our knowledge of the biology of the pathogen is limited. In order to hasten the development of new therapeutics, a deeper understanding of how tuberculosis is able survive and thrive in the host is urgently needed. The safe experimental manipulation of M. tuberculosis requires the use of proper techniques in a BSL-3 laboratory.

In these three protocols we demonstrate the proper techniques to safely perform microbiological and molecular biological experiments on M. tuberculosis in a BSL-3 laboratory. The core principles of minimization of the generation of infectious aerosols and redundant containment and decontamination are emphasized. Specific topics include the use of personal protective equipment, setting up the biosafety cabinet, inoculation of cultures, plating bacteria, picking bacterial colonies, centrifugation, sonication, electroporation, fixation of cultures, disposal of contaminated items, and decontaminating the biosafety cabinet.

Protocol Text:

1) Taking Down the Biosafety Cabinet

1.1) Dispose of all waste by rinsing with vesphene inside and out; dispose of waste bottle.

1.2) Rinse all surfaces of reusable racks with vesphene; place in save bag and seal with a rubber band.

1.3)

Create a clean area; wipe all items to be saved (pipette tip boxes, media, etc.) to clean area.

1.4) Open vortex bag; wipe cord and openings; drop cord out of cabinet. Change gloves.

1.5) Remove vortex mixer from bag; prepare outer save bag with label “save” name and date.

1.6) Wipe inner save bagand slide into outer save bag; seal and wipe opening.

1.7) Wipe remaining items to be saved out of cabinet.

1.8) Seal and wipe pipette waste; put on a second sleeve to close.

1.9) Move all items to side with waste bag; pour vesphene on absorbant pads; wipe all surfaces of pads and dispose.

1.10) Wet wiper with vesphene, wipe all surfaces of interior of cabinet on clean side.

1.11) Wipe each item to be saved to clean side, dispose of all disposables.

1.12) Seal waste bag and wipe to clean side; wipe remainder of cabinet; change gloves.

1.13) Heat blocks may be used in the biosafety cabinet. The blocks may be removed by rinsing in vesphene; after wiping with vesphene the heater should remain in the cabinet overnight.

1.14) Wipe and remove waste to waste barrel. Seal large waste bag, remove vesphene pot and heat blocks and rinse. All waste barrels are autoclaved out of BSL-3 before disposal as medical waste.

1.15) Wet water wiper and wipe interior of cabinet.

1.16) Wet ethanol wiper and wipe interior of cabinet.

1.17) Plug in pipette aid charger, separate remaining items evenly, close screen and turn on UV light (optional).

1.18) To exit BSL-3, spray feet and hands/arms with vesphene, remove outer gloves and sleeves and dispose in waste bin at exit door.

2) Spill Recovery

2.1) If there is a small spill inside the cabinet, cover with towel, soak with vesphene, change gloves, close screen, and return in 30 minutes.

2.2) If there is a spill outside the cabinet, hold breath, inform colleagues, dispose of Tyvek suit in waste bin near door and evacuate containment lab, close and tape door to lab, and notify biosafety coordinator.

Discussion:

The following are critical principles to which you should strictly adhere:

All viable cultures must be double contained before removal from the biosafety cabinet.

Once a viable culture is opened in the cabinet, the cabinet is “dirty” and all items must be double wiped before removal from the cabinet.

Outer “dirty” gloves are removed after the first wipe and no “dirty” item may be touched when entering with clean gloves for the second wipe, only the vesphene towel and the once wiped items.

Acknowledgments: This work was funded by HHMI and NIAID.

Disclosures: We have no conflicts to disclose.

References:

1	Chosewood, L. C., Wilson, D.E. Biological Safety for Microbiological and Biomedical Laboratories. 5th edn,  (2009).

2	Schwebach, J. R., Jacobs, W. R., Jr. & Casadevall, A. Sterilization of Mycobacterium tuberculosis Erdman samples by antimicrobial fixation in a biosafety level 3 laboratory. J Clin Microbiol 39, 769-771 (2001).

3	Goude, R. & Parish, T. Electroporation of mycobacteria. J Vis Exp (2008).

4	Kruse, R. H., Puckett, W. H. & Richardson, J. H. Biological safety cabinetry. Clin Microbiol Rev 4, 207-241 (1991).

5	Schwebach, J. R. et al. Infection of mice with aerosolized Mycobacterium tuberculosis: use of a nose-only apparatus for delivery of low doses of inocula and design of an ultrasafe facility. Appl Environ Microbiol 68, 4646-4649 (2002).

6	Hall, L., Otter, J. A., Chewins, J. & Wengenack, N. L. Use of hydrogen peroxide vapor for deactivation of Mycobacterium tuberculosis in a biological safety cabinet and a room. J Clin Microbiol 45, 810-815 (2007).