# Submission ID #:  3119

# Editor Name: Shanelle Ko

# Videographer name:

# Film Date: 3/22/11

# Authors and Affiliations:

Lakeesha E. Bridges

Julius L. Chambers Biomedical/Biotechnology Research Institute,

North Carolina Central University

bridgesl@nccu.edu

Cicely L. Williams

Julius L. Chambers Biomedical/Biotechnology Research Institute,

North Carolina Central University.

clwilliams@nccu.edu

Mildred A. Pointer

Julius L. Chambers Biomedical/Biotechnology Research Institute & Department of Biology

North Carolina Central University.

mpointer@nccu.edu

Emmanuel M. Awumey *Corresponding author

Julius L. Chambers Biomedical/Biotechnology Research Institute & Department of Biology

North Carolina Central University

eawumey@nccu.edu

Title: Mesenteric Artery Contraction and Relaxation Studies Using Automated Wire Myography.

Authors, please fill out the brief questionnaire below.

A. Will you require assistance with video microscopy, such as filming a complex dissection or microinjection technique (Y/N, please specify steps by number. Also, please list make and model of your microscope)?

Y; Steps 1.2 to 1.7; Ziess Stemi SV 11 Apo (Fitted with a horizontal eyepiece reticule scale). This is used to measure the length (in mm) of the tissue mounted in the chamber.

B.   Does your protocol include detailed, step-by-step, descriptions of software usage (Y/N, please specify steps by number)?

Y; Step 3 (Normalization)

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps. Steps 1,2,3 & 4.

D.  What is the single most difficult aspect of this procedure?

Dissection and mounting of artery.

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

Authors, please select from “Procedural Narrative” or “Conceptual Narrative” and complete the statements below. Please do not add additional steps.  Then, attach your finished graphic overview.  See accompanying instructions for details and examples.

Authors: the narrative is often tricky, do you have any graphics or diagrams for the set-up or procedure? Please feel free to contact me with questions on this part

# Procedural Narrative:

The overall goal of this procedure is to compare the reactivity of mesenteric resistance arteries from Dahl salt-sensitive and salt-resistance rats, under phenylephrine tension, to extracellular calcium (Intro).

This is accomplished by first isolating the mesenteric arcade from animals and dissecting out the resistance artery branches (P1).

The second step of the procedure is to mount a short segment (≈ 2 mm) of the dissected artery in the myograph chamber by treading two parallel stainless steel wires through the vessel lumen and attaching to force transducers in the myograph (P2).

The third step of the procedure is to normalize the mounted vessel by stretching it to a normalized internal circumference (IC1) defined as a set fraction of the internal circumference (IC100) that a fully relaxed segment would have at specified transmural pressure (100 mm Hg = 13.3 kPa for rat mesenteric artery) (P3).

The final step of the procedure is to re-activate the mechanical functions of the vessel by challenging it with repeated applications of phenylephrine and relaxing it with cumulative applications of calcium (P4).

Ultimately results can be obtained that show changes in tension in the vessel, which can be converted into a [Ca2+]-response curve and determination of EC50 values for comparison (P5).

Paste a copy of your graphic overview here.  The original file should be adobe illustrator (preferred) or powerpoint (see instructions) and should be uploaded through your online submission on the JoVE website.

B.  Interview: (Said by you on camera. Don’t forget to smile!)

Authors: Below are statements we would like you to complete that are complementary to the information contained within the schematic overview.    Only one statement should be chosen and completed per author who will be on camera demonstrating the protocol.    In addition to choosing and filling out the appropriate statement, please enter the name of the individual who will say each line.  **If individuals will be doing the demonstrations but not speaking in the introduction, please use statement 1.8 to introduce these demonstrators (ex PI introducing students).

  - Author name Emmanuel Awumey: The main advantage of this technique over existing methods, like determination of mechanical, morphological and pharmacological properties of large vessels, is that it allows segments of small vessels o be mounted as ring preparation on a myograph, relatively without any trauma, and allowing measurement of highly isometric responses .

  - Author name Emmanuel Awumey: This method can help answer key questions in the vascular research field, such as effects of disease on vascular reactivity to exogenous compounds.

  - Author name Emmanuel Awumey: The implications of this technique extend toward therapy (or diagnosis) of hypertension, because it allows the testing of new compounds on vascular contraction and relaxation as well as simultaneous testing or direct comparative studies of two vessels under clearly defined and reproducible conditions.

  - Author name Emmanuel Awumey: Though this method can provide insight into the reactivity of rat mesenteric arteries, it can also be applied to other systems (model organisms, studies of disease, organ systems), such as mouse mesenteric arteries or other vessels with internal diameters of 100-400 µm.

  - Author name Lakeesha Bridges: Generally, individuals new to this method will struggle, because the endothelium and the smooth muscle layers of the small vessels can be easily damaged during the isolation and mounting steps. If damage occurs, the mechanical properties of the vessels will be compromised.

  - Author name Emmanuel Awumey: We first had the idea for this method, when we discovered that nerve network of rat mesenteric arteries express the G protein-coupled calcium sensing receptor, which can be studied in the same way as adrenergic receptors  that are activated by agonists.

  - Author name Lakeesha Bridges: Visual demonstration of this method is critical, as the isolation and mounting steps are difficult to learn and requires a lot of patience, because the vessel is susceptible to trauma.

  - **Author name Lakeesha Bridges: Demonstrating the procedure will be Lakeesha Bridges a technician (technician, post doc, grad student) from my laboratory (Add additional mention of demonstrators as necessary).

# Protocol (read by voice talent at JoVE):

Authors:  In order to ensure that your protocol can be filmed in a single day, the protocol text must be limited to 30 steps – each step being defined as 3 lines of 12 pt text in our formatting style below.  This amounts to 3 pages of protocol text.  The scope of the scripted protocol text should include only those aspects of the procedure that require visualization in order to be well understood.

- Isolation of rat mesenteric small artery

  - To begin, prepare the work area and surgical instruments. Place an anesthetize animal on its back and wipe the abdomen with alcohol.

  - Perform a mid-line laparotomy to expose the mesenteric bed.

  - Use scissors to remove about 10 cm of intestine, including the superior mesenteric artery. Cut the proximal end close to the pylorus and the distal end near the ileo-coecal junction.

  - Place the excised section into a coated petri dish containing physiological salt solution (PSS) at room temperature

Authors: what does PSS stand for? Physiological salt solution.

  - Pin down the proximal end of the intestine to the right and then pin the

remainder of the intestine in a counter-clockwise direction

  - Next, dissect away the branch II and III segments and a piece of the proximal

segment.

Authors: are the branch II and III segments separate from the proximal segment, how big of a piece? The branches are part of the mesenteric artery. The proximal segment refers to one end of the intestine excised from the animal.

  - Identify the V-shaped branch point of the mesenteric artery and dissect it away from the vein.

Authors: how big is the piece of artery that you cut away? About 1 cm long.

  - Use forceps to gently pull away adipose and connective tissue to avoid direct contact with the artery

Authors: is the artery cut into segments at this point? No. You cut out the adipose and connective tissues first.

- Mounting of vessel

Authors: can you send me a picture of the chamber? It will help me a great deal when I generate the shot list.

  - . Cut two artery segments about 2 mm long. Use fine forceps to insert a 40 µm tungsten-free stainless steel wire into the lumen of each artery, taking care not to damage the endothelium. The wire tip may be used to open the lumen.

Authors: how long is the wire segment? About 4 cm. Long enough to allow fixing to the jaw connected to the micrometer.

  - . Fill the myograph chamber with PSS (with ascorbic acid) at 37 °C. Use forceps to transfer the treaded vessel segment into the chamber. Next, transfer the excised proximal vessel segment to the myograph chamber and pull the end along the wire to feed it into the vessel. Avoid stretching the vessel.

  - . Secure the near end of the wire counter-clockwise under the near fixing screw on the right-hand jaw connected to the micrometer. Catch the free end of the wire with forceps and secure it clockwise under the far fixing screw on the right-hand jaw. Ensure that the vessel segment along the wire is situated in the gap between the jaws without making any contact with the jaw itself.

  - . Screw the jaws apart, and align the second wire parallel with the vessel and insert it into the far end of the lumen. Gently feed the wire through the lumen of the vessel segment in one motion using the already mounted wire as a guide. Hold the wire about 1 cm from the vessel to avoid stretching it during the maneuver, and avoid touching the endothelium.

  - . Screw the jaws together and ensure that the second mounting wire moves underneath the first one secured on the right-hand jaw.

  - . Secure the near end of the second wire in a clockwise direction under the near fixing screw of the left-hand jaw connected to the transducer.

  - . Secure the far end of the wire under the fixing screw on the left-hand jaw and tighten to stretch the wire.

  - . Once mounting is complete, reset the motor in the “Mounting Menu” and start normalization of the vessel.

- Normalization

Authors: can you send me a picture of the system? It will help me a great deal when I generate the shot list.

Complete System set-up

Stainless steel jaws

  - Before starting the normalization, allow 30 min for equilibration at 37 °C. The Auto Dual Wire Myograph System- 510A has an automated normalization function that stretches the vessel to a normalized internal circumference.

  - Go to the “Normalization” menu……..The normalization parameters for rat mesenteric artery are as follows:

    - Target transmural pressure = 13.3 kPa (100 mm Hg).

    - Time = 60 sec; Duration of each of the normalization steps.

    - IC1/IC100 = 0.9 (IC1 = normalized internal circumference, IC100 = internal circumference corresponding to target pressure.

    - Eyepiece calibration 2*∆ (mm/ocular division); 2 delta is for programming reasons.

Authors: are these all pre-set in the system or do you adjust them manually? Is there a readout that you can point to? How will it look to the viewer / what will we shoot on the day of filming? The measurements from the ocular are entered manually into the computer and a readout is generated in a window on the interface module. The interface has a readout that one can point to.

  - Measure the length of the mounted mesenteric artery using the microscope eyepiece readings when the hairlines are over the far and near ends of the vessel segment.

  - In this example, the arteries are set to the lumen diameter of d1 = 0.9 x d100, where active force development is maximal. An active force development of ≥ 10 mN in rat mesenteric arteries is considered optimal; tissues with a lower active force are discarded.

- Measurement of responses

  - After normalization, the mechanical and functional properties of vessels are re-activated by performing a “standard start”, containing of a series of stimulations and washout periods.

  - First, replace the myograph chamber cover and start aeration with 95% air and 5% CO2.

  - Fill chamber with fresh PSS containing 100 µM ascorbic acid

  - Contract the vessel with 5 µM phenylephrine or PE for 5 min and wash 4 times with PSS buffer.

  - After the last wash, refill chamber with PSS and wait 3 min before refilling the chamber with PSS and contracting with PE as shown previously

  - The artery is now ready for the experiment. Measure the relaxation of contracted vessels by cumulatively adding increasing concentrations of CaCl2 (0.5 – 5 mM, final).

- Contraction and Relaxation in Mesenteric Arteries

  - Basal tensions (mN) following phenylephrine application varied between Wistar, DS or Dahl salt-sensitive , and DR or Dahl salt resistant rats

  - This trace from a Wistar rat shows relaxation of PE-contracted arteries by cumulative additions of Ca2+e .  (figure 1A).  Relaxation was severely compromised in tissues from DS rats (figure 1B) compared to Wistar rats and compared to DR rats as seen here (figure 1C)

  - The differences in calcium sensitivity can be seen in the [Ca2+]e-response curves and again when calculating the  EC50 values (figure 2 ab). Finally, DS rats show a reduction in the expression of the Ca2+-sensing receptor (CaR) in arteries compared to DR. (figure 2c)

# INSTRUCTIONS FOR AUTHORS:

Please ensure that the representative results narration is appropriate and correctly describes your images, movies, or figures.  Our editors have ensured that the results are written in our format.

We consider this section a critical aspect of the video, because here is where you provide validation for your experiments.  For example, if this is a cell culture preparation, this section is where the video will show your cells at various time points following culturing.  If this is an imaging prep, then this part is where you will show examples of your imaging experiments.

Please limit the extent of narration to no more than 2-3 lines of text per image or movie file being described.   Figures with multiple panels submitted with the original protocol should be broken up so that each panel is a separate image.   Like the schematic, each image or movie file supplied in the results should be referenced by annotation in parenthesis, however for the results, the specific filename should be given in parenthesis.

Below is an example of results text:

# REPRESENTATIVE RESULTS

5.  Tension development in arteries from Wistar (control) DS and DR rats

5.1   Mean basal phenylephrine (PE) tensions in mounted artery segments (Table 1).

# 5.2   Force tracing showing Ca2+-induced relaxation of an artery segment, from a Wistar rat, contracted with 5 µM PE. The vessel relaxed fully upon addition of the last calcium concentration (Figure 1).

# 5.3   Force tracing showing Ca2+-induced relaxation of an artery segment, from a DS rat, contracted with 5 µM PE. The vessel relaxed partially upon addition of calcium (Figure 2).

# 5.4   Force tracing showing Ca2+-induced relaxation of an artery segment, from a DR rat, contracted with 5 µM PE. The vessel relaxation was partially delayed upon addition of calcium (Figure 3).

# 5.5. Analysis of force data from Figures 1-3.

# A. Calcium concentration-response curves expressed as % Relaxation, where 0 is equivalent to maximum PE tension. B. Histogram comparing the effective concentrations of calcium at 50% of maximum tension (EC50) determined by fitting the data to a sigmoid curve. C.Western blot showing differential expression of the CaR in mesenteric arcades isolated from DR and DS rats (Figure 4).

# Please visit the following URL to see an example of how the results will look when complete:

http://www.jove.com/index/Details.stp?ID=1597

- Conclusion (said by authors on camera

Authors: Below are statements we would like you to complete that summarize and conclude the video. Only one statement should be chosen and completed per author who will be on camera demonstrating the protocol. In addition to choosing and filling out the appropriate statement, please enter the name of the individual who will say each line.

  - Author name Lakeesha Bidges: Once mastered, this technique can be done in 2 hrs (hours/min) if it is performed properly.

  - Author name			: While attempting this procedure, it’s important to remember to ___________.

  - Author name Emmanuel Awumey: Following this procedure, other methods like determination of the efficacy of a new compound in resistance arteries can be performed in order to answer additional questions like their potential use in modulating vascular reactivity and as anti-hypertensive agents.

  - Author name Emmanuel Awumey: After its development, this technique paved the way for researchers in the field of physiology and pharmacology to explore mechanical, morphological and pharmacological properties of small vessels with diameters as small as 100 µm ex vivo under isometric conditions using small wires.

  - Author name Emmanuel Awumey: After watching this video, you should have a good understanding of how to compare the vascular reactivity of small mesenteric arteries to exogenous compounds under isometric conditions. The procedure involves isolation of mesenteric resistance arteries from rats, mounting segments in a wire myograph chamber and determining the contractile and relaxant effects of exogenous compounds.

Provided Media

Authors: Could you separate the multipanel figures into separate files and upload them to our ftp site?

Yes.

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.