# Submission ID #:  3119

# Editor Name: Shanelle Ko

# Videographer name:

# Film Date: 3/22/11

# Authors and Affiliations:

Lakeesha E. Bridges

Julius L. Chambers Biomedical/Biotechnology Research Institute,

North Carolina Central University

bridgesl@nccu.edu

Cicely L. Williams

Julius L. Chambers Biomedical/Biotechnology Research Institute,

North Carolina Central University.

clwilliams@nccu.edu

Mildred A. Pointer

Julius L. Chambers Biomedical/Biotechnology Research Institute & Department of Biology

North Carolina Central University.

mpointer@nccu.edu

Emmanuel M. Awumey *Corresponding author

Julius L. Chambers Biomedical/Biotechnology Research Institute & Department of Biology

North Carolina Central University

eawumey@nccu.edu

Title: Mesenteric Artery Contraction and Relaxation Studies Using Automated Wire Myography.

Authors, please fill out the brief questionnaire below.

A. Will you require assistance with video microscopy, such as filming a complex dissection or microinjection technique (Y/N, please specify steps by number. Also, please list make and model of your microscope)?

Y; Steps 1.2 to 1.7; Ziess Stemi SV 11 Apo (Fitted with a horizontal eyepiece reticule scale). This is used to measure the length (in mm) of the tissue mounted in the chamber.

B.   Does your protocol include detailed, step-by-step, descriptions of software usage (Y/N, please specify steps by number)?

Y; Step 3 (Normalization)

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps. Steps 1,2,3 & 4.

D.  What is the single most difficult aspect of this procedure?

Dissection and mounting of artery.

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

Authors, please select from “Procedural Narrative” or “Conceptual Narrative” and complete the statements below. Please do not add additional steps.  Then, attach your finished graphic overview.  See accompanying instructions for details and examples.

# Procedural Narrative:

The overall goal of this procedure is to compare the reactivity of mesenteric resistance arteries from Dahl salt-sensitive and salt-resistance rats, under phenylephrine tension, to extracellular calcium (Intro).

This is accomplished by first isolating the mesenteric arcade from animals and dissecting out the resistance artery branches (P1).

The second step is to mount a short segment of the dissected artery into the myograph chamber by threading two parallel stainless steel wires through the vessel lumen (P2).

Next, the mounted vessel is stretched to a normalized internal circumference (IC1) (P3).

The final step of the procedure is to re-activate the vessel by challenging it with repeated applications of phenylephrine and relaxing it with cumulative applications of calcium (P4).

Ultimately results can be obtained that show changes in tension in the vessel, which can be converted into a [Ca2+]-response curve and determination of EC50 values for comparison (P5).

P1: shot 2.7.1

P2: shot 3.8.1

P3: shot 5.1.1 or 4.2.1 (if 5.1.1 looks too much like 3.8.1)

P4: shot 5.3.1, 5.3.2

P5: LAB MEDIA: figure 4 Ca2+ response

B.  Interview: (Said by you on camera. Don’t forget to smile!)

Authors: Below are statements we would like you to complete that are complementary to the information contained within the schematic overview.    Only one statement should be chosen and completed per author who will be on camera demonstrating the protocol.    In addition to choosing and filling out the appropriate statement, please enter the name of the individual who will say each line.  **If individuals will be doing the demonstrations but not speaking in the introduction, please use statement 1.8 to introduce these demonstrators (ex PI introducing students).

  - Emmanuel Awumey: We first had the idea for this method when we discovered that the nerve network of rat mesenteric arteries express the G protein-coupled calcium sensing receptor, these can be studied in the same way as adrenergic receptors which are activated by agonists.

  - Lakeesha Bridges: Generally, individuals new to this method will struggle because the endothelium and smooth muscle layers of the small vessels can be easily damaged during the isolation and mounting steps. If damage occurs, the mechanical properties of the vessels will be compromised.

# Protocol (read by voice talent at JoVE):

Authors:  In order to ensure that your protocol can be filmed in a single day, the protocol text must be limited to 30 steps – each step being defined as 3 lines of 12 pt text in our formatting style below.  This amounts to 3 pages of protocol text.  The scope of the scripted protocol text should include only those aspects of the procedure that require visualization in order to be well understood.

- Isolation of rat mesenteric small artery

  - To begin, prepare the work area and surgical instruments. Place an anesthetize animal on its back and wipe the abdomen with alcohol.

    - WIDE: talent walks to surgical area

    - MED: shot of talent cleaning surgical area with all necessary equipment in view

    - MED: talent places an anesthetize animal on its back and wipes the abdomen with alcohol.

  - Perform a mid-line laparotomy to expose the mesenteric bed.

    - SCOPE: Talent performs a mid-line laparotomy to expose the mesenteric bed.

  - Use scissors to remove about 10 cm of intestine, including the superior mesenteric artery. Cut the proximal end close to the pylorus and the distal end near the ileo-coecal junction.

    - SCOPE: talent removes about 10 cm of intestine

    - SCOPE: talent cuts the proximal end close to the pylorus

    - SCOPE: talent cuts the distal end near the ileo-coecal junction.

  - Place the excised section into a coated petri dish containing physiological salt solution or PSS at room temperature

    - SCOPE: talent places the excised section into a petri dish containing PSS

  - Pin down the proximal end of the intestine to the right and then pin the remainder of the intestine in a counter-clockwise direction

    - SCOPE: talent pins down proximal section

    - SCOPE: continue the action of talent pining the remainder of the intestine in a counter clockwise direction

  - Next, dissect away a segment of the mesenteric artery containing branch II and III and a piece of the intestine from the proximal end.

    - SCOPE: talent dissects a segment of the mesenteric artery containing branch II and III

    - SCOPE: talent cuts a piece of the intestine from the proximal end.

  - Identify the V-shaped branch point of the mesenteric artery and dissect it away from the vein.

    - SCOPE: talent indentifies the V-shaped branch point, possibly containing the U shaped branch point in the shot for comparison

    - SCOPE: talent dissects the artery away from the vein

  - Use forceps to gently pull away adipose and connective tissue to avoid direct contact with the artery

    - SCOPE: talent pulls away adipose and connective tissue

- Mounting of vessel

  - To begin mounting the vessel, cut two artery segments about 2 mm long. Use fine forceps to insert a 4 cm, 40 µm tungsten-free stainless steel wire into the lumen of each artery, taking care not to damage the endothelium. The wire tip may be used to open the lumen.

    - CU: talent cuts two artery segments

    - CU: Talent insert the steel wire into the lumen

    - ECU: talent uses wire tip to open lumen

  - Fill the myograph chamber with PSS (with ascorbic acid) at 37 °C. Use forceps to transfer the treaded vessel segment into the chamber. Next, transfer the excised proximal vessel segment to the myograph chamber and pull the end along the wire to feed it into the vessel. Avoid stretching the vessel.

    - MED: talent fills the myograph chamber with PSS

    - CU: talent transfers the treaded vessel segment into the chamber

    - CU: talent transfers the excised proximal vessel segment to the myograph chamber

    - ECU: talent pulls the end along the wire to feed it into the vessel.

  - Secure the near end of the wire counter-clockwise under the near fixing screw on the right-hand jaw connected to the micrometer. Catch the free end of the wire with forceps and secure it clockwise under the far fixing screw on the right-hand jaw. Ensure that the vessel segment along the wire is situated in the gap between the jaws without making any contact with the jaw itself.

    - CU: talent secures the near end of the wire counter-clockwise under the near fixing screw

    - CU: Talent catches the free end of the wire with forceps and secures it clockwise under the far fixing screw on the right-hand jaw.

    - ECU: shot of the vessel in the correct position

  - Screw the jaws apart, align the second wire parallel with the vessel and insert it into the far end of the lumen. Gently feed the wire through the lumen of the vessel segment in one motion using the already mounted wire as a guide. Hold the wire about 1 cm from the vessel to avoid stretching it during the maneuver, and avoid touching the endothelium.

    - CU: talent screws the jaws apart

    - ECU: talent aligns the second wire parallel with the vessel and inserts it into the far end of the lumen.

    - ECU: talent feeds the wire through the lumen

    - ECU: continue the action, demonstrating the wire about 1 cm from the vessel and not touching the endothelium.

  - Screw the jaws together and ensure that the second mounting wire moves underneath the first one secured on the right-hand jaw.

    - CU: talent screws the jaws together

    - CU: talent checks (or shot demonstrating) that the second mounting wire moves underneath the first one secured on the right-hand jaw.

  - . Secure the near end of the second wire in a clockwise direction under the near fixing screw of the left-hand jaw connected to the transducer.

    - CU:  talent secures the near end of the second wire in a clockwise direction under the near fixing screw of the left-hand jaw connected to the transducer.

  - Secure the far end of the wire under the fixing screw on the left-hand jaw and tighten to stretch the wire.

    - CU: talent secures the far end of the wire under the fixing screw on the left-hand jaw

    - CU: talent tightens the screw to stretch the wire.

  - Once mounting is complete, allow 30 min for equilibration at 37 °C.

    - CU: shot of the mounted vessel in its chamber

- Normalization

  - After equilibration, the motor is reset from the “Mounting Menu” and the normalization procedure, which stretches the vessel to a normalized internal circumference, is initiated

    - WIDE: talent enters location of myograph

    - MED/SCREEN: talent resets the motor in the “Mounting Menu”

  - To begin, open the “Normalization” menu and set the target transmural pressure to 13.3 kPa . Next, set the duration of each of the normalization steps to 60 sec. The IC1 to IC100 ratio should equal 0.9 and the eyepiece calibration should be set to 2*∆

    - SCREEN: talent opens the “Normalization” menu and sets the target transmural pressure to 13.3 kPa, overlay “100 mm Hg”

    - SCREEN: talent sets the duration of each of the normalization step to 60 sec.

    - SCREEN: talents sets the IC1 to IC100 ratio to 0.9, overlay “IC1 = normalized internal circumference / IC100 = internal circumference corresponding to target pressure”

    - SCREEN: talent sets the eyepiece calibration to 2*∆, overlay “mm/ocular division”

  - Measure the length of the mounted mesenteric artery using the microscope eyepiece readings when the hairlines are over the far and near ends of the vessel segment.

    - SCOPE: talent measures the length of the artery

- Measurement of responses

  - After normalization, the vessels are re-activated by performing a “standard start”, containing of a series of stimulations and washout periods. First, replace the myograph chamber cover and start aeration with 95% air and 5% CO2.

    - ECU: shot of the vessel after normalization

    - MED: talent replaces chamber cover

    - MED: talent starts aeration

  - Fill chamber with fresh PSS containing 100 µM ascorbic acid

    - Talent fills chamber with PSS

  - Contract the vessel with 5 µM phenylephrine or PE for 5 min and wash 4 times with PSS buffer.

    - CU: talent adds PE

    - CU: talent washes vessel

  - After the last wash, refill chamber with PSS and wait 3 min before refilling the chamber with PSS and contracting with PE as shown previously

    - CU: talent refills chamber

    - CU: talent adds PE

  - The artery is now ready for the experiment. Measure the relaxation of contracted vessels by cumulatively adding increasing concentrations of CaCl2 (0.5 – 5 mM, final).

    - CU: talent adds  CaCl2 to chamber

    - SCREEN: shot of the response of the vessel if available

- Contraction and Relaxation in Mesenteric Arteries

  - This table shows that the basal tensions (mN) following phenylephrine application varied between Wistar, DS or Dahl salt-sensitive , and DR or Dahl salt resistant rats

    - LAB MEDIA: Table 1. Basal phenylephrine tension, omit the text and overlay “DS = Dahl salt-sensitive ,  DR = Dahl salt resistant rats”

  - This trace from a Wistar rat shows relaxation of PE-contracted arteries by cumulative additions of Ca2+e .

    - LAB MEDIA: Figure 1. Wistar Ca2+-response, overlay “Wistar”

  - Relaxation was severely compromised in tissues from DS rats (shot 6.3.1) compared to Wistar rats and compared to DR rats as seen here (shot 6.3.2)

    - LAB MEDIA: Figure 2. DS Ca2+-response, overlay “DS”

    - LAB MEDIA: Figure 3. DR Ca2+-response, overlay “DR”, EDITOR: can you line up all three for comparison?

  - The differences in calcium sensitivity can be seen in the [Ca2+]e-response curves (shot 6.4.1) and again when calculating the  EC50 values (shot 6.4.2). Finally, DS rats show a reduction in the expression of the Ca2+-sensing receptor (CaR) in arteries compared to DR (shot 6.4.3)

    - LAB MEDIA: Figure 4. Ca2+-response, focused on panel A

    - LAB MEDIA: Figure 4. Ca2+-response, pan to panel B

    - LAB MEDIA: Figure 4. Ca2+-response, pan to panel C

# INSTRUCTIONS FOR AUTHORS:

Please ensure that the representative results narration is appropriate and correctly describes your images, movies, or figures.  Our editors have ensured that the results are written in our format.

We consider this section a critical aspect of the video, because here is where you provide validation for your experiments.  For example, if this is a cell culture preparation, this section is where the video will show your cells at various time points following culturing.  If this is an imaging prep, then this part is where you will show examples of your imaging experiments.

Please limit the extent of narration to no more than 2-3 lines of text per image or movie file being described.   Figures with multiple panels submitted with the original protocol should be broken up so that each panel is a separate image.   Like the schematic, each image or movie file supplied in the results should be referenced by annotation in parenthesis, however for the results, the specific filename should be given in parenthesis.

Below is an example of results text:

# REPRESENTATIVE RESULTS

5.  Tension development in arteries from Wistar (control) DS and DR rats

5.1   Mean basal phenylephrine (PE) tensions in mounted artery segments (Table 1).

# 5.2   Force tracing showing Ca2+-induced relaxation of an artery segment, from a Wistar rat, contracted with 5 µM PE. The vessel relaxed fully upon addition of the last calcium concentration (Figure 1).

# 5.3   Force tracing showing Ca2+-induced relaxation of an artery segment, from a DS rat, contracted with 5 µM PE. The vessel relaxed partially upon addition of calcium (Figure 2).

# 5.4   Force tracing showing Ca2+-induced relaxation of an artery segment, from a DR rat, contracted with 5 µM PE. The vessel relaxation was partially delayed upon addition of calcium (Figure 3).

# 5.5. Analysis of force data from Figures 1-3.

# A. Calcium concentration-response curves expressed as % Relaxation, where 0 is equivalent to maximum PE tension. B. Histogram comparing the effective concentrations of calcium at 50% of maximum tension (EC50) determined by fitting the data to a sigmoid curve. C.Western blot showing differential expression of the CaR in mesenteric arcades isolated from DR and DS rats (Figure 4).

# Please visit the following URL to see an example of how the results will look when complete:

http://www.jove.com/index/Details.stp?ID=1597

- Conclusion (said by authors on camera

Authors: Below are statements we would like you to complete that summarize and conclude the video. Only one statement should be chosen and completed per author who will be on camera demonstrating the protocol. In addition to choosing and filling out the appropriate statement, please enter the name of the individual who will say each line.

  - Lakeesha Bidges: Once mastered, this technique can be done in 2 hrs if it is performed properly.

  - Emmanuel Awumey: After watching this video, you should have a good understanding of how to compare the vascular reactivity of small mesenteric arteries to exogenous compounds under isometric conditions.

Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.