Analysis of single-cell gene transcription by RNA fluorescent in situ hybridization (FISH)
Elena Ronander, Dominique C. Bengtsson, Louise Joergensen, Anja T.R. Jensen, David E. Arnot
Elena Ronander

Centre for Medical Parasitology, Department of International Health, Immunology & Microbiology, Faculty of Health Sciences, University of Copenhagen and Department of Infectious Diseases, Copenhagen University Hospital (Rigshospitalet), Denmark.

elenar@sund.ku.dk 

Dominique C. Bengtsson
Centre for Medical Parasitology, Department of International Health, Immunology & Microbiology, Faculty of Health Sciences, University of Copenhagen and Department of Infectious Diseases, Copenhagen University Hospital (Rigshospitalet) , Denmark.

domcre@sund.ku.dk
Louise Joergensen

Centre for Medical Parasitology, Department of International Health, Immunology & Microbiology, Faculty of Health Sciences, University of Copenhagen and Department of Infectious Diseases, Copenhagen University Hospital (Rigshospitalet) , Denmark.

loujor@sund.ku.dk
Anja T.R. Jensen

Centre for Medical Parasitology, Department of International Health, Immunology & Microbiology, Faculty of Health Sciences, University of Copenhagen and Department of Infectious Diseases, Copenhagen University Hospital (Rigshospitalet) , Denmark.

atrj@sund.ku.dk
David E. Arnot

Centre for Medical Parasitology, Department of International Health, Immunology & Microbiology, Faculty of Health Sciences, University of Copenhagen and Department of Infectious Diseases, Copenhagen University Hospital (Rigshospitalet) , Denmark and Institute of Infection and Immunology Research, School of Biology, University of Edinburgh, UK.

dearnot@sund.ku.dk
Corresponding author: 
Elena Ronander at elenar@sund.ku.dk
Please suggest names of 5 peer reviewers with their institutional affiliation and email address.

1. Michael F. Duffy at University of Melbourne. E-mail: mduffy@unimelb.edu.au
2. Colin Sutherland at London School of Hygiene & Tropical Medicine, University of London. Email: colin.sutherland@lshtm.ac.uk
3. Patrick Duffy at Seattle Biomedical Research Institute. Email: patrick.duffy@nih.gov [image: image4.emf]




.
4. Jacqui Montgomery, Malawi-Liverpool-Wellcome Trust Clinical Research Programme, College of Medicine. Email: jmont@liverpool.ac.uk
5. Matts Higgins at University of Oxford. Email: matthew.higgins@bioch.ox.ac.uk
Keywords: 
nuclei, transcription, var genes, PfEMP1, infected erythrocytes (IE), Plasmodium falciparum, fluorescent in situ hybridization (FISH). 
Short Abstract: 
Fluorescent in situ hybridization (FISH) to identify mRNA transcripts in individual cells allows analysis of polygenic activity such as the simultaneous transcription of more than one member of the var multigene family in Plasmodium falciparum infected erythrocytes 
 ADDIN REFMGR.CITE 
1
. The technique is adaptable and can be used on different types of genes, cells and organisms.

Long Abstract: 
Adhesion of Plasmodium falciparum infected erythrocytes (IE) to human endothelial receptors during malaria infections is mediated by expression of PfEMP1 protein variants encoded by the var genes.
The haploid P. falciparum genome harbors approximately 60 different var genes of which only one has been believed to be transcribed per cell at a time during the blood stage of the infection.  How such ‘mutually exclusive’ regulation of var gene transcription is achieved is unclear, as is the identification of individual var genes or sub-groups of var genes associated with different receptors and the consequence of differential binding on the  clinical outcome of P. falciparum infections. Recently, the mutually exclusive transcription paradigm has been called into doubt by transcription assays based on individual transcript identification in single cells using RNA fluorescent in situ hybridization (FISH) analysis of var gene transcription in individual nuclei of P. falciparum IE 
 ADDIN REFMGR.CITE 
1
.
Here, we present a detailed protocol for carrying out the RNA-FISH methodology for analysis of var gene transcription in single-nuclei of P. falciparum infected human erythrocytes. The method is based on the use of digoxigenin- and biotin- labeled antisense RNA probes using the TSA Plus Fluorescence Palette System2 (Perkin Elmer), confocal microscopic analyses and freshly selected P. falciparum IE. The in situ hybridization method can be used to monitor transcription and regulation of a variety of genes expressed during the different stages of the P. falciparum life cycle and is adaptable to other malaria parasite species and other organisms and cell types.
1) Generation of freshly selected infected erythrocytes 
For this assay, the best results are obtained when using freshly selected cultures for surface expression of PfEMP1 protein. In this particular experiment the 3D7 P. falciparum lineage was selected using specific antibodies as previously described
 ADDIN REFMGR.CITE 
1
.
Day 1

1.1) Harvest 200 l of packed blood cells from a P. falciparum culture containing 2-5 % late stage IE by centrifugation at 800 x g for 8 min.

1.2)  Re-suspend the blood pellet in 2 ml of 37 0C warm 0.75 % gelatine solution in a 14 ml sterile tube, and leave for 15-20 min at 37 0C to allow the uninfected and ring-stage IE to sediment.

1.3) Harvest the late-stage IE, i.e. the upper phase, into a new 14 ml tube and wash twice with 10 ml of 37 0C warm RBC-wash media.

1.4) Dilute 50 l of specific antibody in 2 ml of 37 0C warm RBC-wash media and sterile filtrate. 

1.5)  Mix the washed late-stage IE with the sterilized diluted antisera in a 14 ml sterile tube and incubate for 30 min at 37 0C with gentle agitation.

1.6)  Spin down at 800 x g for 8 min, and wash twice with 10 ml of 37 0C warm RBC-wash media.

1.7)  Wash 50 l of Dynabead® Protein A suspension twice with RBC-wash media using a DynaMaqTM-15 magnet. 

1.8) Resuspend the Dynabeads® in 300 l RBC-wash media and add them to the washed late-stage IE. Incubate for 30 min at 37 0C with gentle agitation.

1.9)  Transfer the tube to the DynaMaqTM-15 magnet. Leave for 1-2 min and remove all the liquid. 

1.10) Resuspend the Dynabeads® in 4-5 ml of RBC-wash media. Transfer the tube back onto the magnet and leave it for 1-2 min before removing all the liquid. Repeat the washing step once.
1.11) Transfer the washed beads to a 25 cm2 sterile culture flask containing 200 l freshly packed red blood cells. Add 5-6 ml of Albumax media into the culture.

Day 2

1.12) Remove the Dynabeads® from the culture when the selected IE has reinvaded the fresh red blood cells by transferring all the culture to a 14 ml sterile tube. Put the tube onto the DynaMaqTM-15 magnet and leave for 1-2 min. Then, pour all the liquid back to a culture flask.

1.13) Culture for as few cycles as possible until a parasitemia of 5-10 % and parasites are at the ringstage.

1.14) IE should be analyzed by FACS to make sure that the correct surface phenotype has been obtained.

2) Preparation of probes

The antisense RNA probes were generated from the most variable regions of respectively, the PFD1235w and the PF11_0008 var genes from P. falciparum 3D7 genomic DNA. The probes (580 bp and 590 base pairs in length) were labeled with Digoxigenin (DIG) or Biotin using a DIG RNA labeling Kit respectively a Biotin RNA labeling Mix. We confirmed the specificity of the probes both by Northern blot analyses and by single-label FISH analysis 1.
3) Thins smear and fixation of parasites prior to in situ hybridization 
Day 1

All steps are performed in an RNase free environment and all reagents are RNase-free or pre-treated with DEPC (diethyl pyrocarbonate) or RNaseZap (Invitrogen). The slides and cover slips should be cleaned with alcohol to remove residual manufacturing grease. It is important to perform the protocol without any pause in between in order to minimize the risk of nuclease contamination.

3.1) Make a thin blood film by the standard spreading method 3.  Using the X 100 oil objective lens of the microscope, count the parasitaemia and calculate the percentage of IE in the culture. Check that the parasite stages are in approximate synchrony, in the ring and early trophozoite stages of the IE cycle. These are the pre-replication, uni-nucleate stages, expressing var gene mRNA and suitable for single cell FISH transcription assays of this type. 

3.2) Transfer 50 (l of the parasite culture, at a parasitemia of 5-10 %, to a 1.5 ml RNAase free Eppendorf tube. Centrifuge for 1 min at 2000 rpm.
3.3) Remove the media and add 50 (l PBS pH 7.2 in DEPC-treated water. Agitate the tube gently. Repeat the centrifugal sedimentation step twice to wash the cells free from media and cell debris.
3.4) Make four good quality thin smears onto each of the 11 mm diameter wells of a 4 well slide, in a RNase free hood (a critical step). Wave briefly into the air to dry.  Make three extra slides for negative controls. Make one slide for single probe staining for any other irrelevant gene by using a specific probe, another slide for RNase treatment and a third slide containing IE not expressing the gene of interest. Leave the slides to dry on the bench for 10-20 min.

3.5) Fix the thin films by adding 60 (l of fixation solution containing 4 % paraformaldehyde and 5% glacial acetic acid. Leave for 10 min on the bench at room temperature.
3.6 Wash the slides in 2 x SSPE buffer for 5 min by gentle agitation. Briefly remove excess liquid by touching the slide edges with a paper tissue.
3.7) Cover the slides with 0.01 % pepsin in 0.01 M HCl for 2 min at 37 0C (an extremely critical step). Wash the slides in 2 x SSPE for 5 min.
3.8) Dilute the RNase solution to a final concentration of 10 (g/ml. Cover the negative control smears with 60 (l of the RNase solution. Incubate for 30 min at 37 °C and then wash the slides in 2 x SSPE for 5 min.

3.9) Proceed immediately to the hybridization step.

4)  Hybridization of RNA probes to fixed slides 
Day 1
4.1) Prepare the hybridization chamber, such as a ThermoStar 100 HC4 or an empty pipette tip box put in a clean oven, by spraying with RNase Zap® and wiping it clean with a paper tissue. Fill the channels of the hybridization chamber or the bottom of the box with DEPC-treated water to make sure that the slides will not dry out during hybridization. Close the chamber and preheat to 48 0C.
4.2) Dilute the probes into the hybridization solution to a final concentration of 12 ng/(l. Denature the probe solution at 65 0C for 5 min in a heating block. Immediately chill on ice.

4.3) Briefly air dry the slides after the 2 X SSPE wash. Carefully remove excess liquid around the wells with a paper tissue.

4.4) Open the hybridization chamber and place the slides in the chamber. Apply 60 (l of the probe solution per well. Carefully cover the liquid drop with an RNase-free cover slip using sterile forceps.

4.5) Close the chamber and hybridize the slides at 48 0C for at least 16 h over night. 
5) Antibody conjugation and fluorescence amplification 
Day 2
The following steps are based on the TSA Plus Fluorescence Palette System from Perkin Elmer. All the steps are done at room temperature.
5.1) Wash the slides 3 times in TNT buffer for 5 min with gentle agitation.
5.2) Block the wells in 150 (l of TNB buffer for 30 min.

5.3) Dilute the HRP-conjugated α-DIG antibody in TNB buffer at a ratio of 1:100. Remove any excess TNB buffer from the slides with a paper tissue. Apply 100 (l of the antibody-TNB solution per well and carefully cover with a cover slip. Incubate the slides for 2 h.

5.4) Remove the cover slips carefully. Wash the slides in TNT buffer 3 times for 5 min.

5.5) Dilute the FITC-fluorophore in the tyramide amplification reagent at a ratio of 1:500 and apply 100 (l of the solution to each well. Cover the wells with cover slips and incubate for 12 min.

5.6) Remove the cover slips carefully and wash the slides 3 times for 5 min in TNT buffer by gentle agitation.

5.8) Dilute the HRP-conjugated α-biotin antibody in TNB buffer, at a ratio of 1:500, and apply 100 (l of the solution per well. Incubate the slides for 2 h.

5.9) Wash the slides three times with TNT buffer for 5 min.

5.10) Dilute the Cyan3-fluorophore in the tyramide amplification reagent at a ratio of 1:500. Add 100 (l per well of this solution. Cover the wells with cover slips and incubate for 12 min.

5.11) Remove the cover slips carefully and then rinse the slides quickly by immersion in TNT buffer.

5.12) Wash the slides 3 times with TNT buffer for 5 min.

5.13) Immerse the slides quickly in DEPC-treated water.

5.14)  Leave the slides to air dry. Mount the slides with anti-fade reagent containing DAPI. Seal the corners of the cover slips with nail polish.

5.15) The slides are now ready for microscopy. Keep the slides covered with aluminium foil and store at 4 0C if the experiment is to be completed the next day. A complete sealing of the sides of the slides can be carried out 24 h after applying the anti-fade reagent. This will allow the slides to be imaged for up to one week after the protocol has been completed.
6) Visualization of hybridized probes
6.1)  Turn on the confocal microscope and the immunofluorescence microscope. Allow to warm up for 15-30 min. Switch on the computer and the software.

6.2) Check the quality of the staining on the immunofluorescence microscope. Choose a spot containing a few parasites. 

6.3) Adjust the gain of each laser manually. Adjust the pixel dwell to 4-6 m-1s-1 and the steps to 512 x 512 pixels.

6.4) Take a test picture using Frame Lambda. Readjust the laser gain. 

6.5) Take a minimum of 20 good pictures of fluorescent single cells. At least 2-5 pictures of a field containing 5-20 parasites are needed in order to obtain a fair overview of the percentage of positive parasites. 
Representative Results 
Figure 1 illustrates a flowchart of the major steps and the time duration of the RNA FISH methodology.  

A series of representative images of well and poorly preserved stained mRNA FISH experiments using single P. falciparum IE are shown in Figure 2. This intracellular protozoan has a small (1-1.5 M diameter) nucleus which is stained blue with DAPI. Twenty four hours after erythrocyte invasion in P. falciparum the process of schizogony, i.e. nuclear division, begins. Optimal FISH detection of var gene transcription occurs at around 10-22 h into this 48 h intra-erythrocytic lytic cycle. Probes generally hybridize to mRNA species which appear adjacent to the main nuclear body, in what is probably nuclear envelope-associated endoplasmic reticulum. The good quality images in row A show FITC- (green) and Cyan3- (red) labeled probes corresponding to the PFD1235w and PF11_0008 var genes, respectively, in the double selected P. falciparum sub-line, 3D7 PFD1235w/PF11_0008. Co-localization of the genes is apparent but not absolute. Row B shows poor hybridization of both probes to parasites which have either degraded or largely ceased transcribing var mRNA. In row C, a good FISH hybridization is obtained but the cellular preservation is poor, as shown by badly spread and aggregating parasites.
[image: image2.png]DNA cloned in Starting Synchronized ring-
expression vector <~ material —> stage parasites at

5-10 % parasitemia
V v
Antisense RNA probe Preparation of
preparation according thin blood films

to manufacturer’s on Elass slides
description (see ref) v

Possible pause point

Fixation of cells

Denaturation of probes \L

Permeabilization
of cells

Preparation of
hybridization chamber|

Hyk: on
of probes to cells

V

e
Visualization of slides

lin confocal microscopel Day2

I A
H 1
1 1
i i
1 i
1 i
1 i
H i
1 1
1 i
! Posthybridization . !
i . — Blocking i
i stringency washes i
' I
i i
i i
1 1
1 1
i i
' 1
E Fluorophore ampli- Antibody conjugation i
! fication, FITC or Cyan 3 (DIG or Biotin) '
' — '
1 1
i i
1 1
1 i
i i
' 1
1 1
i i
1 1
i i
1 1
1 1
i i
' 1
L 4

Figure 1. RNA FISH experiment flowchart. The flowchartillustrates the main
points and timing of the FISH procedure.




[image: image3.png]



Figure 2. Confocal images of RNA-FISH in double selected P. falciparum indicating simultanous mRNA transcription of two different var genes labeled with either FITC (green) or Cyan3 (red) signal. DAPI staining (blue) indicates the parasite nuclear DNA. The vertical row a1, b1 and c1 show the transmission images of the parasites. Scale bar 5 µm.
Discussion
RNA FISH analysis, in contrast to methods such as Northern blotting and RT-PCR, allows discrimination of specific mRNA transcripts at the single cell level. This makes it possible to discriminate between transcriptional active and inactive cells, in this example, P. falciparum parasitic protozoa inside human red blood cells. Such whole-cell observations are often necessary and may unravel important and novel transcriptional patterns 1. 

Although other RNA FISH methods have been described4-10, there has been a need for development of a new and refined protocol for the study of simultaneous var mRNA transcription in P. falciparum. The present protocol use gentle washes, a mild detergent (pepsin) at low amounts and a short incubation period to allow for the probe and the antibodies to diffuse into the nucleus and hybridize with the mRNA attached on the ER, minimizing the damage to surrounding membranes (Fig 2a1-2a4).  

In addition, the RNA FISH and the high resolution images generated by the camera attached to the confocal microscope reveals whether a particular cell is positive for staining or not and also gives valuable information about the spatial relationships between the stained antisense RNA and the DAPI stained nucleus. As resolved in the images in figure 2a4, the mRNA appears to be attached next to the nucleus, probably in the endoplasmic reticulum, and not on top of it, as expected in a DNA-FISH image 11-12. 

Studies of single cells require observations of numerous parasites and at different time points to get a statistically significant result. Thus, RNA FISH analysis is a rather time consuming technique that demands patience and considerable trial-and-error experimentation to calibrate the technique. As RNA FISH is a technique of many parameters a trouble-shooting guide to the main steps of this protocol are given in Table 1.

Table 1. Troobleshooting guidance
	Problem
	Possible cause
	Recommendation

	Weak signal or no signal

	· Low mRNA expression.
· mRNA degradation.
· Probe is degraded, in-efficiently labeled or too low in concentration.
· Too high hybridization temperature.
· Too long pepsin treatment.
· Cells are not permeabilized enough.
	-Check the protein expression by FACS.

-Work under RNAse free conditions and use only freshly prepared solutions.

-Do a quality check of the labeled probe on gel and compare to a labeled control RNA. Make a titration series of the probe concentration in FISH.

· Reduce the hybridization temperature stepwise.

· Reduce the pepsin treatment length.

Prolong the pepsin treatment length or try another detergent.

	Poor cellular preservation
	-Too high parasitaemia or stressed parasites.

-Too thick films.
-Badly cleaned slides.
-The cells on the slides are deattached.

	· Use a healthy parasite culture by keeping the parasitemia under 10 % and changing the cell media every day.

· Dilute the parasite culture.

· Clean the slides with alcohol and wait at least 10 min for the slides to dry.

Use freshly prepared para-formaldehyde and/or increase the paraformaldehyde incubation length.

	High Background
	· Too high probe concentration.
· Insufficient washing of 
parasites.
· Bursting shizonts.

· Insufficient post hybridization washings.

· Blocking buffer is contaminated or inefficient.
	· Make a titration series of the probe concentration in FISH.

· Wash the parasites twice before preparing the thin films.

· Synchronize the culture more tightly. 

· Increase the number and/or length of washes.

· Prepare new blocking buffer. Try other blocking reagent, concentration or prolong the blocking period

	The RNase treated control  is positive
	· The Rnase solution is inactive.
· Too low RNase concentration.
The incubation was too short.
	· Prepare a new Rnase solution.

· Increase the concentration. Make a titration series.
· Prolong the RNAse treatment period.

	False positive detection of negative control parasites

	· The probe is not specific.
Parasites do not express the mRNA detected by the probe.
	· Check the specificity of the probes.

Check that the parasite line used is the right one and freshly selected. 


Acknowledgments:
The authors would like to thank Michael Alifrangis and Ulla Abildtrup for genotyping of parasites and Christina Holm for excellent technical assistance. This work was funded by Howard Hughes Medical Institute (grant 55005511), The Lundbeck Foundation (grant R9-A840) and by the Niels Bohr Foundation.
Disclosures:  We have nothing to disclose.
Table of specific reagents and equipment:

	Name of the reagent
	Company
	Catalogue number
	Comments 

	Acetic Acid 
	Sigma/Aldrich
	338826-100ml
	

	Albumax media:

RPMI 1640

Glutamine solution

Gentamycin sulphate

Albumax-solution
	Lonza

Lonza
	BE12-115F

BE02-012E
	500 ml RPMI 1640

5 ml glutamine solution

2.5 ml gentamycin sulphate

50 ml Albumax-solution

	Albumax-solution:

Hypoxanthine

AlbuMAX® II

RPMI 1640
	Sigma-Aldrich

Invitrogen

Lonza
	H9377

11021-037

BE12-115F
	0,8 g Hypoxanthine

200 g Albumax

4 liter RPMI 1640

Dissolve with magnet at max. 50 0C. Filter sterilize and store at -20 0C in aliquots.

	Amberlite
	Sigma
	A5710-110G
	Resin to deionize formamide.

	Anti-biotin goat pAb Peroxidase Conjugate
	Calbiochem®
	203206
	

	Anti-Dig antibody
	Novus biologicals
	NB100-41330
	

	Anti-fade reagent with DAPI


	Invitrogen
	P36931
	The mounting media has to cure for 24 h before sealing the slide completely.

	Biotin RNA Labeling Mix
	Roche
	11685597910
	

	Camera digital
	Nikon digital sight DC-F11
	
	

	Coverslips
	Menzel-glaser
	631-1570
	

	culture flask 25 cm 2NunclonTM  surface
	Nunc
	156340
	

	DEPC
	Fluka/Sigma


	32490-100ml
	1 ml DEPC in 1000 ml deinonized water. Add a stir bar and stir for 12 h. Autoclave for 30 min.

	Digital camera
	Nikon digital sight DC-F11
	
	

	Dynabeads® Protein A
	Invitrogen
	10002D
	

	DynaMaqTM-15 Magnet
	Invitrogen
	123-01D
	

	Formamide bioultra 
99 %
	Fluka/sigma
	47671-1l-F
	Deionized formamide: 5 g of ion exchange resin per 100 ml of formamide. Stir 30 min. Filter through Whatman paper.

	Gelatine 0.75% solution:

Gelatine

RPMI 1640
	Sigma-Aldrich

Lonza
	G2500

BE12-115F
	3.75 g gelatine in 500 ml RPMI 1640. Heat to 56 0C to dissolve. Filter sterilize when 56 0C. Store at -20 0C in aliquots.

	Glutamine solution:

L-glutamin


	Sigma-Aldrich

 
	G3126
	14.6 g L glutamine in 500 ml 0,9 % NaCl. 

Dissolve, filter sterilize and store at -20 0C in aliquots.

	HCl
	Sigma
	H1758
	

	Hybridization solution:

Formamide Bio ultra 99%

SSC 20x

Denhardt’s 50x concentrate

Yeast tRNA 

Roche blocking reagent

Salmon sperm DNA


	Fluka/Sigma

Sigma

Sigma

Fluka/Sigma
	47671-1l-F

D2532

R-6750

31149-106GF
	Total 20 ml, keep frozen at -20°C in aliquots
10 ml deionized formamide

5ml 20xSSC

2 ml 50x Denhardt’s

250 (l 20 mg per ml yeast tRNA 

0.4g Roche blocking reagent

1 ml of 10 mg per ml salmon sperm DNA (Critical: denature salmon spermDNA at 96 °C for 5 min before adding to the hybridization solution)

	Hybridizer ThermoStar 100 HC4
	Quantifoil Instruments GmbH
	1004-0011
	Can be replaced by hybridization oven and RNase free hybridization chambers padded with DEPC water.

	Immersion oil UV transparent fluorescence free
	Sigma
	10976-1EA
	

	Immunofluorescence or confocal microscope
	Nikon D-Eclipse TE2000C
	
	

	Nailpolish
	Available in any drugstore
	
	

	PBS 20x:NaCl

KCl

Na2HPO4 x 2H2O

KH2PO4

DEPC deionized H2O
	
	
	Ajust pH to 7.4

160 g
 4 g
23 g
4 g
1 l

	Paraformaldehyde 4 %
	Fluka/chemika
	76240
	4 g PFA in 80 ml PBS/DEPC. Heat to 65°C until the PFA dissolves. Add 20 ml PBS, allow the solution to cool. Adjust the pH to 7.4. Filter. Store in aliquots at -20°C.

	Paraformaldehyde 4 %/ Acid acetic 5 %
	
	
	950 (l paraformaldhyde + 
50 (l Acetic acid

	Pepsin
	Sigma/Aldrich
	P7000
	

	Peroxidase-conjugated anti-biotin
	Calbiochem
	203206
	

	RBC-wash media:

RPMI 1640

Glutamine solution

Gentamycin sulfate
	Lonza

Lonza
	BE12-115F

BE02-012E
	500 ml RPMI 1640

5 ml glutamine solution

2.5 ml gentamycin sulphate



	RNase
	Sigma/Aldrich
	
	Make a 10 mg/ml stock solution.

	RNase free 1.5 ml tube
	Ambion
	AM12450
	

	RNase Zap®
	Ambion
	AM9780 
	

	Slides 4 wells 11mm
	Thermo Scientific
	[image: image1.png]


MENZXER306W
	

	SSC 20x:

NaCl

Sodium citrate dehydrate


	Sigma/Aldrich

Sigma/aldrich
	S9625

W302600
	3 M NaCl (175 g/l)

0.3M Na3 citrate x H2O (88 g/l)

Adjust to pH 7.0 with 1M HCl

	SSPE 20x:

NaCl

NaH2PO4
EDTA powder


	Sigma/Aldrich

Sigma/Aldrich
	S9625

S0751
	175.3 g NaCl

27.6 g NaH2PO4
9.4 g EDTA powder

Add DEPC water, adjust pH 7.4.
Autoclave for 20 min.

	TNB buffer:

TNT buffer

Blocking reagent
	
	
	10 ml TNT buffer

0.05g Blocking reagent

To dissolve the blocking reagent, heat the solution to 60°C for one hour with stirring. Store at -20°C. (Derived from the Perkin Elmer TSA-protocol.)

	TNT buffer:

Tris/HCl

NaCl

Tween®20
	Sigma

Sigma Aldrich

Sigma
	T1503

S9625

93773
	1M Tris/HCl, pH 8.0 100 ml

5 M NaCl 30 ml

1 ml

DEPC dH2O 869 Ml

Adjust pH to 7.5 at room temperature. (Derived from the Perkin Elmer TSA-protocol.)

	TSA ™ plus Cyanine3/ Fluorescein system
	Perkin Elmer
	NEL753000IKT
	Read  the protocol from the TSA Plus Fluorescence Palette System carefully before starting the experiment.

	 Tubes 14 ml sterile 
	Almeco - CM LAB Aps
	91016
	


References

1.  Joergensen L, Bengtsson DC, Bengtsson A, Ronander E, Berger SS, Turner L, Dalgaard MB, Cham GK, Victor ME, Lavstsen T, Theander TG, Arnot DE, & Jensen AT. Surface co-expression of two different PfEMP1 antigens on single Plasmodium falciparum-infected erythrocytes facilitates binding to ICAM1 and PECAM1. PLoS Pathog.2, 1001083 (2010).
2. Pinaud R, Mello CV, Velho TA, Wynne RD, & Tremere LA. Detection of two mRNA species at single-cell resolution by double-fluorescence in situ hybridization. Nat Protoc. 3, 1370-1379 (2008).
3. Cheesborough, M,  (Cambridge University Press part2, 8.7 2006).
4.  Brolin KJ, Ribacke U, Nilsson S, Ankarklev J, Moll K, Wahlgren M, & Chen Q. Simultaneous transcription of duplicated var2csa gene copies in individual Plasmodium falciparum parasites. Genome Biol. 10, R 117 (2009).
5. Epp C, Li F, Howitt CA, Chookajorn T, & Deitsch KW.Chromatin associated sense and antisense noncoding RNAs are transcribed from the var gene family of virulence genes of the malaria parasite Plasmodium falciparum. RNA. 15, 116-127 (2009). 

6. Freitas-Junior LH, Hernandez-Rivas R, Ralph SA, Montiel-Condado D, Ruvalcaba-Salazar OK, Rojas-Meza AP, Mâncio-Silva L, Leal-Silvestre RJ, Gontijo AM, Shorte S, & Scherf A. Telomeric heterochromatin propagation and histone acetylation control mutually exclusive expression of antigenic variation genes in malaria parasites. Cell. 121, 25-36 (2005).
7. Obernosterer G, Martinez J, & Alenius M.Locked nucleic acid-based in situ detection of microRNAs in mouse tissue sections. Nature Protoc.  2, 1508-1514 (2007).

8. Li F, Sonbuchner L, Kyes SA, Epp C, & Deitsch KW. Nuclear non-coding RNA are transcribed from the centromeres of Plasmodium falciparum and are associated with centromeric chromatin. J Biol Chem. 283, 5692-5698 (2008).
9. Thompson J, & Sinden RE. In situ detection of Pbs21 mRNA during sexual development of Plasmodium berghei. Mol Biochem Parasitol. 68, 189-196 (1994).
10. Thompson, J. In situ detection of RNA in blood- and mosquito-stage malaria parasites. Methods Mole Med. 72, 225-235 (2002).
11. Arnot DE, Ronander E, & Bengtsson DC. The progression of the intra-erythrocytic cell cycle of Plasmodium falciparum and the role of the centriolar plaques in asynchronous mitotic division during schizogony. Int J Parasitol. 41, 71-80 (2011).

12. Osborne CS, Chakalova L, Brown KE, Carter D, Horton A, Debrand E, Goyenechea B, Mitchell JA, Lopes S, Reik W, & Fraser P. Active genes dynamically colocalize to shared sites of ongoing transcription. Nat Genet. 36, 1065-1071 (2004).
