High content screening in neurodegenerative diseases

Authors

Shushant Jain1, Ronald E. van Kesteren2 and Peter Heutink1

Authors: institution(s)/affiliations for each author:

1Section Medical Genomics, Department of Clinical Genetics, VU University Medical Center, Amsterdam, 1081BT, The Netherlands
2Center for Neurogenomics and Cognitive Research, Neuroscience Campus Amsterdam, VU University, Amsterdam, 1081HV, The Netherlands

Corresponding Author

Shushant Jain

Keywords:

High-throughput screening, high-content screening, neurodegeneration, automated cell culturing, Parkinson’s disease

Short abstract:

We describe a methodology combining automated cell culturing with high-content imaging to visualize and quantify multiple cellular processes and structures, in a high-throughput manner. Such methods can aid in the further functional annotation of genome as well as identify disease gene networks and potential drug targets.  

Long Abstract:

The functional annotation of genomes, construction of molecular networks and novel drug target identification, are important challenges that need to be addressed as a matter of great urgency 1-4. Multiple complementary ‘omics’ approaches have provided clues as to the genetic risk factors and pathogenic mechanisms underlying numerous neurodegenerative diseases, but most findings still require functional validation 5. For example, a recent genome wide association study for Parkinson’s Disease (PD), identified many new loci as risk factors for the disease but the underlying causative variant(s) or pathogenic mechanism is not known 6, 7. As each associated region can contain several genes, the functional evaluation of each of the genes on phenotypes associated with the disease, using traditional cell biology techniques would take far too long. Thus, high-throughput screening (HTS) are an ideal methodology to address these issues 8-11. 

Traditional HTS are one dimensional whole-well cell assays, in that they use simplistic readouts for complex biological processes. They are unable to simultaneously quantify the many phenotypes observed in neurodegenerative diseases such as axonal transport deficits or alterations in morphology properties 12, 13. They can also not be utilized to investigate the dynamic nature of cellular processes or pathogenic events that occur in a subset of cells. To quantify such features one has to move to multi-dimensional phenotypes termed high-content screening (HCS) 4, 14-16. HCS is the cell-based quantification of several processes simultaneously, which provides a more detailed representation of the cellular response to various perturbations compared to HTS.  

HCS has many advantages over HTS 17, 18 but conducting a high-throughput (HT)-high-content (HC) screen in neuronal models is problematic due to high cost, environmental variation and human error. In order to detect cellular responses on a ‘phenomics’ scale using HC imaging one has to reduce variation and error, while increasing sensitivity and reproducibility. 

Herein we describe a method to accurately and reliably conduct shRNA screens using automated cell culturing and HC imaging in neuronal cellular models. We describe how we have used this methodology to identify modulators for one particular protein, DJ1, which when mutated gives rise to an autosomal recessive PD 19. 

Combining the versatility of HC imaging with HT methods, it is possible to accurately quantify a plethora of phenotypes. This could subsequently be utilized to advance our understanding of the genome, the pathways involved in disease pathogenesis as well as identify potential therapeutic targets.

Protocol Text

Automated Adherent Cell culture process (Figure 1): 

1.1. Prepare the system for the input of cell culture plates. Load consumables (e.g. pipette tips, cell culture plates, assay plates) into the system using the graphical user interface (GUI). Ensure there is sufficient cell culture media, phosphate buffered saline (PBS) and trypsin.
1.2. Manually seed two omnitray plates with 2 x 106 cells per plate, of the SH-SY5Y neuroblastoma cell line. Maintain cells in Opti-MEM with 10% fetal bovine serum (FBS). Input the plates into the cell culture robot using the GUI. The cells will be incubated at 37oC and 5% CO2.
1.3. Choose which cell culture protocol needs to be initiated.  One can chose from an adherent cell culture process, culturing and expansion of embryonic stem (ES) cells on mouse feeder cells or culturing of suspension cells.
1.4. Select the adherent cell culture protocol and ensure adherent cell line specific parameter files are adjusted so that the confluence threshold (the area of the omnitray plate that contains cells) is set at 70%. Set total trypsinization time to two minutes. 
1.5. Instruct the robot to prepare new omnitray plates, with a seeding cell number of 2 x 106 cells per plate. 
1.6. Input omnitray plates into the system using the adherent cell culture protocol (Figure 1). The protocol involves the following steps: plates are incubated and imaged until they reach the pre-defined confluence threshold. If cells do not reach the confluence threshold within 5 readings, plates are removed from the system. Upon reaching the user defined confluence threshold, cells are washed, trypsinized and counted. A pre-defined number of cells are added to new omnitray plates and if there are sufficient numbers of cells, a specified number of assay plates are transported to the deck and a defined number of cells dispensed into each well. Assay plates can be directly imaged using the integrated microscope or output from the system for further processing.

1.7. Instruct the system to prepare 4 assay plates per omnitray plate, with a total of 5000 cells per well. 
2. shRNA virus production and plating into assay plates:

2.1. Grow bacterial glycerol stocks containing the shRNA vectors (Open Biosystems, TRC1) overnight in Luria-Bertani medium media containing 100 ug/ml of ampicilin (Sigma-Aldrich). 
2.2. Extract plasmids following the manufacturer’s protocol (Promega Wizard MagneSil Tfx). 
2.3. Produce virus using the RNAi Consortium High-Throughput Lentiviral Production (96 well plate) protocol 20. 
2.4. Calculate the multiplicity of infection (MOI) of the lentivirus by determining the percentage of GFP positive cells using the pLKO.1 GFP plasmid (Sigma-Aldrich).
2.5. Plate lentivirus into assay plates, with an MOI of 3. 
3. Lentiviral transduction and neuronal differentiation of SH-SY5Y cells:
3.1. Load assay plates containing shRNA lentivirus into the system. 
3.2. After 24 hours, the media on the assay plates will be changed to Opti-MEM containing 0.5% FBS and 0.1 (M retinoic acid to begin the differentiation process. Differentiation of SH-SY5Y cells allows visualization of neuritic structures and synchronizes cell division.  
3.3. Continue incubation of the assay plates in the differentiation media for 5 days. This ensures maximal knockdown of target gene expression. 
3.4. On day 5, 50 (M H2O2 was added to half of the assay plates for 24 hours to stimulate translocation of DJ1 to the mitochondria.
3.5. On day 6, add Mitotracker CmxROS (Invitrogen) to the cells, at a final concentration of 200 nM per well and incubate at 37oC for 30 minutes.

3.6. One can instruct the system to image plates directly using the HC imager or plates can be exported from the system for further processing.

4. Automated Immunostaining of assay plates: Image quality is paramount for conducting a sensitive and reliable HCS. Damage to the cellular monolayer due to inaccurate pipetting, can lead to poor image quality and irreproducible results. In order to minimize cell layer damage, the immunostaining was conducted using a robotic station with a custom-made immunostaining protocol. 

4.1. Fixate cells with 4% paraformaldehyde pre-warmed to 37oC. Incubate for 20 minutes at room temperature,

4.2. Wash cells with PBS, 3 times,
4.3. Incubate assay plates with PBS containing 0.1% Triton (PBST) for 10 minutes,
4.4. Wash cells with PBS, 3 times,
4.5. Incubate assay plates with block buffer (PBST with 5% FBS) for 1 hour at room temperature,
4.6. Wash cells with PBS, 3 times,
4.7. Incubate with the following primary antibodies overnight at 4oC:
4.7.1. Goat DJ1 N20 (Santa Cruz, 5 μg/ml), 
4.7.2. Rabbit (-III tubulin (Sigma-Aldrich, 1 μg/ml), 
4.8. Following day, wash cells with PBS, 3 times,
4.9. Incubate assay plates with the following secondary antibodies 1 hour at room temperature: 
4.9.1. AlexaFluor donkey anti-goat 488 (Invitrogen, 2 ug/ml),
4.9.2. AlexaFluor 647 goat anti-rabbit (Invitrogen, 2 ug/ml),  
4.10. Wash cells with PBS, 3 times,
4.11. Incubated cells with Hoechst (Invitrogen; 1 μg/ml) for 10 minutes,
4.12. Wash cells with PBS, 3 times,
4.13. Store plates at 4oC until they can be imaged.
5. High content Image acquisition and image analysis: 
5.1. Image a total of 30 fields per well using the 20x objective lens. Visualize DJ1 with the FITC filter set, the mitochondria with the TRITC filter set, (-III tubulin with the Cy5 filter set and the nuclei using the UV filter set (Figure 3).
5.2. Analyze the images using the Compartmental Analysis Bioapplication to determine the average intensity of the Mitotracker signal within the mitochondria. (Figure 4B, F).
5.3. To determine the average overlap co-efficient between DJ1 and the mitochondria, analyze the images using the Cellomics Colocalisation bioapplication (Cellomics, ThermoFisher). Define regions of interest (ROI) as follows: ROI A – nucleus (Figure 4A, E), ROI B – mitochondria (Figure 4 B, F). Exclude ROI A from ROI B to ensure analysis of only the cytoplasm. Define the mitochondria as target region I and DJ1 as target region II (Figure 4C, G).
5.4. Analyze the images using the Neuronal Profiling bioapplication (Cellomics, Thermofisher) to trace the average lengths of the neurites from the (-III tubulin staining. (Figure 4D, H).
5.5. Image plates using the Opera LX automated confocal reader (Perkin-Elmer). Image a total of 30 fields per well using the 60 x objective lens with water immersion. Visualize mitochondria with the 561 nM laser and nuclei with UV excitation. 
5.6. Analyze the images using the Spot-Edge-Ridge (SER) texture features algorithm. The SER-Ridge filter transmits intensity in pixels forming ridge-like patterns. The more fragmented the mitochondria, the higher the SER-Ridge score (Figure 8).
6. Data normalization and analysis:

6.1. Import the data from the image analysis software into the BioConductor CellHTS2 package for the R software environment (R version 2.11.1, BioConductor version 2.6).
6.2. Logarithm base (2) transform the data prior to per plate median based normalization 21, 22.  Do not apply the variance adjustment per plate.
6.3. To identify modifiers of a phenotype, use a two way ANOVA between the different treatment groups. i.e. Scrambled infected untreated cells vs. scrambled toxin treated cells vs. target gene untreated cells vs. target gene treated cells. (Figure 5-7). 
Representative results:
Mutations within DJ1 give rise to early onset- recessive PD but it is unclear how loss of DJ1 gives rise to the disease phenotype. However it is known that cells deficient of DJ1, are more susceptible to oxidative stress induced cell death and in response to oxidative stress, DJ1 translocates from the cytoplasm to the mitochondria. By constructing assays to monitor these phenotypes in combination with HCS, we can identify genes that regulate or affect phenotypes associated with DJ1. This approach can help decipher the pathways within which DJ1 function and the pathways that could be involved in disease pathogenesis. 

Example of an epistatic interaction with DJ1 (Figure 5):

Knockdown of DJ1 in cells exposed to toxin results in a greater loss of cell viability (BAR-B: image-B) compared to cells infected with scrambled lentivirus (BAR-A: image-A). Knockdown of target gene A has a similar effect to that observed in cells with a DJ1 knockdown (BAR-C: image-C). Knockdown of both DJ1 and target gene A results in a significantly greater loss of cell viability than loss of either gene alone (BAR-D: image-D). This suggests an epistatic interaction between DJ1 and target gene A.
Example of a gene regulating DJ1 translocation (Figure 6): 
When cells are exposed to a toxin, DJ1 translocates from the cytoplasm to the mitochondria, which is quantified by a higher overlap co-efficient between DJ1 and the mitochondria (BAR-A: image A versus BAR-C: image C). In cells where target gene B has been silenced, less DJ1 translocates to the mitochondria when cells are exposed to the toxin. This suggests that target gene B is involved in the transport of DJ1 to the mitochondria. (BAR-B: image B and BAR-D: image D)

Example of a gene involved in neuronal outgrowth (Figure 7)
Knockdown of target gene C in wild type SH-SY5Y cells results in a significant increase in neurite length (Bar-B: image-B) compared to cells infected with lentivirus expressing scrambled shRNA (Bar-A: image A). This effect is lost in cells incubated with toxin (Bar-C and D).  

Example of a gene involved in mitochondrial morphology: (Figure 8)
Infection of wild type SH-SY5Y cells with shRNA targeting gene D results in a decrease in the mitochondrial SER-Ridge segmentation value (Figure 8, Image A and B) when compared to cells infected with scrambled lentivirus (Figure 8, Image C and D).

Conclusion:

It is essential to develop HT/HC cellular screening systems to study gene networks and identify genes involved in pathogenic molecular pathways. To conduct a HT/HC screen and ensure that reliable data is collected, several aspects have to be optimized. First, reliability of the measurement is paramount and is dependent upon the robustness and sensitivity of the assay. For example, the assays described above are suitable for smaller screens but are difficult to implement on a genome wide scale, due to the number processing steps required before image acquisition. Thus one would have to construct stable cell lines expressing the reporter gene, which would allow for direct imaging and lead to decreased variation due to the reduced number of processing steps. At present designing an assay that accurately depicts and reliably quantifies a phenotype of interest, is the most difficult and time consuming part of a HCS. 
Secondly, modeling normal neuronal function and neurodegenerative diseases is a major challenge in medical biology. The brain consists of highly specialized cell types that form a dense and complicated network of synaptic connections to function as a highly integrated unit. At present most large scale screens are conducted in neuroblastoma cells because they can be genetically manipulated and cultured to large numbers with relative ease. However, the relevance of ‘hits’ identified in ex vivo cell culture models to in vivo function is questionable. Thus more representative and sophisticated models, such as primary cells and differentiated stem cells or co-cultures systems need to be developed and adapted for HT/HC approaches.

With a combination of automated cell culturing and HC imaging one can rapidly gain new insights into how neurons function and determine which pathways are important to disease development. Combining HCS/HTS data with information generated from other ‘omics’ approaches, it will then be possible to construct a systems biology overview of brain diseases, thus facilitating therapeutic development.
Acknowledgements:

We thank the Hamilton programmers and specialists for continuing support and Eva Blaas for technical assistance. This work was supported by two NWO Investment grants (911-07-031 and 40-00506-98-10011), The Prinses Beatrix Fonds Wetenschapsprijs 2009 and the Neuroscience Campus Amsterdam; S.J. is supported by Ti-Pharma: T5-207.

Disclosures:

We have nothing to disclose

Table of specific reagents and equipment:
	Name of reagent
	Company
	Catalogue Number

	AI.CELLHOST
	HAMILTON
	http://www.hamiltonrobotics.com/en-uk/applications/cellomics/

	OPTI-MEM
	INVITROGEN
	31985-054

	RETINOIC ACID
	SIGMA-ALDRICH
	R2625

	OMNITRAY PLATES
	NUNC
	465219

	96 WELL CULTURE PLATES
	GRENIER
	655086

	DJ1 N20 ANTIBODY
	SANTA CRUZ
	SC27004

	BETA-III TUBULIN ANTIBODY
	SIGMA-ALDRICH
	T3952

	MITOTRACKER CMXROS
	INVITROGEN
	M-7512

	HOECHST-33342
	INVITROGEN
	H1399

	HYDROGEN PEROXIDE
	SIGMA-ALDRICH
	216763-100ML

	TRYPSIN
	INVITROGEN
	25050014

	DULBECCO'S PHOSPHATE BUFFERED SALINE
	INVITROGEN
	14190086

	PROMEGA WIZARD MAGNESIL TFX 
	PROMEGA
	A2380

	SHRNA CLONES
	OPEN BIOSYSTEMS
	http://www.openbiosystems.com/RNAi/shRNALibraries/ TRCLibraryDetails/

	CELLOMICS BIOAPPLICATIONS
	THERMO-FISHER
	http://www.thermo.com/hcs


References:
1.
Geschwind, D.H. & Konopka, G. Neuroscience in the era of functional genomics and systems biology. Nature 461, 908-15 (2009).

2.
Ge, H., Walhout, A.J. & Vidal, M. Integrating 'omic' information: a bridge between genomics and systems biology. Trends Genet 19, 551-60 (2003).

3.
Zhu, H. & Snyder, M. "Omic" approaches for unraveling signaling networks. Curr Opin Cell Biol 14, 173-9 (2002).

4.
Jain, S. & Heutink, P. From single genes to gene networks: high-throughput-high-content screening for neurological disease. Neuron 68, 207-17.

5.
Manolio, T.A. et al. Finding the missing heritability of complex diseases. Nature 461, 747-53 (2009).

6.
Nalls, M.A. et al. Imputation of sequence variants for identification of genetic risks for Parkinson's disease: a meta-analysis of genome-wide association studies. Lancet 377, 641-9.

7.
Simon-Sanchez, J. et al. Genome-wide association study confirms extant PD risk loci among the Dutch. Eur J Hum Genet.

8.
Aherne, G.W., McDonald, E. & Workman, P. Finding the needle in the haystack: why high-throughput screening is good for your health. Breast Cancer Res 4, 148-54 (2002).

9.
An, W.F. & Tolliday, N.J. Introduction: cell-based assays for high-throughput screening. Methods Mol Biol 486, 1-12 (2009).

10.
Mayr, L.M. & Bojanic, D. Novel trends in high-throughput screening. Curr Opin Pharmacol 9, 580-8 (2009).

11.
Hertzberg, R.P. & Pope, A.J. High-throughput screening: new technology for the 21st century. Curr Opin Chem Biol 4, 445-51 (2000).

12.
Conrad, C. & Gerlich, D.W. Automated microscopy for high-content RNAi screening. J Cell Biol 188, 453-61 (2010).

13.
Thomas, N. High-content screening: a decade of evolution. J Biomol Screen 15, 1-9 (2010).

14.
Arrasate, M. & Finkbeiner, S. Automated microscope system for determining factors that predict neuronal fate. Proc Natl Acad Sci U S A 102, 3840-5 (2005).

15.
Dragunow, M. High-content analysis in neuroscience. Nat Rev Neurosci 9, 779-88 (2008).

16.
Varma, H., Lo, D.C. & Stockwell, B.R. High throughput screening for neurodegeneration and complex disease phenotypes. Comb Chem High Throughput Screen 11, 238-48 (2008).

17.
Durr, O. et al. Robust hit identification by quality assurance and multivariate data analysis of a high-content, cell-based assay. J Biomol Screen 12, 1042-9 (2007).

18.
Miller, J. et al. Quantitative relationships between huntingtin levels, polyglutamine length, inclusion body formation, and neuronal death provide novel insight into huntington's disease molecular pathogenesis. J Neurosci 30, 10541-50 (2010).

19.
Bonifati, V. et al. Mutations in the DJ-1 gene associated with autosomal recessive early-onset parkinsonism. Science 299, 256-9 (2003).

20.
Moffat, J. et al. A lentiviral RNAi library for human and mouse genes applied to an arrayed viral high-content screen. Cell 124, 1283-98 (2006).

21.
Wiles, A.M., Ravi, D., Bhavani, S. & Bishop, A.J. An analysis of normalization methods for Drosophila RNAi genomic screens and development of a robust validation scheme. J Biomol Screen 13, 777-84 (2008).

22.
Birmingham, A. et al. Statistical methods for analysis of high-throughput RNA interference screens. Nat Methods 6, 569-75 (2009).


Figure Legends:

Figure 1 Outline of automated cell culture protocol: 

Figure 2: Schematic overview of the screening process and image analysis, and statistical methods: 

The cells are cultured until they are confluent and subsequently plated into the assay plates containing the shRNA lentivirus. Cells are differentiated for 5 days and toxin is then added to half of the plates for 24 hours. Assay plates are output from the system and immunostained. Data is acquired using a high content imager (cell viability, protein translocation and neuronal outgrowth) and a automated confocal imager (mitochondrial morphology). Data is exported to CellHTS2 package within R, base (2) log transformed and normalized. Two-way ANOVA is used to identify significant interactions between the different variables.
Figure 3: Composite images of cells acquired by HC imaging. A) Untreated cells, B) Cells treated with H2O2. DJ1 is labeled in green, the mitochondria in red and the nuclei in blue. Neurite staining is not highlighted.
Figure 4: Quantification of several cellular features obtained from a HCS. A-D) Untreated SH-SY5Y cells. E-H) H2O2 treated SH-SY5Y cells. A, E) Nuclei segmentation and ROI A definition; B, F) Identification and quantification of mitochondria, ROI B; C, G) Identification of DJ1 area, Target channel II; D, G) Identification and calculation of average neurite length. Cells are excluded from the analysis if they close to the edge of the image. Inset images are images prior to analysis.    
Figure 5
Identification of a gene in epistasis with DJ1 (letters on the bars correspond to the lettering on the images). Images A through D are SH-SY5Y cells labeled with Mitotracker CMXRos (red) that was used for quantification of cell health. 
Figure 6
Identification of a gene regulating DJ1 translocation (letters on the bars correspond to the lettering on the images). Images A through D are SH-SY5Y cells labeled for DJ1 (green), mitochondria (red) and nuclei (blue) that were used for quantification of DJ1 translocation to the mitochondria. 
Figure 7
Identification of a gene involved in neuronal outgrowth (letters on the bars correspond to the lettering on the images). Images A through D are SH-SY5Y cells labeled for β-III tubulin (green) and nuclei (blue) which were used for quantification of neurite length. 
Figure 8 
Identification of a gene involved in regulating mitochondrial morphology. Image A and C are composite images of SH-SY5Y cells infected with scrambled shRNA or an shRNA targeting gene D respectively. Mitochondria are colored in red while nuclei are colored in blue. Image B and D are visualizations of the SER-Ridge quantification. 
