Title: Live imaging by confocal microscopy of recombination foci in budding yeast after exposure to chemical agents

Authors:

Gary Schools, Ph.D.

Cancer Center

Ordway Research Institute

gschools@ordwayresearch.org

Michael Fasullo, Ph.D.

Cancer Center Ordway

Research Institute

mfasullo@ordwayresearch.org

And

Department of Biomedical Sciences

State University of New York at Albany

Albany, New York

Corresponding Author: Michael Fasullo

Keywords: Rad51 foci, confocal microscopy, DNA damage, nucleus, budding yeast

Short Abstract:  Visualization of recombination foci in yeast is a powerful tool for studying the cellular response to DNA damage. By confocal microscopy, we imaged DNA damage-associated Rad51 foci in the nucleus. Rad51 foci were visualized using yellow fluorescent protein (YFP) tagged-Rad51, and the nucleus was visualized using the stain DRAQ5.

Long Abstract:

Visualization of recombination foci in yeast has been used to study the DNA damage response after exposure to DNA damaging agents, including ionizing radiation 1.,2., camptothecin3., and UV4.. The advantage of using budding yeast is that foci can be visualized in real time by fluorescent microscopy. These studies indicate that recombination foci appear in G2 cells after log phase cells have been irradiated and suggest that there is one repair center or focus for repairing multiple double-strand breaks in the cell5.. Thus, the visualization of recombination foci in real-time is informative for understanding both the timing and the location of DNA repair centers.

Although Rad52 and Rad54 foci can be identified in cells after radiation exposure1.,2., Rad51 foci can be difficult to visualize in the fluorescent microscope. Genes encoding Rad51 tagged with fluorescent proteins fail to complement the X-ray sensitivity of a rad51 mutants4.. An alternative approach is to use the rad51-I345T allele, which when tagged with yellow fluorescent protein, is still capable of conferring radiation resistance in the rad51 null mutant.4.

Exposure to many DNA damaging agents induce Rad51 transcription, including  potent carcinogens6.7. . We previously used strains containing yellow fluorescent protein (YFP)-tagged rad51-1345T to observe Rad51 foci after exposure to P450-activated aflatoxin B18.. These studies demonstrated that Rad51 foci appear in S phase cells, after G1-synchronized cells were exposed to aflatoxin B1 and re-entered the cell cycle.  However, the cellular localization of the Rad51 foci was unknown.

A problem in determining the cell location of recombination foci in the confocal microscope is that, unlike fluorescent microscopes, many confocal microscopes do not have a UV laser, and thus DAPI cannot be used for nuclear staining.  We used the nuclear stain, 1,5-bis{[2-(di-methylamino) ethyl]amino}-4, 8-dihydroxyanthracene-9,10-dione (DRAQ5), whose fluorescence excitation and absorption spectra do not over-lap with those for YFP. We have used this stain to distinguish distinct foci within the yeast nucleus, after cells have been exposed to DNA damaging agents. Thus both the recombination foci and yeast nuclei can be imaged in the confocal microscope.

Protocol Text:

1). Preparation of yeast cells

1.1). Inoculate 2-5 independent 2ml cultures of either of SC-TRP  (synthetic complete lacking tryptophan)9., or YPD (yeast extract, peptone, dextrose) 9., with single colonies of the desired strain containing YFP-Rad51. If a strain is used expressing CYP1A2 on pRS424 (TRP) 8., use SC –TRP to select for maintenance of the plasmid. Incubate the strains at 30oC in a shaking incubator until a density to late log phase, usually around 1 x 108 cells/ml.

1.2). Make 10 ml fresh over-night cultures and incubate in the same media in a shaking incubator at 30oC until cells have reached mid-log phase, A600 = 0.5-1.

1.3). For irradiation experiments, centrifuge log phase yeast cells (A600 = 0.5-1) and resuspend in 10 ml of H2O and place in the 81 mm diameter Petri dish.  Expose cells to 4 krad using a Nordion 1.8kCi 137Cs irradiator (6 krad/hr). After irradiation, concentrate cells five-fold in YPD.

1.4). To expose cells with chemical agents, transfer 1-2 ml log phase yeast cells (A600 = 0.5-1) to 15 ml screw cap polypropylene tubes. Add the desired chemical agent in a fume hood and wrap the screw cap with parafilm to avoid possible spillage. Incubate in a shaking incubator for the desired period of time.  After exposure to the chemical, wash twice in 10 ml of H2O.  Discard all supernatants in 3% sodium hypochlorite (bleach). After washing, concentrate cells five-fold in YPD, and incubate for desired time.

Note: Chemical agents, such as cisplatin, are dissolved in DMSO that can permeate nitrile gloves. Aflatoxin B1 is a potent liver carcinogen and must be carefully handled, but can be  easily inactivated with bleach. Appropriate personal protective equipment must be worn when handling potent carcinogens. It is highly recommended to designate one confined area of the laboratory for storage and work with such compounds.

1.5). For DRAQ5 staining, wash cells twice in phosphate buffered saline (PBS), and resuspend in a 1:5000 dilution of DRAQ5. Incubate for 5 minutes at room temperature in the dark. Rinse samples once in PBS, and resuspend in YPD medium.

1.6). For live cell epifluorecence and microscopy analysis, immobilize cells on slides by mixing equal volumes of cell suspension and 1.4% low melt agarose plus growth medium solution. Cover slips were sealed with a wax mixture as described by Lisby2..

2. Confocal protocols:

2.1). Visualize  slides using a Carl Zeiss LSM 510 META confocal microscope with an Axiovert 200M inverted stand.  Turn the remote switch on, and then start the computer and initiate the LSM program by clicking on the LSM 510 icon.  Initiate the following procedures: scan new images/start expert mode.

2.2). Before imaging, initiate a warm-up cycle for the lasers. Use the 514 nM argon laser line at 50% capacity to image YFP.  Use the HeNe2 laser (633 nM) at 40% capacity to excite DRAQ5.  The argon laser takes approximately 3-5 minutes to warm up.  Set the initial detector gain for YFP at 766, with a pinhole size of 352 (~3.26 airy units).  Set the detector gain for DRAQ5 at 780 with a pinhole size of 368 (~ 3.00 airy units).  For each channel the amplifier gain was 1.

Note: If the warm-up cycle is not completed, the image may contain streaks or lines.

2.3). Use Differential Interference Contrast (DIC) imaging, with a 63x/1.4n.a. oil immersion objective in “VIS” mode, to find the plane of cells in the sealed slide we.  After a field of cells of appropriate density is found, switch to LSM mode, adjusting the detector gain and amplifier offset for the transmitted light DIC image so that there is a medium grey background and moderate contrast for the cells.

2.4). Use the configuration window to setup “Multitrack” imaging for the 2 fluorescent channels, meaning for each frame acquired the channels are scanned in sequence rather than simultaneously to avoid fluorescence bleed through from one channel to the other.  Use the emission filters, BP560-615 and LP650, for YFP and DRAQ5, respectively.  Add the transmitted light DIC image to the YFP channel.  Prepare individually labeled samples to test if the YFP can be detected in the DRAQ5 channel or if DRAQ5 could be detected in the YFP channel.

2.5). To acquire images, open the “Scan” window. Focus and position the field using the “fast scan” mode to minimize photo bleaching the YFP and DRAQ5.  On continuous fast scanning, adjust the parameters (detector gain, amplifier offset) so that the fluorescence was bright yet with minimal saturation.  After the image is satisfactory, do the final scan at 512 x 512 pixel resolution. To decrease background noise, use line averaging of 2.

2.6). To acquire a field of just a few cells at higher magnification, use the “scan zoom” in the scan menu or the “Crop” button in the image window to select the region of interest to be scanned.  Save the images and their associated acquisition parameters and scale as .lsm files in a specific Carl Zeiss image database.  This enables easy reviewing of images, their individual channels and re-use of the settings for subsequent samples, even at later dates.  From this database images, export images in formats (tif, bmp or jpg) commonly used for report preparation.

Representative Results :

Representations of co-localization of the YFP-Rad51 foci and DRAQ5 staining after yeast cells were exposed to ionizing radiation, aflatoxin B1, or cisplatin is shown in figures 1, 2, and 3.  Each of these figures represents different patterns observed for Rad51 foci. In figure 1, the Rad51 focus is shown for a typical irradiated cell, in which the undivided nucleus is present at the neck of the bud, and the YFP fluorescence localizes within the DRAQ5 staining. In figure 2, Rad51 focus is present in a cell after exposure to aflatoxin B1, in which nuclear division has already occurred. In figure 3, two Rad51 foci are present in a nucleus after exposure to cisplatin.  All these images were acquired by scanning a cropped image in the microscope. It is important to note that after cropping an image, the laser typically bleaches the fluorescence, and usually only one cropped an image can be acquired. However, what may appear as faint Rad51 foci in the wide image screen, may actually be diffused fluorescence after the image is cropped.

Rad51 foci may persist for varying times after exposure to these DNA damaging agents. For example, Rad51 foci may persist for hours after exposure to ionizing radiation, consistent with observations by Lisby 2.. On the other hand, Rad51 foci typically fade after three hours after cells have been washed of aflatoxin B1.

Figure Legends:

Figure 1.  Cells containing YFP-Rad51 were exposed to 4 krads  rays and then imaged by live cell epifluorescence in the confocal microscope. Cells were incubated and then immobilized on microscope slides. Top left is the YFP-Rad51 imaging. Top right is DIC image. Bottom left is DRAQ5 staining. Bottom right is merged image. The Rad51 focus appears as a yellow dot in nucleus.

Figure 2.  Cells containing YFP-Rad51 were exposed to 50 M aflatoxin B1 and then imaged by live cell epifluorescence in the confocal microscope. Cells were exposed to the aflatoxin B1 for three hours, washed twice, returned to growth medium for 1.5 hrs, and then immobilized on microscope slides. Top left is the YFP-Rad51 imaging. Top right is DIC image. Bottom left is DRAQ5 staining. Bottom right is merged image. The Rad51 focus appears as a yellow dot in nucleus.

Figure 3.  Cells containing YFP-Rad51 were exposed to 1.3 mM cisplatin and then imaged by live cell epifluorescence in the confocal microscope. Log phase cells were exposed to cisplatin for 30 min, washed, and then returned to growth medium for 1.5 h. Top left is the YFP-Rad51 imaging. Top right is DIC image. Bottom left is DRAQ5 staining. Bottom right is merged image.

Discussion:

In this manuscript, we described a technique using the confocal microscope to visualize and localize Rad51 foci in cells previously exposed to DNA damaging agents. One advantaged of using the confocal is that advanced manipulations can be performed to assess the three dimensional shape of the focus and whether one nucleus contains one or more foci. We observed that different patterns of Rad51 foci formation occur after cells are exposed to chemical damaging agents, which contrast with those observed after cells are exposed to ionizing radiation. These different patterns include timing in the cell cycle and the number of foci in the nucleus. Multiple Rad51 foci have been observed in mammalian cells after exposure with either ionizing radiation or cisplatin 10.. Further studies will be necessary to determine whether specific Rad51 foci patterns correlate with specific DNA damaging agents.

The technique differs from others to visualize Rad51 foci in yeast, since after exposure DNA damage, cells are not immediately immobilized on slides. However, we have not observed a difference in the density Rad51 foci between irradiated cells that were first immobilized on slides and then incubated and irradiated cells that were first incubated in the shaker and then immobilized on the microscope slide.

Several potential problems that we are addressing concerns the specificity of the DRAQ5 staining and whether long term exposure DRAQ5 could induce Rad51 foci.  When YFP expressing cells are not stained with DRAQ5 and imaged with the DRAQ5 settings there is no signal so the any non-specific labeling seen in this channel is not due to the YFP.  However, the detector gain and amplifier offset can be adjusted to capture only the most intense staining, presumably representing genomic DNA. Additional experiments are being performed to determine whether Rad51 foci will appear in immobilized cells in the continual presence of DRAQ5.

The technique can be used to visualize recombination foci containing DNA repair proteins that are fused to fluorescent tags, and current studies are addressing the presence of Rad54 and Rad52 foci.

Acknowledgements: This work was supported by a grant from the National Institutes of Environmental Health. We wish to thank Martin Cole for his effort in acquiring these images on the confocal during a summer internship.

Disclosures: I have nothing to disclose

Table of specific reagents and equipment:

| Name of reagent | Company | Catalog Number | Comments |
| --- | --- | --- | --- |
| DRAQ5 | Cell Signaling | 4084 | Must be stored at 4oC, and protect from light. |
| Aflatoxin B1 | Sigma-Aldrich | A6636 | Class I carcinogen, biohazard |
| Cisplatin | Sigma-Aldrich | P4394 |  |

References

[1] Moore D.M., Karlin J., González-Barrera S., Mardiros A., Lisby M., Doughty A., Gilley J., Rothstein R., Friedberg E.C.,  & Fischhaber P.L. Rad10 exhibits lesion-dependent genetic requirements for recruitment to DNA double-strand breaks in Saccharomyces cerevisiae. Nucl. Acids Res. 37, 6429-6438. 2009

[2] Lisby M., Barlow J.H., Burgess R.C., & Rothstein R., Choreography of the DNA damage response: spatiotemporal relationships among checkpoint and repair proteins, Cell, 118, 699-713, 2004

[3] O'Donnell L., Panier S., Wildenhain J., Tkach J.M., Al-Hakim A., Landry M.C., Escribano-Diaz C., Szilard R.K., Young J.T., Munro M., Canny M.D., Kolas N.K., Zhang W., Harding S.M., Ylanko J., Mendez M., Mullin M., Sun T., Habermann B., Datti A., Bristow R.G., Gingras A.C., Tyers M.D., Brown G.W., & Durocher D. The MMS22L-TONSL complex mediates recovery from replication stress and homologous recombination. Mol Cell. 40, 619-631, 2010

[4] Fung C.W., Mozlin A.M., & Symington L.S., Suppression of the double-strand-break-repair defect of the Saccharomyces cerevisiae rad57 mutant, Genetics 181, 1195-1206, 2009.

[5] Lisby M., Mortensen U. H., & Rothstein R., “Colocalization of multiple DNA double-strand breaks at a single Rad52 repair centre,” Nature Cell Biol., vol. 5, no. 6, pp. 572-577, 2003

[6] Keller-Seitz M.U., Certa U., Sengstag C., Würgler F.E., Sun M., & Fasullo M., Transcriptional response of yeast to aflatoxin B1: recombinational repair involving RAD51 and RAD1,  Mol. Biol. Cell, vol. 15, no. 9, pp. 4321-4336, 2004.

[7] Y. Guo, L. L.  Breeden, W. Fan, L. P. Zhao, D. L. Eaton, and H. Zarbl, Analysis of cellular responses to aflatoxin B(1) in yeast expressing human cytochrome P450 1A2 using cDNA microarrays, Mutat. Res.,  593, 121-142, 2006.

[8] Fasullo M, Chen Y, Bortcosh W, Sun M, Egner PA. Aflatoxin B(1)-Associated DNA Adducts Stall S Phase and Stimulate Rad51 foci in Saccharomyces cerevisiae. J Nucleic Acids. 2010 Dec 2;2010:456487, 2010

[9] Burke D., Dawson D., Stearns T. A Cold Spring Harbor Laboratory Course Manual. Cold Spring Harbor Press; New York: Methods in yeast genetics. 2000

[10] Bhattacharyya A., Ear U.S., Koller B.H., Weichselbaum R.R., Bishop D.K. The breast cancer susceptibility gene BRCA1 is required for subnuclear assembly of Rad51 and survival following treatment with the DNA cross-linking agent cisplatin. J. Biol.Chem. 275, 23899-23903, 2000

# .