JoVE Article Template
TITLE:  Direct miRNA Target Quantification from Blood Lysates and Tissue Homongenates using the QuantiGene® 2.0 miRNA Assay
Authors: First name, middle initial, last name
For example: Isaac S. Newton

Authors: institution(s)/affiliation(s) for each author:
· department

· institution

· e-mail

For example: 

Isaac S. Newton

Department of Mathematics

University of Cambridge

iLoveApples@gmail.com

Corresponding author: name
Keywords: (minimum 4, maximum 10)   Authors, please add/delete keywords as you see fit
microRNA, small non-coding RNAs, target RNA detection, quantitation, gene regulation 

Short Abstract: should include a general description of the article (10 words minimum, 50 words maximum)
This protocol describes the direct quantification of microRNA (miRNA) targets from blood lysates and tissue homongenates.  The hybridization-based assay employs novel oligonucleotide chemistry and probe design for specific and efficient capturing of miRNA followed by branched DNA (bDNA) signal amplification.
Long Abstract (150 words minimum, 400 words maximum)
Since the discovery of miRNAs in the early nineties1, studies have revealed that they serve a major role in regulating the development and physiology of complex organisms4-11.  It is estimated that these small non-coding RNA molecules regulate approximately 30 percent of all protein-coding genes2,3, covering an extensive range of developmental and physiological mechanisms in the cell.  Such mechanisms include protein translation inhibition, ribosomal RNA processing, alternative splicing, and mRNA degradation4-11.  Uncovering of the pivotal role of miRNA in regulation has necessitated the development of an assay to supplement messenger RNA (mRNA) gene expression studies with miRNA analysis to obtain a more comprehensive understanding of differentially expressed genes in a biological context.  

The QuantiGene 2.0 miRNA Assay allows direct detection and quantification of miRNAs at single-base resolution.  The assay technology avoids biases associated with miRNA or total RNA isolation, cDNA synthesis and PCR amplification through the use of validated probe sets that are highly specific for the mature miRNA and preclude the detection of precursor miRNA.  Following the targeting of specific miRNA in 96-well plates, quantification is achieved through branched DNA (bDNA) signal amplification and attachment of a label probe.  Quantification of specific miRNA molecules can be performed directly in a large array of samples, including cultured cell lysates; whole blood or PAXgene blood lysates; fresh, frozen, or Formalin-Fixed, Paraffin-Embedded (FFPE) tissue homogenates; and purified miRNA or total RNA.  Furthermore, the 96-well format allows the same sample to be screened for many different miRNAs simultaneously.  

Described here is the direct quantification of miRNA targets from blood lysates and tissue homongenates.  The sample is simply lysed to release the miRNAs and then incubated overnight in 96-well plates supplied with the target specific probe sets.  The following day, the signal amplification tree is built via sequential hybridization of the PreAmplifier, Amplifier and Alkaline phosphatase label probe.  The signal is then detected in the presence of a chemiluminescent substrate on a microplate luminometer.  The power of the QuantiGene 2.0 miRNA Assay is demonstrated in that it uses bDNA technology to quantify miRNA directly from the sample without miRNA purification, cDNA synthesis, or PCR amplification. 
Protocol Text: 

1. Assay design & preparation
1.1) The QuantiGene 2.0 miRNA assay is performed in 96-well format.  When designing the experiment, keep in mind that all assay samples should be run in duplicate at a minimum and ideally in triplicate.  Technical replicates are used to calculate assay precision or %CV.
1.2) Furthermore, each plate should include an Assay Background Control, which is a sample well that contains all assay components except for the target miRNA.  This control is used to determine the limit of detection (LOD).  Data below the LOD should not be used for quantification.
1.3) Each plate should also include miRNA assay positive controls which are provided by Affymetrix.  This control is used to determine the absolute number of miRNA copies/sample/well, a control which improves data accuracy and precision for inter-day and inter-site experiments. 
1.4) As a final assay control, a normalization gene should be included to determine the relative fold changes or to normalize gene expression data across samples or experiments.  The selected gene should be stably expressed under all experimental conditions evaluated and have a relative luminescent signal that is similar to test samples so that no dilution factor is required. 
1.5) Prior to the start of the experiment, thaw the Probe Set(s) and Blocking Reagent.  Once thawed, vortex briefly to mix.  Then briefly centrifuge to collect the contents at the bottom of the tubes.  Keep the reagents on ice until use.  Also re-dissolve any precipitates in the Lysis Mixture by incubating at 37 °C for 30 minutes followed by gentle swirling.
1.6) Remove the Capture Plate from 4 °C and place it on the benchtop to warm completely to room temperature (approximately 30 minutes).  Do not remove the plate from the sealed foil pouch.  Proceed to target miRNA capture from the chosen sample. 
2. Target miRNA capture from cultured cell or blood lysates
2.1) To begin analysis on cultured cell or whole blood/PAXgene blood lysate(s), thaw the samples at room temperature.  Once thawed, incubate the sample at 37 °C for 15 – 30 minutes.  Following incubation, vortex briefly and then leave at room temperature until use.
2.2) Next, estimate the sample input according to table 1 and the LOD of the miRNA target-specific probe set from the package insert. 
Table 1:  Recommended sample input for cultured cell or blood lysates (based on LOD = 3,000 Copies of miRNA Probe Set)
	miRNA (copies per cell)
	Cultured Cells

(number of cells)
	Whole Blood/PAXgene

Blood Lysate (μL)

	<10
	6,000
	80a

	100
	600
	80

	>1,000
	60
	8


aMay not have sensitivity required
2.3) If appropriate, based on the expression level of target miRNA of interest, dilute the sample with Diluted Lysis Mixture (1 volume of Lysis Mixture plus 2 volumes of nuclease-free water, prepared fresh) so that the final desired amount of sample is present in a volume of 80 μl/assay well.
2.4) Next, prepare an appropriate volume of the Working Probe Set by combining the reagents in the order listed in Table 2.  Scale according to the number of assays to be run.  NOTE: Include 3 wells for assay background controls.
Table 2:  Preparation of Working Probe Sets for cultured cell or blood lysates
	Reagent 
	1 Well (μL)
	48 Wellsa (μL)
	96 Wellsa (μL)

	Nuclease-free Water
	11.7
	786.0
	1,573.0

	Lysis Mixture
	6.7
	447
	893.0

	Blocking Reagent
	1.0
	67.0
	134.0

	Capture Extenders (CE)
	0.3
	20.1
	40.2

	Label Extenders (LE)
	0.3
	20.1
	40.2

	Total
	20.0
	1,340.2
	2,680.4


aIncludes 40% coverage
2.5) After the Capture Plate reaches room temperature (minimum of 30 minutes at room temperature), open the sealed foil pouch and remove the Capture Plate.  Vortex the Working Probe Set briefly to mix.
2.6) The next step is to dispense the reagents into the Capture Plate without the introduction of bubbles.  If using fewer than 48 wells, use a single channel pipette and a new tip for each transfer to dispense 20 μL of Working Probe Set into each assay well.
2.7) For 48 wells or more, a single channel pipette can be used to transfer the Working Probe Set to a 25-mL divided reagent reservoir (NOTE: Do not pour or reagent shortage will occur).  Then, utilize a multichannel pipette to dispense 20 μL of Working Probe Set into each assay well, using new tips for each transfer.
2.8) Keep in mind that the Capture Probe oligonucleotides are conjugated to the surface of Capture Plate wells, and care should be taken not to scratch Capture Plate wells with pipette tips.
2.9) Following addition of the Working Probe set, the sample can be added to the Capture plate.  Using a new pipette tip for each transfer, add 80 μL of sample to each well of the Capture Plate containing the Working Probe Set.  Do not mix the sample.
2.10) Then, add 80 μL of the Diluted Lysis Mixture to 3 wells for the assay background controls for each Probe Set used.
2.11) To bind the target miRNA, place an adhesive Plate Seal squarely on the plate and seal tightly.  Complete and uniform sealing of the overnight hybridization plate is essential and is achieved through use of a soft rubber roller or the QuantiGene CTC Plate Sealer.  Letters and numbers on the Capture Plate should be clearly defined beneath the Plate Seal.
2.12) Centrifuge the Capture Plate at 240 x g for 20 seconds at room temperature to ensure the contents contact the bottom of the well.
2.13) Immediately place the Capture Plate in a 46 ± 1 °C incubator to begin the overnight (16.–20 hour) hybridization.  Because the temperature must be 46 ± 1 °C for miRNA assay, it should be verified using a QuantiGene Incubator Temperature Validation Kit.
3. Target miRNA capture from fresh, frozen or FFPE tissue homogenates
3.1) To prepare the tissue homogenates, thaw at room temperature.  Then incubate the sample at 37 °C for 15 – 30 minutes.  Following incubation, vortex briefly, then leave at room temperature until use.
3.2) Estimate sample input based on table 3 and the LOD of the miRNA target-specific probe set from the package insert.
Table 3:  Recommended Sample Input for Tissue Homogenates
(based on LOD = 3,000 Copies of miRNA Probe Set)
	miRNA (copies per cell)
	Tissue Homogenate (μL)

	<10
	40a

	100
	40

	>1,000
	4


aMay not have sensivity required.

3.3) Based on the expression level of the target miRNA of interest, dilute tissue homogenates with Homogenizing Solution to reach a volume of 40 μl/assay well.
3.4) Prepare the Working Probe Set by combining the reagents in the order listed in table 4.  Scale according to the number of assays to be run, and include 40% overage.  Also, include 3 wells for assay background controls.
Table 4:  Preparation of Working Probe Sets for Tissue Homogenates
	Reagent
	1 Well (μL)
	48 Wellsa (μL)
	96 Wellsa (μL)

	Nuclease-free Water
	25.1
	1,682.0
	3,363.0

	Lysis Mixture
	33.3
	2,233.0
	4,467.0

	Blocking Reagent
	1.0
	67.0
	134.0

	CE
	0.3
	20.1
	40.2

	LE
	0.3
	20.1
	40.2

	Total
	60.0
	4,022.2
	8,044.4


aIncludes 40% overage

3.5) Prepare the Capture Plate as described above.
3.6) For fewer than 48 wells use a single channel pipette and a new tip for each transfer to dispense 60 μL of the Working Probe Set into each assay well.
3.7) If using 48 or more wells, use a multichannel pipette to dispense 60 μL of the Working Probe Set into each assay well from a 25-mL divided reagent reservoir, employing a new pipette tip for each transfer.  
3.8) Then add 40 μL of the tissue homogenate sample to each well of the Capture Plate containing the Working Probe Set without introducing bubbles or mixing.
3.9) Also add 40 μL of Homogenizing Solution to 3 wells for assay background controls for each Probe Set used.
3.10) To bind the target miRNA, place an adhesive Plate Seal squarely on the plate and seal tightly as before.
3.11) Centrifuge the Capture Plate (240 x g, 20 sec, RT) to ensure contact with the contents to the bottom of the well.
3.12) Immediately place the Capture Plate in a 46 ± 1 °C incubator to begin the overnight (16.–20 hour) hybridization.
4. Capture Plate wash 
4.1) Following target miRNA capture from the chosen sample, the unbound material must be washed away.  To prepare the wash buffer, add 400 mL of double-distilled water (ddH2O), 1.5 mL of Wash Comp 1, and 2.5 mL of Wash Comp 2 to a 500-mL graduated cylinder, and bring volume to 500 mL with ddH2O (500mL for each Capture Plate).
4.2) Transfer the buffer to a 500-mL bottle and invert to mix.  The Wash Buffer must be made fresh daily.  

4.3) Prepare to wash the Capture Plate by removing the Capture Plate from the incubator and removing the Plate Seal.  Add Wash Buffer to the wells at 200 μL/well.
4.4) Invert the Capture Plate over an appropriate receptacle (for example, a BioHazard container) and expel the contents forcibly.  Firmly tap the inverted plate on a clean paper towel to dry.
4.5) Repeat the washing steps two more times using 300 μL/well of Wash Buffer.
4.6) Next, all traces of Wash Buffer are removed by placing the inverted plate with a dry paper towel into the centrifuge and centrifuging at 240 x g for 1 minute at room temperature.  Use maximum acceleration and brake settings available.
5. Signal Amplification
5.1) Before signal amplification, the 2.0 PreAmp, 2.0 Amp, and Label Probe Working Reagents are prepared.  Centrifuge each thawed reagent briefly to collect the contents at the bottom of the tube.  Then add 11 μL of each reagent to a separate aliquot of 11 mL Amplifier/Label Probe Diluent, and invert to mix.  Keep the reagents at room temperature until use.
5.2) Immediately following plate washing, add 100 μL of the 2.0 PreAmp Working Reagent to each well of the Capture Plate.  Then seal the Capture Plate with a Plate Seal and incubate at 46 ± 1°C for 60 minutes
5.3) Remove the Capture Plate from the incubator, remove the Plate Seal, and wash as described in section 4. 
5.4) Directly after washing the plate, add 100 μL of the 2.0 Amp Working Reagent to each well of the Capture Plate.  Seal the Capture Plate with a Plate Seal and incubate at 46 ± 1 °C for 60 minutes.
5.5) Following incubation, wash the Capture Plate again as described in section 4. 
5.6) Then, right away add 100 μL of the Label Probe Working Reagent to each well of the Capture Plate.  Again, seal the Capture Plate and incubate at 46 ± 1 °C for 60 minutes.  During this incubation, remove the 2.0 Substrate from 4 °C and allow it to warm to room temperature.
6. Signal Detection
6.1) Prior to signal detection, ensure that the 2.0 Substrate is at room temperature and that the luminometer is ready for use.
6.2) Remove the Capture Plate from the incubator and wash the plate (section 4).
6.3) Proceed to the next step immediately.  Add 100 μL of the 2.0 Substrate to each well of the Capture Plate.  Seal the Capture Plate with a Plate Seal and incubate at room temperature for 5 minutes.
6.4) Remove the Plate Seal, place the Capture Plate in the luminometer, and read.  Set the integration (read) time to 0.2 seconds.  For best results, read plate within 15 minutes.  NOTE: Depending upon luminometer used, some adjustments in integration time may be required to obtain better signal to background ratio and linearity.
Authors – did you want to include a section on Data Analysis? 

Representative Results: 
To compare QuantiGene® 2.0 miRNA Assay performance directly between cell lysates and purified RNAs, miRNA miR-31, miR-34a, miR-145, miR-181a, and miR-222 assays were performed on RNA purified from 16,000 HeLa cells using an Ambion mirVana™ miRNA Isolation Kit and cell lysates of the same number of cells.  The results were normalized to the direct lysate data for each miRNA assay.  The signal of the test miRNAs in cell lysates was 1.8-fold higher than the signal of pure RNAs, indicating that miRNA was lost during the purification step, leading to purification bias in the assay (Figure 2). Similar data were obtained using MCF-7 cells (Figure 3).
The ability of the QuantiGene 2.0 miRNA Assay to distinguish highly homologous targets with a single-base difference was evaluated with synthetic miRNAs of the hsa-let-7 family, miR-18a/b, and the miR-30 family (Table 5) and other miRNAs (data not shown).  Very low levels of non-specific signal were observed for many miRNAs differing by one or two bases.  For analysis, assay signals were normalized to the perfect match combination of probe and target for each assay.

Furthermore the assay can differentiate mature miRNAs from longer precursor pre-miRNAs.  miRNA probe sets were designed and assayed with mature and pre-miRNA target molecules.  The miRNA probe sets only showed less than 5 percent signal with pre-miRNA targets when analyzing samples containing 600,000 copies.  These results indicated that the miRNA probe design is highly specific for mature miRNA (Figure 4).
To analyze the spike recovery, the miRNA assay was performed on different quantities of a 23 base synthetic RNA (DapB) from the B. subtilis genome in various amounts of plasma.  The final total volume for each well was 51 μL.  Relative to the pure synthetic RNA, the spike recovery rate in all the volumes of plasma lysate ranged from 90% to 110% (Figure 5).
For detection of endogenous plasma miRNA, quantitative responses for miR-16 miRNA were obtained in varying amounts of plasma, up to 45 μL (Fig. 6).  The CV range in 12 assays running in three replicates is less than 7.2%.  

QuantiGene 2.0 miRNA Assay was also used to analyze expression levels of miR-155 in human breast cancer tissue.  Synthetic miR-155 was used to build the standard curve.  The equation form the linear assay (y=0.510x+887) was used to calculate the copy number of miR-155 in normal (green) and tumor (red) breast cancer tissue (Fig. 7).
Tables and Figures:  Please make sure that text in all tables or figures is made in Arial font.  Figures should be submitted separately as vectorized .ai, .eps, or psd files.  Layerd .tiff files at 300 dpi. Are also acceptable.   All tables and figures should be given an appropriate title and should have a corresponding figure legend.  We recommend at least one figure that graphically depicts the overall scheme of the experiment.   
Table 1:  Recommended sample input for cultured cell or blood lysates (based on LOD = 3,000 Copies of miRNA Probe Set) 
Table 2:  Preparation of Working Probe Sets for cultured cell or blood lysates
Table 3:  Recommended Sample Input for Tissue Homogenates (based on LOD = 3,000 Copies of miRNA Probe Set)

Table 4:  Preparation of Working Probe Sets for Tissue Homogenates

Table 5:  Ability of the QuantiGene 2.0 miRNA Assay to discriminate between closely related family members (table 1 from p2 of “QG00504-2, Data Sheet, QuantiGene 2.0 miRNA Assay final.pdf”)
Figure 1: The QuantiGene 2.0 miRNA Assay Overview. (From p1 of “5-16-11-Tech note_miRNA_plasma(2).docx”)
Figure 2: Comparison of miRNA levels in purified RNA and in direct cell lysate from 16,000 HeLa cells. (From p2 of “QG00504-2, Data Sheet, QuantiGene 2.0 miRNA Assay final.pdf”)
Figure 3: Comparison of miRNA levels in purified RNA and direct cell lysate from 16,000 MCF-7 cells.
(From p2 of “QG00504-2, Data Sheet, QuantiGene 2.0 miRNA Assay final.pdf”)
Figure 4: Discrimination between mature and precursor miRNAs.
(From p2 of “QG00504-2, Data Sheet, QuantiGene 2.0 miRNA Assay final.pdf”)
Figure 5: Spike/recovery assay of a synthetic 23 base RNA oligo in different amount of plasma lysate (From p2 of “5-16-11-Tech note_miRNA_plasma(2).docx”)
Figure 6: Quantitative detection of miR-16 in different volume of plasma (From p2 of “5-16-11-Tech note_miRNA_plasma(2).docx”)
Figure 7: Analysis of expression levels of miR-155 in human breast cancer tissue.  
(Only figure in “QuantiGene2.dox”)
Discussion: 

When troubleshooting the Quantigene 2.0 miRNA Assay, several critical steps should be considered.  If trouble shooting low assay signal or poor sensitivity, check that the number of target miRNA molecules is above the limit of detection.  This issue can be ameliorated by increasing the sample input.  Also verify complete cell lysis.  Low signal can also be due to incorrect preparation of the signal amplification reagent or inappropriate hybridization temperature.  Another possibility is the inactivation of alkaline Phosphatase; the temperature should not exceed 50 °C after the addition of the Label Probe.  Also do not allow the Capture Plate to stand dry for more than 5 minutes once the signal amplification and detection procedure has started.  

If experiencing non-uniform signal across the plate, the Capture Plate may be experiencing temperature gradients within the incubator or in the luminometer.  Alternatively, there could be incomplete sealing during overnight hybridization or the Capture Plate may have been exposed to moisture prior to the assay.
High Background Signal may be due to residual Wash Buffer or incorrect temperature in the incubator.  This could also result from the Capture Plate sitting at room temperature longer than 10 minutes after the addition of sample or before washing on the 2nd day.  Cross-talk between wells is also a possibility.  Only Luminometers with cross-talk < 0.001% should be used.  Reduce integration time on the Luminometer to minimize cross-talk, and move high-expressing samples away from background wells.

The Quantigene 2.0 miRNA Assay uses validated probe sets designed with sensitivity and specificity to targeted mature miRNA.  This technique is powerful relative to existing methods because it avoids biases inherent to purification and amplification.  The method is based on clinically proven bDNA technology, which relies on signal amplification without cDNA synthesis or PCR amplification.  Furthermore, samples can be analyzed directly without any modification and with no miRNA isolation.  The assay has been proven to obtain accurate results from a variety of samples, including purified miRNA or small RNA, cultured cells, plant tissues, whole blood, fresh, frozen, and FFPE tissues, and more.

Acknowledgments: List acknowledgements and funding sources.
Disclosures: describe potential conflicting interests or state “I have nothing to disclose”.  

Table of specific reagents and equipment:

	Name of the reagent
	Company
	Catalogue number
	Comments (optional)

	QuantiGene 2.0 Assay Kit
	Affymetrix
	QS0008 - QS0011
	Kit is dependent on assay size

	QuantiGene Sample Processing Kit
	Affymetrix
	QS0100 – QS0112
	Kit is dependent on assay size and sample type

	QuantiGene miRNA Probe Set(s)
	Affymetrix
	QS0049 – QS0055
	Kit is dependent on assay size

	QuantiGene 2.0 Assay Controls Kit
	Affymetrix
	QS0519
	

	QuantiGene Incubator Temperature Validation Kit
	Affymetrix
	QS0517
	Highly recommended for temperature validation of incubator every 6 months.

	Adjustable single- and multi-channel

precision pipettes for dispensing 1 – 20 μL,

20 – 200 μL and 200 – 1000 μL
	Major laboratory

supplier (MLS)


	
	

	Reagent reservoirs:

25-mL capacity

100-mL capacity
	VistaLab

Technologies


	(P/N 3054-1002) or

equivalent

Corning Costar (P/N CLS4873) or equivalent
	

	Microcentrifuge
	Eppendorf
	541D or equivalent
	

	Microplate centrifuge that can achieve

240 x g
	Eppendorf
	5804R and rotor A-2 DWP or

Equivalent
	

	Vortex mixer
	MLS
	
	

	Nuclease-free water
	MLS
	
	

	Luminescence detector with the following

features:

-Sensitivity > 3 x 10-21 moles of luciferase

-Dynamic range > 8 logs

-Well-to-well uniformity ± 5%

-Cross-talk < 5 x 10-5

-Fluorescent detection module (optional for

DNA stain); Ex 480 nm/Em 520 nm

NOTE: Make sure your luminometer meets or

exceeds minimum performance specifications.
	Turner BioSystems

Molecular Devices


	Modulus Microplate

Luminometer P/N 9300-001

LMAX or equivalent


	

	Incubator or oven with the following

specifications:

-Maintain a constant temperatures of

46 ± 1 °C

-Temperature does not vary more than ± 1 °C

-Uniform temperature throughout entire incubator
	Affymetrix
	QS0700, QS0701 (120V)

QS0710, QS0711 (220V)


	

	4 inch soft rubber roller or

QuantiGene CTC Plate Sealer
	Affymetrix


	QS0515

QG0400
	


References:  
1. Lee RC, Feinbaum RL, Ambros V. The C. elegans heterochronic gene lin-4 encodes small RNAs with antisense complementarity to lin-14. Cell. 75, 843–54 (1993).

2. Marin-Muller, C., Yao, Q. and Chen, C.  MicroRNAs and Human Disease. eLS.  Published online October 2010
3. Bentwich I, Avniel A, Karov Y, Aharonov R, Gilad S, Barad O, Barzilai A, Einat P, Einav U, Meiri E, Sharon E, Spector Y, Bentwich Z.  Identification of hundreds of conserved and nonconserved human microRNAs.  Nat. Genet. 37, 766–7 (2005).
4. He L, Hannon GJ.  MicroRNAs: small RNAs with a big role in gene regulation.  Nat. Rev. Genet. 5, 522–31 (2004).
5. Lim LP, Lau NC, Garrett-Engele P, Grimson A, Schelter JM, Castle J, Bartel DP, Linsley PS, Johnson JM.  Microarray analysis shows that some microRNAs downregulate large numbers of target mRNAs.  Nature 433, 769–73. (2005).

6. Brennecke J, Hipfner DR, Stark A, Russell RB, Cohen SM. "bantam encodes a developmentally regulated microRNA that controls cell proliferation and regulates the proapoptotic gene hid in Drosophila". Cell 113, 25–36 (2003)
7. Cuellar TL, McManus MT. MicroRNAs and endocrine biology. J. Endocrinol. 187, 327-32 (2005)
8. Poy MN, Eliasson L, Krutzfeldt J, Kuwajima S, Ma X, Macdonald PE, Pfeffer S, Tuschl T, Rajewsky N, Rorsman P, Stoffel M.  A pancreatic islet-specific microRNA regulates insulin secretion. Nature. 432, 226–30 (2004) 

9. Chen CZ, Li L, Lodish HF, Bartel DP. MicroRNAs modulate hematopoietic lineage differentiation. Science. 303, 83–6 (2004). 

10. Wilfred BR, Wang WX, Nelson PT.  Energizing miRNA research: a review of the role of miRNAs in lipid metabolism, with a prediction that miR-103/107 regulates human metabolic pathways. Mol. Genet. Metab. 91, 209–17 (2007).
11. Harfe BD, McManus MT, Mansfield JH, Hornstein E, Tabin CJ.  The RNaseIII enzyme Dicer is required for morphogenesis but not patterning of the vertebrate limb.  Proc. Natl. Acad. Sci. U.S.A. 102, 10898–903 (2005). 

