Determination of lipid raft partitioning of fluorescently-tagged probes in living cells by Fluorescence Correlation Spectroscopy (FCS)

Authors: 
Catherine Marquer, Sandrine Lévêque-Fort, Marie-Claude Potier
Authors: institution(s)/affiliation(s) for each author:

Catherine Marquer

Centre de Recherche de l’Institut du Cerveau et de la Moelle

UPMC, INSERM UMR-S975, CNRS UMR7225, 

Hôpital de la Pitié-Salpêtrière 

Paris, France
catherine.marquer@upmc.fr
Sandrine Lévêque-Fort
Centre de Photonique Biomédicale du Centre Laser de l’Université Paris Sud 
FR2764

and

Institut des Sciences Moléculaires d’Orsay

CNRS UMR8214, Université Paris-Sud, 

Orsay, France
sandrine.leveque-fort@u-psud.fr
Marie-Claude Potier

Centre de Recherche de l’Institut du Cerveau et de la Moelle
UPMC, INSERM UMR-S975, CNRS UMR7225, 

Hôpital de la Pitié-Salpêtrière 

Paris, France

marie-claude.potier@upmc.fr
Corresponding author:
Catherine Marquer
Keywords: 

Lipid rafts, plasma membrane, diffusion times, confocal microscopy
Short Abstract: (50 words maximum)

A technique to probe the lipid raft partitioning of fluorescent proteins at the plasma membrane of living cells is described. It takes advantage of the disparity in diffusion times of proteins located inside or outside of lipid rafts. Acquisition can be performed dynamically in control conditions or after drug addition.

Long Abstract: (150 words minimum, 400 words maximum)

In the past fifteen years the notion that cell membranes are not homogenous and rely on microdomains to exert their functions has become widely accepted. Lipid rafts are membrane microdomains enriched in cholesterol and sphingolipids. They play a role in cellular physiological processes such as signalling, and trafficking1, 2 but are also thought to be key players in several diseases including viral or bacterial infections and neurodegenerative diseases3.
Yet their existence is still a matter of controversy
 ADDIN EN.CITE 
4
. Indeed, lipid raft size has been estimated to be around 20 nm
 ADDIN EN.CITE 
5
, far under the resolution limit of conventional microscopy (around 200 nm), thus precluding their direct imaging. Up to now, the main techniques used to assess the partition of proteins of interest inside lipid rafts were Detergent Resistant Membranes (DRMs) isolation and co-patching with antibodies. Though widely used because of their rather easy implementation, these techniques were prone to artefacts and thus criticized
 ADDIN EN.CITE 
6
. Technical improvements were therefore necessary to overcome these artefacts and to be able to probe lipid rafts partition in living cells.
Here we present a method for the sensitive analysis of lipid rafts partition of fluorescently-tagged proteins or lipids in the plasma membrane of living cells. This method, termed Fluorescence Correlation Spectroscopy (FCS), relies on the disparity in diffusion times of fluorescent probes located inside or outside of lipid rafts. In fact, as evidenced in both artificial membranes and cell cultures, probes would diffuse much faster outside than inside dense lipid rafts
 ADDIN EN.CITE 
7
. To determine diffusion times, minute fluorescence fluctuations are measured as a function of time in a focal volume (approximately 1 femtoliter), located at the plasma membrane of cells with a confocal microscope (Fig.1). The auto-correlation curves can then be drawn from these fluctuations and fitted with appropriate mathematical diffusion models8.
FCS can be used to determine the lipid raft partitioning of various probes, as long as they are fluorescently tagged. Fluorescent tagging can be achieved by expression of fluorescent fusion proteins or by binding of fluorescent ligands. Moreover, FCS can be used not only in artificial membranes and cell lines but also in primary cultures, as described recently9. It can also be used to follow the dynamics of lipid raft partitioning after drug addition or membrane lipid composition change9.
Protocol Text: 

1.) Calibration of the FCS set-up
1.1.) Start the confocal microscope, lasers, computers, incubator for temperature and CO2 control. 

1.2.) Make sure the SPAD (Single Photon Avalanche Diode) is on and the fluorescence filter inside the SPAD is well suited to your sample. Check that the SPAD is synchronized in time. Beware to only start your FCS software once your SPAD settings are ready for acquisition. 

1.3.) Prepare a fresh solution of cholera toxin-Alexa488 diluted in PBS to reach a concentration of 1 μg/ml (17.5 nM). Using a fresh solution will prevent any undesired aggregates.
1.4.) Optimize confocal imaging of the solution using internal detection of the microscope.

1.5.) Switch to point scanning mode and choose a point in the solution sample. Make sure the duration of the laser illumination is long enough to perform your FCS acquisitions.
1.6.) Switch to external detection by the SPAD and to the FCS software. Monitor your fluorescence signal and make sure it is well suited to the SPAD (enough signal but no saturation). If necessary, modify z position, gain and/or laser power to achieve correct fluorescence signal.
1.7.) Acquire 10 sets of 30 seconds measurements.

1.8.) Analyze your data (see step 4) to ensure that you have an auto-correlation curve corresponding to one fluorescent species diffusing in solution (equation in Fig. 2) and that the diffusion time obtained after fitting is correct (approximately 0.2 ms) (Fig. 3).

2.) Staining of living cells with lipid rafts marker
2.1) Plate HEK293 cells on 8-well Labteks coated with poly-L-lysine (1mg/ml) the day before imaging to make sure that their adhesion is correct. Use medium without phenol red to ensure there is no perturbation of the fluorescence signal.
2.2) Wash cells twice with HBSS (Hank’s Buffered Salt Solution) 1x. 

2.3) Treat cells with cholera toxin-Alexa488 (1 μg/ml)/BSA (0,1 %) , qsp 500 μl HBSS for 30 minutes at 37°C. Cholera toxin will bind to ganglioside GM1, known to be preferentially partitioned in lipid rafts.
2.4) Wash cells twice with HBSS (Hank’s Buffered Salt Solution) 1x.
3.) FCS data acquisition on living cells
3.1) Place the stained cells on the microscope stage. Make sure temperature and CO2 conditions are optimal otherwise this may lead to artefacts in diffusion times.

3.2.) Optimize confocal imaging of a cell of interest using internal detection of the microscope (Fig. 4).

3.3) Switch to point scanning mode and choose a point in the plasma membrane of the cell of interest. Perform 1-2 live images of the cell to make sure the cell is not moving during acquisition.
3.4) Switch to external detection by the SPAD and to the FCS software. Monitor your fluorescence signal and make sure it is well suited to the SPAD (enough signal but no saturation). If necessary, modify z position, gain and/or laser power to achieve correct fluorescence signal. If this is not enough, you may consider changing staining conditions.

3.5.) Acquire 10 samples of 30 seconds measurements. As most cells are auto-fluorescent, you may see a decrease in fluorescence during the first acquisitions, due to auto-fluorescence fading.
4.) FCS data analysis 

4.1) Generate auto-correlation curves with the FCS software
4.2) For each sample, export files corresponding to fluorescence fluctuations and auto-correlation as a function of time.
4.3) Use a data analysis and fitting software such as Origin Pro to import the files

4.4) For each sample, make sure there is no photobleaching during acquisition ie the fluorescence stays stable during the 30 seconds. Discard any measure displaying photobleaching as this may cause artifactual longer diffusion times. 
4.5) Check that the shape of the remaining FCS curves is correct. Determine the mean FCS curve. 
4.6) Fit the curve with the appropriate mathematical model (Fig. 2). This fit will give you the diffusion time(s) and the proportion of molecules diffusing with this (ese) diffusion time(s). 
Representative Results: 
An example of an FCS calibration with a cholera toxin-Alexa488 solution is shown in Figure 3. After checking that individual measures of fluorescence as a function of time did not show any photobleaching (Figure 3A), individual and mean FCS curves were calculated. The most accurate model to fit the mean FCS curve is the one describing a population of fluorescent molecules diffusing freely in three dimensions (equation 1 in Figure 2 and Figure 3B). The diffusion time derived from the fit is 0.32 ms. Residuals from curve-fitting (Figure 3C) and R factor (0.99906) give an estimate of the quality of the fit.
An example of FCS analysis for cholera toxin-Alexa488 stained HEK293 cells is shown in Figure 5. The shape of the mean FCS curve reveals the existence of various populations of fluorescent molecules. The best fit for this curve corresponds to a model where there is three populations of fluorescent probes: two with an hindered diffusion (diffusion in two dimensions as in the membrane plane) and one freely diffusing in three dimensions (equation 2 in Figure 2 and Figure 5). This latter population corresponds to fluorescent molecules moving outside of the membrane plane, i.e., either binding or unbinding to their membrane targets, reaching the membrane through the secretion or recycling pathway, or leaving the membrane by endocytosis. The two diffusion times at the membrane were 2 ms (25% of molecules), corresponding to diffusion outside of lipid rafts, and 75 ms (50% of molecules), corresponding to diffusion in lipid rafts. Please note that any photobleaching during acquisition will lead to artifactual longer diffusion times thus possibly creating a bias towards localization of the probe of interest in lipid raft domains.
Tables and Figures:  

Figure 1: Schematic representation of the FCS set-up (picture modified from Marquer et al.9)

Figure 2: Example of diffusion models and corresponding equations used to fit autocorrelation curves. 

Figure 3: Assessment of diffusion time of cholera toxin-Alexa488 in solution for FCS calibration. A) Fluorescence fluctuation as a function of time for a representative example of a 30 seconds acquisition. B) Mean autocorrelation curve obtained from 10 samples of 30 seconds acquisition fitted with equation 1 (see Figure 2).C) Residuals from curve fitting.
Figure 4: HEK-293 cell stained with cholera toxin-Alexa488. Cells were imaged on an SP5 confocal microscope (Leica Microsystems, Wetzlar, Germany) with the internal 488nm laser line. Fluorescence was collected with a x60 plan apochromat oil immersion objective between 500 and 650 nm.
Figure 5: Assessment of diffusion time of cholera toxin-Alexa488 at the plasma membrane of HEK293 cells. A) Mean autocorrelation curve fitted with equation 2 (see Figure 2).B) Residuals from curve fitting. (modified from Marquer et al.9)
Discussion: 
The FCS method presented here enables a sensitive and rapid analysis of the lipid raft partitioning of fluorescent probes of interest in living cells. FCS combines the accuracy of localization of confocal microscopy with the sensitivity of single photon counting. The main difference between FCS and standard biochemical techniques is that FCS enables the absolute determination of the lipid rafts partition of the target and not the relative partition as is the case for DRMs isolation or co-patching.

Acquisition of FCS data takes approximately 5 minutes for each sample and is thus quite rapid as compared to usual biochemical techniques. This rapidity makes it possible to follow in time the perturbation in lipid raft partitioning that may result from drug addition. However, analysis of autocorrelation curves can be a bit tricky as the different models for fitting have to be browsed through to determine the most accurate one. Moreover, as mentioned before, photobleaching during acquisition has to be avoided as this may lead to artifacts.
Here we describe an example where we can delineate the lipid raft partitioning of a lipid: ganglioside GM1 (Fig. 5). Such a study would not have been possible with standard biochemical procedures which can only be applied to proteins. FCS is not limited to lipids though and can also be used for proteins, either tagged with a fluorescent ligand (e.g. transferrin-Alexa555 binds to the transferrin receptor, known to be located outside of rafts9) or expressed as a fusion with a fluorescent protein (e.g. APP-YFP or Bace1-GFP9, two key protein players in Alzheimer's disease). It can thus be used for a wide range of targets. Further, FCS can be implemented not only in cell lines, as described here, but also in primary cultures9.

FCS is also suited for many other applications


10 ADDIN EN.CITE  such as determination of the oligomerisation state of a protein


11 ADDIN EN.CITE  or ligand/receptor pharmacological studies12. It can also be coupled to other microscopy techniques such as Total Internal Reflection Fluorescence (TIRF)


13 ADDIN EN.CITE  or STimulated Emission Depletion (STED)


14 ADDIN EN.CITE . Indeed, STED-FCS allows an even more accurate determination of lipid raft partitioning


14 ADDIN EN.CITE  but up to now, STED microscopy is still costly and thus not widespread.
Acknowledgments: This work was supported by a grant from Agence Nationale de la Recherche (ChoAD). We are also grateful to the Fondation ICM (Institut du Cerveau et de la Moelle) for their financial support.

Disclosures: We have nothing to disclose.  

Table of specific reagents and equipment:

	Name of the reagent
	Company
	Catalogue number
	Comments 

(optional)

	Cholera toxin subunit B-Alexa 488
	Invitrogen
	C-34775


	

	Confocal microscope
	Leica
	SP5
	

	Incubator for temperature and  CO2 control
	Life imaging services
	The Cube and the Box
	

	SPAD (Single Photon Avalanche Diode)
	MPD (Micro Photon Devices)
	PDM serie (100 µm sensitive area)
	

	High pass 488 nm  filter 
	Semrock
	488 nm blocking edge BrightLine® long-pass filter

Part # FF01-488/LP-25 
	

	FCS detection unit
	Picoquant
	Picoharp 300 module
	

	Acquisition and auto-correlation software
	Picoquant
	SymPhoTime
	

	Fitting software
	OriginLab
	OriginPro8
	


References:
1
Brown, D. A. and London, E., Annu Rev Cell Dev Biol 14, 111 (1998).

2
Simons, K. and Gerl, M. J., Nat Rev Mol Cell Biol 11 (10), 688 (2010).

3
Simons, K. and Ehehalt, R., J Clin Invest 110 (5), 597 (2002).

4
Munro, S., Cell 115 (4), 377 (2003); Shaw, A. S., Nat Immunol 7 (11), 1139 (2006).

5
Pralle, A. et al., J Cell Biol 148 (5), 997 (2000).

6
Brown, D. A. and London, E., J Biol Chem 275 (23), 17221 (2000); Sharma, P., Sabharanjak, S., and Mayor, S., Semin Cell Dev Biol 13 (3), 205 (2002).

7
Kahya, N. et al., J Biol Chem 278 (30), 28109 (2003); Bacia, K., Scherfeld, D., Kahya, N., and Schwille, P., Biophys J 87 (2), 1034 (2004).

8
Kim, S. A., Heinze, K. G., and Schwille, P., Nat Methods 4 (11), 963 (2007).

9
Marquer, C. et al., FASEB J 25 (4), 1295 (2011).

10
Tian, Y., Martinez, M. M., and Pappas, D., Appl Spectrosc 65 (4), 115A (2011); Haustein, E. and Schwille, P., Annu Rev Biophys Biomol Struct 36, 151 (2007).

11
Ilien, B. et al., J Biol Chem 284 (29), 19533 (2009).

12
Lieto, A. M., Cush, R. C., and Thompson, N. L., Biophys J 85 (5), 3294 (2003).

13
Thompson, N. L., Burghardt, T. P., and Axelrod, D., Biophys J 33 (3), 435 (1981); Thompson, N. L. and Steele, B. L., Nat Protoc 2 (4), 878 (2007).

14
Eggeling, C. et al., Nature 457 (7233), 1159 (2009).



