Please suggest names of 5 peer reviewers with their institutional affiliation and email address.

Philip Greenberg, MD University of Washington pgreen@u.washington.edu

Michael Hagensee, MD, PhD Louisiana State University mhagen@lsumc.edu

Stephen Man, PhD Cardiff University School of Medicine mans@cf.ac.uk

Douglas Nixon, MD, PhD University of California at San Francisco douglas.nixon@ucsf.edu

Barbara Shacklett, PhD University of California at Davis blshacklett@ucdavis.edu

TITLE: Use of Enzyme-Linked Immunospot Assay to Characterize Novel T-Cell Epitopes of Human Papillomavirus

Authors:

Xuelian Wang, William W. Greenfield, Hannah N. Coleman, Lindsey E. James, Mayumi Nakagawa

Authors: institution(s)/affiliation(s) for each author:

Xuelian Wang

Department of Microbiology and Parasitology

College of Basic Medical Sciences, China Medical University

wxlcmu@hotmail.com

William W. Greenfield

Department of Obstetrics and Gynecology

College of Medicine, University of Arkansas for Medical Sciences

Greenfieldwilliamw@uams.edu

Hannah N. Coleman

Department of Pathology

College of Medicine, University of Arkansas for Medical Sciences

colemanhannahn@uams.edu

Lindsey E. James

Department of Pathology

College of Medicine, University of Arkansas for Medical Sciences

lejames@uams.edu

Mayumi Nakagawa

Department of Pathology

College of Medicine, University of Arkansas for Medical Sciences

mnakagawa@uams.edu

Corresponding author: Mayumi Nakagawa

Keywords:

Enzyme-linked immunospot assay, T-cell, epitope, human papillomavirus

Short Abstract: (10 words minimum, 50 words maximum)

Characterizing T-cell epitopes of pathogens that cause localized infections such as human papillomavirus is a challenge because of limited number of T-cells in circulation.  A method is described in which rare T-cells were isolated and were characterized starting with a very small number.

Long Abstract: (150 words minimum, 400 words maximum)

A region within the human papillomavirus type 16 (HPV 16) E6 and E7 proteins which contained a T-cell epitope was identified using an enzyme-linked immunospot (ELISPOT) assay with overlapping synthetic peptides (Fig. 2). The subject was a patient who was recently diagnosed with a high-grade squamous epithelial lesion (HSIL) by biopsy, and who underwent loop electrical excision procedure for treatment on the day the T-cells were collected 1. The epitope-specific T-cells were isolated on the basis of interferon- (IFN-) secretion using magnetic beads according to the manufacturer’s instructions (CD8 T-cell isolation kit, Mitenyi Biotec, Auburn CA), and were grown singly in the presence of a feeder cell mixture. These T-cell clones were screened using an ELISPOT assay in the presence of peptides covering the identified region and of autologous Epstein-Barr virus transformed B-lymphoblastoid cells (LCLs)2  in order to minimize the number of T-cells needed. Similarly, ELISPOT assays were utilized to characterize the minimal and optimal amino acid sequence of the epitope (HPV 16 E6 52-61 FAFRDLCIVY) and its HLA class I restriction element (B58). The ELISPOT assay was also performed using autologous LCLs infected with vaccinia virus expressing HPV 16 E6 or E7 protein which demonstrated that the E6 T-cell epitope was endogenously processed. This method can also be used to describe CD4 T-cell epitopes 3.

Protocol Text:

- Limiting Dilution of Epitope-Specific  T-Cells

  - Prepare the feeder cell mixture by combining irradiated (4,000 rad) peripheral blood mononuclear cells (PBMCs) at 5 x 105 cells/ml, irradiated (5,000 rad) allogeneic LCLs at 5 x 104 cells/ml, and phytohaemagglutinin (PHA) at 0.1 g/ml using complete Yssel’s medium which contains 1% pooled human serum.

  - Serially dilute the isolated epitope-specific T-cells (Fig. 3) using the feeder cell mixture until the concentration reaches 0.5 cell/100 l or 5 cells/1 ml.

  - Plate 100 l/well of diluted epitope-specific T-cells into a total of 30 to 60 96-well round bottom plates using a multichannel pipettor.

  - Incubate the plates in a CO2 incubator at 37˚C.

  - On Day 5, add 100 l of complete Yssel’s medium containing 20 u/ml of recombinant human interleukin-2 (rhIL-2).

  - On Day 11 to 14, prepare a new feeder cell mixture by combining irradiated (4,000 rad) PBMC at 1 x 106 cells/ml, irradiated (5,000 rad ) allogeneic LCLs at 1 x 105 cell/ml, and PHA at 0.1 g/ml using complete Yssel’s medium. Plate this new feeder cell mixture into a 24 well plate at 1 ml/well.

  - Visually identify growing T-cell clones in the 96 well round bottom plates by their large pellet sizes at the bottom.

  - Aspirate the T-cell clones individually from each well using a micropipettor which can hold about 200 l of volume.

  - Dispense the T-cell clones individually into the 24 well plate containing the new feeder cell mixture.  Repeat until all T-cell clones are transferred.

- Identifying Epitope-Specific T-Cell Clones Using a High Throughput Screening ELISPOT Assay (Adapted from a method described by Larsson et al.4 )

2.1)Coat 2 sterile ELISPOT plates (Multiscreen-HA; Millipore, Bedford, MA) with 50 l/well of primary anti-IFN-monoclonal antibody (Mabtech, Stockholm, Sweden) diluted to 5 g/ml in sterile tissue culture grade phosphate-buffered saline (PBS) for a minimum of 1 hr in 4˚C.

2.2) Wash wells with 150 to 200 l/well of PBS by plating and discarding. Repeat three more times.

2.3) Block non-specific binding by plating 50 l/well of pooled human serum diluted to 5% using RPMI 1640 for at least 1 hr at 37˚C, 5% CO2. Disperse any large bubbles by popping them with a sterile needle.

2.4) Plate 5 x 104 to 1 x 105 autologous LCLs in 50 l of RPMI 1640 with 5% human serum per well.

2.5) Mix cells in each well in the 24 well plate containing T-cell clones using a 1 ml pipet.  Transfer 100 l per well to a sterile Eppendorf tube.  Add 500 l of RPMI 1640 with 5% human serum to each Eppendorf tube, and spin in a microfuge at 3,000 RPM for 5 min.

2.6) Decant the Eppendorf tubes, add 100 l of RPMI 1640 with 5% human serum per tube, and resuspend the cells using a vortex.

2.7) Plate 50 l each of media containing a particular T-cell clones in identically positioned wells of the 2 plates. Repeat for all T-cell clones.

2.8) Combine remaining media from several Eppendorf tubes, and plate 50 l each to the next identically positioned wells to be used as a positive control wells to which PHA will be added.

2.9) Add 50 l each of RPMI 1640 with 5% pooled human serum to each well which would serve as a negative control well, not containing T-cell clones.

2.10) Add peptides contained in the positive region in 50 l/well to a final concentration of 10 M/peptide. Each well will contain 200 l in volume (50 l of blocking, 50l of LCLs, 50l of T-cell clones, and 50l of peptides).

2.11) Add 50 l of PHA (final concentration 10 g/ml) to the positive control wells.

2.12) Add 50 l of RPMI 1640 with 5% pooled human serum to the negative control wells.

2.13) Incubate at 37˚C, 5% CO2 for approximately 20 hr.

2.14) Wash wells with 150 to 200 l/well of PBS with 0.05% Tween-20 by plating and discarding. Repeat three more times.

2.15) Add 50 l of PBS containing 1 g/ml of the biotin-conjugated anti-IFN- monoclonal antibody (Mabtech), and incubate at 37˚C, 5% CO2 for 2 hr. Disperse any large bubbles by popping them with a needle.

2.16) Twenty min prior to the end of 2 hr incubation, prepare the avidin-bound biotinylated horseradish peroxidase H (Vectastain Elite ABC kit; Vector Laboratories, Inc., Burlingame, CA) by adding 2 drops each of solution A and solution B to 5 ml of PBS containing 0.1% Tween-20.

2.17) Wash wells with 150 to 200 l/well of PBS with 0.1% Tween-20 by plating and discarding. Repeat three more times.

2.18) Plate 50 l/well of the biotinylated horseradish peroxidase H, and incubate at 37˚C, 5% CO2 for 1 hr. Disperse any large bubbles by popping them with a needle.

2.19) Wash wells with 150 to 200 l/well of PBS with 0.1% Tween-20 by plating and discarding. Repeat three more times.

2.20) Plate 50 l/well of stable diaminobenzidine (DAB) at room temperature for 5 min. Disperse any large bubbles by popping them with a needle.

2.21) Wash wells with 150 to 200 l/well of deionized water by plating and discarding. Repeat two more times.

2.22) Allow the plate to dry completely.

2.23) Count spots using a dissecting microscope or an automated ELISPOT reader (AID ELISPOT Classic Reader; Autoimmun Diagnostika GmbH, Strassberg, Germany).

- Confirming Epitope-Specific Nature of the T-Cell Clones Using ELISPOT Assay (Fig. 4)

3.1) Perform an ELISPOT assay as described above except that 1 x 105 autologous LCLs and  1 x 103 T-cell clone cells per well will be plated along with one each of the three peptides contained in the region at 10 M. Set up the assay in duplicate or triplicate.

4) 	Determining Whether the Epitope is Endogenously Processed (Fig. 5)

4.1) Perform an ELISPOT assay as described above except that 1 x 105 autologous LCLs per well infected with recombinant vaccinia virus expressing HPV 16 E6, E7 5, or none (WR wild-type) (multiplicity of infection of 5 for 1 hr) and  1 x 103 T-cell clone cells per well will be plated.

- Characterizing the Minimal and Optimal Sequence of the T-Cell Epitope (Figs. 6a, 6b, and 6c)

4.1) Perform an ELISPOT assay as described above except that 1 x 105 autologous LCLs and  1 x 103 T-cell clone cells per well will be plated along with one of the series of overlapping 9-mer  peptides covering the region at 10 M (Fig. 6a).

4.2) Perform an ELISPOT assay as described above except that 1 x 105 autologous LCLs and  1 x 103 T-cell clone cells per well will be plated along with one of the series of peptides of varying length at 10 M (Fig. 6b).

4.3) Perform an ELISPOT assay as described above except that 1 x 105 autologous LCLs and  1 x 103 T-cell clone cells per well will be plated along with a few peptides most likely to contain the minimum and optimal amino acid sequence. These peptides will be tested at concentrations range from 10-5 M to 10-10 M (Fig. 6c)

6) Identifying the Restriction Element Using the ELISPOT Assay (Fig. 7)

6.1) Perform an ELISPOT assay as described above except that 1 x 103 T-cell clone cells per well will be plated along with the minimal and optimal peptide at 10 M.  One hundred thousand allogeneic LCLs per well sharing one or two HLA class I molecules with the subject being studied will also be plated.

7) Studying the Crossreactivity of the Epitope-Specific T-Cell Clones to Homologous Amino Acid Sequences from Other High-Risk HPV Types (Fig. 8)

7.1) Perform an ELISPOT assay as described above except that 1 x 103 T-cell clone cells per well will be plated along withl peptides  (10 M) containing homologous amino acid sequences from other high-risk HPV types (Table 1).  One hundred thousand autologous LCLs per well and allogeneic LCLs expressing the restricting HLA class I molecules will also be plated in respective wells.

Representative Results:

The subject being presented here was a 22 year-old African American woman with a recent history of HSIL on Pap smear (subject 1).  She presented to be treated by LEEP on the day the T-cells were collected 1. The ELISPOT assay of her CD8 T-cell line showed that HPV 16 E6 46-70 region (each region is tested with 3 overlapping 15-mer peptides) contained a T-cell epitope (Fig. 2). The number of epitope-specific T-cells selected on the basis of IFN-secretion was 1.2 x 105. After performing limiting dilution (Fig. 3) on one fifth of the selected cells, 262 T-cell clones were harvested. The high throughput screening ELISPOT assay performed on 94 of these clones identified 62 screen-positive clones which can easily be identified in the ELISPOT plate macroscopically (will be able to film these plates). Eight of the screen-positive clones were retested with the three 15-mer peptides covering the region individually (Fig. 4).  All of the T-cell clones were positive with the HPV 16 E6 51-65 peptides, 7 of 9 clones were positive with the E6 46-60 peptide, and none of the clones were positive with the E6 56-70 peptide.  Testing with autologous LCLs infected with a recombinant vaccinia virus expressing HPV 16 E6 protein demonstrated that the T-cell clones recognize an endogenously processed E6 epitope (Fig. 5). Testing with a series of overlapping 9-mer peptide covering HPV 16 46-65 region demonstrated the best response with the E6 53-61 peptide (Fig. 6a). The two 10-mer peptide containing the E6 53-61 peptide, two 8-mer peptide contained in the E6 53-61 peptide, and one 11-mer peptide containing the two 10-mer peptides were tested, and the E6 52-61 (10-mer) peptide was the minimal and optimal sequence most consistently (Fig. 6b). However, the E6 53-61 (9-mer) peptide had equally strong response with the T-cell clone #79.  This T-cell clone was tested with these two peptides at a wider concentration range, and the E6 52-61 (10-mer) peptide retained positivity much more effectively than the E6 53-61 (9-mer) peptide at lower peptide concentrations (Fig. 6c). Therefore the E6 52-61 (10-mer) peptide was determined to contain the minimal and optimal sequence.

The restricting HLA class I molecule of the CD8 T-cell epitope can be examined using an ELISPOT assay utilizing allogeneic LCLs which express one or two HLA class I molecules common with the subject. However, the results were inconclusive due to a high background for subject 1.  The HLA class I restricting molecule was identified to be B58 using a chromium release assay (data not shown). Fig. 7 shows an example from another subject (subject A from Wang et al.)6.  High positivity is seen with an LCL expressing the B62 and Cw3 molecules, while background positivity is shown with an LCL expressing Cw3. A chromium release assay confirmed that the B62 molecule was the restricting element 6.

Some regions of the HPV genome are well conserved, and homologous sequences to the HPV 16 E6 52-61 regions were present in 13 other high-risk HPV types (Table 1). Strong cross-recognition (>50% of spot forming units for HPV 16 E6 52-61 peptide) was demonstrated for 8 of 13 high-risk HPV types (Fig. 8).

Tables and Figures (Required):  Uploaded separately.

Discussion:

Traditionally, immunologists attempted to characterize novel T-cell epitopes by stimulating the T-cells of interest in vitro, and performing a limiting dilution experiment to isolate the T-cell epitope-specific T-cell clones. Then the T-cell clones were characterized using a chromium release assay 7,8.  However, many attempts were unsuccessful because the frequencies of the T-cells may have been too low to be isolated or because not enough  T-cell clone cells were available to complete the characterization.  The method described here overcomes these limitations by (1) assessing whether there is a sufficient number of T-cells of interest, (2) increasing the frequencies of the T-cells of interest by selecting them on the basis of IFN- secretion, and (3) using a small number of T-cell clone cells by performing ELISPOT assay in which autologous LCLs are seeded together.  Fig. 2 shows an example of an ELISPOT assay performed not only to identify region(s) within which potential T-cell epiotpes exist, but also to assess the frequency of the epitope-specific T-cells. The estimated number of the epitope-specific T-cells can be calculated by subtracting the spot forming units of no peptide negative control from the spot forming units in the region of interest. Multiplying this frequency with the number of cells still available for analysis will provide the estimated number of epitope-specific T-cells. In our experience, it is worthwhile to proceed further if this number is > 2,500 cells. Then, a commercially available magnetic isolation kit can be used to isolate the epitope-specific T-cells based on IFN- secretion. The critical step is how the T-cells are allowed to grow after the limiting dilution steps. A dedicated incubator should be used, and opening and closing should be kept to the absolute minimum. The number of T-cell clone cells needed for the characterization of the eptiope(s) is drastically reduced to 1,000 cells by adding autologous LCLs to the same wells. Even 500 T-cell clones cells per well can be used. It should be noted that there is no genetic proof of the clonality of these cells.  However, the maintenance of their phenotypes and functional characteristics after an extended period in culture suggests their clonality.

Examples from subject 1, detailed in Figs. 2, 4, 5, 6, and 8, are shown to demonstrate how this method works. A novel epiotpe HPV 16 E6 52-61 restricted by the HLA class I molecule, B58, was described. However, the E6 52-61 epitope restricted by other HLA class I molecules (B35 and B57) have been described previously 9,10. Such a phenomenon is known as an HLA class I binding promiscuity, and this has also been described in human immunodeficiency virus11-13. Therefore, whether the epitope being described is novel cannot be determined until the analyses are complete. In this subject 1, the attempts to identify the restricting molecule using an ELISPOT assay was not fruitful due to a high background level. An example from another subject was shown (Fig. 7). This problem is encountered occasionally, and is believed to be due to T-cell clone cells presenting the peptide antigens to themselves. Using fewer numbers of T-cell clone cells maybe an option to decrease the background, but it is always a good idea to confirm the result with a chromium release assay if a sufficient number of the T-cell clone cells are available 6,10. Not only can the result be confirmed regarding the HLA restricting element, but the cytotoxic nature of the epitope-specific T-cells can be demonstrated. The ELISPOT assay can also be used to assess whether the epitope-specific T-cells can recognize similar sequences from other viruses (Table 1 and Fig. 8). However, the limitation is that it is not assessed whether these sequences in other viruses represent endogenously processed epitopes.  The method described here is not only able to characterize CD8 T-cell epitopes but also CD4 T-cell eptiopes 3.

Acknowledgments:

This study was supported by an American Cancer Society Scholars Award (RSG-06-180-01-MBC) and NIH grants (R01 CA143130 and UL1RR029884).

Disclosures:  The authors have nothing to disclose.

Table of specific reagents and equipment:

| Name of reagent | Company | Catalog Number | Comments (optional) |
| --- | --- | --- | --- |
| CD8 T cell isolation kit | Miltenyi | 130-094-156 |  |
| Phytohemagglutinin | Remel | R-30852801 | 2mg/vial |
| Yssel’s medium | Gemini Bio-Products | 400-102 | 1% pooled human serum |
| 96-well round bottom plate | BD Falcon | 08-772-17 |  |
| Recombinant human IL-2 | R&D | 202-IL-050 | 50ug |
| 24-well plate | Corning Costar | 07-200-84 |  |
| Phosphate-buffered saline | Cellgro | MT-21-031-CV |  |
| Primary anti-IFN-monoclonal antibody (D1K) | Mabtech | 3420-3-1000 |  |
| Biotin-conjugated anti-IFN- monoclonal antibody (7B-6) | Mabtech | 3420-6-1000 |  |
| Multiscreen HA ELISPOT plate | Millipore | MAHA S45 10 |  |
| Pooled Serum, human | Atlanta Biologicals | S40510H |  |
| RPMI 1640 | Cellgro | MT-10-040-CV |  |
| Tween-20 | Sigma | P2287-100ml |  |
| Vectastain Elite ABC Kit | Vector Labs | NC9313719 |  |
| Stable diaminobenzidine | Open Biosystems | MBI 1241 |  |
| AID EliSpot Reader Classic | Autoimmun Diagnostika GmbH | ELR06 |  |

Figure Legends:

Fig. 1  Overall scheme outlining the series of experiments characterizing novel T-cell epitope(s).

Fig. 2  An ELISPOT assay performed to identify region(s) containing the T-cell epitope.  One hundred thousand CD8 T-cells stimulated in vitro per well were plated along with three 15-mer overlapping peptides (10 M each) covering each region within HPV 16 E6 and E7 proteins. This example from subject 1 showed the presence of a T-cell epitope in the E6 46-70 region. The bars represent standard errors of the means.

Fig. 3  A scheme showing how to dilute epitope-specific T-cells using a feeder cell mixture to a concentration of 0.5 cells per well.

Fig.4  An ELISPOT assay performed to identify sub-regions containing the T-cell epitope by testing the three 15-mer peptides individually. This example from subject 1 showed the presence of the epitope in the E6 46-60 and E6 51-65 sub-regions. The bars represent standard errors of the means.

Fig.5 An ELISPOT assay performed to examine whether the T-cell epitope is endogenously presented.  This example from subject 1 revealed that the T-cell clones recognized an endogenously processed E6 eptiope. The bars represent standard errors of the means.

Fig.6  ELISPOT assays performed to characterize the shortest and optimal peptide sequence of the T-cell epitope.  (a) An ELISPOT assay performed using overlapping 9-mer peptides.  This example from subject 1 revealed that the epitope exists in the E6 53-61 subregion. (b) An ELISPOT assay performed to identify the minimal and optimal peptide sequence using peptides of various lengths.  This example revealed that the shortest and optimal peptide sequence was most consistently the E6 52-61 peptide followed by the E6 53-61 peptide. (c) An ELISPOT assay performed to confirm which peptide contains the minimal and optimal sequence.  The E6 52-61 peptide retained positivity at lower concentrations, and was determined to be the shortest and optimal sequence.  The bars represent standard errors of the mean.

Fig.7  An ELISPOT assay performed to identify the restricting HLA class I molecule presenting the E6 52-61 epitope.  This example supported the notion that the B62 molecule is the restriction element (Subject A)6.  This was confirmed by a chromium release assay. The bars represent standard errors of the means.

Fig.8  An ELISPOT assay performed to assess the cross-reactivity of the HPV 16 52-61 specific T-cell clones to similar sequences from other high-risk HPV types (Table 1).  This example from subject 1 demonstrated significant cross-reactivity (>50% of positivity compared to HPV 16 52-61) in 8 of the 13 other high-risk HPV types examined. The bars represent standard errors of the means.

References:  Please give 10 or more references.  Please use the same format you would use for a Nature article.

1	Nakagawa, M. et al. A favorable clinical trend is associated with CD8 T-cell immune responses to the human papillomavirus type 16 e6 antigens in women being studied for abnormal pap smear results. J Low Genit Tract Dis 14, 124-129, doi:10.1097/LGT.0b013e3181c6f01e00128360-201004000-00008 [pii] (2010).

2	Klaus, G.    (eds E Walls & L Crawford) 149 (IRL Press, Oxford, United Kingdom, 1987).

3	Wang, X., Santin, A. D., Bellone, S., Gupta, S. & Nakagawa, M. A novel CD4 T-cell epitope described from one of the cervical cancer patients vaccinated with HPV 16 or 18 E7-pulsed dendritic cells. Cancer Immunol Immunother 58, 301-308, doi:10.1007/s00262-008-0525-2 (2009).

4	Larsson, M. et al. A recombinant vaccinia virus based ELISPOT assay detects high frequencies of Pol-specific CD8 T cells in HIV-1-positive individuals. AIDS 13, 767-777 (1999).

5	Nakagawa, M. et al. Cytotoxic T lymphocyte responses to E6 and E7 proteins of human papillomavirus type 16: relationship to cervical intraepithelial neoplasia. J Infect Dis 175, 927-931 (1997).

6	Wang, X., Moscicki, A. B., Tsang, L., Brockman, A. & Nakagawa, M. Memory T cells specific for novel human papillomavirus type 16 (HPV16) E6 epitopes in women whose HPV16 infection has become undetectable. Clin Vaccine Immunol 15, 937-945, doi:CVI.00404-07 [pii]10.1128/CVI.00404-07 (2008).

7	Evans, M. et al. Antigen processing defects in cervical carcinomas limit the presentation of a CTL epitope from human papillomavirus 16 E6. J Immunol 167, 5420-5428 (2001).

8	Shi, Y., Smith, K. D., Kurilla, M. G. & Lutz, C. T. Cytotoxic CD8+ T cells recognize EBV antigen but poorly kill autologous EBV-infected B lymphoblasts: immunodominance is elicited by a peptide epitope that is presented at low levels in vitro. J Immunol 159, 1844-1852 (1997).

9	Nakagawa, M., Kim, K. H. & Moscicki, A. B. Different methods of identifying new antigenic epitopes of human papillomavirus type 16 E6 and E7 proteins. Clin Diagn Lab Immunol 11, 889-896, doi:10.1128/CDLI.11.5.889-896.200411/5/889 [pii] (2004).

10	Nakagawa, M., Kim, K. H., Gillam, T. M. & Moscicki, A. B. HLA class I binding promiscuity of the CD8 T-cell epitopes of human papillomavirus type 16 E6 protein. J Virol 81, 1412-1423, doi:JVI.01768-06 [pii]10.1128/JVI.01768-06 (2007).

11	Brown, S. A. et al. T cell epitope "hotspots" on the HIV Type 1 gp120 envelope protein overlap with tryptic fragments displayed by mass spectrometry. AIDS Res Hum Retroviruses 21, 165-170, doi:10.1089/aid.2005.21.165 (2005).

12	Masemola, A. M. et al. Novel and promiscuous CTL epitopes in conserved regions of Gag targeted by individuals with early subtype C HIV type 1 infection from southern Africa. J Immunol 173, 4607-4617, doi:173/7/4607 [pii] (2004).

13	Walker, B. D. & Korber, B. T. Immune control of HIV: the obstacles of HLA and viral diversity. Nat Immunol 2, 473-475, doi:10.1038/8865688656 [pii] (2001).