TABLE OF SPECIFIC REAGENTS AND EQUIPMENT

	Name of the reagent
	Company
	Catalogue number
	Comments

	Fluovac Isoflurane/Halotane Scavanger unit
	Harvard Apparatus Ltd
	
	

	Sevorane
	Abbott SpA
	
	

	Regular operating microscope
	Heerbrugg Wild
	
	Used with ×6 through ×36 magnification

	Jeweler bipolar forceps
	Tekno
	TK/90051.11
	For use with a standard Valleylab electrocautery 0.25mm tip

	Straight Doyen scissors
	Rudolf Medical
	RU/1428-16
	For use to the donor

	Acute scissors
	Rudolf Medical
	RU/1654-13
	For use to the recipient

	Adson forceps
	Rudolf Medical
	RU/4036-12
	12cm long; only for the skin

	Spring type micro scissors
	Aesculap
	AE/FD101R
	Curved; 14cm long

	Fine-tip curved micro scissors
	Aesculap
	AE/OC 497R
	Delicate; to open the vases

	Barraquer
	Aesculap
	AE/FD 230R
	Microneedle holder

	Retractors
	
	
	Home-made

	Micro bulldog clamp
	Müller Instrumente
	Mü/CH 8510
	For clamping aorta and cava

	Suture tying curved forceps
	Aesculap
	AE/FD 281R
	

	Mueller micro-forceps
	Aesculap
	AE/FM 001R
	Very delicate

	Prolene 9/0
	Ethicon SpA
	FG2793
	With a BV100-4 needle, for aortal anastomoses

	Prolene 10/0
	Ethicon SpA
	W2790
	With a BV75-3 needle, for venous anastomoses


