1
2
2
Pfeifer et al, Cartilage labeling for mechanical testing



Abstract
Aim: To find a suitable method of labeling cartilage probes for measuring distraction distances in biomechanical testing.
Method: Probes of bovine cartilage were labeled using five different methods: hydroquinone and silver nitrate (AgNO3), potassium permanganate (KMnO4) with sodium thiosulfate (Na2S2O3), India ink, heat, and laser energy. After the labeling, we analyzed the cartilage probes with regard to cytotoxity by histochemical staining with ethidiumbromide homodimer (EthD-1) and calcein AM (Live/Dead®Viability/Cytotoxity Assay Kit (L-3224). Furthermore, we tested cartilages labeled with India ink and heat in a T-peel test configuration to analyze possible changes in the mechanical behavior between marked and unlabeled probes.

Results: Only the labeling methods with Indian ink or a heated needle showed acceptable results in the cytotoxity test with regard to labeling persistence, accuracy, and the influence on consistency and viability of the chondrocytes. In the biomechanical 
T-peel configuration, heat-labeled probes collapsed significantly earlier than unlabeled probes.

Conclusion: Labeling bovine cartilage probes with Indian ink in biomechanical testing is a reliable, accurate, inexpensive, and easy-to-perform method. This labeling method did neither influence the biomechanical behavior nor the viability of the tissue compared to untreated bovine cartilage.

Keywords: Cartilage, labeling, goniometry, biomechanics, T-peel
INTRODUCTION
For the biomechanical testing of articular cartilage, goniometry has not yet been applied. However, goniometry is essential for analyzing specimen deformity in more complex biomechanical setups, such as integration [1]. Ahsan et al. [2] described the possibilities of analyzing articular cartilage tissue strength and integrative repair. Different biomechanical models have been developed (push out model [1], T-peel test [3]) for testing articular cartilage integration. The partial overlap configuration of two articular cartilage blocks has several key advantages over the push-out model. Tissue swelling cannot lead to artificial integrative repair. On the other hand, mechanical analysis shows a specific progress of disruption [4]. Furthermore, no biomechanical test has yet described tissue rupture, realignment, and integrative repair in the course of follow-up.
The T-peel test with regard to cartilage biomechanics, which had been first described by Ashan et al., was first applied by our group. In our study, the T-peel test showed enormous deformation during rupture [3]. Therefore, visual control of the deformation of the cartilage probes by goniometer became necessary for describing biomechanical tissue matters during rupture. The deformation and time of rupture allowed the calculation of the amount of energy delivered to the tissue. The rate of destruction as well as the potential recovery measured in integrative repair are the goals of the newly designed T-peel test. The developed test set-up makes it possible to realign the tissue flips after the first T-peel process that is followed by an integrative repair period in tissue culture; the test setup is finalized by a second T-Peel process 
Most studies deal with the biochemical issues of cartilage repair. Most investigators use Indian ink for the laminar staining of cartilage surfaces. For histopathological examination, staining methods depend on the aim of a particular investigation [5]. Nevertheless, none of the studies describes the applicability of the staining method used with regard to chondrocyte viability and in vitro usage to analyze biomechanical integration in future. Furthermore, no study delineates defined marks (< 100 µm) on or within cartilage specimens. Additionally, the accuracy of (biomechanical) testing methods depends on the type of staining method. Different staining methods, such as Indian ink with acetone [6], tipp-ex fluid [7], colored gelatins [8], colored dyes [9], alcian blue, or artists’ pigments [10] have been described for staining resection marks in breast or skin [11] specimens. Because articular cartilage shows a different compounding as well as a dissimilar microarchitecture [12], various staining methods have to be used, particularly in scientific investigations. Neither cytotoxic effects nor changes in biomechanical behavior can be tolerated. Reliability, accuracy, and easy application are required. Moreover, the method should be inexpensive and acceptable [9].

Therefore, we investigated five different labeling methods with regard to their accuracy and handling properties, the viability of chondrocytes, and the biomechanical impact of the methods on the specimens.

MATERIALS AND METHODS

Bovine cartilage tissue
The entire knee joints of the hind legs of 8 to 12 week old calves were purchased from a local abattoir after the approval by a veterinarian. Osteochondral cylinders measuring 20 by 15 by 15 mm were cut from the femoro-patellar joint surface of the femoral part of the knee with an oscillating saw (Stryker Instr.). A master plate divided each cylinder and a microtome (Microm HM440E) into areas sized 12 by 2.5 mm measuring 6 mm in thickness. Cartilage probes were clamped into a specially designed holding device constructed of two plexiglas layers and one thin (600 µm) aluminum layer (see Fig. 1 & 2).
Labeling with Indian ink

Black Indian ink was used for labeling by depositing ink pigments into cartilage tissue. Three different ways of depositing were evaluated. To create punctual marks, we punctured cartilages with either a 27G or a 30G needle or both that had previously been dipped into black ink. To create longish marks, we cut cartilage surfaces with standard razor blades (GEM) that had been dipped into black ink before. Cartilage samples were humidified with PBS-solution.
Labeling with a heated needle or a modeling instrument

Moistened cartilage probes were clamped into the holding device. A sewing needle and a modeling instrument were heated with a gas port flame. Different application modes were tested: 

1) Labeling with the tip of the needle,
2) Labeling with the longitudinal side of the needle,
3) Labeling with the tip of the modeling instrument,
4) Labeling with the longitudinal side of the modeling instrument.
Burn marks were applied at intervals of 2 mm. Labeling with the tip of the needle even allowed intervals of less than 1 mm.

Labeling with hydroquinone and silver nitrate (AgNO3)

A solution of 1.5 ml of 0.1 M phosphate-buffer and 100 mg hydroquinone was mixed. Cartilages were treated in two different ways:

1) Cartilage samples were dipped into  hydroquinone solution, labeled with AgNO3 using a 27G needle, and washed again in hydroquinone solution,
2) Cartilage samples were labeled with AgNO3 using a 27 G needle and washed in hydroquinone solution.
During each procedure, samples were humidified with PBS-solution.
Labeling with laser

A solid-state laser (Visual 532s, Carl Zeiss Meditec) was used with a maximum spot size of 50 µm and an irradiation time of 100 ms. Energy levels ranged from 100 mW to 250 mW. After irradiation of untreated cartilages humidified with by PBS-solution, the samples were coated with black ink and irradiated again. Humidification was done with PBS-Solution.
Labeling with potassium permanganate (KMnO4) and sodium thiosulfate (Na2S2O3)

A solution of 25 ml of 0.1 M phosphate-buffer and 1 g of Na2S2O3 was prepared and divided into two petri dishes. The cartilage probe was washed for 5 min in sodium thiosulfate. KMnO4 was applied to the cartilage with a 27G needle. Afterwards, the cartilage probe was washed again in Na2S2O3 to remove any remains of KMnO4.
Live/Dead Analysis

To check the viability of chondrocytes, the cartilage probes labeled with ink and burn marks were incubated with the Live/Dead® Viability/Cytotoxicity Assay Kit (L-3224). Therefore, 10 ml of a 4 µM EthD-1 solution was mixed with 5 µl of 
4 mM calcein AM. Cartilage probes were incubated in this solution in a petri dish for 30 min at room temperature. Calcein diffuses through cell membranes and fluoresces green under a fluorescence microscope, whereas EthD-1 only penetrates into dead cells and fluoresces red. None of the used chemicals alloyed the viability of the chondrocytes.
Biomechanical testing

Peeling experiments are conducted to test the stability of cultured 3D-cartilage constructs that is visualized in a stress-strain-curve. Different peeling tests are available, such as push out or single lap tests. In our experiment, we used a T-peel test. All peeling experiments were carried out in cooperation with the Regensburg University of Applied Sciences. We used a specially designed, uniaxial clamping tool in combination with a universal testing machine (Hegewald&Peschke GmbH). During the peeling procedure, the cartilage probes were fixed at both thick ends measuring 300 µm and placed in a shallow bowl containing a physiological salt solution. Peeling was conducted over the entire cartilage probe or at least until collapse. Distraction velocity was chosen at 15 mm/min. The resulting force was measured with a precision of 0.01N. Additionally, the optical deformation during peeling was measured with a high-resolution camera (Aramis, GOM AG) recording 2 pictures per second (approximately 120 pictures per run). The distraction between labeling spots could be calculated and thus the distraction of the entire cartilage probe (see Fig. 3).
RESULTS
Acceptable results with regard to labeling persistence, accuracy, influence on consistency and viability of chondrocytes could be achieved with Indian ink and heat labeling. 
Labeling with Indian ink
The application of Indian ink by a needle is easily done. Small, black, punctual marks remain even in small specimens (12 mm by 300 µm), which are not removed by moistening with PBS-solution. The Live/Dead®-analysis showed microscopically small traumatized areas (with a maximum of 280 by 200 µm) with only marginally more dead chondrocytes than other non-treated areas (see Fig. 4). A higher number of dead cells were found after the use of the razor blade. The traumatized area of this method measured 200 by 600 by 350 µm, and a black straight-line mark remained. The T-peel test on specimens labeled with a needle showed no statistically significant difference to native probes with regard to premature collapse.
Labeling with a heated needle or a modeling instrument
Labeling with the tip of a needle showed only poor visual effects. Furthermore, handling, heating, and labeling were more challenging than in other methods. Using the longitudinal side of a heated needle showed more obvious visual effects. The best visual effects of heat labeling, however, were achieved with the longitudinal side of the modeling instrument, whereas the tip of the modeling instrument generated burn marks sized too large. The depth of impression was easily controllable by the holding device.

Live/Dead®-analysis was done for specimens treated with a longitudinally applied modeling instrument and a longitudinally applied needle. For the heated modeling instrument, a large area of non-vital chondrocytes was detected measuring between 40 and 200 µm around the impression site sized 300 by 120 µm (see Fig. 4). Even in less prominent areas, islets of dead chondrocytes were detected. Comparatively little trauma was found in the specimens treated with the heated needle. The impression site itself measured 40 by 40 µm and was surrounded by an area with non-vital chondrocytes sized 40 to 80 µm. No remote islets of non-vital chondrocytes were detectable.

Testing these probes for mechanical integrity, the T-peel test showed higher rates of premature collapse than for native probes. Collapsed sites remarkably often included areas of burn marks, showing non-vital chondrocytes at the tearing edge under the microscope.
Labeling with laser
Laser irradiation of untreated cartilage specimens did not show any reproducible results. Even changes of energy levels up to 250 mW and a spot size of 50 µm did not achieve any favorable results. Staining the entire cartilage probe with black ink resulted in a mark on the cartilage surface. The laser beam got augmented by particles of the ink adhering to the cartilage’s surface. Different energy levels led to differently sized burn marks ranging from 300 by 540 µm with 250 mW and to 200 by 400 µm with 100 mW. The depth of the burn marks reached up to 70 µm. Microscopic analysis of the labeled areas showed a large surrounding traumatization zone measuring 100 µm and more. Therefore, laser-labeled specimens did neither undergo Live/Dead®-analysis nor t-peel testing.
Labeling with hydroquinone and silver nitrate (AgNO3)
Marks labeled with hydroquinone and AgNO3 showed good visibility and accuracy in the first (1) sequence but imprecise marks in the second (2) progression. The cartilage was stained yellowish after having been washed in hydroquinone solution. After storage in PBS-solution for a few days, cartilage specimens showed loss of elasticity and  stiffness. Therefore, probes labeled with hydroquinone and AgNO3 did neither undergo Live/Dead®-analysis nor T-peel testing.
Labeling with KMnO4 and Na2S2O3
After labeling the probes with KMnO4, marks were immediately washed away, even when KMnO4 was placed into the specimens by means of a needle. Therefore, this method was not followed up with further tests.

DISCUSSION
Our investigations showed a precise procedure for staining (bovine) cartilage specimens. Furthermore, we were able to show that staining with Indian ink does not induce any changes, neither in biomechanical behavior nor in the viability of the stained chondrocytes. The reliable marks caused by Indian ink have been described in previous studies on staining entire surfaces of specimens [13]. To our knowledge, no method has been yet described for applying precise, persistent marks measuring less than 200 µm in diameter. This exact marking is necessary to properly measure distraction distances in biomechanical testing, such as T-peel tests. The traumatization of chondrocytes around the marker point may be explained by the pressure caused by puncturing the cartilage with a 27G needle. Pressure necrosis of chondrocytes in vitro [14] and in vivo [15] has been described in previous studies. In contrast, no evidence has been found in the literature that Indian ink causes necrosis in chondrocytes, neither in vitro nor in vivo. After the ink staining, the cartilage specimens could be easily kept moistened by embedding them in PBS-solution for several days without losing the marks for further testing, e.g. T-peeling. Nevertheless, the exact application of ink requires a holding device for the cartilage specimens and a needle not bigger than 27 Gauge for a size mark not larger than 200 µm in diameter. In our test series, we observed a short learning curve for acquiring the most efficient and precise technique of applying the marks.

Setting marks with heated instruments is definitely a reliable and easy-to-perform method. The development of comparably large areas of cell necrosis due to heat is an irrepressible side effect. Heat in general is a well-established factor of necrosis of chondrocytes not only in vitro [16] but also in vivo [17]. Therefore, this method is not useful in scientific settings that require intact cartilages. We could show that, in a biomechanical T-peel test, this staining method leads to the falsification of results.

Staining with laser was thought to be a precise and easy-to-perform method. Also the application of laser energy is widely used in the clinical treatment of arthroscopically performed chondroplasties. However, no visible marks could be produced, even with high energy levels. We were able to produce small marks after staining the surface with black ink. Microscopy showed a large area of cell traumatization despite the presence of small visible marks. Necrosis of chondrocytes after the application of laser energy is related to the energy levels used and the duration of laser application [18]. Producing a small visible spot with a laser requires high energy levels and a comparatively long application time so that large areas of cell necrosis around the application area cannot be avoided.  Therefore, we also found this method unsuitable for scientific investigations.

Staining cartilage probes with hydroquinone and silver nitrate resulted in precise and well visible marks. But during a time course of 12 to 24 hours, cartilage probes changed their biomechanical behavior showing increased stiffness. These probes were moistened as usual with PBS-solution to prevent chondrocytes from drying out. Nevertheless, the specimens became usable for biomechanical testing. Rosa et al. [19] described the glycosylated hydroquinone "arbutin" as an effective cryoprotective agent. We could find no previous description in the literature explaining the results of our investigation. Therefore, we suggest that hydroquinone was responsible for the change in biomechanical behavior, so that we do not recommend using hydroquinone for treating cartilage samples in biomechanical testing.

Labeling with potassium permanganate and sodium thiosulfate resulted in invisible marks from the beginning. The colored potassium permanganate was washed away by sodium thiosulfate, so that no reliable marks remained. Thus, we cannot recommend this method for staining cartilage samples either.

CONCLUSION

In conclusion, small, precise, and persistent marks in cartilage specimens can be reliably produced by use of Indian ink without any change in chondrocytes or biomechanical behavior. Thus, we recommend this kind of staining for biomechanical testing.

ACKNOWLEDGEMENT
We would like to thank Richard Kujat and Sandra Rohde in the experimental laboratory of the trauma unit of the Medical Centre of the University Regensburg for their kind support as well as J. Fierlbeck for his excellent technical assistance. The authors thank in particular the local butcher Stierstorfer, Wenzenbach, for the kind supply of bovine knee joints. We are grateful to the University Medical Centre Regensburg for their financial support within the ReForM-C grant. 

The linguistic assistance of Ms Monika Schoell is gratefully acknowledged. We state no conflict of interest.

LITERATURE
1. Reindel ES, Ayroso AM, Chen AC et al. Integrative repair of articular cartilage in vitro: adhesive strength of the interface region. J Orthop Res. 13(5):751; 1995

2. Ahsan T, Sah RL. Biomechanics of integrative cartilage repair.  Osteoarthritis Cartilage. 7(1):29; 1999
3. Englert C, Greiner G, Berner A, Hammer J. T-peel test for the analysis of articular cartilage integration. Stud Health Technol Inform. 133:95; 2008. 

4. Fierlbeck J, Hammer J, Englert C, Reuben RL. Biomechanical properties of articular cartilage as a standard for biologically integrated interfaces; Technol Health Care. 14(6): 541; 2006

5. Schmitz N, Laverty S, Kraus VB,  Aigner T. Basic methods in histopathology of joint tissues. Osteoarthritis Cartilage. 18 Suppl 3:S113; 2010

6. Chan KW, Lui I, Chung WB. Marking planes of surgical excision on specimens with mixture of Indian ink and acetone. J

Clin Pathol. 42:893; 1989

7. Harris MD. Tipp-ex fluid: convenient marker for surgical resection margins. J Clin Pathol. 43:346; 1990
8. Armstrong JS, Weinzwieg IP, Davies JD. Differential marking of excision planes in screened breast lesions by organically coloured gelatins. J Clin Pathol. 43:604; 1990

9. Kosemehmetoglu K, Guner G, Ates D. Indian ink vs tissue marking dye: a quantitative comparison of two widely used macroscopical staining tools. Virchows Arch.457(1):21; 2010
10. Paterson DA, Davies JD. Marking planes of surgical excision on breast biopsy specimens: use of artists' pigments

suspended in acetone. J Clin Pathol. 41:1013; 1988

11. Kneilling M, Breuninger H, Kastl A et al. Methods of labeling skin surgical specimens. J Dtsch Dermatol Ges. 7(10):871; 2009

12. Clark JM, Simonian PT. Scanning electron microscopy of “fibrillated” and “malacic” human articular cartilage: technical considerations. Microsc Res Tech. 378(4):299; 1997

13. Salerno A., Trent R, Jackson PJ, Cook MG. A rapid and safe method to fix india ink on specimen resection margins. J Clin Pathol. 48:689; 1995. 
14. Lee JH, Fitzgerald JB, Dimicco MA, Grodzinsky AJ. Mechanical injury of cartilage explants causes specific time-dependent changes in chondrocyte gene expression. Arthritis Rheum. 52(8):2386; 2005

15. Spahn G, Wittig R. Biomechanical properties (compressive strength and compressive pressure at break) of hyaline cartilage under axial load. Zentralbl Chir. 128(1):78; 2003

16. Voss JR, Lu Y, Edwards RB et al. Effects of thermal energy on chondrocyte viability. Am J Vet Res. 67(10):1708; 2006

17. Lu Y, Edwards RB 3rd, Nho S et al. Lavage solution temperature influences depth of chondrocyte death and surface contouring during thermal chondroplasty with temperature-controlled monopolar radiofrequency energy. Am J Sports Med. 30(5):667; 2002

18. Jones N, Sviridov A, Sobol E et al. A prospective randomised study of laser reshaping of cartilage in vivo. Lasers Med Sci. 16(4):284; 2001

19. Rosa SC, Gonçalves J, Judas F et al. Assessment of strategies to increase chondrocyte viability in cryopreserved human osteochondral allografts: evaluation of the glycosylated hydroquinone, arbutin;  Osteoarthritis Cartilage. 17(12):1657; 2009

20. Bae WC, Van Wong BS, Hwang J et al. Wear-Lines and Split-Lines of Human Patellar Cartilage: Relation to Tensile Biomechanical Properties. Osteoarthritis Cartilage. 16(7): 841; 2008

21. Meachim G. Light microscopy of Indian ink preparations of fibrillated cartilage. Ann. rheum. Dis. 31: 457; 1972
22. Forster H, Fisher J. The influence of continuous sliding and subsequent surface wear on the friction of articular cartilage. Proc Inst Mech Eng H. 213(4):329; 1999
23. Hannink G, van Tienen TG, Schouten AJ, Buma P. Changes in articular cartilage after meniscectomy and meniscus replacement using a biodegradable porous polymer implant. Knee Surg Sports Traumatol Arthrosc. 2011 19(3):441; 2011

24. Hurtig M, Chubinskaya S, Dickey J, Rueger D. BMP-7 protects against progression of cartilage degeneration after impact injury. J Orthop Res. 27(5):602; 2009

25. Jeffery AK, Blunn GW, Archer CW, Bentley G. Three-dimensional collagen architecture in bovine articular cartilage. J Bone Joint Surg [Br]. 73-B:795; 1991
26. Jin ZM, Pickard JE, Forster H et al. Frictional behaviour of bovine articular cartilage. Biorheology. 37(1-2):57; 2000 
27. Chiam HW, Maslen PG, Hoffman GJ. Marking the surgical margins of specimens: commercial acrylic pigments are reliable, rapid and safe.  Pathology 35:204; 2003

28. Clarke TJ. Differential marking of surgical excision planes. J Clin Pathol. 44:87; 1991

29. Salerno A. Fixing Indian ink on resection margins. Histopathology. 33:284; 1998

30. Shinde V, Phelan C,  Gater W, Thomas J. Inking a specimen without the mess. J Clin Pathol. 61:783; 2008

31. Wright RG, Osborne J. Modification of the alcian blue method for marking breast biopsy specimens. J Clin Patho. 44:174; 1991

32. Hunter-Craig C, Lee-McDonagh B, Penman HG. Marking of resection margins. J Clin Pathol. 44:874; 1991

33. Lotz M, Hashimoto S, Kühn K. Mechanisms of chondrocyte apoptosis. Osteoarthritis Cartilage. 7(4):389; 1999 

34. Luther JK, Cook CR, Cook JL. Meniscal release in cruciate ligament intact stifles causes lameness and medial compartment cartilage pathology in dogs 12 weeks postoperatively. Vet Surg. 38(4):520; 2009

35. Mitchell N, Shepard N. Healing of articular cartilage in intra-articular fractures in rabbits. J Bone Joint Surg Am. 62(4):628; 1980

36. Ulrich-Vinther M, Maloney MD, Schwarz EM. Articular cartilage biology. J Am Acad Orthop Surg. 11(6):421; 2003

37. Moretti M, Wendt D, Schaefer D et al. Structural characterization and reliable biomechanical assessment of integrative cartilage repair. J Biomech.  38(9):1846; 2005
38. Hayes WC, Mockros LF. Viscoelastic properties of human articular cartilage. J Appl Physiol. 31(4):562; 1971

39. Pastoureau PC, Hunziker EB, Pelletier JP. Cartilage, bone and synovial histomorphometry in animal models of osteoarthritis. Osteoarthritis Cartilage. 18 Suppl 3:S106; 2010.

1
2

